## T150413
SN: | T150413
Item #: | PFC1550A
Item Description: | 1x2 Fused Fiber Polarization Combiner/Splitter
Fiber Type: | Equivalent to PM 15-U25D
Port Name: | Slow Axis - White
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.15
PER (dB): | 26
Port Name: | Fast Axis - Red
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.14
PER (dB): | 26
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Slow Axis - White | Insertion Loss (dB) - Fast Axis - Red
1525 | -0.247 | -0.55
1525.1 | -0.247 | -0.55
1525.2 | -0.247 | -0.55
1525.301 | -0.247 | -0.55
1525.401 | -0.247 | -0.55
1525.501 | -0.247 | -0.55
1525.601 | -0.247 | -0.55
1525.701 | -0.247 | -0.55
1525.802 | -0.247 | -0.55
1525.902 | -0.247 | -0.55
1526.002 | -0.247 | -0.55
1526.102 | -0.247 | -0.55
1526.202 | -0.247 | -0.55
1526.303 | -0.247 | -0.55
1526.403 | -0.247 | -0.55
1526.503 | -0.247 | -0.55
1526.603 | -0.247 | -0.549
1526.703 | -0.247 | -0.545
1526.804 | -0.247 | -0.54
1526.904 | -0.248 | -0.535
1527.004 | -0.248 | -0.53
1527.104 | -0.248 | -0.525
1527.204 | -0.248 | -0.52
1527.305 | -0.248 | -0.515
1527.405 | -0.249 | -0.51
1527.505 | -0.249 | -0.505
1527.605 | -0.249 | -0.5
1527.705 | -0.249 | -0.494
1527.806 | -0.249 | -0.489
1527.906 | -0.25 | -0.484
1528.006 | -0.25 | -0.479
1528.106 | -0.25 | -0.474
1528.206 | -0.25 | -0.469
1528.307 | -0.251 | -0.464
1528.407 | -0.252 | -0.457
1528.507 | -0.253 | -0.451
1528.607 | -0.254 | -0.444
1528.707 | -0.256 | -0.437
1528.808 | -0.257 | -0.431
1528.908 | -0.258 | -0.424
1529.008 | -0.259 | -0.417
1529.108 | -0.261 | -0.41
1529.208 | -0.262 | -0.404
1529.309 | -0.263 | -0.397
1529.409 | -0.264 | -0.39
1529.509 | -0.266 | -0.384
1529.609 | -0.267 | -0.377
1529.709 | -0.268 | -0.37
1529.81 | -0.269 | -0.364
1529.91 | -0.27 | -0.358
1530.01 | -0.269 | -0.356
1530.11 | -0.266 | -0.359
1530.21 | -0.262 | -0.364
1530.311 | -0.258 | -0.369
1530.411 | -0.254 | -0.373
1530.511 | -0.25 | -0.378
1530.611 | -0.246 | -0.383
1530.711 | -0.242 | -0.387
1530.812 | -0.238 | -0.392
1530.912 | -0.234 | -0.397
1531.012 | -0.23 | -0.401
1531.112 | -0.226 | -0.406
1531.212 | -0.222 | -0.411
1531.313 | -0.218 | -0.415
1531.413 | -0.214 | -0.42
1531.513 | -0.21 | -0.425
1531.613 | -0.206 | -0.428
1531.713 | -0.205 | -0.429
1531.814 | -0.204 | -0.428
1531.914 | -0.204 | -0.426
1532.014 | -0.204 | -0.424
1532.114 | -0.204 | -0.422
1532.214 | -0.204 | -0.421
1532.315 | -0.204 | -0.419
1532.415 | -0.204 | -0.417
1532.515 | -0.204 | -0.415
1532.615 | -0.204 | -0.413
1532.715 | -0.204 | -0.411
1532.816 | -0.204 | -0.409
1532.916 | -0.204 | -0.408
1533.016 | -0.204 | -0.406
1533.116 | -0.204 | -0.404
1533.216 | -0.204 | -0.402
1533.317 | -0.205 | -0.398
1533.417 | -0.207 | -0.39
1533.517 | -0.21 | -0.38
1533.617 | -0.213 | -0.369
1533.717 | -0.216 | -0.358
1533.818 | -0.219 | -0.347
1533.918 | -0.223 | -0.336
1534.018 | -0.226 | -0.325
1534.118 | -0.229 | -0.314
1534.218 | -0.232 | -0.303
1534.319 | -0.236 | -0.292
1534.419 | -0.239 | -0.281
1534.519 | -0.242 | -0.27
1534.619 | -0.245 | -0.259
1534.719 | -0.249 | -0.248
1534.82 | -0.252 | -0.238
1534.92 | -0.255 | -0.227
1535.02 | -0.256 | -0.22
1535.12 | -0.253 | -0.22
1535.22 | -0.25 | -0.223
1535.321 | -0.246 | -0.226
1535.421 | -0.242 | -0.229
1535.521 | -0.238 | -0.232
1535.621 | -0.234 | -0.236
1535.721 | -0.23 | -0.239
1535.822 | -0.226 | -0.242
1535.922 | -0.222 | -0.245
1536.022 | -0.218 | -0.248
1536.122 | -0.214 | -0.251
1536.222 | -0.21 | -0.254
1536.323 | -0.206 | -0.257
1536.423 | -0.202 | -0.26
1536.523 | -0.198 | -0.264
1536.623 | -0.194 | -0.267
1536.723 | -0.19 | -0.27
1536.824 | -0.187 | -0.274
1536.924 | -0.185 | -0.278
1537.024 | -0.182 | -0.282
1537.124 | -0.179 | -0.286
1537.224 | -0.177 | -0.29
1537.325 | -0.174 | -0.294
1537.425 | -0.171 | -0.298
1537.525 | -0.169 | -0.302
1537.625 | -0.166 | -0.306
1537.725 | -0.163 | -0.31
1537.826 | -0.16 | -0.314
1537.926 | -0.158 | -0.317
1538.026 | -0.155 | -0.321
1538.126 | -0.152 | -0.325
1538.226 | -0.15 | -0.329
1538.327 | -0.148 | -0.331
1538.427 | -0.148 | -0.327
1538.527 | -0.15 | -0.32
1538.627 | -0.153 | -0.31
1538.727 | -0.156 | -0.3
1538.828 | -0.159 | -0.291
1538.928 | -0.161 | -0.281
1539.028 | -0.164 | -0.271
1539.128 | -0.167 | -0.261
1539.229 | -0.17 | -0.252
1539.329 | -0.173 | -0.242
1539.429 | -0.176 | -0.232
1539.529 | -0.178 | -0.222
1539.629 | -0.181 | -0.213
1539.729 | -0.184 | -0.203
1539.83 | -0.187 | -0.193
1539.93 | -0.189 | -0.184
1540.03 | -0.191 | -0.176
1540.13 | -0.192 | -0.171
1540.23 | -0.191 | -0.168
1540.331 | -0.19 | -0.166
1540.431 | -0.189 | -0.165
1540.531 | -0.188 | -0.163
1540.631 | -0.187 | -0.161
1540.731 | -0.186 | -0.159
1540.832 | -0.185 | -0.157
1540.932 | -0.184 | -0.155
1541.032 | -0.183 | -0.153
1541.132 | -0.182 | -0.151
1541.232 | -0.181 | -0.149
1541.333 | -0.18 | -0.148
1541.433 | -0.179 | -0.146
1541.533 | -0.178 | -0.144
1541.633 | -0.177 | -0.142
1541.734 | -0.176 | -0.143
1541.834 | -0.174 | -0.146
1541.934 | -0.172 | -0.151
1542.034 | -0.17 | -0.156
1542.134 | -0.167 | -0.161
1542.234 | -0.165 | -0.167
1542.335 | -0.163 | -0.172
1542.435 | -0.161 | -0.177
1542.535 | -0.159 | -0.183
1542.635 | -0.156 | -0.188
1542.735 | -0.154 | -0.193
1542.836 | -0.152 | -0.199
1542.936 | -0.15 | -0.204
1543.036 | -0.147 | -0.209
1543.136 | -0.145 | -0.215
1543.236 | -0.143 | -0.22
1543.337 | -0.141 | -0.224
1543.437 | -0.14 | -0.226
1543.537 | -0.14 | -0.225
1543.637 | -0.141 | -0.221
1543.737 | -0.142 | -0.218
1543.838 | -0.143 | -0.215
1543.938 | -0.144 | -0.211
1544.038 | -0.145 | -0.208
1544.138 | -0.146 | -0.205
1544.239 | -0.147 | -0.201
1544.339 | -0.147 | -0.198
1544.439 | -0.148 | -0.195
1544.539 | -0.149 | -0.191
1544.639 | -0.15 | -0.188
1544.74 | -0.151 | -0.184
1544.84 | -0.152 | -0.181
1544.94 | -0.153 | -0.178
1545.04 | -0.154 | -0.174
1545.14 | -0.154 | -0.171
1545.24 | -0.155 | -0.167
1545.341 | -0.155 | -0.163
1545.441 | -0.156 | -0.159
1545.541 | -0.156 | -0.156
1545.641 | -0.157 | -0.152
1545.741 | -0.157 | -0.148
1545.842 | -0.158 | -0.144
1545.942 | -0.158 | -0.14
1546.042 | -0.159 | -0.137
1546.142 | -0.159 | -0.133
1546.242 | -0.16 | -0.129
1546.343 | -0.16 | -0.125
1546.443 | -0.161 | -0.122
1546.543 | -0.161 | -0.118
1546.643 | -0.162 | -0.114
1546.744 | -0.162 | -0.112
1546.844 | -0.162 | -0.112
1546.944 | -0.161 | -0.113
1547.044 | -0.16 | -0.115
1547.144 | -0.159 | -0.117
1547.245 | -0.159 | -0.119
1547.345 | -0.158 | -0.121
1547.445 | -0.157 | -0.124
1547.545 | -0.156 | -0.126
1547.645 | -0.155 | -0.128
1547.745 | -0.154 | -0.13
1547.846 | -0.154 | -0.132
1547.946 | -0.153 | -0.134
1548.046 | -0.152 | -0.136
1548.146 | -0.151 | -0.139
1548.246 | -0.15 | -0.141
1548.347 | -0.15 | -0.143
1548.447 | -0.149 | -0.144
1548.547 | -0.149 | -0.145
1548.647 | -0.149 | -0.145
1548.747 | -0.15 | -0.145
1548.848 | -0.15 | -0.144
1548.948 | -0.15 | -0.144
1549.048 | -0.15 | -0.144
1549.148 | -0.151 | -0.144
1549.249 | -0.151 | -0.144
1549.349 | -0.151 | -0.144
1549.449 | -0.152 | -0.144
1549.549 | -0.152 | -0.144
1549.649 | -0.152 | -0.144
1549.75 | -0.152 | -0.143
1549.85 | -0.153 | -0.143
1549.95 | -0.153 | -0.143
1550.05 | -0.153 | -0.143
1550.15 | -0.153 | -0.142
1550.25 | -0.154 | -0.14
1550.351 | -0.154 | -0.137
1550.451 | -0.154 | -0.135
1550.551 | -0.154 | -0.133
1550.651 | -0.154 | -0.13
1550.751 | -0.155 | -0.128
1550.852 | -0.155 | -0.125
1550.952 | -0.155 | -0.123
1551.052 | -0.155 | -0.12
1551.152 | -0.155 | -0.118
1551.253 | -0.155 | -0.115
1551.353 | -0.156 | -0.113
1551.453 | -0.156 | -0.11
1551.553 | -0.156 | -0.108
1551.653 | -0.156 | -0.105
1551.754 | -0.156 | -0.104
1551.854 | -0.156 | -0.103
1551.954 | -0.155 | -0.103
1552.054 | -0.154 | -0.103
1552.154 | -0.154 | -0.104
1552.255 | -0.153 | -0.105
1552.355 | -0.152 | -0.105
1552.455 | -0.151 | -0.106
1552.555 | -0.15 | -0.107
1552.655 | -0.15 | -0.108
1552.755 | -0.149 | -0.108
1552.856 | -0.148 | -0.109
1552.956 | -0.147 | -0.11
1553.056 | -0.146 | -0.11
1553.156 | -0.146 | -0.111
1553.256 | -0.145 | -0.112
1553.357 | -0.144 | -0.113
1553.457 | -0.144 | -0.113
1553.557 | -0.145 | -0.114
1553.657 | -0.146 | -0.115
1553.758 | -0.148 | -0.116
1553.858 | -0.15 | -0.117
1553.958 | -0.152 | -0.118
1554.058 | -0.154 | -0.119
1554.158 | -0.156 | -0.12
1554.259 | -0.158 | -0.121
1554.359 | -0.16 | -0.122
1554.459 | -0.161 | -0.123
1554.559 | -0.163 | -0.124
1554.659 | -0.165 | -0.125
1554.76 | -0.167 | -0.126
1554.86 | -0.169 | -0.127
1554.96 | -0.171 | -0.128
1555.06 | -0.173 | -0.129
1555.16 | -0.174 | -0.129
1555.26 | -0.176 | -0.129
1555.361 | -0.176 | -0.129
1555.461 | -0.177 | -0.128
1555.561 | -0.178 | -0.128
1555.661 | -0.178 | -0.128
1555.761 | -0.179 | -0.127
1555.862 | -0.18 | -0.127
1555.962 | -0.18 | -0.126
1556.062 | -0.181 | -0.126
1556.162 | -0.182 | -0.125
1556.263 | -0.183 | -0.125
1556.363 | -0.183 | -0.124
1556.463 | -0.184 | -0.124
1556.563 | -0.185 | -0.124
1556.663 | -0.185 | -0.123
1556.764 | -0.186 | -0.123
1556.864 | -0.185 | -0.122
1556.964 | -0.184 | -0.122
1557.064 | -0.183 | -0.121
1557.164 | -0.181 | -0.121
1557.265 | -0.179 | -0.12
1557.365 | -0.177 | -0.12
1557.465 | -0.176 | -0.119
1557.565 | -0.174 | -0.119
1557.665 | -0.172 | -0.119
1557.766 | -0.17 | -0.118
1557.866 | -0.168 | -0.118
1557.966 | -0.167 | -0.117
1558.066 | -0.165 | -0.117
1558.166 | -0.163 | -0.116
1558.266 | -0.161 | -0.116
1558.367 | -0.16 | -0.115
1558.467 | -0.158 | -0.115
1558.567 | -0.159 | -0.114
1558.667 | -0.16 | -0.114
1558.768 | -0.162 | -0.114
1558.868 | -0.165 | -0.114
1558.968 | -0.167 | -0.113
1559.068 | -0.17 | -0.113
1559.168 | -0.172 | -0.113
1559.269 | -0.174 | -0.113
1559.369 | -0.177 | -0.113
1559.469 | -0.179 | -0.112
1559.569 | -0.182 | -0.112
1559.669 | -0.184 | -0.112
1559.77 | -0.186 | -0.112
1559.87 | -0.189 | -0.111
1559.97 | -0.191 | -0.111
1560.07 | -0.194 | -0.111
1560.17 | -0.196 | -0.111
1560.271 | -0.199 | -0.111
1560.371 | -0.203 | -0.112
1560.471 | -0.206 | -0.113
1560.571 | -0.209 | -0.114
1560.671 | -0.213 | -0.116
1560.771 | -0.216 | -0.117
1560.872 | -0.219 | -0.118
1560.972 | -0.223 | -0.119
1561.072 | -0.226 | -0.12
1561.172 | -0.23 | -0.121
1561.273 | -0.233 | -0.122
1561.373 | -0.236 | -0.123
1561.473 | -0.24 | -0.124
1561.573 | -0.243 | -0.125
1561.673 | -0.247 | -0.126
1561.774 | -0.25 | -0.128
1561.874 | -0.251 | -0.129
1561.974 | -0.25 | -0.129
1562.074 | -0.247 | -0.13
1562.174 | -0.244 | -0.13
1562.275 | -0.24 | -0.131
1562.375 | -0.237 | -0.132
1562.475 | -0.233 | -0.132
1562.575 | -0.23 | -0.133
1562.675 | -0.226 | -0.133
1562.776 | -0.222 | -0.134
1562.876 | -0.219 | -0.135
1562.976 | -0.215 | -0.135
1563.076 | -0.212 | -0.136
1563.176 | -0.208 | -0.136
1563.277 | -0.205 | -0.137
1563.377 | -0.201 | -0.138
1563.477 | -0.198 | -0.138
1563.577 | -0.196 | -0.139
1563.677 | -0.196 | -0.139
1563.778 | -0.197 | -0.139
1563.878 | -0.197 | -0.14
1563.978 | -0.198 | -0.14
1564.078 | -0.199 | -0.14
1564.178 | -0.2 | -0.14
1564.279 | -0.201 | -0.141
1564.379 | -0.201 | -0.141
1564.479 | -0.202 | -0.141
1564.579 | -0.203 | -0.142
1564.679 | -0.204 | -0.142
1564.78 | -0.205 | -0.142
1564.88 | -0.205 | -0.142
1564.98 | -0.206 | -0.143
1565.08 | -0.207 | -0.143
1565.18 | -0.208 | -0.143
1565.281 | -0.211 | -0.143
1565.381 | -0.216 | -0.143
1565.481 | -0.222 | -0.143
1565.581 | -0.227 | -0.143
1565.681 | -0.233 | -0.142
1565.782 | -0.238 | -0.142
1565.882 | -0.244 | -0.142
1565.982 | -0.249 | -0.142
1566.082 | -0.255 | -0.141
1566.182 | -0.26 | -0.141
1566.283 | -0.266 | -0.141
1566.383 | -0.271 | -0.141
1566.483 | -0.277 | -0.141
1566.583 | -0.283 | -0.14
1566.683 | -0.288 | -0.14
1566.784 | -0.294 | -0.14
1566.884 | -0.298 | -0.14
1566.984 | -0.299 | -0.142
1567.084 | -0.298 | -0.146
1567.184 | -0.297 | -0.15
1567.285 | -0.295 | -0.154
1567.385 | -0.293 | -0.158
1567.485 | -0.291 | -0.162
1567.585 | -0.289 | -0.166
1567.685 | -0.287 | -0.17
1567.786 | -0.285 | -0.174
1567.886 | -0.284 | -0.178
1567.986 | -0.282 | -0.182
1568.086 | -0.28 | -0.186
1568.186 | -0.278 | -0.19
1568.287 | -0.276 | -0.194
1568.387 | -0.274 | -0.198
1568.487 | -0.273 | -0.202
1568.587 | -0.271 | -0.205
1568.687 | -0.27 | -0.206
1568.788 | -0.27 | -0.206
1568.888 | -0.27 | -0.207
1568.988 | -0.27 | -0.207
1569.088 | -0.27 | -0.207
1569.188 | -0.27 | -0.207
1569.289 | -0.27 | -0.207
1569.389 | -0.27 | -0.207
1569.489 | -0.27 | -0.207
1569.589 | -0.27 | -0.207
1569.689 | -0.27 | -0.207
1569.79 | -0.27 | -0.207
1569.89 | -0.27 | -0.208
1569.99 | -0.27 | -0.208
1570.09 | -0.27 | -0.208
1570.19 | -0.27 | -0.208
1570.291 | -0.27 | -0.207
1570.391 | -0.274 | -0.206
1570.491 | -0.279 | -0.204
1570.591 | -0.284 | -0.202
1570.691 | -0.288 | -0.2
1570.792 | -0.293 | -0.198
1570.892 | -0.297 | -0.196
1570.992 | -0.302 | -0.194
1571.092 | -0.306 | -0.192
1571.192 | -0.311 | -0.19
1571.293 | -0.316 | -0.188
1571.393 | -0.32 | -0.187
1571.493 | -0.325 | -0.185
1571.593 | -0.329 | -0.183
1571.693 | -0.334 | -0.181
1571.794 | -0.338 | -0.179
1571.894 | -0.343 | -0.177
1571.994 | -0.346 | -0.177
1572.094 | -0.347 | -0.182
1572.194 | -0.348 | -0.186
1572.295 | -0.348 | -0.191
1572.395 | -0.349 | -0.195
1572.495 | -0.35 | -0.2
1572.595 | -0.35 | -0.204
1572.695 | -0.351 | -0.209
1572.796 | -0.352 | -0.214
1572.896 | -0.352 | -0.218
1572.996 | -0.353 | -0.223
1573.096 | -0.354 | -0.227
1573.196 | -0.354 | -0.232
1573.297 | -0.355 | -0.237
1573.397 | -0.356 | -0.241
1573.497 | -0.356 | -0.246
1573.597 | -0.357 | -0.25
1573.697 | -0.356 | -0.254
1573.798 | -0.355 | -0.256
1573.898 | -0.354 | -0.259
1573.998 | -0.353 | -0.261
1574.098 | -0.351 | -0.264
1574.198 | -0.35 | -0.266
1574.299 | -0.349 | -0.269
1574.399 | -0.347 | -0.271
1574.499 | -0.346 | -0.274
1574.599 | -0.345 | -0.277
1574.699 | -0.343 | -0.279
1574.8 | -0.342 | -0.282
1574.9 | -0.341 | -0.284
1575 | -0.34 | -0.287