## T154417
SN: | T154417
Item #: | TN560R3A2
Item Description: | 2x2 75:25 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 460HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 560
Insertion Loss (dB): | -1.54
Coupling Ratio (%): | 74.5
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 560
Insertion Loss (dB): | -6.2
Coupling Ratio (%): | 25.5