## T150929
SN: | T150929
Item #: | WP9850A
Item Description: | 1x2 980 nm / 1550 nm PM Wavelength Division Multiplexer
Fiber Type: | Equivalent to PM 98-U25D
Port Name: | Channel 1 - White
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.09
Isolation (dB): | -42.68
PER (dB): | 30
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.24
Isolation (dB): | -20.94
PER (dB): | 29
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
960 | -0.1 | -52.676
961.232 | -0.096 | -45.286
962.465 | -0.093 | -45.588
963.697 | -0.092 | -52.733
964.93 | -0.091 | -59.885
966.162 | -0.096 | -59.826
967.395 | -0.097 | -51.218
968.627 | -0.094 | -45.434
969.86 | -0.089 | -48.805
971.092 | -0.087 | -58.109
972.325 | -0.088 | -51.738
973.557 | -0.088 | -43.056
974.79 | -0.087 | -37.823
976.022 | -0.086 | -39.051
977.255 | -0.084 | -37.585
978.487 | -0.083 | -36.803
979.719 | -0.085 | -40.999
980.952 | -0.088 | -48.706
982.184 | -0.086 | -49.194
983.417 | -0.083 | -47.939
984.649 | -0.085 | -52.926
985.882 | -0.089 | -57.275
987.114 | -0.089 | -51.879
988.347 | -0.082 | -42.765
989.579 | -0.078 | -43.157
990.812 | -0.077 | -50.418
992.044 | -0.079 | -57.394
993.277 | -0.087 | -52.589
994.509 | -0.089 | -48.491
995.741 | -0.089 | -52.928
996.974 | -0.088 | -59.17
998.206 | -0.086 | -58.94
999.439 | -0.079 | -52.976
1000.671 | -0.08 | -43.123
1001.904 | -0.085 | -40.044
1003.136 | -0.091 | -46.786
1004.369 | -0.088 | -57.658
1005.601 | -0.081 | -59.831
1006.834 | -0.082 | -59.817
1008.066 | -0.086 | -58.362
1009.299 | -0.088 | -54.507
1010.531 | -0.086 | -49.535
1011.764 | -0.088 | -54.345
1012.996 | -0.091 | -57.238
1014.228 | -0.091 | -52.949
1015.461 | -0.086 | -44.931
1016.693 | -0.083 | -45.088
1017.926 | -0.085 | -49.484
1019.158 | -0.088 | -54.939
1020.391 | -0.09 | -58.333
1021.623 | -0.092 | -54.871
1022.856 | -0.096 | -45.64
1024.088 | -0.098 | -45.891
1025.321 | -0.096 | -48.992
1026.553 | -0.092 | -40.973
1027.786 | -0.091 | -45.672
1029.018 | -0.093 | -51.785
1030.25 | -0.094 | -50.328
1031.483 | -0.091 | -45.713
1032.715 | -0.081 | -54.934
1033.948 | -0.076 | -57.319
1035.18 | -0.08 | -50.745
1036.413 | -0.084 | -41.604
1037.645 | -0.082 | -39.679
1038.878 | -0.084 | -51.812
1040.11 | -0.084 | -56.914
1041.343 | -0.085 | -50.747
1042.575 | -0.087 | -44.185
1043.808 | -0.078 | -50.56
1045.04 | -0.063 | -43.814
1046.273 | -0.044 | -39.18
1047.505 | -0.026 | -38.853
1048.737 | -0.016 | -36.074
1049.97 | -0.013 | -36.274
1051.202 | -0.025 | -37.952
1052.435 | -0.042 | -44.082
1053.667 | -0.055 | -49.052
1054.9 | -0.063 | -44.066
1056.132 | -0.061 | -49.796
1057.365 | -0.057 | -55.871
1058.597 | -0.051 | -54.395
1059.83 | -0.047 | -48.309
1061.062 | -0.044 | -47.042
1062.295 | -0.006 | -48.625
1063.527 | 0.013 | -52.491
1064.76 | -0.013 | -56.954
1065.992 | -0.04 | -57.04
1067.224 | -0.044 | -51.897
1068.457 | -0.04 | -50.307
1069.689 | -0.04 | -48.225
1070.922 | -0.042 | -41.426
1072.154 | -0.039 | -40.049
1073.387 | -0.029 | -47.033
1074.619 | -0.014 | -54.918
1075.852 | -0.002 | -58.968
1077.084 | 0.005 | -59.919
1078.317 | 0.009 | -60
1079.549 | 0.007 | -59.974
1080.782 | -0.001 | -59.439
1082.014 | -0.012 | -56.073
1083.246 | -0.022 | -48.232
1084.479 | -0.025 | -43.247
1085.711 | -0.024 | -45.054
1086.944 | -0.026 | -48.994
1088.176 | -0.03 | -47.898
1089.409 | -0.031 | -43.293
1090.641 | -0.027 | -40.146
1091.874 | -0.02 | -40.596
1093.106 | -0.015 | -44.929
1094.339 | -0.013 | -51.658
1095.571 | -0.013 | -56.877
1096.804 | -0.015 | -59.324
1098.036 | -0.017 | -59.739
1099.269 | -0.019 | -58.135
1100.501 | -0.023 | -53.575
1101.734 | -0.029 | -48.341
1102.966 | -0.033 | -44.286
1104.198 | -0.033 | -43.425
1105.431 | -0.032 | -47.53
1106.663 | -0.034 | -52.577
1107.896 | -0.037 | -52.535
1109.128 | -0.042 | -49.172
1110.361 | -0.048 | -48.529
1111.593 | -0.054 | -49.937
1112.826 | -0.058 | -48.055
1114.058 | -0.061 | -46.044
1115.291 | -0.062 | -48.911
1116.523 | -0.061 | -53.554
1117.755 | -0.06 | -52.906
1118.988 | -0.06 | -50.404
1120.22 | -0.061 | -51.879
1121.453 | -0.062 | -55.848
1122.685 | -0.066 | -56.166
1123.918 | -0.071 | -54.398
1125.15 | -0.075 | -53.372
1126.383 | -0.078 | -52.634
1127.615 | -0.08 | -51.677
1128.848 | -0.079 | -51.474
1130.08 | -0.076 | -50.736
1131.313 | -0.074 | -49.339
1132.545 | -0.075 | -45.998
1133.778 | -0.077 | -39.234
1135.01 | -0.077 | -34.488
1136.242 | -0.075 | -33.238
1137.475 | -0.076 | -33.137
1138.707 | -0.08 | -34.367
1139.94 | -0.081 | -39.577
1141.172 | -0.078 | -48.558
1142.405 | -0.073 | -56.168
1143.637 | -0.068 | -58.062
1144.87 | -0.068 | -55.091
1146.102 | -0.072 | -51.017
1147.335 | -0.077 | -49.363
1148.567 | -0.081 | -48.44
1149.8 | -0.081 | -47.915
1151.032 | -0.082 | -51.5
1152.265 | -0.084 | -53.33
1153.497 | -0.085 | -49.34
1154.729 | -0.086 | -47.075
1155.962 | -0.087 | -51.67
1157.194 | -0.089 | -54.248
1158.427 | -0.091 | -49.604
1159.659 | -0.092 | -42.306
1160.892 | -0.092 | -38.034
1162.124 | -0.094 | -39.276
1163.357 | -0.095 | -43.97
1164.589 | -0.093 | -45.838
1165.822 | -0.09 | -45.659
1167.054 | -0.091 | -46.779
1168.287 | -0.092 | -43.634
1169.519 | -0.092 | -37.861
1170.751 | -0.094 | -36.548
1171.984 | -0.096 | -39.002
1173.216 | -0.093 | -39.581
1174.449 | -0.088 | -37.097
1175.681 | -0.086 | -34.593
1176.914 | -0.084 | -33.957
1178.146 | -0.081 | -35.372
1179.379 | -0.078 | -39.718
1180.611 | -0.077 | -45.843
1181.844 | -0.075 | -47.903
1183.076 | -0.075 | -42.955
1184.309 | -0.077 | -36.487
1185.541 | -0.079 | -34.248
1186.774 | -0.079 | -36.06
1188.006 | -0.079 | -38.348
1189.239 | -0.08 | -40.665
1190.471 | -0.082 | -43.687
1191.703 | -0.082 | -42.864
1192.936 | -0.083 | -38.364
1194.168 | -0.084 | -38.093
1195.401 | -0.082 | -42.924
1196.633 | -0.078 | -46.291
1197.866 | -0.075 | -47.147
1199.098 | -0.075 | -45.632
1200.331 | -0.077 | -40.198
1201.563 | -0.077 | -34.193
1202.796 | -0.076 | -31.177
1204.028 | -0.075 | -30.722
1205.26 | -0.075 | -31.036
1206.493 | -0.076 | -30.783
1207.725 | -0.078 | -29.954
1208.958 | -0.078 | -29.441
1210.19 | -0.073 | -29.808
1211.423 | -0.065 | -30.592
1212.655 | -0.06 | -30.742
1213.888 | -0.058 | -29.95
1215.12 | -0.059 | -28.879
1216.353 | -0.059 | -28.281
1217.585 | -0.061 | -28.345
1218.818 | -0.064 | -28.69
1220.05 | -0.067 | -28.82
1221.283 | -0.068 | -28.555
1222.515 | -0.067 | -28.093
1223.747 | -0.065 | -27.714
1224.98 | -0.062 | -27.533
1226.212 | -0.061 | -27.508
1227.445 | -0.06 | -27.496
1228.677 | -0.06 | -27.326
1229.91 | -0.063 | -27.014
1231.142 | -0.067 | -26.731
1232.375 | -0.071 | -26.517
1233.607 | -0.072 | -26.239
1234.84 | -0.074 | -25.868
1236.072 | -0.078 | -25.584
1237.305 | -0.084 | -25.534
1238.537 | -0.085 | -25.661
1239.77 | -0.082 | -25.781
1241.002 | -0.079 | -25.765
1242.234 | -0.078 | -25.625
1243.467 | -0.082 | -25.438
1244.699 | -0.086 | -25.229
1245.932 | -0.087 | -24.971
1247.164 | -0.087 | -24.658
1248.397 | -0.088 | -24.34
1249.629 | -0.089 | -24.067
1250.862 | -0.088 | -23.824
1252.094 | -0.088 | -23.588
1253.327 | -0.089 | -23.4
1254.559 | -0.092 | -23.304
1255.792 | -0.092 | -23.26
1257.024 | -0.088 | -23.21
1258.256 | -0.083 | -23.144
1259.489 | -0.082 | -23.062
1260.721 | -0.085 | -22.941
1261.954 | -0.089 | -22.767
1263.186 | -0.092 | -22.543
1264.419 | -0.094 | -22.286
1265.651 | -0.097 | -22.025
1266.884 | -0.098 | -21.802
1268.116 | -0.097 | -21.641
1269.349 | -0.096 | -21.518
1270.581 | -0.096 | -21.396
1271.814 | -0.1 | -21.274
1273.046 | -0.104 | -21.18
1274.279 | -0.106 | -21.104
1275.511 | -0.107 | -21.008
1276.744 | -0.109 | -20.875
1277.976 | -0.114 | -20.711
1279.208 | -0.119 | -20.529
1280.441 | -0.123 | -20.336
1281.673 | -0.126 | -20.133
1282.906 | -0.128 | -19.933
1284.138 | -0.132 | -19.753
1285.371 | -0.137 | -19.597
1286.603 | -0.144 | -19.465
1287.836 | -0.148 | -19.357
1289.068 | -0.149 | -19.268
1290.301 | -0.152 | -19.181
1291.533 | -0.16 | -19.09
1292.766 | -0.171 | -18.992
1293.998 | -0.177 | -18.881
1295.23 | -0.179 | -18.745
1296.463 | -0.179 | -18.582
1297.695 | -0.184 | -18.4
1298.928 | -0.193 | -18.225
1300.16 | -0.201 | -18.067
1301.393 | -0.205 | -17.918
1302.625 | -0.209 | -17.768
1303.858 | -0.214 | -17.624
1305.09 | -0.22 | -17.504
1306.323 | -0.223 | -17.409
1307.555 | -0.224 | -17.313
1308.788 | -0.227 | -17.198
1310.02 | -0.233 | -17.07
1311.253 | -0.239 | -16.934
1312.485 | -0.243 | -16.79
1313.717 | -0.249 | -16.639
1314.95 | -0.255 | -16.484
1316.182 | -0.261 | -16.33
1317.415 | -0.268 | -16.179
1318.647 | -0.278 | -16.027
1319.88 | -0.289 | -15.877
1321.112 | -0.296 | -15.742
1322.345 | -0.302 | -15.624
1323.577 | -0.308 | -15.51
1324.81 | -0.314 | -15.388
1326.042 | -0.32 | -15.26
1327.275 | -0.328 | -15.13
1328.507 | -0.336 | -15.001
1329.74 | -0.344 | -14.87
1330.972 | -0.353 | -14.734
1332.204 | -0.362 | -14.591
1333.437 | -0.372 | -14.447
1334.669 | -0.384 | -14.301
1335.902 | -0.397 | -14.153
1337.134 | -0.409 | -14.004
1338.367 | -0.415 | -13.859
1339.599 | -0.418 | -13.724
1340.832 | -0.424 | -13.594
1342.064 | -0.436 | -13.462
1343.297 | -0.45 | -13.326
1344.529 | -0.463 | -13.193
1345.761 | -0.474 | -13.067
1346.994 | -0.486 | -12.942
1348.226 | -0.499 | -12.812
1349.459 | -0.513 | -12.675
1350.691 | -0.526 | -12.535
1351.924 | -0.537 | -12.397
1353.156 | -0.549 | -12.26
1354.389 | -0.562 | -12.121
1355.621 | -0.577 | -11.974
1356.854 | -0.592 | -11.825
1358.086 | -0.607 | -11.682
1359.319 | -0.622 | -11.545
1360.551 | -0.635 | -11.41
1361.784 | -0.647 | -11.279
1363.016 | -0.661 | -11.155
1364.249 | -0.678 | -11.037
1365.481 | -0.696 | -10.917
1366.713 | -0.716 | -10.788
1367.946 | -0.742 | -10.655
1369.178 | -0.776 | -10.528
1370.411 | -0.816 | -10.414
1371.643 | -0.859 | -10.306
1372.876 | -0.913 | -10.201
1374.108 | -0.976 | -10.102
1375.341 | -1.044 | -10.015
1376.573 | -1.111 | -9.936
1377.806 | -1.175 | -9.856
1379.038 | -1.232 | -9.771
1380.271 | -1.282 | -9.678
1381.503 | -1.324 | -9.578
1382.735 | -1.359 | -9.468
1383.968 | -1.386 | -9.35
1385.2 | -1.405 | -9.222
1386.433 | -1.419 | -9.089
1387.665 | -1.428 | -8.954
1388.898 | -1.432 | -8.817
1390.13 | -1.434 | -8.676
1391.363 | -1.437 | -8.529
1392.595 | -1.441 | -8.38
1393.828 | -1.444 | -8.235
1395.06 | -1.446 | -8.096
1396.293 | -1.45 | -7.959
1397.525 | -1.457 | -7.823
1398.758 | -1.468 | -7.691
1399.99 | -1.482 | -7.563
1401.222 | -1.502 | -7.435
1402.455 | -1.524 | -7.304
1403.687 | -1.544 | -7.169
1404.92 | -1.564 | -7.033
1406.152 | -1.588 | -6.902
1407.385 | -1.617 | -6.776
1408.617 | -1.65 | -6.651
1409.85 | -1.685 | -6.525
1411.082 | -1.719 | -6.403
1412.315 | -1.754 | -6.288
1413.547 | -1.791 | -6.174
1414.78 | -1.83 | -6.058
1416.012 | -1.868 | -5.941
1417.245 | -1.905 | -5.827
1418.477 | -1.941 | -5.716
1419.709 | -1.981 | -5.605
1420.942 | -2.029 | -5.498
1422.174 | -2.079 | -5.394
1423.407 | -2.128 | -5.288
1424.639 | -2.179 | -5.183
1425.872 | -2.232 | -5.082
1427.104 | -2.285 | -4.987
1428.337 | -2.336 | -4.888
1429.569 | -2.382 | -4.786
1430.802 | -2.431 | -4.692
1432.034 | -2.495 | -4.603
1433.266 | -2.565 | -4.509
1434.499 | -2.631 | -4.415
1435.731 | -2.697 | -4.333
1436.964 | -2.766 | -4.255
1438.196 | -2.835 | -4.174
1439.429 | -2.901 | -4.087
1440.661 | -2.96 | -4
1441.894 | -3.023 | -3.914
1443.126 | -3.092 | -3.826
1444.359 | -3.166 | -3.74
1445.591 | -3.244 | -3.656
1446.824 | -3.327 | -3.57
1448.056 | -3.408 | -3.488
1449.289 | -3.482 | -3.408
1450.521 | -3.554 | -3.334
1451.754 | -3.635 | -3.264
1452.986 | -3.727 | -3.19
1454.218 | -3.812 | -3.121
1455.451 | -3.888 | -3.052
1456.683 | -3.965 | -2.979
1457.916 | -4.051 | -2.908
1459.148 | -4.144 | -2.841
1460.381 | -4.239 | -2.773
1461.613 | -4.333 | -2.706
1462.846 | -4.428 | -2.64
1464.078 | -4.529 | -2.564
1465.311 | -4.631 | -2.49
1466.543 | -4.729 | -2.43
1467.776 | -4.824 | -2.379
1469.008 | -4.924 | -2.322
1470.24 | -5.032 | -2.264
1471.473 | -5.144 | -2.204
1472.705 | -5.261 | -2.142
1473.938 | -5.377 | -2.081
1475.17 | -5.49 | -2.019
1476.403 | -5.606 | -1.957
1477.635 | -5.726 | -1.899
1478.868 | -5.85 | -1.846
1480.1 | -5.977 | -1.799
1481.333 | -6.102 | -1.748
1482.565 | -6.229 | -1.698
1483.798 | -6.362 | -1.654
1485.03 | -6.502 | -1.612
1486.263 | -6.645 | -1.561
1487.495 | -6.783 | -1.518
1488.727 | -6.922 | -1.473
1489.96 | -7.067 | -1.417
1491.192 | -7.219 | -1.354
1492.425 | -7.377 | -1.306
1493.657 | -7.538 | -1.258
1494.89 | -7.698 | -1.211
1496.122 | -7.859 | -1.17
1497.355 | -8.028 | -1.136
1498.587 | -8.202 | -1.1
1499.82 | -8.386 | -1.062
1501.052 | -8.578 | -1.023
1502.285 | -8.766 | -0.981
1503.517 | -8.947 | -0.953
1504.75 | -9.141 | -0.93
1505.982 | -9.351 | -0.901
1507.214 | -9.568 | -0.861
1508.447 | -9.776 | -0.824
1509.679 | -9.976 | -0.791
1510.912 | -10.184 | -0.762
1512.144 | -10.409 | -0.742
1513.377 | -10.651 | -0.738
1514.609 | -10.893 | -0.726
1515.842 | -11.134 | -0.696
1517.074 | -11.382 | -0.657
1518.307 | -11.647 | -0.619
1519.539 | -11.933 | -0.587
1520.771 | -12.223 | -0.575
1522.004 | -12.506 | -0.558
1523.236 | -12.774 | -0.527
1524.469 | -13.027 | -0.496
1525.701 | -13.3 | -0.478
1526.934 | -13.614 | -0.454
1528.166 | -13.955 | -0.434
1529.399 | -14.3 | -0.426
1530.631 | -14.632 | -0.403
1531.864 | -14.984 | -0.382
1533.096 | -15.365 | -0.368
1534.329 | -15.777 | -0.352
1535.561 | -16.205 | -0.328
1536.794 | -16.596 | -0.325
1538.026 | -16.97 | -0.319
1539.259 | -17.355 | -0.308
1540.491 | -17.783 | -0.298
1541.723 | -18.296 | -0.3
1542.956 | -18.733 | -0.29
1544.188 | -19.091 | -0.287
1545.421 | -19.415 | -0.287
1546.653 | -19.777 | -0.27
1547.886 | -20.256 | -0.261
1549.118 | -20.692 | -0.249
1550.351 | -21.03 | -0.237
1551.583 | -21.249 | -0.227
1552.816 | -21.374 | -0.208
1554.048 | -21.463 | -0.218
1555.281 | -21.587 | -0.217
1556.513 | -21.689 | -0.212
1557.745 | -21.665 | -0.229
1558.978 | -21.5 | -0.243
1560.21 | -21.326 | -0.256
1561.443 | -21.145 | -0.263
1562.675 | -20.944 | -0.262
1563.908 | -20.697 | -0.259
1565.14 | -20.34 | -0.274
1566.373 | -19.927 | -0.275
1567.605 | -19.524 | -0.273
1568.838 | -19.202 | -0.289
1570.07 | -18.924 | -0.28
1571.303 | -18.527 | -0.304
1572.535 | -18.092 | -0.319
1573.768 | -17.685 | -0.316
1575 | -17.371 | -0.329