## Transmission
|  | Wavelength (nm) | % Transmission
|  | 800 | 7.9396
|  | 799 | 7.9769
|  | 798 | 8.0128
|  | 797 | 8.0495
Product Raw Data |  | 796 | 8.0884
Ø25 mm Neutral Density Filter, AR Coated: 350-700 nm, OD: 1.3 |  | 795 | 8.1225
|  | 794 | 8.1664
Item # | NE13B-A | 793 | 8.2059
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 792 | 8.2348
|  | 791 | 8.2724
|  | 790 | 8.3155
|  | 789 | 8.3503
|  | 788 | 8.3876
|  | 787 | 8.4337
|  | 786 | 8.463
Additional Information: |  | 785 | 8.4987
Measurements Made at Normal Incidence |  | 784 | 8.5415
|  | 783 | 8.5773
|  | 782 | 8.6155
|  | 781 | 8.6547
|  | 780 | 8.6897
|  | 779 | 8.7219
|  | 778 | 8.7619
|  | 777 | 8.8072
|  | 776 | 8.8445
|  | 775 | 8.8852
|  | 774 | 8.9135
|  | 773 | 8.9471
|  | 772 | 8.9922
|  | 771 | 9.0257
|  | 770 | 9.0622
|  | 769 | 9.1043
|  | 768 | 9.1363
|  | 767 | 9.1722
|  | 766 | 9.2136
|  | 765 | 9.2426
|  | 764 | 9.2812
|  | 763 | 9.322
|  | 762 | 9.3481
|  | 761 | 9.3816
|  | 760 | 9.4167
|  | 759 | 9.4526
|  | 758 | 9.4878
|  | 757 | 9.52
|  | 756 | 9.5496
|  | 755 | 9.5804
|  | 754 | 9.618
|  | 753 | 9.647
|  | 752 | 9.6793
|  | 751 | 9.7084
|  | 750 | 9.7356
|  | 749 | 9.7587
|  | 748 | 9.7957
|  | 747 | 9.8188
|  | 746 | 9.8546
|  | 745 | 9.8793
|  | 744 | 9.897
|  | 743 | 9.9236
|  | 742 | 9.9521
|  | 741 | 9.9714
|  | 740 | 9.9983
|  | 739 | 10.0192
|  | 738 | 10.0356
|  | 737 | 10.0553
|  | 736 | 10.0724
|  | 735 | 10.0899
|  | 734 | 10.1093
|  | 733 | 10.1255
|  | 732 | 10.1338
|  | 731 | 10.1411
|  | 730 | 10.1586
|  | 729 | 10.1664
|  | 728 | 10.1738
|  | 727 | 10.1801
|  | 726 | 10.1773
|  | 725 | 10.1818
|  | 724 | 10.1877
|  | 723 | 10.184
|  | 722 | 10.1858
|  | 721 | 10.1748
|  | 720 | 10.1587
|  | 719 | 10.1522
|  | 718 | 10.1422
|  | 717 | 10.1264
|  | 716 | 10.1089
|  | 715 | 10.081
|  | 714 | 10.054
|  | 713 | 10.03
|  | 712 | 9.997
|  | 711 | 9.9638
|  | 710 | 9.9326
|  | 709 | 9.8926
|  | 708 | 9.8396
|  | 707 | 9.7908
|  | 706 | 9.74
|  | 705 | 9.6819
|  | 704 | 9.6251
|  | 703 | 9.5579
|  | 702 | 9.4824
|  | 701 | 9.4137
|  | 700 | 9.3428
|  | 699 | 9.2593
|  | 698 | 9.1776
|  | 697 | 9.0848
|  | 696 | 8.9837
|  | 695 | 8.8852
|  | 694 | 8.7878
|  | 693 | 8.6837
|  | 692 | 8.5821
|  | 691 | 8.4711
|  | 690 | 8.3519
|  | 689 | 8.2367
|  | 688 | 8.1158
|  | 687 | 7.9962
|  | 686 | 7.8728
|  | 685 | 7.7493
|  | 684 | 7.6257
|  | 683 | 7.504
|  | 682 | 7.3811
|  | 681 | 7.2634
|  | 680 | 7.1471
|  | 679 | 7.0219
|  | 678 | 6.9112
|  | 677 | 6.7977
|  | 676 | 6.683
|  | 675 | 6.584
|  | 674 | 6.4843
|  | 673 | 6.3854
|  | 672 | 6.3007
|  | 671 | 6.2155
|  | 670 | 6.1299
|  | 669 | 6.0546
|  | 668 | 5.9847
|  | 667 | 5.9157
|  | 666 | 5.8508
|  | 665 | 5.7896
|  | 664 | 5.7333
|  | 663 | 5.6848
|  | 662 | 5.6393
|  | 661 | 5.5955
|  | 660 | 5.5557
|  | 659 | 5.5195
|  | 658 | 5.4823
|  | 657 | 5.4529
|  | 656 | 5.4274
|  | 655 | 5.4
|  | 654 | 5.3801
|  | 653 | 5.3609
|  | 652 | 5.34
|  | 651 | 5.3285
|  | 650 | 5.3157
|  | 649 | 5.3028
|  | 648 | 5.2992
|  | 647 | 5.2915
|  | 646 | 5.2854
|  | 645 | 5.2853
|  | 644 | 5.2863
|  | 643 | 5.2875
|  | 642 | 5.2903
|  | 641 | 5.2938
|  | 640 | 5.2965
|  | 639 | 5.3033
|  | 638 | 5.3124
|  | 637 | 5.3182
|  | 636 | 5.323
|  | 635 | 5.3291
|  | 634 | 5.3335
|  | 633 | 5.3406
|  | 632 | 5.3483
|  | 631 | 5.3491
|  | 630 | 5.3522
|  | 629 | 5.3521
|  | 628 | 5.3492
|  | 627 | 5.3516
|  | 626 | 5.3467
|  | 625 | 5.3394
|  | 624 | 5.3377
|  | 623 | 5.3287
|  | 622 | 5.3168
|  | 621 | 5.3068
|  | 620 | 5.2935
|  | 619 | 5.2786
|  | 618 | 5.2649
|  | 617 | 5.2458
|  | 616 | 5.2249
|  | 615 | 5.2068
|  | 614 | 5.1866
|  | 613 | 5.1648
|  | 612 | 5.1449
|  | 611 | 5.1215
|  | 610 | 5.1018
|  | 609 | 5.0851
|  | 608 | 5.0587
|  | 607 | 5.0358
|  | 606 | 5.0182
|  | 605 | 4.9976
|  | 604 | 4.9774
|  | 603 | 4.961
|  | 602 | 4.9453
|  | 601 | 4.9259
|  | 600 | 4.9094
|  | 599 | 4.8923
|  | 598 | 4.8761
|  | 597 | 4.8644
|  | 596 | 4.8512
|  | 595 | 4.8429
|  | 594 | 4.8385
|  | 593 | 4.8306
|  | 592 | 4.8252
|  | 591 | 4.8279
|  | 590 | 4.8333
|  | 589 | 4.8397
|  | 588 | 4.8504
|  | 587 | 4.863
|  | 586 | 4.8782
|  | 585 | 4.9004
|  | 584 | 4.9229
|  | 583 | 4.9451
|  | 582 | 4.972
|  | 581 | 4.9975
|  | 580 | 5.0266
|  | 579 | 5.061
|  | 578 | 5.0945
|  | 577 | 5.1312
|  | 576 | 5.1664
|  | 575 | 5.1992
|  | 574 | 5.2373
|  | 573 | 5.2735
|  | 572 | 5.3119
|  | 571 | 5.3504
|  | 570 | 5.3869
|  | 569 | 5.4244
|  | 568 | 5.4613
|  | 567 | 5.5013
|  | 566 | 5.5339
|  | 565 | 5.5673
|  | 564 | 5.6038
|  | 563 | 5.6327
|  | 562 | 5.6603
|  | 561 | 5.6927
|  | 560 | 5.7202
|  | 559 | 5.7446
|  | 558 | 5.7708
|  | 557 | 5.793
|  | 556 | 5.8104
|  | 555 | 5.8277
|  | 554 | 5.8389
|  | 553 | 5.8485
|  | 552 | 5.861
|  | 551 | 5.8676
|  | 550 | 5.8697
|  | 549 | 5.8729
|  | 548 | 5.8693
|  | 547 | 5.8656
|  | 546 | 5.8665
|  | 545 | 5.8529
|  | 544 | 5.8412
|  | 543 | 5.8325
|  | 542 | 5.8126
|  | 541 | 5.7974
|  | 540 | 5.78
|  | 539 | 5.7525
|  | 538 | 5.7302
|  | 537 | 5.7051
|  | 536 | 5.6751
|  | 535 | 5.6476
|  | 534 | 5.6202
|  | 533 | 5.5875
|  | 532 | 5.5564
|  | 531 | 5.526
|  | 530 | 5.4908
|  | 529 | 5.4572
|  | 528 | 5.4328
|  | 527 | 5.4027
|  | 526 | 5.3714
|  | 525 | 5.3466
|  | 524 | 5.3152
|  | 523 | 5.2889
|  | 522 | 5.2692
|  | 521 | 5.2443
|  | 520 | 5.2265
|  | 519 | 5.2067
|  | 518 | 5.1872
|  | 517 | 5.1708
|  | 516 | 5.1557
|  | 515 | 5.1407
|  | 514 | 5.1281
|  | 513 | 5.1164
|  | 512 | 5.1062
|  | 511 | 5.0954
|  | 510 | 5.0908
|  | 509 | 5.0876
|  | 508 | 5.0821
|  | 507 | 5.0828
|  | 506 | 5.0801
|  | 505 | 5.0831
|  | 504 | 5.0923
|  | 503 | 5.0919
|  | 502 | 5.1033
|  | 501 | 5.113
|  | 500 | 5.1207
|  | 499 | 5.1323
|  | 498 | 5.1458
|  | 497 | 5.1585
|  | 496 | 5.1751
|  | 495 | 5.1888
|  | 494 | 5.2006
|  | 493 | 5.2183
|  | 492 | 5.2378
|  | 491 | 5.2558
|  | 490 | 5.2759
|  | 489 | 5.2982
|  | 488 | 5.3196
|  | 487 | 5.3481
|  | 486 | 5.3781
|  | 485 | 5.4003
|  | 484 | 5.4296
|  | 483 | 5.4618
|  | 482 | 5.4907
|  | 481 | 5.5194
|  | 480 | 5.5566
|  | 479 | 5.5839
|  | 478 | 5.6185
|  | 477 | 5.6538
|  | 476 | 5.6811
|  | 475 | 5.7139
|  | 474 | 5.7448
|  | 473 | 5.7726
|  | 472 | 5.8025
|  | 471 | 5.8311
|  | 470 | 5.8543
|  | 469 | 5.876
|  | 468 | 5.8988
|  | 467 | 5.9142
|  | 466 | 5.9303
|  | 465 | 5.9425
|  | 464 | 5.9446
|  | 463 | 5.943
|  | 462 | 5.9365
|  | 461 | 5.921
|  | 460 | 5.8962
|  | 459 | 5.8719
|  | 458 | 5.8339
|  | 457 | 5.7872
|  | 456 | 5.7403
|  | 455 | 5.6839
|  | 454 | 5.6224
|  | 453 | 5.557
|  | 452 | 5.4825
|  | 451 | 5.4023
|  | 450 | 5.3308
|  | 449 | 5.246
|  | 448 | 5.1691
|  | 447 | 5.0949
|  | 446 | 5.014
|  | 445 | 4.9464
|  | 444 | 4.89
|  | 443 | 4.8316
|  | 442 | 4.7975
|  | 441 | 4.7664
|  | 440 | 4.7409
|  | 439 | 4.7345
|  | 438 | 4.737
|  | 437 | 4.74
|  | 436 | 4.7586
|  | 435 | 4.7756
|  | 434 | 4.7866
|  | 433 | 4.7899
|  | 432 | 4.7995
|  | 431 | 4.7981
|  | 430 | 4.7842
|  | 429 | 4.7643
|  | 428 | 4.733
|  | 427 | 4.6952
|  | 426 | 4.658
|  | 425 | 4.611
|  | 424 | 4.5654
|  | 423 | 4.5182
|  | 422 | 4.4601
|  | 421 | 4.4109
|  | 420 | 4.3644
|  | 419 | 4.3158
|  | 418 | 4.2726
|  | 417 | 4.2331
|  | 416 | 4.1915
|  | 415 | 4.1624
|  | 414 | 4.139
|  | 413 | 4.1232
|  | 412 | 4.112
|  | 411 | 4.104
|  | 410 | 4.0969
|  | 409 | 4.0968
|  | 408 | 4.1018
|  | 407 | 4.1033
|  | 406 | 4.0998
|  | 405 | 4.0956
|  | 404 | 4.0799
|  | 403 | 4.0525
|  | 402 | 4.0241
|  | 401 | 3.9734
|  | 400 | 3.9148
|  | 399 | 3.8411
|  | 398 | 3.7429
|  | 397 | 3.6391
|  | 396 | 3.5234
|  | 395 | 3.3928
|  | 394 | 3.2575
|  | 393 | 3.1103
|  | 392 | 2.9478
|  | 391 | 2.7771
|  | 390 | 2.604
|  | 389 | 2.4174
|  | 388 | 2.2237
|  | 387 | 2.0264
|  | 386 | 1.8233
|  | 385 | 1.6278
|  | 384 | 1.4492
|  | 383 | 1.2796
|  | 382 | 1.123
|  | 381 | 0.98351
|  | 380 | 0.8643
|  | 379 | 0.77372
|  | 378 | 0.71058
|  | 377 | 0.67852
|  | 376 | 0.67621
|  | 375 | 0.69874
|  | 374 | 0.7294
|  | 373 | 0.76985
|  | 372 | 0.80021
|  | 371 | 0.81233
|  | 370 | 0.8068
|  | 369 | 0.78305
|  | 368 | 0.74061
|  | 367 | 0.68602
|  | 366 | 0.6256
|  | 365 | 0.56161
|  | 364 | 0.50023
|  | 363 | 0.44053
|  | 362 | 0.38328
|  | 361 | 0.3338
|  | 360 | 0.28481
|  | 359 | 0.23745
|  | 358 | 0.19726
|  | 357 | 0.16412
|  | 356 | 0.13072
|  | 355 | 0.1086
|  | 354 | 0.087507
|  | 353 | 0.066015
|  | 352 | 0.052168
|  | 351 | 0.041254
|  | 350 | 0.032119
|  | 349 | 0.022778
|  | 348 | 0.015327
|  | 347 | 0.010503
|  | 346 | 0.006512
|  | 345 | 0.004832
|  | 344 | 0.002311
|  | 343 | 0.004096
|  | 342 | 0.001261
|  | 341 | 0
|  | 340 | -0.001576
|  | 339 | 0.001261
|  | 338 | -0.000946
|  | 337 | 0.001577
|  | 336 | 0.002418
|  | 335 | -0.000526
|  | 334 | -0.002944
|  | 333 | 0
|  | 332 | -0.000841
|  | 331 | 0.003049
|  | 330 | 0.001682
|  | 329 | 0.000315
|  | 328 | -0.000947
|  | 327 | 0.000946
|  | 326 | 0.000105
|  | 325 | 0.002734
|  | 324 | 0.001472
|  | 323 | -0.000736
|  | 322 | -0.00305
|  | 321 | -0.000421
|  | 320 | -0.000841
|  | 319 | 0.001683
|  | 318 | 0.001789
|  | 317 | -0.000633
|  | 316 | -0.001477
|  | 315 | -0.00095
|  | 314 | 0.00359
|  | 313 | -0.00095
|  | 312 | 0.000633
|  | 311 | 0.001055
|  | 310 | -0.001056
|  | 309 | -0.000634
|  | 308 | 0.003062
|  | 307 | -0.000528
|  | 306 | 0.001373
|  | 305 | 0.001372
|  | 304 | -0.000845
|  | 303 | -0.000211
|  | 302 | 0.002747
|  | 301 | -0.000739
|  | 300 | 0.001267
|  | 299 | 0.001161
|  | 298 | -0.00095
|  | 297 | -0.000211
|  | 296 | 0.000739
|  | 295 | -0.002217
|  | 294 | 0.00264
|  | 293 | 0.002534
|  | 292 | 0
|  | 291 | 0.000422
|  | 290 | 0.001795
|  | 289 | 0.000106
|  | 288 | 0.00285
|  | 287 | 0.002217
|  | 286 | -0.000844
|  | 285 | 0
|  | 284 | 0.001583
|  | 283 | -0.000422
|  | 282 | 0.003904
|  | 281 | 0.002954
|  | 280 | -0.000211
|  | 279 | 0.000633
|  | 278 | 0.001583
|  | 277 | -0.000316
|  | 276 | 0.003057
|  | 275 | 0.001476
|  | 274 | -0.001686
|  | 273 | -0.000105
|  | 272 | 0.000843
|  | 271 | 0
|  | 270 | 0.003263
|  | 269 | 0.001789
|  | 268 | -0.00021
|  | 267 | 0.001367
|  | 266 | 0.001577
|  | 265 | -0.00042
|  | 264 | 0.002099
|  | 263 | 0.001679
|  | 262 | -0.001468
|  | 261 | 0.000315
|  | 260 | 0.001782
|  | 259 | -0.000209
|  | 258 | 0.002408
|  | 257 | 0.002094
|  | 256 | -0.000628
|  | 255 | 0.001047
|  | 254 | 0.000523
|  | 253 | -0.001046
|  | 252 | 0.002301
|  | 251 | 0.000941
|  | 250 | -0.002196
|  | 299 | 0.00074
|  | 298 | -0.001691
|  | 297 | 0
|  | 296 | 0.00148
|  | 295 | -0.001268
|  | 294 | 0.002114
|  | 293 | 0.000845
|  | 292 | -0.001585
|  | 291 | 0.002114
|  | 290 | 0.003488
|  | 289 | -0.002324
|  | 288 | -0.001796
|  | 287 | -0.000317
|  | 286 | 0.001268
|  | 285 | 0.001162
|  | 284 | 0.000317
|  | 283 | 0.001162
|  | 282 | 0.001373
|  | 281 | -0.001267
|  | 280 | -0.002746
|  | 279 | 0.000422
|  | 278 | 0.002112
|  | 277 | 0.000317
|  | 276 | 0.002427
|  | 275 | 0.00095
|  | 274 | -0.000738
|  | 273 | 0.001793
|  | 272 | 0.001582
|  | 271 | -0.000422
|  | 270 | 0.002002
|  | 269 | 0.000526
|  | 268 | -0.001579
|  | 267 | 0.001368
|  | 266 | 0.001157
|  | 265 | 0.000105
|  | 264 | 0.001891
|  | 263 | 0.00063
|  | 262 | -0.000734
|  | 261 | 0.001364
|  | 260 | 0.000524
|  | 259 | -0.000734
|  | 258 | 0.001467
|  | 257 | -0.000524
|  | 256 | -0.001047
|  | 255 | 0
|  | 254 | -0.002304
|  | 253 | -0.001047
|  | 252 | 0.002721
|  | 251 | 0.001569
|  | 250 | 0.000105
|  | 249 | 0.001987
|  | 248 | 0.000418
|  | 247 | -0.000313
|  | 246 | 0.002087
|  | 245 | -0.00073
|  | 244 | -0.003022
|  | 243 | -0.001458
|  | 242 | -0.001559
|  | 241 | -0.000104
|  | 240 | 0.00259
|  | 239 | -0.00031
|  | 238 | -0.001858
|  | 237 | -0.000515
|  | 236 | -0.001132
|  | 235 | 0
|  | 234 | 0.00246
|  | 233 | -0.000205
|  | 232 | -0.001942
|  | 231 | 0.001123
|  | 230 | -0.000714
|  | 229 | -0.000407
|  | 228 | 0.002848
|  | 227 | 0.000813
|  | 226 | -0.001016
|  | 225 | -0.000508
|  | 224 | -0.001727
|  | 223 | 0
|  | 222 | 0.002335
|  | 221 | 0.000711
|  | 220 | -0.000711
|  | 219 | 0.000305
|  | 218 | -0.000812
|  | 217 | 0.000305
|  | 216 | 0.002335
|  | 215 | 0
|  | 214 | -0.001015
|  | 213 | 0.000203
|  | 212 | -0.001725
|  | 211 | 0.000608
|  | 210 | 0.00223
|  | 209 | 0.000101
|  | 208 | -0.002531
|  | 207 | 0.001214
|  | 206 | 0.000202
|  | 205 | -0.001614
|  | 204 | 0
|  | 203 | -0.001004
|  | 202 | 0.0003
|  | 201 | 0.0002
|  | 200 | -0.003873