## Attenuation
Calcium Fluoride Series Prism Beam Attenuator, 31 to 38 dB
|  | Wavelength (nm) | Attenuation (%) | Attenuation (dB)
|  | 150 | 99.8664 | 28.7427
|  | 156.7 | 99.8817 | 29.2704
|  | 163.7 | 99.8936 | 29.7319
|  | 171.1 | 99.9032 | 30.1421
Product Raw Data |  | 178.7 | 99.9108 | 30.498
Calcium Fluoride Series Prism Beam Attenuator, 31 to 38 dB |  | 186.7 | 99.9171 | 30.8161
|  | 195.1 | 99.9224 | 31.1004
Item # | ATT31(/M) | 203.8 | 99.9267 | 31.3517
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 213 | 99.9305 | 31.5792
|  | 222.5 | 99.9336 | 31.7807
|  | 232.5 | 99.9364 | 31.9632
|  | 242.9 | 99.9387 | 32.1266
|  | 253.8 | 99.9408 | 32.2745
|  | 265.2 | 99.9426 | 32.4081
This data may be used in publications. However, please cite Thorlabs as the source. |  | 277 | 99.9441 | 32.5279
|  | 289.4 | 99.9455 | 32.6371
|  | 302.4 | 99.9467 | 32.7364
Additional Information: |  | 315.9 | 99.9478 | 32.826
|  | 330.1 | 99.9488 | 32.9079
|  | 344.9 | 99.9497 | 32.9823
|  | 360.3 | 99.9505 | 33.0497
|  | 376.5 | 99.9512 | 33.1115
|  | 393.3 | 99.9518 | 33.1675
|  | 411 | 99.9523 | 33.219
|  | 429.4 | 99.9529 | 33.2658
|  | 448.6 | 99.9533 | 33.3086
|  | 468.7 | 99.9537 | 33.3478
|  | 489.7 | 99.9541 | 33.3838
|  | 511.6 | 99.9545 | 33.4167
|  | 534.5 | 99.9548 | 33.447
|  | 558.5 | 99.9551 | 33.4749
|  | 583.5 | 99.9553 | 33.5005
|  | 609.6 | 99.9556 | 33.5242
|  | 637 | 99.9558 | 33.5461
|  | 665.5 | 99.956 | 33.5664
|  | 695.3 | 99.9562 | 33.5853
|  | 726.4 | 99.9564 | 33.6028
|  | 759 | 99.9565 | 33.6193
|  | 793 | 99.9567 | 33.6347
|  | 828.5 | 99.9568 | 33.6493
|  | 865.6 | 99.957 | 33.663
|  | 904.4 | 99.9571 | 33.6762
|  | 944.9 | 99.9572 | 33.6887
|  | 987.2 | 99.9574 | 33.7008
|  | 1031 | 99.9575 | 33.7125
|  | 1078 | 99.9576 | 33.7242
|  | 1126 | 99.9577 | 33.7354
|  | 1176 | 99.9578 | 33.7466
|  | 1229 | 99.9579 | 33.7579
|  | 1284 | 99.958 | 33.7692
|  | 1342 | 99.9581 | 33.7807
|  | 1402 | 99.9582 | 33.7925
|  | 1465 | 99.9584 | 33.8047
|  | 1530 | 99.9585 | 33.8171
|  | 1599 | 99.9586 | 33.8304
|  | 1670 | 99.9587 | 33.844
|  | 1745 | 99.9589 | 33.8586
|  | 1823 | 99.959 | 33.8741
|  | 1905 | 99.9592 | 33.8906
|  | 1990 | 99.9593 | 33.9082
|  | 2079 | 99.9595 | 33.9271
|  | 2173 | 99.9597 | 33.9476
|  | 2270 | 99.9599 | 33.9695
|  | 2372 | 99.9601 | 33.9934
|  | 2478 | 99.9604 | 34.0191
|  | 2589 | 99.9606 | 34.0471
|  | 2705 | 99.9609 | 34.0775
|  | 2826 | 99.9612 | 34.1107
|  | 2953 | 99.9615 | 34.1469
|  | 3085 | 99.9619 | 34.1864
|  | 3223 | 99.9622 | 34.2295
|  | 3367 | 99.9626 | 34.2766
|  | 3518 | 99.9631 | 34.3284
|  | 3676 | 99.9636 | 34.3853
|  | 3840 | 99.9641 | 34.4473
|  | 4012 | 99.9646 | 34.5157
|  | 4192 | 99.9653 | 34.591
|  | 4380 | 99.9659 | 34.6739
|  | 4576 | 99.9666 | 34.765
|  | 4781 | 99.9674 | 34.8657
|  | 4995 | 99.9682 | 34.9769
|  | 5219 | 99.9691 | 35.1001
|  | 5453 | 99.9701 | 35.2365
|  | 5697 | 99.9711 | 35.3877
|  | 5952 | 99.9722 | 35.5557
|  | 6219 | 99.9734 | 35.7433
|  | 6498 | 99.9746 | 35.9528
|  | 6789 | 99.9759 | 36.187
|  | 7093 | 99.9774 | 36.4497
|  | 7410 | 99.9788 | 36.7449
|  | 7742 | 99.9804 | 37.0792
|  | 8089 | 99.982 | 37.4587
|  | 8452 | 99.9838 | 37.892
|  | 8830 | 99.9855 | 38.3869
|  | 9226 | 99.9873 | 38.9594
|  | 9639 | 99.9891 | 39.6235
|  | 10070 | 99.9909 | 40.401
|  | 10520 | 99.9926 | 41.3214
|  | 10990 | 99.9943 | 42.4253
|  | 11490 | 99.9958 | 43.7979
|  | 12000 | 99.9972 | 45.467