## A018921
SN: | A018921
Item #: | BXC12
Item Description: | 2x2 90:10 Boxed Wideband Fiber Optic Coupler
Fiber Type: | SMF-28 Ultra
Port Name: | IN 1 (Input) - OUT 1 (Signal Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.59
Coupling Ratio (%): | 90.21
Uniformity (dB): | 0.13
Port Name: | IN 1 (Input) - OUT 2 (Tap Output)
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -10.23
Coupling Ratio (%): | 9.79
Uniformity (dB): | 0.44
Spectral Response
Wavelength (nm) | Insertion Loss - OUT 1 (Signal Output) (dB) | Coupling Ratio - OUT 1 (Signal Output) (%) | Insertion Loss - OUT 2 (Tap Output) (dB) | Coupling Ratio - OUT 2 (Tap Output) (%)
1440 | -0.583 | 90.804 | -10.528 | 9.196
1440.441 | -0.584 | 90.8 | -10.527 | 9.2
1440.882 | -0.587 | 90.78 | -10.52 | 9.22
1441.323 | -0.588 | 90.787 | -10.524 | 9.213
1441.764 | -0.59 | 90.767 | -10.516 | 9.233
1442.204 | -0.591 | 90.737 | -10.501 | 9.263
1442.645 | -0.583 | 90.8 | -10.526 | 9.2
1443.086 | -0.584 | 90.797 | -10.526 | 9.203
1443.527 | -0.589 | 90.766 | -10.514 | 9.234
1443.968 | -0.594 | 90.726 | -10.498 | 9.274
1444.409 | -0.596 | 90.713 | -10.494 | 9.287
1444.85 | -0.591 | 90.743 | -10.505 | 9.257
1445.291 | -0.588 | 90.77 | -10.516 | 9.23
1445.731 | -0.591 | 90.776 | -10.522 | 9.224
1446.172 | -0.585 | 90.773 | -10.514 | 9.227
1446.613 | -0.573 | 90.789 | -10.511 | 9.211
1447.054 | -0.571 | 90.775 | -10.501 | 9.225
1447.495 | -0.584 | 90.712 | -10.481 | 9.288
1447.936 | -0.581 | 90.699 | -10.472 | 9.301
1448.377 | -0.574 | 90.733 | -10.482 | 9.267
1448.818 | -0.568 | 90.778 | -10.499 | 9.222
1449.259 | -0.567 | 90.806 | -10.513 | 9.194
1449.699 | -0.566 | 90.793 | -10.505 | 9.207
1450.14 | -0.562 | 90.802 | -10.506 | 9.198
1450.581 | -0.56 | 90.801 | -10.503 | 9.199
1451.022 | -0.563 | 90.761 | -10.486 | 9.239
1451.463 | -0.565 | 90.748 | -10.481 | 9.252
1451.904 | -0.568 | 90.739 | -10.479 | 9.261
1452.345 | -0.573 | 90.725 | -10.477 | 9.275
1452.786 | -0.577 | 90.705 | -10.471 | 9.295
1453.226 | -0.56 | 90.778 | -10.492 | 9.222
1453.667 | -0.553 | 90.797 | -10.495 | 9.203
1454.108 | -0.558 | 90.788 | -10.495 | 9.212
1454.549 | -0.569 | 90.8 | -10.512 | 9.2
1454.99 | -0.571 | 90.722 | -10.474 | 9.278
1455.431 | -0.556 | 90.743 | -10.469 | 9.257
1455.872 | -0.541 | 90.803 | -10.486 | 9.197
1456.313 | -0.559 | 90.749 | -10.476 | 9.251
1456.754 | -0.556 | 90.747 | -10.471 | 9.253
1457.194 | -0.547 | 90.768 | -10.473 | 9.232
1457.635 | -0.54 | 90.794 | -10.48 | 9.206
1458.076 | -0.542 | 90.804 | -10.487 | 9.196
1458.517 | -0.552 | 90.791 | -10.49 | 9.209
1458.958 | -0.551 | 90.772 | -10.479 | 9.228
1459.399 | -0.539 | 90.758 | -10.46 | 9.242
1459.84 | -0.531 | 90.758 | -10.452 | 9.242
1460.281 | -0.546 | 90.716 | -10.445 | 9.284
1460.721 | -0.558 | 90.713 | -10.457 | 9.287
1461.162 | -0.559 | 90.756 | -10.479 | 9.244
1461.603 | -0.55 | 90.755 | -10.47 | 9.245
1462.044 | -0.542 | 90.776 | -10.473 | 9.224
1462.485 | -0.537 | 90.79 | -10.474 | 9.21
1462.926 | -0.533 | 90.787 | -10.47 | 9.213
1463.367 | -0.532 | 90.796 | -10.473 | 9.204
1463.808 | -0.541 | 90.77 | -10.468 | 9.23
1464.249 | -0.546 | 90.744 | -10.46 | 9.256
1464.689 | -0.544 | 90.73 | -10.45 | 9.27
1465.13 | -0.545 | 90.677 | -10.424 | 9.323
1465.571 | -0.55 | 90.656 | -10.418 | 9.344
1466.012 | -0.558 | 90.67 | -10.434 | 9.33
1466.453 | -0.567 | 90.703 | -10.46 | 9.297
1466.894 | -0.57 | 90.679 | -10.45 | 9.321
1467.335 | -0.57 | 90.671 | -10.446 | 9.329
1467.776 | -0.562 | 90.677 | -10.441 | 9.323
1468.216 | -0.544 | 90.684 | -10.427 | 9.316
1468.657 | -0.544 | 90.684 | -10.427 | 9.316
1469.098 | -0.545 | 90.697 | -10.435 | 9.303
1469.539 | -0.544 | 90.709 | -10.44 | 9.291
1469.98 | -0.541 | 90.702 | -10.434 | 9.298
1470.421 | -0.539 | 90.69 | -10.425 | 9.31
1470.862 | -0.542 | 90.654 | -10.41 | 9.346
1471.303 | -0.547 | 90.618 | -10.396 | 9.382
1471.744 | -0.548 | 90.62 | -10.398 | 9.38
1472.184 | -0.549 | 90.648 | -10.414 | 9.352
1472.625 | -0.55 | 90.667 | -10.424 | 9.333
1473.066 | -0.549 | 90.675 | -10.427 | 9.325
1473.507 | -0.545 | 90.678 | -10.426 | 9.322
1473.948 | -0.549 | 90.672 | -10.425 | 9.328
1474.389 | -0.553 | 90.658 | -10.423 | 9.342
1474.83 | -0.554 | 90.645 | -10.417 | 9.355
1475.271 | -0.547 | 90.64 | -10.408 | 9.36
1475.711 | -0.545 | 90.612 | -10.391 | 9.388
1476.152 | -0.548 | 90.588 | -10.382 | 9.412
1476.593 | -0.552 | 90.584 | -10.384 | 9.416
1477.034 | -0.552 | 90.595 | -10.39 | 9.405
1477.475 | -0.549 | 90.592 | -10.385 | 9.408
1477.916 | -0.546 | 90.587 | -10.379 | 9.413
1478.357 | -0.545 | 90.583 | -10.377 | 9.417
1478.798 | -0.548 | 90.565 | -10.371 | 9.435
1479.239 | -0.551 | 90.536 | -10.359 | 9.464
1479.679 | -0.553 | 90.522 | -10.354 | 9.478
1480.12 | -0.554 | 90.535 | -10.361 | 9.465
1480.561 | -0.553 | 90.563 | -10.375 | 9.437
1481.002 | -0.553 | 90.578 | -10.382 | 9.422
1481.443 | -0.552 | 90.589 | -10.386 | 9.411
1481.884 | -0.553 | 90.598 | -10.392 | 9.402
1482.325 | -0.557 | 90.59 | -10.392 | 9.41
1482.766 | -0.558 | 90.574 | -10.385 | 9.426
1483.206 | -0.558 | 90.565 | -10.381 | 9.435
1483.647 | -0.558 | 90.574 | -10.385 | 9.426
1484.088 | -0.558 | 90.593 | -10.394 | 9.407
1484.529 | -0.556 | 90.603 | -10.398 | 9.397
1484.97 | -0.555 | 90.596 | -10.392 | 9.404
1485.411 | -0.554 | 90.582 | -10.385 | 9.418
1485.852 | -0.551 | 90.604 | -10.393 | 9.396
1486.293 | -0.554 | 90.604 | -10.396 | 9.396
1486.734 | -0.563 | 90.576 | -10.39 | 9.424
1487.174 | -0.571 | 90.541 | -10.381 | 9.459
1487.615 | -0.573 | 90.525 | -10.374 | 9.475
1488.056 | -0.573 | 90.482 | -10.353 | 9.518
1488.497 | -0.572 | 90.462 | -10.342 | 9.538
1488.938 | -0.571 | 90.518 | -10.369 | 9.482
1489.379 | -0.572 | 90.564 | -10.394 | 9.436
1489.82 | -0.568 | 90.579 | -10.398 | 9.421
1490.26 | -0.562 | 90.573 | -10.388 | 9.427
1490.701 | -0.559 | 90.559 | -10.378 | 9.441
1491.142 | -0.555 | 90.543 | -10.366 | 9.457
1491.583 | -0.555 | 90.525 | -10.357 | 9.475
1492.024 | -0.556 | 90.517 | -10.354 | 9.483
1492.465 | -0.553 | 90.535 | -10.36 | 9.465
1492.906 | -0.545 | 90.564 | -10.367 | 9.436
1493.347 | -0.544 | 90.571 | -10.37 | 9.429
1493.788 | -0.552 | 90.557 | -10.37 | 9.443
1494.229 | -0.558 | 90.553 | -10.374 | 9.447
1494.669 | -0.567 | 90.554 | -10.384 | 9.446
1495.11 | -0.573 | 90.549 | -10.387 | 9.451
1495.551 | -0.568 | 90.544 | -10.38 | 9.456
1495.992 | -0.556 | 90.56 | -10.376 | 9.44
1496.433 | -0.552 | 90.573 | -10.378 | 9.427
1496.874 | -0.56 | 90.553 | -10.376 | 9.447
1497.315 | -0.575 | 90.519 | -10.373 | 9.481
1497.755 | -0.579 | 90.536 | -10.387 | 9.464
1498.196 | -0.572 | 90.582 | -10.403 | 9.418
1498.637 | -0.567 | 90.589 | -10.401 | 9.411
1499.078 | -0.57 | 90.554 | -10.386 | 9.446
1499.519 | -0.574 | 90.543 | -10.385 | 9.457
1499.96 | -0.573 | 90.535 | -10.38 | 9.465
1500.401 | -0.572 | 90.52 | -10.372 | 9.48
1500.842 | -0.574 | 90.512 | -10.37 | 9.488
1501.283 | -0.573 | 90.529 | -10.377 | 9.471
1501.723 | -0.562 | 90.553 | -10.378 | 9.447
1502.164 | -0.55 | 90.583 | -10.382 | 9.417
1502.605 | -0.552 | 90.587 | -10.386 | 9.413
1503.046 | -0.571 | 90.507 | -10.364 | 9.493
1503.487 | -0.582 | 90.449 | -10.346 | 9.551
1503.928 | -0.583 | 90.443 | -10.344 | 9.557
1504.369 | -0.581 | 90.457 | -10.349 | 9.543
1504.81 | -0.583 | 90.453 | -10.348 | 9.547
1505.25 | -0.583 | 90.445 | -10.345 | 9.555
1505.691 | -0.582 | 90.462 | -10.351 | 9.538
1506.132 | -0.578 | 90.499 | -10.367 | 9.501
1506.573 | -0.575 | 90.507 | -10.367 | 9.493
1507.014 | -0.573 | 90.489 | -10.357 | 9.511
1507.455 | -0.572 | 90.466 | -10.344 | 9.534
1507.896 | -0.574 | 90.439 | -10.332 | 9.561
1508.337 | -0.582 | 90.407 | -10.324 | 9.593
1508.778 | -0.584 | 90.41 | -10.328 | 9.59
1509.218 | -0.579 | 90.43 | -10.333 | 9.57
1509.659 | -0.578 | 90.418 | -10.326 | 9.582
1510.1 | -0.583 | 90.4 | -10.322 | 9.6
1510.541 | -0.584 | 90.395 | -10.321 | 9.605
1510.982 | -0.584 | 90.393 | -10.319 | 9.607
1511.423 | -0.587 | 90.387 | -10.32 | 9.613
1511.864 | -0.587 | 90.39 | -10.321 | 9.61
1512.305 | -0.583 | 90.395 | -10.32 | 9.605
1512.745 | -0.582 | 90.378 | -10.31 | 9.622
1513.186 | -0.589 | 90.331 | -10.293 | 9.669
1513.627 | -0.604 | 90.295 | -10.291 | 9.705
1514.068 | -0.617 | 90.273 | -10.293 | 9.727
1514.509 | -0.618 | 90.262 | -10.288 | 9.738
1514.95 | -0.605 | 90.275 | -10.282 | 9.725
1515.391 | -0.595 | 90.299 | -10.284 | 9.701
1515.832 | -0.596 | 90.308 | -10.289 | 9.692
1516.273 | -0.6 | 90.306 | -10.292 | 9.694
1516.713 | -0.6 | 90.323 | -10.301 | 9.677
1517.154 | -0.6 | 90.341 | -10.31 | 9.659
1517.595 | -0.604 | 90.343 | -10.315 | 9.657
1518.036 | -0.607 | 90.342 | -10.317 | 9.658
1518.477 | -0.601 | 90.362 | -10.321 | 9.638
1518.918 | -0.593 | 90.38 | -10.322 | 9.62
1519.359 | -0.589 | 90.371 | -10.313 | 9.629
1519.8 | -0.59 | 90.343 | -10.3 | 9.657
1520.24 | -0.591 | 90.333 | -10.296 | 9.667
1520.681 | -0.593 | 90.345 | -10.304 | 9.655
1521.122 | -0.601 | 90.351 | -10.315 | 9.649
1521.563 | -0.61 | 90.339 | -10.318 | 9.661
1522.004 | -0.604 | 90.339 | -10.312 | 9.661
1522.445 | -0.592 | 90.361 | -10.312 | 9.639
1522.886 | -0.585 | 90.386 | -10.317 | 9.614
1523.327 | -0.584 | 90.388 | -10.317 | 9.612
1523.768 | -0.584 | 90.37 | -10.308 | 9.63
1524.208 | -0.585 | 90.357 | -10.303 | 9.643
1524.649 | -0.588 | 90.366 | -10.31 | 9.634
1525.09 | -0.591 | 90.39 | -10.325 | 9.61
1525.531 | -0.594 | 90.404 | -10.334 | 9.596
1525.972 | -0.598 | 90.4 | -10.337 | 9.6
1526.413 | -0.603 | 90.389 | -10.337 | 9.611
1526.854 | -0.606 | 90.375 | -10.333 | 9.625
1527.295 | -0.604 | 90.36 | -10.323 | 9.64
1527.735 | -0.602 | 90.348 | -10.315 | 9.652
1528.176 | -0.601 | 90.345 | -10.313 | 9.655
1528.617 | -0.6 | 90.35 | -10.314 | 9.65
1529.058 | -0.598 | 90.349 | -10.312 | 9.652
1529.499 | -0.597 | 90.342 | -10.307 | 9.658
1529.94 | -0.597 | 90.346 | -10.309 | 9.654
1530.381 | -0.596 | 90.359 | -10.315 | 9.641
1530.822 | -0.595 | 90.352 | -10.31 | 9.648
1531.263 | -0.592 | 90.331 | -10.297 | 9.669
1531.703 | -0.591 | 90.32 | -10.29 | 9.68
1532.144 | -0.592 | 90.321 | -10.292 | 9.679
1532.585 | -0.596 | 90.307 | -10.289 | 9.693
1533.026 | -0.602 | 90.282 | -10.282 | 9.718
1533.467 | -0.605 | 90.267 | -10.278 | 9.733
1533.908 | -0.605 | 90.262 | -10.275 | 9.738
1534.349 | -0.602 | 90.248 | -10.265 | 9.752
1534.79 | -0.597 | 90.248 | -10.26 | 9.752
1535.23 | -0.596 | 90.258 | -10.264 | 9.742
1535.671 | -0.603 | 90.242 | -10.264 | 9.758
1536.112 | -0.607 | 90.23 | -10.261 | 9.77
1536.553 | -0.599 | 90.251 | -10.264 | 9.749
1536.994 | -0.591 | 90.289 | -10.274 | 9.711
1537.435 | -0.593 | 90.31 | -10.287 | 9.69
1537.876 | -0.602 | 90.306 | -10.294 | 9.694
1538.317 | -0.608 | 90.31 | -10.302 | 9.69
1538.758 | -0.607 | 90.331 | -10.311 | 9.669
1539.198 | -0.606 | 90.333 | -10.311 | 9.667
1539.639 | -0.604 | 90.315 | -10.3 | 9.685
1540.08 | -0.601 | 90.3 | -10.291 | 9.7
1540.521 | -0.602 | 90.284 | -10.283 | 9.716
1540.962 | -0.602 | 90.257 | -10.27 | 9.743
1541.403 | -0.6 | 90.228 | -10.254 | 9.772
1541.844 | -0.598 | 90.216 | -10.246 | 9.784
1542.285 | -0.598 | 90.22 | -10.247 | 9.78
1542.725 | -0.599 | 90.234 | -10.255 | 9.766
1543.166 | -0.592 | 90.265 | -10.264 | 9.735
1543.607 | -0.58 | 90.306 | -10.272 | 9.694
1544.048 | -0.575 | 90.316 | -10.273 | 9.684
1544.489 | -0.581 | 90.286 | -10.263 | 9.714
1544.93 | -0.583 | 90.27 | -10.257 | 9.73
1545.371 | -0.582 | 90.28 | -10.261 | 9.72
1545.812 | -0.591 | 90.277 | -10.269 | 9.723
1546.253 | -0.598 | 90.26 | -10.268 | 9.74
1546.693 | -0.594 | 90.254 | -10.261 | 9.746
1547.134 | -0.588 | 90.257 | -10.256 | 9.743
1547.575 | -0.586 | 90.249 | -10.25 | 9.751
1548.016 | -0.585 | 90.234 | -10.241 | 9.766
1548.457 | -0.584 | 90.226 | -10.236 | 9.774
1548.898 | -0.585 | 90.226 | -10.238 | 9.774
1549.339 | -0.587 | 90.221 | -10.237 | 9.779
1549.78 | -0.588 | 90.213 | -10.234 | 9.787
1550.22 | -0.59 | 90.215 | -10.237 | 9.785
1550.661 | -0.592 | 90.227 | -10.245 | 9.773
1551.102 | -0.591 | 90.239 | -10.25 | 9.761
1551.543 | -0.589 | 90.25 | -10.253 | 9.75
1551.984 | -0.592 | 90.259 | -10.261 | 9.741
1552.425 | -0.597 | 90.267 | -10.27 | 9.733
1552.866 | -0.599 | 90.265 | -10.271 | 9.735
1553.307 | -0.6 | 90.246 | -10.263 | 9.754
1553.747 | -0.6 | 90.224 | -10.252 | 9.776
1554.188 | -0.598 | 90.202 | -10.238 | 9.798
1554.629 | -0.6 | 90.147 | -10.214 | 9.853
1555.07 | -0.618 | 90.06 | -10.189 | 9.94
1555.511 | -0.623 | 90.046 | -10.188 | 9.954
1555.952 | -0.603 | 90.116 | -10.202 | 9.884
1556.393 | -0.588 | 90.157 | -10.207 | 9.843
1556.834 | -0.588 | 90.183 | -10.22 | 9.817
1557.275 | -0.596 | 90.222 | -10.246 | 9.778
1557.715 | -0.607 | 90.214 | -10.254 | 9.786
1558.156 | -0.612 | 90.183 | -10.244 | 9.817
1558.597 | -0.605 | 90.218 | -10.254 | 9.782
1559.038 | -0.604 | 90.254 | -10.27 | 9.746
1559.479 | -0.612 | 90.221 | -10.262 | 9.779
1559.92 | -0.609 | 90.211 | -10.255 | 9.789
1560.361 | -0.603 | 90.242 | -10.263 | 9.758
1560.802 | -0.605 | 90.265 | -10.277 | 9.735
1561.242 | -0.611 | 90.27 | -10.286 | 9.73
1561.683 | -0.617 | 90.274 | -10.293 | 9.726
1562.124 | -0.62 | 90.292 | -10.305 | 9.708
1562.565 | -0.616 | 90.311 | -10.311 | 9.689
1563.006 | -0.613 | 90.308 | -10.306 | 9.692
1563.447 | -0.619 | 90.296 | -10.306 | 9.704
1563.888 | -0.627 | 90.306 | -10.319 | 9.694
1564.329 | -0.624 | 90.347 | -10.337 | 9.653
1564.77 | -0.617 | 90.386 | -10.349 | 9.614
1565.21 | -0.618 | 90.383 | -10.349 | 9.617
1565.651 | -0.622 | 90.346 | -10.334 | 9.654
1566.092 | -0.623 | 90.291 | -10.308 | 9.709
1566.533 | -0.625 | 90.254 | -10.291 | 9.746
1566.974 | -0.618 | 90.284 | -10.299 | 9.716
1567.415 | -0.607 | 90.335 | -10.313 | 9.665
1567.856 | -0.608 | 90.336 | -10.315 | 9.664
1568.297 | -0.618 | 90.308 | -10.311 | 9.692
1568.737 | -0.619 | 90.316 | -10.316 | 9.684
1569.178 | -0.613 | 90.339 | -10.321 | 9.661
1569.619 | -0.608 | 90.351 | -10.323 | 9.649
1570.06 | -0.607 | 90.359 | -10.325 | 9.641
1570.501 | -0.609 | 90.331 | -10.314 | 9.669
1570.942 | -0.615 | 90.262 | -10.286 | 9.738
1571.383 | -0.621 | 90.202 | -10.262 | 9.798
1571.824 | -0.622 | 90.19 | -10.257 | 9.81
1572.265 | -0.621 | 90.199 | -10.26 | 9.801
1572.705 | -0.618 | 90.201 | -10.258 | 9.799
1573.146 | -0.613 | 90.202 | -10.254 | 9.798
1573.587 | -0.609 | 90.209 | -10.253 | 9.791
1574.028 | -0.611 | 90.2 | -10.25 | 9.8
1574.469 | -0.618 | 90.174 | -10.245 | 9.826
1574.91 | -0.625 | 90.167 | -10.249 | 9.833
1575.351 | -0.627 | 90.195 | -10.264 | 9.805
1575.792 | -0.628 | 90.212 | -10.274 | 9.788
1576.232 | -0.632 | 90.199 | -10.271 | 9.801
1576.673 | -0.632 | 90.188 | -10.266 | 9.812
1577.114 | -0.623 | 90.204 | -10.265 | 9.796
1577.555 | -0.617 | 90.213 | -10.263 | 9.787
1577.996 | -0.62 | 90.202 | -10.26 | 9.798
1578.437 | -0.626 | 90.198 | -10.265 | 9.802
1578.878 | -0.626 | 90.227 | -10.28 | 9.773
1579.319 | -0.627 | 90.257 | -10.295 | 9.743
1579.76 | -0.634 | 90.26 | -10.303 | 9.74
1580.2 | -0.643 | 90.245 | -10.306 | 9.755
1580.641 | -0.65 | 90.248 | -10.313 | 9.752
1581.082 | -0.651 | 90.277 | -10.329 | 9.723
1581.523 | -0.648 | 90.312 | -10.343 | 9.688
1581.964 | -0.643 | 90.319 | -10.341 | 9.681
1582.405 | -0.638 | 90.288 | -10.321 | 9.712
1582.846 | -0.638 | 90.244 | -10.299 | 9.756
1583.287 | -0.636 | 90.21 | -10.281 | 9.79
1583.727 | -0.629 | 90.187 | -10.262 | 9.813
1584.168 | -0.632 | 90.156 | -10.25 | 9.844
1584.609 | -0.649 | 90.111 | -10.245 | 9.889
1585.05 | -0.667 | 90.085 | -10.25 | 9.915
1585.491 | -0.671 | 90.113 | -10.268 | 9.887
1585.932 | -0.671 | 90.151 | -10.287 | 9.849
1586.373 | -0.668 | 90.176 | -10.295 | 9.824
1586.814 | -0.662 | 90.189 | -10.297 | 9.811
1587.255 | -0.664 | 90.198 | -10.303 | 9.802
1587.695 | -0.664 | 90.217 | -10.312 | 9.783
1588.136 | -0.659 | 90.204 | -10.301 | 9.796
1588.577 | -0.655 | 90.148 | -10.27 | 9.852
1589.018 | -0.655 | 90.116 | -10.254 | 9.884
1589.459 | -0.66 | 90.13 | -10.265 | 9.87
1589.9 | -0.666 | 90.138 | -10.275 | 9.862
1590.341 | -0.667 | 90.121 | -10.269 | 9.879
1590.782 | -0.664 | 90.116 | -10.262 | 9.884
1591.222 | -0.67 | 90.087 | -10.255 | 9.913
1591.663 | -0.675 | 90.052 | -10.242 | 9.948
1592.104 | -0.666 | 90.055 | -10.235 | 9.945
1592.545 | -0.667 | 90.086 | -10.251 | 9.914
1592.986 | -0.675 | 90.099 | -10.265 | 9.901
1593.427 | -0.683 | 90.093 | -10.27 | 9.907
1593.868 | -0.684 | 90.096 | -10.273 | 9.904
1594.309 | -0.677 | 90.12 | -10.278 | 9.88
1594.75 | -0.675 | 90.128 | -10.279 | 9.872
1595.19 | -0.676 | 90.118 | -10.275 | 9.882
1595.631 | -0.669 | 90.104 | -10.262 | 9.896
1596.072 | -0.661 | 90.065 | -10.235 | 9.935
1596.513 | -0.66 | 90.03 | -10.217 | 9.97
1596.954 | -0.665 | 90.011 | -10.213 | 9.989
1597.395 | -0.671 | 89.994 | -10.211 | 10.006
1597.836 | -0.675 | 89.973 | -10.205 | 10.027
1598.277 | -0.683 | 89.952 | -10.203 | 10.048
1598.717 | -0.692 | 89.928 | -10.2 | 10.072
1599.158 | -0.693 | 89.91 | -10.192 | 10.09
1599.599 | -0.692 | 89.949 | -10.21 | 10.051
1600.04 | -0.692 | 90.029 | -10.249 | 9.971
1600.481 | -0.694 | 90.079 | -10.275 | 9.921
1600.922 | -0.7 | 90.034 | -10.259 | 9.966
1601.363 | -0.704 | 89.992 | -10.243 | 10.008
1601.804 | -0.7 | 89.989 | -10.237 | 10.011
1602.245 | -0.69 | 90.015 | -10.24 | 9.985
1602.685 | -0.689 | 90.036 | -10.248 | 9.964
1603.126 | -0.694 | 89.992 | -10.233 | 10.008
1603.567 | -0.707 | 89.956 | -10.228 | 10.044
1604.008 | -0.723 | 89.966 | -10.249 | 10.034
1604.449 | -0.732 | 89.978 | -10.264 | 10.022
1604.89 | -0.728 | 90.009 | -10.275 | 9.991
1605.331 | -0.71 | 90.062 | -10.282 | 9.938
1605.771 | -0.687 | 90.113 | -10.284 | 9.887
1606.212 | -0.687 | 90.115 | -10.285 | 9.885
1606.653 | -0.702 | 90.077 | -10.282 | 9.923
1607.094 | -0.717 | 90.048 | -10.282 | 9.952
1607.535 | -0.72 | 90.05 | -10.287 | 9.95
1607.976 | -0.714 | 90.05 | -10.28 | 9.95
1608.417 | -0.716 | 90.036 | -10.276 | 9.964
1608.858 | -0.721 | 90.018 | -10.272 | 9.982
1609.299 | -0.718 | 90.019 | -10.27 | 9.981
1609.74 | -0.707 | 90.064 | -10.28 | 9.936
1610.18 | -0.703 | 90.092 | -10.291 | 9.908
1610.621 | -0.706 | 90.065 | -10.28 | 9.935
1611.062 | -0.708 | 89.987 | -10.244 | 10.013
1611.503 | -0.707 | 89.955 | -10.228 | 10.045
1611.944 | -0.707 | 89.955 | -10.227 | 10.045
1612.385 | -0.707 | 89.948 | -10.224 | 10.052
1612.826 | -0.708 | 89.929 | -10.217 | 10.071
1613.266 | -0.711 | 89.963 | -10.236 | 10.037
1613.707 | -0.713 | 89.978 | -10.245 | 10.022
1614.148 | -0.717 | 89.95 | -10.236 | 10.05
1614.589 | -0.722 | 89.917 | -10.225 | 10.083
1615.03 | -0.717 | 89.945 | -10.233 | 10.055
1615.471 | -0.709 | 89.976 | -10.24 | 10.024
1615.912 | -0.706 | 89.973 | -10.235 | 10.027
1616.353 | -0.71 | 89.931 | -10.219 | 10.069
1616.794 | -0.711 | 89.92 | -10.215 | 10.08
1617.234 | -0.71 | 89.937 | -10.222 | 10.063
1617.675 | -0.707 | 89.948 | -10.225 | 10.052
1618.116 | -0.704 | 89.906 | -10.202 | 10.094
1618.557 | -0.703 | 89.853 | -10.175 | 10.147
1618.998 | -0.706 | 89.817 | -10.16 | 10.183
1619.439 | -0.711 | 89.806 | -10.16 | 10.194
1619.88 | -0.715 | 89.823 | -10.173 | 10.177
1620.321 | -0.712 | 89.856 | -10.186 | 10.144
1620.761 | -0.702 | 89.876 | -10.185 | 10.124
1621.202 | -0.692 | 89.877 | -10.176 | 10.123
1621.643 | -0.699 | 89.886 | -10.186 | 10.114
1622.084 | -0.707 | 89.908 | -10.205 | 10.092
1622.525 | -0.708 | 89.921 | -10.212 | 10.079
1622.966 | -0.7 | 89.92 | -10.204 | 10.08
1623.407 | -0.697 | 89.944 | -10.213 | 10.056
1623.848 | -0.704 | 89.967 | -10.231 | 10.033
1624.289 | -0.715 | 89.986 | -10.25 | 10.014
1624.729 | -0.721 | 90.004 | -10.265 | 9.996
1625.17 | -0.709 | 90.022 | -10.262 | 9.978
1625.611 | -0.701 | 89.997 | -10.241 | 10.003
1626.052 | -0.699 | 89.954 | -10.22 | 10.046
1626.493 | -0.701 | 89.928 | -10.209 | 10.072
1626.934 | -0.693 | 89.932 | -10.202 | 10.068
1627.375 | -0.686 | 89.944 | -10.201 | 10.056
1627.816 | -0.685 | 89.936 | -10.197 | 10.064
1628.256 | -0.693 | 89.88 | -10.177 | 10.12
1628.697 | -0.703 | 89.781 | -10.141 | 10.219
1629.138 | -0.704 | 89.751 | -10.127 | 10.249
1629.579 | -0.699 | 89.781 | -10.137 | 10.219
1630.02 | -0.694 | 89.829 | -10.154 | 10.171
1630.461 | -0.692 | 89.836 | -10.156 | 10.164
1630.902 | -0.696 | 89.812 | -10.148 | 10.188
1631.343 | -0.703 | 89.787 | -10.143 | 10.213
1631.784 | -0.708 | 89.798 | -10.153 | 10.202
1632.224 | -0.695 | 89.809 | -10.146 | 10.191
1632.665 | -0.683 | 89.793 | -10.127 | 10.207
1633.106 | -0.679 | 89.761 | -10.107 | 10.239
1633.547 | -0.687 | 89.745 | -10.108 | 10.255
1633.988 | -0.693 | 89.747 | -10.114 | 10.253
1634.429 | -0.689 | 89.795 | -10.134 | 10.205
1634.87 | -0.683 | 89.867 | -10.161 | 10.133
1635.311 | -0.695 | 89.872 | -10.176 | 10.128
1635.751 | -0.702 | 89.811 | -10.154 | 10.189
1636.192 | -0.697 | 89.8 | -10.143 | 10.2
1636.633 | -0.686 | 89.85 | -10.157 | 10.15
1637.074 | -0.698 | 89.862 | -10.175 | 10.138
1637.515 | -0.706 | 89.829 | -10.167 | 10.171
1637.956 | -0.702 | 89.799 | -10.149 | 10.201
1638.397 | -0.687 | 89.794 | -10.131 | 10.206
1638.838 | -0.671 | 89.819 | -10.127 | 10.181
1639.279 | -0.67 | 89.847 | -10.139 | 10.153
1639.719 | -0.674 | 89.833 | -10.137 | 10.167
1640.16 | -0.679 | 89.774 | -10.113 | 10.226
1640.601 | -0.674 | 89.763 | -10.103 | 10.237
1641.042 | -0.67 | 89.708 | -10.073 | 10.292
1641.483 | -0.667 | 89.687 | -10.06 | 10.313
1641.924 | -0.66 | 89.75 | -10.083 | 10.25
1642.365 | -0.649 | 89.798 | -10.094 | 10.202
1642.806 | -0.648 | 89.818 | -10.103 | 10.182
1643.246 | -0.654 | 89.803 | -10.102 | 10.197
1643.687 | -0.662 | 89.763 | -10.092 | 10.237
1644.128 | -0.651 | 89.91 | -10.151 | 10.09
1644.569 | -0.662 | 89.96 | -10.186 | 10.04
1645.01 | -0.676 | 89.956 | -10.197 | 10.044
1645.451 | -0.669 | 89.963 | -10.193 | 10.037
1645.892 | -0.653 | 89.944 | -10.169 | 10.056
1646.333 | -0.661 | 89.83 | -10.122 | 10.17
1646.774 | -0.679 | 89.715 | -10.086 | 10.285
1647.214 | -0.685 | 89.735 | -10.101 | 10.265
1647.655 | -0.639 | 89.782 | -10.077 | 10.218
1648.096 | -0.617 | 89.82 | -10.073 | 10.18
1648.537 | -0.618 | 89.832 | -10.08 | 10.168
1648.978 | -0.622 | 89.802 | -10.07 | 10.198
1649.419 | -0.655 | 89.875 | -10.138 | 10.125
1649.86 | -0.662 | 89.863 | -10.138 | 10.137
1650.301 | -0.649 | 89.783 | -10.087 | 10.217
1650.741 | -0.652 | 89.746 | -10.073 | 10.254
1651.182 | -0.646 | 89.814 | -10.099 | 10.186
1651.623 | -0.629 | 89.881 | -10.114 | 10.119
1652.064 | -0.617 | 89.886 | -10.105 | 10.114
1652.505 | -0.658 | 89.722 | -10.067 | 10.278
1652.946 | -0.635 | 89.803 | -10.083 | 10.197
1653.387 | -0.613 | 89.949 | -10.131 | 10.051
1653.828 | -0.611 | 90.053 | -10.179 | 9.947
1654.269 | -0.633 | 89.897 | -10.126 | 10.103
1654.709 | -0.606 | 89.99 | -10.144 | 10.01
1655.15 | -0.592 | 90.048 | -10.158 | 9.952
1655.591 | -0.609 | 90.011 | -10.157 | 9.989
1656.032 | -0.623 | 90.132 | -10.229 | 9.868
1656.473 | -0.62 | 90.02 | -10.171 | 9.98
1656.914 | -0.608 | 89.877 | -10.092 | 10.123
1657.355 | -0.596 | 89.801 | -10.044 | 10.199
1657.796 | -0.62 | 89.797 | -10.066 | 10.203
1658.236 | -0.639 | 89.704 | -10.04 | 10.296
1658.677 | -0.641 | 89.75 | -10.064 | 10.25
1659.118 | -0.622 | 90.045 | -10.186 | 9.955
1659.559 | -0.63 | 90.065 | -10.204 | 9.935
1660 | -0.637 | 90.018 | -10.188 | 9.982