## A018843
SN: | A018843
Item #: | BXC32
Item Description: | 2x2 90:10 Boxed Wideband Fiber Optic Coupler
Fiber Type: | HI1060
Port Name: | IN 1 (Input) - OUT 1 (Signal Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -0.5
Coupling Ratio (%): | 90.27
Uniformity (dB): | 0.09
Port Name: | IN 1 (Input) - OUT 2 (Tap Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -10.17
Coupling Ratio (%): | 9.73
Uniformity (dB): | 0.45
Spectral Response
Wavelength (nm) | Insertion Loss - OUT 1 (Signal Output) (dB) | Coupling Ratio - OUT 1 (Signal Output) (%) | Insertion Loss - OUT 2 (Tap Output) (dB) | Coupling Ratio - OUT 2 (Tap Output) (%)
954 | -0.423 | 91.357 | -10.664 | 8.643
954.441 | -0.423 | 91.357 | -10.664 | 8.643
954.882 | -0.419 | 91.37 | -10.667 | 8.63
955.323 | -0.42 | 91.362 | -10.663 | 8.638
955.764 | -0.434 | 91.302 | -10.645 | 8.698
956.204 | -0.429 | 91.327 | -10.653 | 8.673
956.645 | -0.431 | 91.338 | -10.662 | 8.662
957.086 | -0.436 | 91.336 | -10.665 | 8.664
957.527 | -0.436 | 91.319 | -10.656 | 8.681
957.968 | -0.438 | 91.311 | -10.653 | 8.689
958.409 | -0.446 | 91.297 | -10.654 | 8.703
958.85 | -0.451 | 91.284 | -10.652 | 8.716
959.291 | -0.438 | 91.281 | -10.637 | 8.719
959.731 | -0.424 | 91.29 | -10.628 | 8.71
960.172 | -0.422 | 91.293 | -10.628 | 8.707
960.613 | -0.426 | 91.29 | -10.63 | 8.71
961.054 | -0.421 | 91.286 | -10.623 | 8.714
961.495 | -0.428 | 91.271 | -10.622 | 8.729
961.936 | -0.43 | 91.265 | -10.62 | 8.735
962.377 | -0.427 | 91.267 | -10.618 | 8.733
962.818 | -0.422 | 91.272 | -10.617 | 8.728
963.259 | -0.418 | 91.274 | -10.613 | 8.726
963.699 | -0.416 | 91.259 | -10.603 | 8.741
964.14 | -0.415 | 91.237 | -10.59 | 8.763
964.581 | -0.41 | 91.242 | -10.588 | 8.758
965.022 | -0.41 | 91.235 | -10.584 | 8.765
965.463 | -0.413 | 91.226 | -10.582 | 8.774
965.904 | -0.418 | 91.218 | -10.583 | 8.782
966.345 | -0.428 | 91.194 | -10.58 | 8.806
966.786 | -0.427 | 91.185 | -10.574 | 8.815
967.226 | -0.432 | 91.174 | -10.573 | 8.826
967.667 | -0.448 | 91.155 | -10.579 | 8.845
968.108 | -0.452 | 91.149 | -10.58 | 8.851
968.549 | -0.442 | 91.17 | -10.582 | 8.83
968.99 | -0.436 | 91.177 | -10.579 | 8.823
969.431 | -0.44 | 91.153 | -10.57 | 8.847
969.872 | -0.43 | 91.165 | -10.566 | 8.835
970.313 | -0.428 | 91.17 | -10.567 | 8.83
970.753 | -0.433 | 91.162 | -10.567 | 8.838
971.194 | -0.44 | 91.14 | -10.563 | 8.86
971.635 | -0.444 | 91.126 | -10.56 | 8.874
972.076 | -0.445 | 91.124 | -10.559 | 8.876
972.517 | -0.445 | 91.126 | -10.56 | 8.874
972.958 | -0.447 | 91.122 | -10.56 | 8.878
973.399 | -0.446 | 91.111 | -10.552 | 8.889
973.84 | -0.443 | 91.1 | -10.544 | 8.9
974.281 | -0.441 | 91.091 | -10.537 | 8.909
974.721 | -0.442 | 91.085 | -10.535 | 8.915
975.162 | -0.443 | 91.086 | -10.536 | 8.914
975.603 | -0.443 | 91.084 | -10.536 | 8.916
976.044 | -0.444 | 91.079 | -10.534 | 8.921
976.485 | -0.443 | 91.075 | -10.531 | 8.925
976.926 | -0.444 | 91.077 | -10.533 | 8.923
977.367 | -0.444 | 91.077 | -10.533 | 8.923
977.808 | -0.441 | 91.073 | -10.528 | 8.927
978.248 | -0.437 | 91.06 | -10.517 | 8.94
978.689 | -0.442 | 91.043 | -10.513 | 8.957
979.13 | -0.447 | 91.03 | -10.512 | 8.97
979.571 | -0.45 | 91.023 | -10.51 | 8.977
980.012 | -0.447 | 91.021 | -10.506 | 8.979
980.453 | -0.44 | 91.033 | -10.505 | 8.967
980.894 | -0.434 | 91.051 | -10.509 | 8.949
981.335 | -0.435 | 91.058 | -10.514 | 8.942
981.776 | -0.445 | 91.029 | -10.508 | 8.971
982.216 | -0.45 | 91.003 | -10.499 | 8.997
982.657 | -0.453 | 90.99 | -10.495 | 9.01
983.098 | -0.456 | 90.986 | -10.497 | 9.014
983.539 | -0.458 | 90.975 | -10.493 | 9.025
983.98 | -0.455 | 90.972 | -10.488 | 9.028
984.421 | -0.452 | 90.974 | -10.486 | 9.026
984.862 | -0.454 | 90.974 | -10.489 | 9.026
985.303 | -0.458 | 90.973 | -10.491 | 9.027
985.743 | -0.456 | 90.968 | -10.487 | 9.032
986.184 | -0.453 | 90.959 | -10.479 | 9.041
986.625 | -0.45 | 90.949 | -10.471 | 9.051
987.066 | -0.45 | 90.954 | -10.474 | 9.046
987.507 | -0.448 | 90.962 | -10.476 | 9.038
987.948 | -0.451 | 90.957 | -10.476 | 9.043
988.389 | -0.459 | 90.939 | -10.475 | 9.061
988.83 | -0.457 | 90.944 | -10.475 | 9.056
989.271 | -0.455 | 90.946 | -10.474 | 9.054
989.711 | -0.458 | 90.936 | -10.472 | 9.064
990.152 | -0.464 | 90.916 | -10.468 | 9.084
990.593 | -0.459 | 90.923 | -10.466 | 9.077
991.034 | -0.451 | 90.928 | -10.461 | 9.072
991.475 | -0.45 | 90.924 | -10.458 | 9.076
991.916 | -0.46 | 90.91 | -10.46 | 9.09
992.357 | -0.462 | 90.891 | -10.453 | 9.109
992.798 | -0.464 | 90.89 | -10.454 | 9.11
993.238 | -0.464 | 90.901 | -10.46 | 9.099
993.679 | -0.458 | 90.911 | -10.459 | 9.089
994.12 | -0.456 | 90.899 | -10.45 | 9.101
994.561 | -0.459 | 90.881 | -10.444 | 9.119
995.002 | -0.463 | 90.867 | -10.441 | 9.133
995.443 | -0.463 | 90.863 | -10.439 | 9.137
995.884 | -0.459 | 90.866 | -10.436 | 9.134
996.325 | -0.46 | 90.863 | -10.436 | 9.137
996.766 | -0.464 | 90.854 | -10.435 | 9.146
997.206 | -0.464 | 90.845 | -10.43 | 9.155
997.647 | -0.46 | 90.84 | -10.424 | 9.16
998.088 | -0.462 | 90.822 | -10.416 | 9.178
998.529 | -0.469 | 90.799 | -10.411 | 9.201
998.97 | -0.473 | 90.795 | -10.414 | 9.205
999.411 | -0.477 | 90.799 | -10.419 | 9.201
999.852 | -0.478 | 90.802 | -10.422 | 9.198
1000.293 | -0.473 | 90.804 | -10.418 | 9.196
1000.733 | -0.466 | 90.803 | -10.411 | 9.197
1001.174 | -0.464 | 90.808 | -10.412 | 9.192
1001.615 | -0.468 | 90.809 | -10.415 | 9.191
1002.056 | -0.471 | 90.809 | -10.418 | 9.191
1002.497 | -0.469 | 90.82 | -10.422 | 9.18
1002.938 | -0.47 | 90.807 | -10.416 | 9.193
1003.379 | -0.475 | 90.779 | -10.407 | 9.221
1003.82 | -0.482 | 90.755 | -10.401 | 9.245
1004.26 | -0.483 | 90.758 | -10.404 | 9.242
1004.701 | -0.477 | 90.783 | -10.411 | 9.217
1005.142 | -0.472 | 90.786 | -10.408 | 9.214
1005.583 | -0.472 | 90.755 | -10.391 | 9.245
1006.024 | -0.473 | 90.736 | -10.382 | 9.264
1006.465 | -0.474 | 90.737 | -10.384 | 9.263
1006.906 | -0.477 | 90.74 | -10.389 | 9.26
1007.347 | -0.479 | 90.739 | -10.391 | 9.261
1007.788 | -0.47 | 90.747 | -10.386 | 9.253
1008.228 | -0.464 | 90.75 | -10.381 | 9.25
1008.669 | -0.469 | 90.732 | -10.377 | 9.268
1009.11 | -0.482 | 90.695 | -10.371 | 9.305
1009.551 | -0.481 | 90.68 | -10.361 | 9.32
1009.992 | -0.476 | 90.68 | -10.356 | 9.32
1010.433 | -0.474 | 90.679 | -10.354 | 9.321
1010.874 | -0.478 | 90.667 | -10.352 | 9.333
1011.315 | -0.487 | 90.655 | -10.356 | 9.345
1011.755 | -0.491 | 90.649 | -10.355 | 9.351
1012.196 | -0.489 | 90.643 | -10.351 | 9.357
1012.637 | -0.489 | 90.641 | -10.35 | 9.359
1013.078 | -0.486 | 90.653 | -10.353 | 9.347
1013.519 | -0.485 | 90.665 | -10.359 | 9.335
1013.96 | -0.485 | 90.677 | -10.365 | 9.323
1014.401 | -0.485 | 90.689 | -10.37 | 9.311
1014.842 | -0.487 | 90.682 | -10.369 | 9.318
1015.283 | -0.488 | 90.663 | -10.36 | 9.337
1015.723 | -0.488 | 90.64 | -10.349 | 9.36
1016.164 | -0.488 | 90.624 | -10.34 | 9.376
1016.605 | -0.49 | 90.612 | -10.336 | 9.388
1017.046 | -0.494 | 90.602 | -10.335 | 9.398
1017.487 | -0.496 | 90.601 | -10.336 | 9.399
1017.928 | -0.493 | 90.608 | -10.337 | 9.392
1018.369 | -0.488 | 90.606 | -10.331 | 9.394
1018.81 | -0.483 | 90.607 | -10.326 | 9.393
1019.25 | -0.478 | 90.615 | -10.326 | 9.385
1019.691 | -0.482 | 90.611 | -10.328 | 9.389
1020.132 | -0.493 | 90.588 | -10.327 | 9.412
1020.573 | -0.503 | 90.563 | -10.324 | 9.437
1021.014 | -0.505 | 90.543 | -10.316 | 9.457
1021.455 | -0.502 | 90.525 | -10.304 | 9.475
1021.896 | -0.498 | 90.516 | -10.296 | 9.484
1022.337 | -0.494 | 90.522 | -10.295 | 9.478
1022.778 | -0.491 | 90.536 | -10.299 | 9.464
1023.218 | -0.491 | 90.535 | -10.298 | 9.465
1023.659 | -0.492 | 90.526 | -10.294 | 9.474
1024.1 | -0.492 | 90.521 | -10.292 | 9.479
1024.541 | -0.492 | 90.52 | -10.291 | 9.48
1024.982 | -0.493 | 90.51 | -10.287 | 9.49
1025.423 | -0.492 | 90.5 | -10.281 | 9.5
1025.864 | -0.49 | 90.495 | -10.276 | 9.505
1026.305 | -0.488 | 90.498 | -10.276 | 9.502
1026.745 | -0.487 | 90.503 | -10.278 | 9.497
1027.186 | -0.489 | 90.502 | -10.279 | 9.498
1027.627 | -0.492 | 90.495 | -10.279 | 9.505
1028.068 | -0.494 | 90.488 | -10.278 | 9.512
1028.509 | -0.495 | 90.488 | -10.278 | 9.512
1028.95 | -0.494 | 90.491 | -10.279 | 9.509
1029.391 | -0.492 | 90.491 | -10.277 | 9.509
1029.832 | -0.489 | 90.484 | -10.27 | 9.516
1030.273 | -0.489 | 90.473 | -10.265 | 9.527
1030.713 | -0.49 | 90.469 | -10.264 | 9.531
1031.154 | -0.491 | 90.473 | -10.267 | 9.527
1031.595 | -0.494 | 90.47 | -10.268 | 9.53
1032.036 | -0.498 | 90.458 | -10.266 | 9.542
1032.477 | -0.499 | 90.451 | -10.264 | 9.549
1032.918 | -0.497 | 90.453 | -10.262 | 9.547
1033.359 | -0.493 | 90.453 | -10.259 | 9.547
1033.8 | -0.491 | 90.442 | -10.251 | 9.558
1034.24 | -0.491 | 90.429 | -10.245 | 9.571
1034.681 | -0.494 | 90.424 | -10.245 | 9.576
1035.122 | -0.498 | 90.424 | -10.249 | 9.576
1035.563 | -0.502 | 90.422 | -10.252 | 9.578
1036.004 | -0.505 | 90.417 | -10.252 | 9.583
1036.445 | -0.503 | 90.413 | -10.249 | 9.587
1036.886 | -0.499 | 90.414 | -10.245 | 9.586
1037.327 | -0.5 | 90.408 | -10.243 | 9.592
1037.768 | -0.505 | 90.391 | -10.24 | 9.609
1038.208 | -0.508 | 90.376 | -10.235 | 9.624
1038.649 | -0.507 | 90.375 | -10.234 | 9.625
1039.09 | -0.505 | 90.378 | -10.233 | 9.622
1039.531 | -0.506 | 90.37 | -10.23 | 9.63
1039.972 | -0.508 | 90.363 | -10.229 | 9.637
1040.413 | -0.508 | 90.373 | -10.234 | 9.627
1040.854 | -0.506 | 90.374 | -10.232 | 9.626
1041.295 | -0.502 | 90.356 | -10.219 | 9.644
1041.735 | -0.499 | 90.344 | -10.21 | 9.656
1042.176 | -0.495 | 90.359 | -10.213 | 9.641
1042.617 | -0.494 | 90.373 | -10.22 | 9.627
1043.058 | -0.497 | 90.369 | -10.22 | 9.631
1043.499 | -0.5 | 90.353 | -10.215 | 9.647
1043.94 | -0.501 | 90.338 | -10.209 | 9.662
1044.381 | -0.5 | 90.344 | -10.211 | 9.656
1044.822 | -0.497 | 90.361 | -10.216 | 9.639
1045.263 | -0.496 | 90.367 | -10.219 | 9.633
1045.703 | -0.5 | 90.353 | -10.216 | 9.647
1046.144 | -0.503 | 90.333 | -10.208 | 9.667
1046.585 | -0.5 | 90.32 | -10.2 | 9.68
1047.026 | -0.497 | 90.314 | -10.193 | 9.686
1047.467 | -0.494 | 90.309 | -10.187 | 9.691
1047.908 | -0.494 | 90.306 | -10.186 | 9.694
1048.349 | -0.498 | 90.297 | -10.186 | 9.703
1048.79 | -0.502 | 90.287 | -10.185 | 9.713
1049.23 | -0.501 | 90.296 | -10.188 | 9.704
1049.671 | -0.498 | 90.307 | -10.191 | 9.693
1050.112 | -0.499 | 90.299 | -10.188 | 9.701
1050.553 | -0.501 | 90.286 | -10.183 | 9.714
1050.994 | -0.5 | 90.277 | -10.177 | 9.723
1051.435 | -0.498 | 90.271 | -10.172 | 9.729
1051.876 | -0.497 | 90.271 | -10.172 | 9.729
1052.317 | -0.497 | 90.279 | -10.176 | 9.721
1052.758 | -0.5 | 90.278 | -10.178 | 9.722
1053.198 | -0.506 | 90.262 | -10.176 | 9.738
1053.639 | -0.509 | 90.246 | -10.172 | 9.754
1054.08 | -0.505 | 90.247 | -10.168 | 9.753
1054.521 | -0.5 | 90.256 | -10.167 | 9.744
1054.962 | -0.498 | 90.259 | -10.167 | 9.741
1055.403 | -0.498 | 90.265 | -10.17 | 9.735
1055.844 | -0.497 | 90.275 | -10.173 | 9.725
1056.285 | -0.499 | 90.262 | -10.169 | 9.738
1056.725 | -0.503 | 90.244 | -10.164 | 9.756
1057.166 | -0.504 | 90.251 | -10.168 | 9.749
1057.607 | -0.501 | 90.265 | -10.173 | 9.735
1058.048 | -0.498 | 90.267 | -10.171 | 9.733
1058.489 | -0.497 | 90.26 | -10.166 | 9.74
1058.93 | -0.499 | 90.253 | -10.164 | 9.747
1059.371 | -0.503 | 90.249 | -10.167 | 9.751
1059.812 | -0.506 | 90.246 | -10.168 | 9.754
1060.253 | -0.506 | 90.238 | -10.165 | 9.762
1060.693 | -0.505 | 90.235 | -10.161 | 9.765
1061.134 | -0.502 | 90.244 | -10.164 | 9.756
1061.575 | -0.5 | 90.254 | -10.166 | 9.746
1062.016 | -0.495 | 90.253 | -10.161 | 9.747
1062.457 | -0.492 | 90.246 | -10.155 | 9.754
1062.898 | -0.496 | 90.238 | -10.155 | 9.762
1063.339 | -0.5 | 90.237 | -10.158 | 9.763
1063.78 | -0.498 | 90.253 | -10.164 | 9.747
1064.22 | -0.493 | 90.278 | -10.171 | 9.722
1064.661 | -0.489 | 90.287 | -10.172 | 9.713
1065.102 | -0.49 | 90.277 | -10.167 | 9.723
1065.543 | -0.493 | 90.259 | -10.162 | 9.741
1065.984 | -0.497 | 90.242 | -10.158 | 9.758
1066.425 | -0.5 | 90.237 | -10.158 | 9.763
1066.866 | -0.5 | 90.242 | -10.16 | 9.758
1067.307 | -0.497 | 90.249 | -10.161 | 9.751
1067.747 | -0.495 | 90.256 | -10.162 | 9.744
1068.188 | -0.495 | 90.255 | -10.162 | 9.745
1068.629 | -0.496 | 90.244 | -10.157 | 9.756
1069.07 | -0.494 | 90.229 | -10.148 | 9.771
1069.511 | -0.493 | 90.223 | -10.144 | 9.777
1069.952 | -0.496 | 90.222 | -10.147 | 9.778
1070.393 | -0.503 | 90.218 | -10.152 | 9.782
1070.834 | -0.509 | 90.214 | -10.155 | 9.786
1071.275 | -0.508 | 90.217 | -10.156 | 9.783
1071.715 | -0.503 | 90.227 | -10.157 | 9.773
1072.156 | -0.501 | 90.234 | -10.158 | 9.766
1072.597 | -0.5 | 90.234 | -10.157 | 9.766
1073.038 | -0.5 | 90.229 | -10.154 | 9.771
1073.479 | -0.501 | 90.223 | -10.152 | 9.777
1073.92 | -0.5 | 90.227 | -10.153 | 9.773
1074.361 | -0.496 | 90.247 | -10.159 | 9.753
1074.802 | -0.49 | 90.273 | -10.166 | 9.727
1075.242 | -0.486 | 90.286 | -10.168 | 9.714
1075.683 | -0.487 | 90.282 | -10.167 | 9.718
1076.124 | -0.492 | 90.27 | -10.167 | 9.73
1076.565 | -0.497 | 90.259 | -10.166 | 9.741
1077.006 | -0.499 | 90.253 | -10.165 | 9.747
1077.447 | -0.5 | 90.253 | -10.166 | 9.747
1077.888 | -0.5 | 90.252 | -10.166 | 9.748
1078.329 | -0.5 | 90.255 | -10.167 | 9.745
1078.77 | -0.5 | 90.262 | -10.17 | 9.738
1079.21 | -0.502 | 90.267 | -10.175 | 9.733
1079.651 | -0.506 | 90.261 | -10.176 | 9.739
1080.092 | -0.509 | 90.246 | -10.171 | 9.754
1080.533 | -0.507 | 90.24 | -10.167 | 9.76
1080.974 | -0.502 | 90.25 | -10.166 | 9.75
1081.415 | -0.494 | 90.266 | -10.167 | 9.734
1081.856 | -0.492 | 90.274 | -10.168 | 9.726
1082.297 | -0.493 | 90.274 | -10.17 | 9.726
1082.737 | -0.494 | 90.271 | -10.168 | 9.729
1083.178 | -0.491 | 90.272 | -10.166 | 9.728
1083.619 | -0.488 | 90.281 | -10.168 | 9.719
1084.06 | -0.487 | 90.291 | -10.172 | 9.709
1084.501 | -0.489 | 90.295 | -10.175 | 9.705
1084.942 | -0.492 | 90.295 | -10.179 | 9.705
1085.383 | -0.494 | 90.302 | -10.184 | 9.698
1085.824 | -0.493 | 90.307 | -10.186 | 9.693
1086.265 | -0.492 | 90.309 | -10.185 | 9.691
1086.705 | -0.489 | 90.311 | -10.183 | 9.689
1087.146 | -0.489 | 90.311 | -10.183 | 9.689
1087.587 | -0.49 | 90.323 | -10.19 | 9.677
1088.028 | -0.487 | 90.339 | -10.196 | 9.661
1088.469 | -0.484 | 90.333 | -10.19 | 9.667
1088.91 | -0.485 | 90.314 | -10.181 | 9.686
1089.351 | -0.485 | 90.312 | -10.18 | 9.688
1089.792 | -0.482 | 90.331 | -10.186 | 9.669
1090.232 | -0.479 | 90.344 | -10.19 | 9.656
1090.673 | -0.48 | 90.341 | -10.19 | 9.659
1091.114 | -0.485 | 90.336 | -10.192 | 9.664
1091.555 | -0.49 | 90.329 | -10.193 | 9.671
1091.996 | -0.491 | 90.313 | -10.186 | 9.687
1092.437 | -0.485 | 90.308 | -10.178 | 9.692
1092.878 | -0.481 | 90.312 | -10.176 | 9.688
1093.319 | -0.482 | 90.322 | -10.182 | 9.678
1093.76 | -0.484 | 90.344 | -10.195 | 9.656
1094.2 | -0.486 | 90.358 | -10.204 | 9.642
1094.641 | -0.489 | 90.351 | -10.203 | 9.649
1095.082 | -0.492 | 90.338 | -10.2 | 9.662
1095.523 | -0.491 | 90.342 | -10.201 | 9.658
1095.964 | -0.487 | 90.356 | -10.204 | 9.644
1096.405 | -0.484 | 90.363 | -10.205 | 9.637
1096.846 | -0.485 | 90.364 | -10.206 | 9.636
1097.287 | -0.484 | 90.373 | -10.21 | 9.627
1097.727 | -0.483 | 90.38 | -10.212 | 9.62
1098.168 | -0.482 | 90.385 | -10.214 | 9.615
1098.609 | -0.481 | 90.395 | -10.217 | 9.605
1099.05 | -0.484 | 90.402 | -10.224 | 9.598
1099.491 | -0.487 | 90.403 | -10.228 | 9.597
1099.932 | -0.491 | 90.395 | -10.227 | 9.605
1100.373 | -0.495 | 90.378 | -10.223 | 9.622
1100.814 | -0.497 | 90.361 | -10.217 | 9.639
1101.255 | -0.497 | 90.348 | -10.21 | 9.652
1101.695 | -0.49 | 90.368 | -10.213 | 9.632
1102.136 | -0.478 | 90.422 | -10.228 | 9.578
1102.577 | -0.476 | 90.443 | -10.237 | 9.557
1103.018 | -0.48 | 90.443 | -10.241 | 9.557
1103.459 | -0.483 | 90.435 | -10.24 | 9.565
1103.9 | -0.487 | 90.407 | -10.23 | 9.593
1104.341 | -0.492 | 90.386 | -10.224 | 9.614
1104.782 | -0.489 | 90.407 | -10.232 | 9.593
1105.222 | -0.485 | 90.443 | -10.246 | 9.557
1105.663 | -0.489 | 90.44 | -10.248 | 9.56
1106.104 | -0.491 | 90.428 | -10.244 | 9.572
1106.545 | -0.493 | 90.417 | -10.24 | 9.583
1106.986 | -0.496 | 90.405 | -10.237 | 9.595
1107.427 | -0.491 | 90.41 | -10.235 | 9.59
1107.868 | -0.483 | 90.428 | -10.236 | 9.572
1108.309 | -0.48 | 90.447 | -10.243 | 9.553
1108.75 | -0.484 | 90.457 | -10.252 | 9.543
1109.19 | -0.486 | 90.454 | -10.252 | 9.546
1109.631 | -0.486 | 90.458 | -10.254 | 9.542
1110.072 | -0.484 | 90.462 | -10.254 | 9.538
1110.513 | -0.483 | 90.453 | -10.249 | 9.547
1110.954 | -0.488 | 90.44 | -10.247 | 9.56
1111.395 | -0.489 | 90.442 | -10.249 | 9.558
1111.836 | -0.485 | 90.462 | -10.255 | 9.538
1112.277 | -0.482 | 90.481 | -10.262 | 9.519
1112.717 | -0.485 | 90.473 | -10.26 | 9.527
1113.158 | -0.485 | 90.463 | -10.255 | 9.537
1113.599 | -0.482 | 90.465 | -10.253 | 9.535
1114.04 | -0.48 | 90.469 | -10.254 | 9.531
1114.481 | -0.48 | 90.457 | -10.248 | 9.543
1114.922 | -0.483 | 90.455 | -10.249 | 9.545
1115.363 | -0.486 | 90.463 | -10.257 | 9.537
1115.804 | -0.486 | 90.473 | -10.262 | 9.527
1116.245 | -0.481 | 90.492 | -10.266 | 9.508
1116.685 | -0.479 | 90.508 | -10.273 | 9.492
1117.126 | -0.48 | 90.513 | -10.276 | 9.487
1117.567 | -0.48 | 90.505 | -10.271 | 9.495
1118.008 | -0.479 | 90.494 | -10.265 | 9.506
1118.449 | -0.481 | 90.484 | -10.262 | 9.516
1118.89 | -0.484 | 90.481 | -10.264 | 9.519
1119.331 | -0.486 | 90.487 | -10.269 | 9.513
1119.771 | -0.483 | 90.499 | -10.272 | 9.501
1120.212 | -0.481 | 90.508 | -10.274 | 9.492
1120.653 | -0.48 | 90.515 | -10.277 | 9.485
1121.094 | -0.478 | 90.525 | -10.28 | 9.475
1121.535 | -0.475 | 90.536 | -10.283 | 9.464
1121.976 | -0.476 | 90.539 | -10.285 | 9.461
1122.417 | -0.481 | 90.531 | -10.285 | 9.469
1122.858 | -0.486 | 90.518 | -10.284 | 9.482
1123.299 | -0.488 | 90.516 | -10.286 | 9.484
1123.74 | -0.488 | 90.524 | -10.29 | 9.476
1124.18 | -0.487 | 90.533 | -10.293 | 9.467
1124.621 | -0.486 | 90.534 | -10.293 | 9.466
1125.062 | -0.487 | 90.528 | -10.29 | 9.472
1125.503 | -0.488 | 90.528 | -10.291 | 9.472
1125.944 | -0.489 | 90.537 | -10.297 | 9.463
1126.385 | -0.492 | 90.544 | -10.304 | 9.456
1126.826 | -0.494 | 90.546 | -10.306 | 9.454
1127.266 | -0.492 | 90.55 | -10.307 | 9.45
1127.707 | -0.488 | 90.56 | -10.308 | 9.44
1128.148 | -0.485 | 90.567 | -10.308 | 9.433
1128.589 | -0.482 | 90.586 | -10.315 | 9.414
1129.03 | -0.48 | 90.608 | -10.325 | 9.392
1129.471 | -0.481 | 90.617 | -10.329 | 9.383
1129.912 | -0.487 | 90.592 | -10.323 | 9.408
1130.353 | -0.494 | 90.57 | -10.318 | 9.43
1130.794 | -0.496 | 90.564 | -10.318 | 9.436
1131.234 | -0.492 | 90.58 | -10.322 | 9.42
1131.675 | -0.484 | 90.613 | -10.331 | 9.387
1132.116 | -0.483 | 90.619 | -10.333 | 9.381
1132.557 | -0.488 | 90.605 | -10.33 | 9.395
1132.998 | -0.491 | 90.593 | -10.328 | 9.407
1133.439 | -0.49 | 90.606 | -10.333 | 9.394
1133.88 | -0.484 | 90.616 | -10.332 | 9.384
1134.321 | -0.48 | 90.616 | -10.328 | 9.384
1134.761 | -0.484 | 90.611 | -10.329 | 9.389
1135.202 | -0.486 | 90.615 | -10.333 | 9.385
1135.643 | -0.486 | 90.623 | -10.338 | 9.377
1136.084 | -0.487 | 90.623 | -10.338 | 9.377
1136.525 | -0.489 | 90.604 | -10.331 | 9.396
1136.966 | -0.492 | 90.59 | -10.326 | 9.41
1137.407 | -0.493 | 90.595 | -10.33 | 9.405
1137.848 | -0.493 | 90.606 | -10.336 | 9.394
1138.289 | -0.492 | 90.604 | -10.334 | 9.396
1138.729 | -0.491 | 90.613 | -10.338 | 9.387
1139.17 | -0.491 | 90.625 | -10.344 | 9.375
1139.611 | -0.492 | 90.635 | -10.35 | 9.365
1140.052 | -0.494 | 90.646 | -10.357 | 9.354
1140.493 | -0.494 | 90.66 | -10.365 | 9.34
1140.934 | -0.492 | 90.678 | -10.372 | 9.322
1141.375 | -0.488 | 90.696 | -10.378 | 9.304
1141.816 | -0.486 | 90.695 | -10.375 | 9.305
1142.256 | -0.489 | 90.692 | -10.376 | 9.308
1142.697 | -0.49 | 90.698 | -10.38 | 9.302
1143.138 | -0.486 | 90.718 | -10.386 | 9.282
1143.579 | -0.482 | 90.742 | -10.394 | 9.258
1144.02 | -0.484 | 90.728 | -10.389 | 9.272
1144.461 | -0.486 | 90.712 | -10.384 | 9.288
1144.902 | -0.487 | 90.717 | -10.387 | 9.283
1145.343 | -0.49 | 90.725 | -10.394 | 9.275
1145.784 | -0.487 | 90.742 | -10.4 | 9.258
1146.224 | -0.484 | 90.76 | -10.406 | 9.24
1146.665 | -0.486 | 90.766 | -10.411 | 9.234
1147.106 | -0.489 | 90.746 | -10.404 | 9.254
1147.547 | -0.489 | 90.75 | -10.407 | 9.25
1147.988 | -0.488 | 90.769 | -10.415 | 9.231
1148.429 | -0.485 | 90.783 | -10.42 | 9.217
1148.87 | -0.485 | 90.768 | -10.411 | 9.232
1149.311 | -0.478 | 90.771 | -10.406 | 9.229
1149.751 | -0.474 | 90.783 | -10.408 | 9.217
1150.192 | -0.484 | 90.779 | -10.417 | 9.221
1150.633 | -0.491 | 90.758 | -10.412 | 9.242
1151.074 | -0.495 | 90.751 | -10.413 | 9.249
1151.515 | -0.495 | 90.759 | -10.417 | 9.241
1151.956 | -0.491 | 90.772 | -10.42 | 9.228
1152.397 | -0.489 | 90.769 | -10.417 | 9.231
1152.838 | -0.49 | 90.77 | -10.417 | 9.23
1153.279 | -0.489 | 90.784 | -10.424 | 9.216
1153.719 | -0.484 | 90.822 | -10.438 | 9.178
1154.16 | -0.476 | 90.841 | -10.44 | 9.159
1154.601 | -0.476 | 90.845 | -10.442 | 9.155
1155.042 | -0.48 | 90.841 | -10.444 | 9.159
1155.483 | -0.482 | 90.837 | -10.444 | 9.163
1155.924 | -0.49 | 90.825 | -10.446 | 9.175
1156.365 | -0.494 | 90.813 | -10.444 | 9.187
1156.806 | -0.491 | 90.816 | -10.442 | 9.184
1157.246 | -0.488 | 90.854 | -10.459 | 9.146
1157.687 | -0.488 | 90.86 | -10.463 | 9.14
1158.128 | -0.489 | 90.866 | -10.466 | 9.134
1158.569 | -0.487 | 90.879 | -10.471 | 9.121
1159.01 | -0.482 | 90.884 | -10.469 | 9.116
1159.451 | -0.485 | 90.891 | -10.476 | 9.109
1159.892 | -0.491 | 90.889 | -10.48 | 9.111
1160.333 | -0.498 | 90.875 | -10.48 | 9.125
1160.774 | -0.499 | 90.878 | -10.483 | 9.122
1161.214 | -0.493 | 90.898 | -10.488 | 9.102
1161.655 | -0.487 | 90.923 | -10.494 | 9.077
1162.096 | -0.483 | 90.941 | -10.501 | 9.059
1162.537 | -0.487 | 90.928 | -10.497 | 9.072
1162.978 | -0.485 | 90.951 | -10.507 | 9.049
1163.419 | -0.48 | 90.983 | -10.519 | 9.017
1163.86 | -0.476 | 91.003 | -10.525 | 8.997
1164.301 | -0.483 | 90.978 | -10.519 | 9.022
1164.741 | -0.484 | 90.955 | -10.508 | 9.045
1165.182 | -0.481 | 90.944 | -10.499 | 9.056
1165.623 | -0.474 | 90.952 | -10.497 | 9.048
1166.064 | -0.47 | 90.977 | -10.506 | 9.023
1166.505 | -0.47 | 90.993 | -10.515 | 9.007
1166.946 | -0.472 | 91.003 | -10.522 | 8.997
1167.387 | -0.473 | 91.014 | -10.529 | 8.986
1167.828 | -0.479 | 91.014 | -10.534 | 8.986
1168.269 | -0.482 | 91.015 | -10.537 | 8.985
1168.709 | -0.481 | 91.019 | -10.539 | 8.981
1169.15 | -0.478 | 91.029 | -10.541 | 8.971
1169.591 | -0.478 | 91.036 | -10.545 | 8.964
1170.032 | -0.48 | 91.034 | -10.546 | 8.966
1170.473 | -0.482 | 91.03 | -10.546 | 8.97
1170.914 | -0.48 | 91.038 | -10.549 | 8.962
1171.355 | -0.479 | 91.069 | -10.563 | 8.931
1171.796 | -0.477 | 91.087 | -10.571 | 8.913
1172.236 | -0.476 | 91.09 | -10.572 | 8.91
1172.677 | -0.479 | 91.085 | -10.572 | 8.915
1173.118 | -0.483 | 91.088 | -10.578 | 8.912
1173.559 | -0.485 | 91.096 | -10.584 | 8.904
1174 | -0.483 | 91.111 | -10.591 | 8.889