## T150864
SN: | T150864
Item #: | NG72F1
Item Description: | 1x2 561 nm / 785 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 630HP
Port Name: | Channel 1 - Green
Test Wavelength (nm): | 561
Insertion Loss (dB): | -0.11
Isolation (dB): | -17.66
Port Name: | Channel 2 - White
Test Wavelength (nm): | 785
Insertion Loss (dB): | -0.02
Isolation (dB): | -30.05
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Green | Insertion Loss (dB) - Channel 2 - White
546 | -11.77 | -0.27
546.509 | -12.032 | -0.275
547.018 | -12.348 | -0.28
547.527 | -12.565 | -0.272
548.036 | -12.78 | -0.259
548.545 | -12.988 | -0.235
549.054 | -13.131 | -0.224
549.563 | -13.217 | -0.224
550.072 | -13.106 | -0.222
550.581 | -12.996 | -0.218
551.09 | -13.304 | -0.202
551.599 | -13.582 | -0.19
552.108 | -13.776 | -0.184
552.617 | -14.067 | -0.18
553.126 | -14.416 | -0.175
553.635 | -14.506 | -0.16
554.144 | -14.557 | -0.144
554.653 | -14.781 | -0.141
555.162 | -15.002 | -0.142
555.671 | -15.192 | -0.148
556.18 | -15.279 | -0.149
556.689 | -15.306 | -0.146
557.198 | -15.477 | -0.143
557.707 | -15.712 | -0.138
558.216 | -16.078 | -0.126
558.725 | -16.506 | -0.116
559.234 | -17.003 | -0.108
559.743 | -17.386 | -0.105
560.253 | -17.654 | -0.105
560.762 | -17.663 | -0.105
561.271 | -17.715 | -0.106
561.78 | -18.22 | -0.106
562.289 | -18.678 | -0.101
562.798 | -18.962 | -0.091
563.307 | -19.094 | -0.078
563.816 | -19.168 | -0.064
564.325 | -19.477 | -0.054
564.834 | -19.849 | -0.048
565.343 | -20.193 | -0.051
565.852 | -20.486 | -0.052
566.361 | -20.687 | -0.048
566.87 | -20.718 | -0.038
567.379 | -20.809 | -0.028
567.888 | -21.879 | -0.034
568.397 | -23.132 | -0.044
568.906 | -23.972 | -0.054
569.415 | -24.186 | -0.055
569.924 | -23.766 | -0.045
570.433 | -23.938 | -0.038
570.942 | -24.584 | -0.033
571.451 | -25.232 | -0.032
571.96 | -25.806 | -0.03
572.469 | -26.23 | -0.026
572.978 | -26.64 | -0.022
573.487 | -27.077 | -0.021
573.996 | -27.538 | -0.022
574.505 | -27.94 | -0.024
575.014 | -28.028 | -0.024
575.523 | -28.071 | -0.023
576.032 | -28.296 | -0.019
576.541 | -28.787 | -0.013
577.05 | -29.439 | -0.006
577.559 | -29.603 | 0.005
578.068 | -29.384 | 0.016
578.577 | -29.036 | 0.02
579.086 | -28.67 | 0.021
579.595 | -28.285 | 0.023
580.104 | -27.767 | 0.025
580.613 | -27.154 | 0.026
581.122 | -26.769 | 0.024
581.631 | -26.504 | 0.02
582.14 | -26.074 | 0.015
582.649 | -25.581 | 0.011
583.158 | -25.089 | 0.011
583.667 | -24.561 | 0.01
584.176 | -23.992 | 0.007
584.685 | -23.425 | 0.001
585.194 | -22.91 | -0.004
585.703 | -22.531 | -0.006
586.212 | -22.196 | -0.003
586.721 | -21.852 | 0.001
587.23 | -21.504 | 0.001
587.74 | -21.154 | -0.004
588.248 | -20.793 | -0.012
588.758 | -20.432 | -0.02
589.267 | -20.087 | -0.025
589.776 | -19.755 | -0.032
590.285 | -19.436 | -0.041
590.794 | -19.134 | -0.043
591.303 | -18.851 | -0.034
591.812 | -18.586 | -0.021
592.321 | -18.32 | -0.007
592.83 | -18.034 | 0.003
593.339 | -17.754 | 0.005
593.848 | -17.502 | -0.004
594.357 | -17.265 | -0.012
594.866 | -17.034 | -0.016
595.375 | -16.8 | -0.02
595.884 | -16.567 | -0.025
596.393 | -16.343 | -0.029
596.902 | -16.121 | -0.035
597.411 | -15.897 | -0.042
597.92 | -15.678 | -0.049
598.429 | -15.467 | -0.056
598.938 | -15.266 | -0.066
599.447 | -15.074 | -0.075
599.956 | -14.893 | -0.081
600.465 | -14.715 | -0.086
600.974 | -14.536 | -0.093
601.483 | -14.358 | -0.101
601.992 | -14.181 | -0.111
602.501 | -13.999 | -0.122
603.01 | -13.821 | -0.134
603.519 | -13.661 | -0.147
604.028 | -13.512 | -0.164
604.537 | -13.37 | -0.184
605.046 | -13.229 | -0.204
605.555 | -13.085 | -0.219
606.064 | -12.937 | -0.228
606.573 | -12.785 | -0.234
607.082 | -12.634 | -0.243
607.591 | -12.489 | -0.253
608.1 | -12.353 | -0.263
608.609 | -12.222 | -0.273
609.118 | -12.09 | -0.283
609.627 | -11.953 | -0.291
610.136 | -11.813 | -0.298
610.645 | -11.675 | -0.31
611.154 | -11.541 | -0.323
611.663 | -11.413 | -0.332
612.172 | -11.293 | -0.341
612.681 | -11.179 | -0.35
613.19 | -11.065 | -0.358
613.699 | -10.948 | -0.367
614.208 | -10.831 | -0.378
614.717 | -10.712 | -0.391
615.226 | -10.592 | -0.404
615.735 | -10.475 | -0.415
616.245 | -10.363 | -0.426
616.753 | -10.255 | -0.436
617.263 | -10.153 | -0.446
617.772 | -10.055 | -0.456
618.281 | -9.954 | -0.466
618.79 | -9.849 | -0.477
619.299 | -9.744 | -0.489
619.808 | -9.641 | -0.501
620.317 | -9.539 | -0.516
620.826 | -9.44 | -0.53
621.335 | -9.344 | -0.542
621.844 | -9.253 | -0.552
622.353 | -9.166 | -0.563
622.862 | -9.077 | -0.576
623.371 | -8.986 | -0.591
623.88 | -8.893 | -0.606
624.389 | -8.798 | -0.62
624.898 | -8.705 | -0.632
625.407 | -8.617 | -0.644
625.916 | -8.535 | -0.657
626.425 | -8.454 | -0.673
626.934 | -8.371 | -0.69
627.443 | -8.287 | -0.705
627.952 | -8.204 | -0.717
628.461 | -8.122 | -0.728
628.97 | -8.043 | -0.74
629.479 | -7.964 | -0.754
629.988 | -7.886 | -0.77
630.497 | -7.808 | -0.788
631.006 | -7.73 | -0.803
631.515 | -7.652 | -0.817
632.024 | -7.574 | -0.828
632.533 | -7.494 | -0.838
633.042 | -7.414 | -0.847
633.551 | -7.337 | -0.855
634.06 | -7.263 | -0.864
634.569 | -7.192 | -0.873
635.078 | -7.121 | -0.882
635.587 | -7.05 | -0.892
636.096 | -6.977 | -0.906
636.605 | -6.905 | -0.922
637.114 | -6.835 | -0.941
637.623 | -6.767 | -0.959
638.132 | -6.701 | -0.976
638.641 | -6.636 | -0.993
639.15 | -6.571 | -1.01
639.659 | -6.508 | -1.03
640.168 | -6.449 | -1.054
640.677 | -6.392 | -1.079
641.186 | -6.335 | -1.102
641.695 | -6.277 | -1.122
642.204 | -6.216 | -1.14
642.713 | -6.154 | -1.159
643.222 | -6.091 | -1.18
643.731 | -6.03 | -1.205
644.24 | -5.969 | -1.231
644.75 | -5.909 | -1.257
645.259 | -5.852 | -1.283
645.768 | -5.797 | -1.308
646.277 | -5.744 | -1.334
646.786 | -5.69 | -1.361
647.295 | -5.635 | -1.388
647.804 | -5.578 | -1.414
648.313 | -5.521 | -1.44
648.822 | -5.462 | -1.466
649.331 | -5.404 | -1.491
649.84 | -5.348 | -1.515
650.349 | -5.294 | -1.539
650.858 | -5.243 | -1.562
651.367 | -5.193 | -1.585
651.876 | -5.143 | -1.605
652.385 | -5.094 | -1.624
652.894 | -5.045 | -1.642
653.403 | -4.998 | -1.663
653.912 | -4.951 | -1.686
654.421 | -4.901 | -1.711
654.93 | -4.85 | -1.736
655.439 | -4.799 | -1.761
655.948 | -4.749 | -1.786
656.457 | -4.701 | -1.809
656.966 | -4.653 | -1.833
657.475 | -4.609 | -1.856
657.984 | -4.567 | -1.88
658.493 | -4.527 | -1.902
659.002 | -4.485 | -1.924
659.511 | -4.442 | -1.949
660.02 | -4.397 | -1.976
660.529 | -4.35 | -2.006
661.038 | -4.302 | -2.036
661.547 | -4.255 | -2.065
662.056 | -4.208 | -2.094
662.565 | -4.161 | -2.121
663.074 | -4.118 | -2.146
663.583 | -4.079 | -2.171
664.092 | -4.042 | -2.198
664.601 | -4.004 | -2.225
665.11 | -3.964 | -2.254
665.619 | -3.923 | -2.282
666.128 | -3.883 | -2.311
666.637 | -3.842 | -2.339
667.146 | -3.802 | -2.368
667.655 | -3.76 | -2.399
668.164 | -3.717 | -2.432
668.673 | -3.675 | -2.463
669.182 | -3.635 | -2.493
669.691 | -3.598 | -2.522
670.2 | -3.562 | -2.55
670.709 | -3.525 | -2.579
671.218 | -3.489 | -2.61
671.727 | -3.451 | -2.642
672.236 | -3.414 | -2.673
672.745 | -3.378 | -2.703
673.255 | -3.342 | -2.734
673.764 | -3.303 | -2.768
674.273 | -3.263 | -2.803
674.782 | -3.226 | -2.836
675.291 | -3.189 | -2.869
675.8 | -3.155 | -2.901
676.309 | -3.12 | -2.933
676.818 | -3.087 | -2.964
677.327 | -3.055 | -2.996
677.836 | -3.022 | -3.03
678.345 | -2.987 | -3.066
678.854 | -2.951 | -3.102
679.363 | -2.915 | -3.137
679.872 | -2.879 | -3.174
680.381 | -2.844 | -3.211
680.89 | -2.812 | -3.249
681.399 | -2.78 | -3.285
681.908 | -2.749 | -3.32
682.417 | -2.718 | -3.355
682.926 | -2.689 | -3.389
683.435 | -2.659 | -3.423
683.944 | -2.629 | -3.458
684.453 | -2.6 | -3.493
684.962 | -2.571 | -3.531
685.471 | -2.541 | -3.571
685.98 | -2.512 | -3.612
686.489 | -2.48 | -3.651
686.998 | -2.447 | -3.691
687.507 | -2.414 | -3.731
688.016 | -2.384 | -3.772
688.525 | -2.356 | -3.812
689.034 | -2.327 | -3.85
689.543 | -2.297 | -3.886
690.052 | -2.268 | -3.925
690.561 | -2.24 | -3.969
691.07 | -2.213 | -4.014
691.579 | -2.186 | -4.058
692.088 | -2.161 | -4.1
692.597 | -2.135 | -4.142
693.106 | -2.109 | -4.183
693.615 | -2.082 | -4.225
694.124 | -2.057 | -4.267
694.633 | -2.033 | -4.309
695.142 | -2.008 | -4.35
695.651 | -1.983 | -4.394
696.16 | -1.957 | -4.439
696.669 | -1.93 | -4.484
697.178 | -1.904 | -4.528
697.687 | -1.881 | -4.576
698.196 | -1.857 | -4.625
698.705 | -1.831 | -4.673
699.214 | -1.804 | -4.718
699.723 | -1.778 | -4.764
700.232 | -1.754 | -4.815
700.741 | -1.729 | -4.871
701.25 | -1.705 | -4.928
701.76 | -1.681 | -4.985
702.269 | -1.659 | -5.041
702.778 | -1.638 | -5.097
703.287 | -1.618 | -5.154
703.796 | -1.597 | -5.216
704.305 | -1.577 | -5.281
704.814 | -1.556 | -5.348
705.323 | -1.534 | -5.416
705.832 | -1.514 | -5.484
706.341 | -1.495 | -5.554
706.85 | -1.478 | -5.623
707.359 | -1.463 | -5.688
707.868 | -1.448 | -5.747
708.377 | -1.431 | -5.803
708.886 | -1.413 | -5.855
709.395 | -1.393 | -5.904
709.904 | -1.371 | -5.953
710.413 | -1.35 | -6.008
710.922 | -1.329 | -6.068
711.431 | -1.308 | -6.129
711.94 | -1.288 | -6.186
712.449 | -1.267 | -6.24
712.958 | -1.246 | -6.294
713.467 | -1.226 | -6.348
713.976 | -1.206 | -6.403
714.485 | -1.186 | -6.456
714.994 | -1.165 | -6.508
715.503 | -1.145 | -6.561
716.012 | -1.126 | -6.616
716.521 | -1.106 | -6.672
717.03 | -1.084 | -6.725
717.539 | -1.063 | -6.776
718.048 | -1.042 | -6.823
718.557 | -1.022 | -6.866
719.066 | -1.004 | -6.908
719.575 | -0.988 | -6.951
720.084 | -0.974 | -7.001
720.593 | -0.959 | -7.057
721.102 | -0.944 | -7.12
721.611 | -0.928 | -7.188
722.12 | -0.912 | -7.258
722.629 | -0.895 | -7.329
723.138 | -0.878 | -7.4
723.647 | -0.862 | -7.471
724.156 | -0.846 | -7.543
724.665 | -0.83 | -7.617
725.174 | -0.813 | -7.693
725.683 | -0.797 | -7.77
726.192 | -0.782 | -7.846
726.701 | -0.767 | -7.921
727.21 | -0.754 | -7.993
727.719 | -0.74 | -8.068
728.228 | -0.724 | -8.146
728.737 | -0.709 | -8.227
729.247 | -0.694 | -8.308
729.755 | -0.682 | -8.389
730.265 | -0.67 | -8.47
730.774 | -0.658 | -8.55
731.283 | -0.645 | -8.63
731.792 | -0.632 | -8.712
732.301 | -0.617 | -8.797
732.81 | -0.604 | -8.885
733.319 | -0.593 | -8.976
733.828 | -0.582 | -9.068
734.337 | -0.567 | -9.16
734.846 | -0.553 | -9.254
735.355 | -0.541 | -9.348
735.864 | -0.528 | -9.444
736.373 | -0.515 | -9.54
736.882 | -0.504 | -9.634
737.391 | -0.494 | -9.729
737.9 | -0.482 | -9.826
738.409 | -0.471 | -9.921
738.918 | -0.46 | -10.016
739.427 | -0.449 | -10.113
739.936 | -0.438 | -10.211
740.445 | -0.426 | -10.307
740.954 | -0.415 | -10.404
741.463 | -0.405 | -10.504
741.972 | -0.394 | -10.604
742.481 | -0.384 | -10.703
742.99 | -0.375 | -10.804
743.499 | -0.366 | -10.908
744.008 | -0.357 | -11.016
744.517 | -0.348 | -11.125
745.026 | -0.34 | -11.236
745.535 | -0.329 | -11.349
746.044 | -0.318 | -11.464
746.553 | -0.31 | -11.585
747.062 | -0.303 | -11.711
747.571 | -0.294 | -11.841
748.08 | -0.285 | -11.971
748.589 | -0.277 | -12.101
749.098 | -0.268 | -12.233
749.607 | -0.258 | -12.37
750.116 | -0.25 | -12.508
750.625 | -0.243 | -12.648
751.134 | -0.235 | -12.791
751.643 | -0.227 | -12.933
752.152 | -0.22 | -13.074
752.661 | -0.214 | -13.22
753.17 | -0.207 | -13.37
753.679 | -0.2 | -13.517
754.188 | -0.193 | -13.664
754.697 | -0.187 | -13.813
755.206 | -0.18 | -13.964
755.715 | -0.172 | -14.117
756.224 | -0.166 | -14.274
756.733 | -0.162 | -14.434
757.242 | -0.154 | -14.596
757.752 | -0.146 | -14.76
758.26 | -0.141 | -14.932
758.77 | -0.137 | -15.108
759.279 | -0.129 | -15.287
759.788 | -0.124 | -15.467
760.297 | -0.121 | -15.65
760.806 | -0.114 | -15.838
761.315 | -0.107 | -16.03
761.824 | -0.103 | -16.227
762.333 | -0.099 | -16.429
762.842 | -0.094 | -16.635
763.351 | -0.09 | -16.847
763.86 | -0.087 | -17.067
764.369 | -0.082 | -17.295
764.878 | -0.077 | -17.531
765.387 | -0.073 | -17.779
765.896 | -0.07 | -18.032
766.405 | -0.067 | -18.289
766.914 | -0.063 | -18.555
767.423 | -0.059 | -18.829
767.932 | -0.056 | -19.112
768.441 | -0.053 | -19.403
768.95 | -0.05 | -19.709
769.459 | -0.047 | -20.026
769.968 | -0.043 | -20.355
770.477 | -0.04 | -20.694
770.986 | -0.037 | -21.044
771.495 | -0.037 | -21.409
772.004 | -0.037 | -21.786
772.513 | -0.034 | -22.181
773.022 | -0.031 | -22.59
773.531 | -0.03 | -23.019
774.04 | -0.028 | -23.465
774.549 | -0.025 | -23.926
775.058 | -0.026 | -24.412
775.567 | -0.027 | -24.914
776.076 | -0.024 | -25.448
776.585 | -0.022 | -26.001
777.094 | -0.02 | -26.58
777.603 | -0.018 | -27.188
778.112 | -0.016 | -27.815
778.621 | -0.016 | -28.448
779.13 | -0.016 | -29.08
779.639 | -0.014 | -29.699
780.148 | -0.012 | -30.296
780.657 | -0.013 | -30.85
781.166 | -0.014 | -31.298
781.675 | -0.017 | -31.648
782.184 | -0.017 | -31.804
782.693 | -0.018 | -31.847
783.202 | -0.019 | -31.664
783.711 | -0.021 | -31.355
784.22 | -0.021 | -30.897
784.729 | -0.021 | -30.355
785.238 | -0.022 | -29.766
785.747 | -0.022 | -29.138
786.257 | -0.023 | -28.502
786.766 | -0.026 | -27.865
787.275 | -0.028 | -27.237
787.784 | -0.029 | -26.622
788.293 | -0.031 | -26.02
788.802 | -0.034 | -25.429
789.311 | -0.038 | -24.882
789.82 | -0.042 | -24.358
790.329 | -0.044 | -23.892
790.838 | -0.046 | -23.453
791.347 | -0.049 | -23.044
791.856 | -0.051 | -22.654
792.365 | -0.053 | -22.273
792.874 | -0.055 | -21.914
793.383 | -0.058 | -21.563
793.892 | -0.062 | -21.233
794.401 | -0.066 | -20.91
794.91 | -0.07 | -20.592
795.419 | -0.073 | -20.282
795.928 | -0.075 | -19.976
796.437 | -0.079 | -19.679
796.946 | -0.082 | -19.386
797.455 | -0.086 | -19.103
797.964 | -0.089 | -18.824
798.473 | -0.093 | -18.551
798.982 | -0.096 | -18.287
799.491 | -0.099 | -18.027
800 | -0.103 | -17.772