## T150248
SN: | T150248
Item #: | PN1064R3A1
Item Description: | 1x2 75:25 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 98-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -1.44
Coupling Ratio (%): | 75.5
PER (dB): | 33
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -6.32
Coupling Ratio (%): | 24.5
PER (dB): | 29