## T146444
SN: | T146444
Item #: | PN560R5A1
Item Description: | 1x2 50:50 PM Narrowband Fiber Optic Coupler
Fiber Type: | 0.12 NA PANDA Fiber
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 560
Insertion Loss (dB): | -3.67
Coupling Ratio (%): | 50.4
PER (dB): | 30
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 560
Insertion Loss (dB): | -3.74
Coupling Ratio (%): | 49.6
PER (dB): | 22