## T155590
SN: | T155590
Item #: | RB42A1
Item Description: | 1x2 473 nm / 640 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1 - Blue
Test Wavelength (nm): | 473
Insertion Loss (dB): | -0.02
Isolation (dB): | -24.24
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.07
Isolation (dB): | -27.73
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Blue | Insertion Loss (dB) - Channel 2 - Red
458 | -0.22 | -13.393
458.395 | -0.219 | -13.418
458.79 | -0.208 | -13.594
459.184 | -0.2 | -13.787
459.579 | -0.189 | -13.976
459.974 | -0.169 | -14.146
460.369 | -0.187 | -14.33
460.764 | -0.202 | -14.516
461.158 | -0.206 | -14.705
461.553 | -0.172 | -14.899
461.948 | -0.162 | -15.105
462.343 | -0.156 | -15.311
462.737 | -0.14 | -15.508
463.132 | -0.136 | -15.719
463.527 | -0.129 | -15.952
463.922 | -0.122 | -16.193
464.317 | -0.133 | -16.404
464.711 | -0.145 | -16.657
465.106 | -0.141 | -16.926
465.501 | -0.109 | -17.187
465.896 | -0.092 | -17.424
466.291 | -0.08 | -17.682
466.685 | -0.073 | -17.967
467.08 | -0.076 | -18.271
467.475 | -0.091 | -18.566
467.87 | -0.103 | -18.867
468.265 | -0.099 | -19.188
468.659 | -0.08 | -19.506
469.054 | -0.068 | -19.855
469.449 | -0.068 | -20.233
469.844 | -0.078 | -20.61
470.238 | -0.064 | -20.995
470.633 | -0.048 | -21.393
471.028 | -0.048 | -21.816
471.423 | -0.053 | -22.269
471.818 | -0.048 | -22.735
472.212 | -0.031 | -23.211
472.607 | -0.018 | -23.708
473.002 | -0.022 | -24.246
473.397 | -0.038 | -24.84
473.792 | -0.057 | -25.515
474.186 | -0.058 | -26.253
474.581 | -0.047 | -27.063
474.976 | -0.031 | -27.966
475.371 | -0.026 | -28.98
475.766 | -0.03 | -29.808
476.16 | -0.03 | -30.628
476.555 | -0.015 | -31.93
476.95 | -0.008 | -34.703
477.345 | -0.016 | -36.934
477.739 | -0.032 | -39.078
478.134 | -0.04 | -44.701
478.529 | -0.041 | -52.511
478.924 | -0.038 | -58.579
479.319 | -0.035 | -58.755
479.713 | -0.043 | -53.058
480.108 | -0.045 | -44.467
480.503 | -0.036 | -35.969
480.898 | -0.022 | -32.672
481.293 | -0.017 | -31.237
481.687 | -0.021 | -30.352
482.082 | -0.033 | -29.593
482.477 | -0.037 | -28.403
482.872 | -0.04 | -27.342
483.267 | -0.044 | -26.657
483.661 | -0.051 | -26.17
484.056 | -0.064 | -25.575
484.451 | -0.079 | -24.881
484.846 | -0.083 | -24.192
485.24 | -0.071 | -23.614
485.635 | -0.067 | -23.122
486.03 | -0.073 | -22.679
486.425 | -0.078 | -22.23
486.82 | -0.084 | -21.759
487.214 | -0.092 | -21.297
487.609 | -0.097 | -20.877
488.004 | -0.094 | -20.483
488.399 | -0.084 | -20.127
488.794 | -0.075 | -19.812
489.188 | -0.079 | -19.521
489.583 | -0.09 | -19.224
489.978 | -0.101 | -18.917
490.373 | -0.108 | -18.605
490.768 | -0.114 | -18.31
491.162 | -0.113 | -18.033
491.557 | -0.114 | -17.77
491.952 | -0.127 | -17.518
492.347 | -0.137 | -17.282
492.741 | -0.142 | -17.057
493.136 | -0.147 | -16.835
493.531 | -0.14 | -16.603
493.926 | -0.142 | -16.368
494.321 | -0.158 | -16.14
494.715 | -0.169 | -15.936
495.11 | -0.175 | -15.749
495.505 | -0.177 | -15.566
495.9 | -0.176 | -15.372
496.295 | -0.172 | -15.165
496.689 | -0.179 | -14.973
497.084 | -0.196 | -14.798
497.479 | -0.207 | -14.616
497.874 | -0.208 | -14.435
498.269 | -0.206 | -14.261
498.663 | -0.209 | -14.095
499.058 | -0.222 | -13.93
499.453 | -0.239 | -13.76
499.848 | -0.25 | -13.588
500.242 | -0.25 | -13.426
500.637 | -0.251 | -13.271
501.032 | -0.255 | -13.118
501.427 | -0.255 | -12.964
501.822 | -0.257 | -12.811
502.216 | -0.271 | -12.668
502.611 | -0.292 | -12.535
503.006 | -0.305 | -12.401
503.401 | -0.309 | -12.257
503.796 | -0.316 | -12.112
504.19 | -0.329 | -11.98
504.585 | -0.333 | -11.855
504.98 | -0.329 | -11.723
505.375 | -0.332 | -11.588
505.77 | -0.347 | -11.462
506.164 | -0.355 | -11.344
506.559 | -0.359 | -11.223
506.954 | -0.371 | -11.097
507.349 | -0.385 | -10.978
507.743 | -0.398 | -10.864
508.138 | -0.41 | -10.751
508.533 | -0.422 | -10.644
508.928 | -0.437 | -10.541
509.323 | -0.454 | -10.438
509.717 | -0.469 | -10.336
510.112 | -0.481 | -10.235
510.507 | -0.49 | -10.132
510.902 | -0.498 | -10.026
511.297 | -0.509 | -9.918
511.691 | -0.517 | -9.811
512.086 | -0.524 | -9.713
512.481 | -0.535 | -9.626
512.876 | -0.549 | -9.54
513.271 | -0.563 | -9.447
513.665 | -0.575 | -9.349
514.06 | -0.585 | -9.255
514.455 | -0.595 | -9.165
514.85 | -0.61 | -9.077
515.245 | -0.628 | -8.991
515.639 | -0.644 | -8.908
516.034 | -0.655 | -8.823
516.429 | -0.665 | -8.738
516.824 | -0.677 | -8.657
517.218 | -0.69 | -8.579
517.613 | -0.7 | -8.5
518.008 | -0.713 | -8.423
518.403 | -0.731 | -8.346
518.798 | -0.749 | -8.267
519.192 | -0.763 | -8.184
519.587 | -0.772 | -8.099
519.982 | -0.778 | -8.019
520.377 | -0.788 | -7.943
520.772 | -0.802 | -7.87
521.166 | -0.819 | -7.797
521.561 | -0.832 | -7.727
521.956 | -0.844 | -7.658
522.351 | -0.858 | -7.586
522.745 | -0.872 | -7.511
523.14 | -0.885 | -7.436
523.535 | -0.897 | -7.366
523.93 | -0.909 | -7.3
524.325 | -0.925 | -7.237
524.719 | -0.942 | -7.173
525.114 | -0.958 | -7.106
525.509 | -0.97 | -7.033
525.904 | -0.981 | -6.959
526.299 | -0.995 | -6.89
526.693 | -1.013 | -6.828
527.088 | -1.033 | -6.768
527.483 | -1.052 | -6.705
527.878 | -1.067 | -6.638
528.273 | -1.083 | -6.571
528.667 | -1.105 | -6.508
529.062 | -1.132 | -6.447
529.457 | -1.155 | -6.386
529.852 | -1.171 | -6.326
530.247 | -1.186 | -6.267
530.641 | -1.201 | -6.206
531.036 | -1.217 | -6.146
531.431 | -1.233 | -6.091
531.826 | -1.254 | -6.036
532.22 | -1.278 | -5.98
532.615 | -1.304 | -5.92
533.01 | -1.329 | -5.86
533.405 | -1.351 | -5.806
533.8 | -1.372 | -5.755
534.194 | -1.394 | -5.703
534.589 | -1.418 | -5.651
534.984 | -1.442 | -5.603
535.379 | -1.463 | -5.557
535.774 | -1.485 | -5.508
536.168 | -1.507 | -5.455
536.563 | -1.527 | -5.399
536.958 | -1.548 | -5.344
537.353 | -1.571 | -5.293
537.747 | -1.596 | -5.248
538.142 | -1.618 | -5.206
538.537 | -1.637 | -5.157
538.932 | -1.656 | -5.103
539.327 | -1.679 | -5.051
539.721 | -1.707 | -5.004
540.116 | -1.733 | -4.959
540.511 | -1.753 | -4.914
540.906 | -1.769 | -4.869
541.301 | -1.786 | -4.823
541.695 | -1.809 | -4.778
542.09 | -1.837 | -4.732
542.485 | -1.866 | -4.685
542.88 | -1.89 | -4.64
543.275 | -1.912 | -4.593
543.669 | -1.934 | -4.542
544.064 | -1.955 | -4.494
544.459 | -1.977 | -4.452
544.854 | -2.001 | -4.413
545.248 | -2.028 | -4.374
545.643 | -2.056 | -4.331
546.038 | -2.08 | -4.285
546.433 | -2.101 | -4.236
546.828 | -2.124 | -4.188
547.222 | -2.152 | -4.143
547.617 | -2.18 | -4.104
548.012 | -2.204 | -4.067
548.407 | -2.229 | -4.027
548.802 | -2.259 | -3.982
549.196 | -2.291 | -3.936
549.591 | -2.318 | -3.892
549.986 | -2.342 | -3.85
550.381 | -2.366 | -3.809
550.776 | -2.393 | -3.769
551.17 | -2.422 | -3.731
551.565 | -2.452 | -3.694
551.96 | -2.479 | -3.657
552.355 | -2.506 | -3.62
552.75 | -2.536 | -3.581
553.144 | -2.569 | -3.542
553.539 | -2.602 | -3.503
553.934 | -2.634 | -3.466
554.329 | -2.666 | -3.43
554.723 | -2.696 | -3.394
555.118 | -2.728 | -3.36
555.513 | -2.762 | -3.328
555.908 | -2.796 | -3.294
556.303 | -2.827 | -3.261
556.697 | -2.856 | -3.227
557.092 | -2.886 | -3.192
557.487 | -2.916 | -3.156
557.882 | -2.946 | -3.121
558.277 | -2.978 | -3.089
558.671 | -3.013 | -3.057
559.066 | -3.049 | -3.026
559.461 | -3.084 | -2.997
559.856 | -3.119 | -2.969
560.25 | -3.151 | -2.941
560.645 | -3.183 | -2.91
561.04 | -3.219 | -2.878
561.435 | -3.258 | -2.847
561.83 | -3.296 | -2.817
562.224 | -3.329 | -2.788
562.619 | -3.36 | -2.758
563.014 | -3.392 | -2.728
563.409 | -3.427 | -2.697
563.804 | -3.464 | -2.668
564.198 | -3.502 | -2.64
564.593 | -3.538 | -2.611
564.988 | -3.575 | -2.581
565.383 | -3.613 | -2.552
565.778 | -3.651 | -2.526
566.172 | -3.69 | -2.501
566.567 | -3.729 | -2.471
566.962 | -3.767 | -2.438
567.357 | -3.802 | -2.404
567.752 | -3.837 | -2.373
568.146 | -3.874 | -2.345
568.541 | -3.913 | -2.318
568.936 | -3.954 | -2.292
569.331 | -3.995 | -2.265
569.725 | -4.038 | -2.235
570.12 | -4.083 | -2.203
570.515 | -4.129 | -2.171
570.91 | -4.173 | -2.139
571.305 | -4.215 | -2.109
571.699 | -4.257 | -2.083
572.094 | -4.299 | -2.059
572.489 | -4.342 | -2.035
572.884 | -4.385 | -2.009
573.279 | -4.429 | -1.983
573.673 | -4.472 | -1.957
574.068 | -4.517 | -1.931
574.463 | -4.564 | -1.905
574.858 | -4.612 | -1.88
575.253 | -4.66 | -1.855
575.647 | -4.707 | -1.831
576.042 | -4.753 | -1.808
576.437 | -4.8 | -1.783
576.832 | -4.848 | -1.758
577.226 | -4.897 | -1.733
577.621 | -4.947 | -1.711
578.016 | -4.998 | -1.69
578.411 | -5.049 | -1.668
578.806 | -5.1 | -1.646
579.2 | -5.152 | -1.625
579.595 | -5.205 | -1.606
579.99 | -5.256 | -1.587
580.385 | -5.306 | -1.567
580.78 | -5.355 | -1.547
581.174 | -5.406 | -1.525
581.569 | -5.458 | -1.504
581.964 | -5.512 | -1.483
582.359 | -5.563 | -1.464
582.753 | -5.614 | -1.446
583.148 | -5.665 | -1.429
583.543 | -5.718 | -1.41
583.938 | -5.771 | -1.391
584.333 | -5.823 | -1.371
584.727 | -5.873 | -1.352
585.122 | -5.925 | -1.333
585.517 | -5.979 | -1.314
585.912 | -6.033 | -1.297
586.307 | -6.085 | -1.279
586.701 | -6.135 | -1.262
587.096 | -6.186 | -1.245
587.491 | -6.238 | -1.229
587.886 | -6.292 | -1.21
588.281 | -6.348 | -1.19
588.675 | -6.405 | -1.17
589.07 | -6.461 | -1.151
589.465 | -6.515 | -1.133
589.86 | -6.571 | -1.115
590.255 | -6.629 | -1.098
590.649 | -6.688 | -1.079
591.044 | -6.747 | -1.059
591.439 | -6.806 | -1.039
591.834 | -6.866 | -1.02
592.228 | -6.927 | -1.004
592.623 | -6.989 | -0.991
593.018 | -7.05 | -0.977
593.413 | -7.113 | -0.959
593.808 | -7.18 | -0.94
594.202 | -7.247 | -0.923
594.597 | -7.314 | -0.905
594.992 | -7.382 | -0.885
595.387 | -7.45 | -0.869
595.782 | -7.521 | -0.857
596.176 | -7.594 | -0.844
596.571 | -7.667 | -0.831
596.966 | -7.74 | -0.816
597.361 | -7.812 | -0.801
597.755 | -7.885 | -0.785
598.15 | -7.959 | -0.769
598.545 | -8.034 | -0.754
598.94 | -8.111 | -0.743
599.335 | -8.188 | -0.734
599.729 | -8.265 | -0.724
600.124 | -8.345 | -0.711
600.519 | -8.429 | -0.697
600.914 | -8.515 | -0.684
601.309 | -8.6 | -0.671
601.703 | -8.682 | -0.658
602.098 | -8.764 | -0.647
602.493 | -8.849 | -0.636
602.888 | -8.936 | -0.627
603.283 | -9.023 | -0.62
603.677 | -9.108 | -0.614
604.072 | -9.194 | -0.607
604.467 | -9.283 | -0.598
604.862 | -9.372 | -0.589
605.257 | -9.461 | -0.581
605.651 | -9.55 | -0.571
606.046 | -9.638 | -0.561
606.441 | -9.729 | -0.549
606.836 | -9.821 | -0.537
607.23 | -9.912 | -0.526
607.625 | -10.004 | -0.516
608.02 | -10.098 | -0.506
608.415 | -10.192 | -0.496
608.81 | -10.287 | -0.488
609.204 | -10.381 | -0.48
609.599 | -10.478 | -0.473
609.994 | -10.576 | -0.465
610.389 | -10.674 | -0.455
610.784 | -10.772 | -0.444
611.178 | -10.871 | -0.432
611.573 | -10.972 | -0.42
611.968 | -11.076 | -0.41
612.363 | -11.182 | -0.4
612.758 | -11.287 | -0.388
613.152 | -11.39 | -0.375
613.547 | -11.495 | -0.363
613.942 | -11.603 | -0.351
614.337 | -11.716 | -0.338
614.731 | -11.83 | -0.323
615.126 | -11.946 | -0.309
615.521 | -12.065 | -0.297
615.916 | -12.185 | -0.287
616.311 | -12.305 | -0.279
616.705 | -12.426 | -0.27
617.1 | -12.551 | -0.26
617.495 | -12.682 | -0.248
617.89 | -12.814 | -0.237
618.285 | -12.947 | -0.228
618.679 | -13.082 | -0.22
619.074 | -13.221 | -0.213
619.469 | -13.363 | -0.205
619.864 | -13.508 | -0.196
620.259 | -13.656 | -0.187
620.653 | -13.807 | -0.178
621.048 | -13.961 | -0.171
621.443 | -14.118 | -0.165
621.838 | -14.276 | -0.161
622.232 | -14.436 | -0.157
622.627 | -14.6 | -0.155
623.022 | -14.77 | -0.15
623.417 | -14.945 | -0.144
623.812 | -15.122 | -0.139
624.206 | -15.303 | -0.138
624.601 | -15.486 | -0.137
624.996 | -15.673 | -0.136
625.391 | -15.862 | -0.134
625.786 | -16.05 | -0.133
626.18 | -16.24 | -0.131
626.575 | -16.435 | -0.131
626.97 | -16.634 | -0.132
627.365 | -16.837 | -0.13
627.76 | -17.044 | -0.128
628.154 | -17.257 | -0.127
628.549 | -17.477 | -0.13
628.944 | -17.7 | -0.133
629.339 | -17.924 | -0.133
629.733 | -18.157 | -0.132
630.128 | -18.392 | -0.129
630.523 | -18.631 | -0.127
630.918 | -18.88 | -0.129
631.313 | -19.14 | -0.133
631.707 | -19.407 | -0.134
632.102 | -19.682 | -0.131
632.497 | -19.968 | -0.13
632.892 | -20.26 | -0.132
633.287 | -20.557 | -0.131
633.681 | -20.865 | -0.127
634.076 | -21.193 | -0.124
634.471 | -21.527 | -0.122
634.866 | -21.869 | -0.122
635.26 | -22.232 | -0.122
635.655 | -22.608 | -0.117
636.05 | -22.995 | -0.112
636.445 | -23.397 | -0.111
636.84 | -23.817 | -0.109
637.234 | -24.253 | -0.104
637.629 | -24.709 | -0.097
638.024 | -25.189 | -0.091
638.419 | -25.68 | -0.088
638.814 | -26.181 | -0.086
639.208 | -26.696 | -0.082
639.603 | -27.21 | -0.076
639.998 | -27.726 | -0.071
640.393 | -28.238 | -0.066
640.788 | -28.705 | -0.063
641.182 | -29.129 | -0.062
641.577 | -29.494 | -0.058
641.972 | -29.762 | -0.05
642.367 | -29.907 | -0.051
642.762 | -29.951 | -0.051
643.156 | -29.89 | -0.046
643.551 | -29.685 | -0.04
643.946 | -29.39 | -0.04
644.341 | -29.026 | -0.042
644.735 | -28.6 | -0.041
645.13 | -28.127 | -0.042
645.525 | -27.638 | -0.042
645.92 | -27.14 | -0.042
646.315 | -26.635 | -0.046
646.709 | -26.142 | -0.048
647.104 | -25.66 | -0.051
647.499 | -25.192 | -0.056
647.894 | -24.74 | -0.061
648.289 | -24.303 | -0.064
648.683 | -23.88 | -0.065
649.078 | -23.48 | -0.07
649.473 | -23.095 | -0.074
649.868 | -22.723 | -0.076
650.263 | -22.361 | -0.08
650.657 | -22.023 | -0.088
651.052 | -21.698 | -0.097
651.447 | -21.381 | -0.105
651.842 | -21.077 | -0.113
652.236 | -20.783 | -0.118
652.631 | -20.501 | -0.122
653.026 | -20.23 | -0.131
653.421 | -19.965 | -0.142
653.816 | -19.707 | -0.15
654.21 | -19.456 | -0.156
654.605 | -19.22 | -0.163
655 | -18.989 | -0.167