## ASE Spectrum
S9FC1137P ASE Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 925 | -41.2595
|  | 925.5 | -41.2864
|  | 926 | -41.3667
|  | 926.5 | -41.3471
Product Raw Data |  | 927 | -41.4846
1030 - 1070 nm Booster Optical Amplifier, Polarization Maintaining |  | 927.5 | -41.4396
|  | 928 | -41.5093
Item # | S9FC1137P | 928.5 | -41.4948
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 929 | -41.564
|  | 929.5 | -41.6244
|  | 930 | -41.6287
|  | 930.5 | -41.7334
|  | 931 | -41.6934
|  | 931.5 | -41.8467
This data may be used in publications. However, please cite Thorlabs as the source. |  | 932 | -41.858
|  | 932.5 | -41.8234
|  | 933 | -41.9377
Additional Information: |  | 933.5 | -41.937
I = 300 mA |  | 934 | -42.005
|  | 934.5 | -42.0215
|  | 935 | -42.0774
|  | 935.5 | -42.1491
|  | 936 | -42.1346
|  | 936.5 | -42.2735
|  | 937 | -42.2406
|  | 937.5 | -42.3387
|  | 938 | -42.4072
|  | 938.5 | -42.4324
|  | 939 | -42.4845
|  | 939.5 | -42.4328
|  | 940 | -42.5046
|  | 940.5 | -42.5227
|  | 941 | -42.6682
|  | 941.5 | -42.6561
|  | 942 | -42.6897
|  | 942.5 | -42.7674
|  | 943 | -42.7818
|  | 943.5 | -42.845
|  | 944 | -42.8346
|  | 944.5 | -42.9064
|  | 945 | -43.0333
|  | 945.5 | -42.9573
|  | 946 | -43.1218
|  | 946.5 | -43.0418
|  | 947 | -43.077
|  | 947.5 | -43.1373
|  | 948 | -43.2176
|  | 948.5 | -43.2111
|  | 949 | -43.2011
|  | 949.5 | -43.2629
|  | 950 | -43.2682
|  | 950.5 | -43.3525
|  | 951 | -43.2834
|  | 951.5 | -43.3375
|  | 952 | -43.3309
|  | 952.5 | -43.309
|  | 953 | -43.3757
|  | 953.5 | -43.2559
|  | 954 | -43.3148
|  | 954.5 | -43.232
|  | 955 | -43.2218
|  | 955.5 | -43.1271
|  | 956 | -43.0117
|  | 956.5 | -42.9713
|  | 957 | -42.8764
|  | 957.5 | -42.8137
|  | 958 | -42.7116
|  | 958.5 | -42.6405
|  | 959 | -42.5528
|  | 959.5 | -42.4273
|  | 960 | -42.3458
|  | 960.5 | -42.193
|  | 961 | -42.107
|  | 961.5 | -41.9704
|  | 962 | -41.8302
|  | 962.5 | -41.7098
|  | 963 | -41.5484
|  | 963.5 | -41.4237
|  | 964 | -41.2763
|  | 964.5 | -41.1235
|  | 965 | -41.0001
|  | 965.5 | -40.8033
|  | 966 | -40.6407
|  | 966.5 | -40.4873
|  | 967 | -40.3463
|  | 967.5 | -40.0938
|  | 968 | -39.9594
|  | 968.5 | -39.7585
|  | 969 | -39.5444
|  | 969.5 | -39.3636
|  | 970 | -39.1409
|  | 970.5 | -38.952
|  | 971 | -38.7204
|  | 971.5 | -38.5009
|  | 972 | -38.2525
|  | 972.5 | -38.0186
|  | 973 | -37.8068
|  | 973.5 | -37.5542
|  | 974 | -37.3446
|  | 974.5 | -37.1035
|  | 975 | -36.8636
|  | 975.5 | -36.5918
|  | 976 | -36.358
|  | 976.5 | -36.1089
|  | 977 | -35.8588
|  | 977.5 | -35.6087
|  | 978 | -35.3475
|  | 978.5 | -35.0809
|  | 979 | -34.813
|  | 979.5 | -34.5605
|  | 980 | -34.307
|  | 980.5 | -34.0475
|  | 981 | -33.7725
|  | 981.5 | -33.5158
|  | 982 | -33.2574
|  | 982.5 | -32.9852
|  | 983 | -32.7279
|  | 983.5 | -32.4763
|  | 984 | -32.225
|  | 984.5 | -31.9907
|  | 985 | -31.7387
|  | 985.5 | -31.5023
|  | 986 | -31.3125
|  | 986.5 | -31.0801
|  | 987 | -30.8495
|  | 987.5 | -30.616
|  | 988 | -30.3794
|  | 988.5 | -30.1402
|  | 989 | -29.932
|  | 989.5 | -29.7046
|  | 990 | -29.4806
|  | 990.5 | -29.2578
|  | 991 | -29.0235
|  | 991.5 | -28.7823
|  | 992 | -28.5626
|  | 992.5 | -28.3224
|  | 993 | -28.083
|  | 993.5 | -27.8336
|  | 994 | -27.6042
|  | 994.5 | -27.3667
|  | 995 | -27.1381
|  | 995.5 | -26.9377
|  | 996 | -26.7341
|  | 996.5 | -26.5311
|  | 997 | -26.3594
|  | 997.5 | -26.1925
|  | 998 | -26.0337
|  | 998.5 | -25.8697
|  | 999 | -25.7229
|  | 999.5 | -25.5653
|  | 1000 | -25.3823
|  | 1000.5 | -25.2111
|  | 1001 | -25.0196
|  | 1001.5 | -24.8178
|  | 1002 | -24.6165
|  | 1002.5 | -24.3937
|  | 1003 | -24.2092
|  | 1003.5 | -23.9945
|  | 1004 | -23.8068
|  | 1004.5 | -23.6575
|  | 1005 | -23.5076
|  | 1005.5 | -23.357
|  | 1006 | -23.2367
|  | 1006.5 | -23.1266
|  | 1007 | -23.0062
|  | 1007.5 | -22.8645
|  | 1008 | -22.74
|  | 1008.5 | -22.5828
|  | 1009 | -22.391
|  | 1009.5 | -22.2247
|  | 1010 | -22.0565
|  | 1010.5 | -21.8744
|  | 1011 | -21.7597
|  | 1011.5 | -21.5913
|  | 1012 | -21.5354
|  | 1012.5 | -21.4561
|  | 1013 | -21.3672
|  | 1013.5 | -21.3018
|  | 1014 | -21.1579
|  | 1014.5 | -21.0264
|  | 1015 | -20.8985
|  | 1015.5 | -20.7627
|  | 1016 | -20.611
|  | 1016.5 | -20.4456
|  | 1017 | -20.34
|  | 1017.5 | -20.2344
|  | 1018 | -20.1101
|  | 1018.5 | -20.0566
|  | 1019 | -20.0011
|  | 1019.5 | -19.8855
|  | 1020 | -19.8264
|  | 1020.5 | -19.733
|  | 1021 | -19.64
|  | 1021.5 | -19.4813
|  | 1022 | -19.3723
|  | 1022.5 | -19.2732
|  | 1023 | -19.1317
|  | 1023.5 | -19.0283
|  | 1024 | -19.0022
|  | 1024.5 | -18.9683
|  | 1025 | -18.8839
|  | 1025.5 | -18.7893
|  | 1026 | -18.7529
|  | 1026.5 | -18.6221
|  | 1027 | -18.5105
|  | 1027.5 | -18.4129
|  | 1028 | -18.3099
|  | 1028.5 | -18.2237
|  | 1029 | -18.1671
|  | 1029.5 | -18.1454
|  | 1030 | -18.1135
|  | 1030.5 | -18.0943
|  | 1031 | -17.9915
|  | 1031.5 | -17.935
|  | 1032 | -17.8466
|  | 1032.5 | -17.7514
|  | 1033 | -17.634
|  | 1033.5 | -17.6009
|  | 1034 | -17.5906
|  | 1034.5 | -17.556
|  | 1035 | -17.5455
|  | 1035.5 | -17.5087
|  | 1036 | -17.3989
|  | 1036.5 | -17.3521
|  | 1037 | -17.2515
|  | 1037.5 | -17.1689
|  | 1038 | -17.1808
|  | 1038.5 | -17.1329
|  | 1039 | -17.215
|  | 1039.5 | -17.1341
|  | 1040 | -17.089
|  | 1040.5 | -17.0374
|  | 1041 | -16.9175
|  | 1041.5 | -16.9089
|  | 1042 | -16.8693
|  | 1042.5 | -16.8515
|  | 1043 | -16.945
|  | 1043.5 | -16.9361
|  | 1044 | -16.8352
|  | 1044.5 | -16.788
|  | 1045 | -16.7416
|  | 1045.5 | -16.7186
|  | 1046 | -16.643
|  | 1046.5 | -16.7392
|  | 1047 | -16.775
|  | 1047.5 | -16.7282
|  | 1048 | -16.6361
|  | 1048.5 | -16.629
|  | 1049 | -16.5892
|  | 1049.5 | -16.6281
|  | 1050 | -16.682
|  | 1050.5 | -16.7717
|  | 1051 | -16.7285
|  | 1051.5 | -16.6799
|  | 1052 | -16.649
|  | 1052.5 | -16.6257
|  | 1053 | -16.695
|  | 1053.5 | -16.734
|  | 1054 | -16.828
|  | 1054.5 | -16.8311
|  | 1055 | -16.7266
|  | 1055.5 | -16.7314
|  | 1056 | -16.8296
|  | 1056.5 | -16.8841
|  | 1057 | -16.9113
|  | 1057.5 | -16.9738
|  | 1058 | -17.0171
|  | 1058.5 | -17.0074
|  | 1059 | -16.9808
|  | 1059.5 | -17.0867
|  | 1060 | -17.224
|  | 1060.5 | -17.2769
|  | 1061 | -17.2858
|  | 1061.5 | -17.3098
|  | 1062 | -17.37
|  | 1062.5 | -17.5011
|  | 1063 | -17.5852
|  | 1063.5 | -17.6159
|  | 1064 | -17.7386
|  | 1064.5 | -17.7911
|  | 1065 | -17.8545
|  | 1065.5 | -17.9636
|  | 1066 | -18.0808
|  | 1066.5 | -18.1531
|  | 1067 | -18.1943
|  | 1067.5 | -18.3263
|  | 1068 | -18.4422
|  | 1068.5 | -18.5392
|  | 1069 | -18.6631
|  | 1069.5 | -18.7648
|  | 1070 | -18.8998
|  | 1070.5 | -19.0069
|  | 1071 | -19.1119
|  | 1071.5 | -19.2836
|  | 1072 | -19.4348
|  | 1072.5 | -19.5535
|  | 1073 | -19.6409
|  | 1073.5 | -19.8133
|  | 1074 | -19.9918
|  | 1074.5 | -20.116
|  | 1075 | -20.2851
|  | 1075.5 | -20.4796
|  | 1076 | -20.6802
|  | 1076.5 | -20.8407
|  | 1077 | -21.0315
|  | 1077.5 | -21.2155
|  | 1078 | -21.4473
|  | 1078.5 | -21.6139
|  | 1079 | -21.8019
|  | 1079.5 | -22.0255
|  | 1080 | -22.2423
|  | 1080.5 | -22.4336
|  | 1081 | -22.6933
|  | 1081.5 | -22.9532
|  | 1082 | -23.1671
|  | 1082.5 | -23.3659
|  | 1083 | -23.6089
|  | 1083.5 | -23.8808
|  | 1084 | -24.164
|  | 1084.5 | -24.3727
|  | 1085 | -24.6712
|  | 1085.5 | -24.9308
|  | 1086 | -25.2461
|  | 1086.5 | -25.4636
|  | 1087 | -25.8548
|  | 1087.5 | -26.1478
|  | 1088 | -26.3799
|  | 1088.5 | -26.6559
|  | 1089 | -26.8727
|  | 1089.5 | -27.1978
|  | 1090 | -27.503
|  | 1090.5 | -27.8145
|  | 1091 | -28.1411
|  | 1091.5 | -28.4752
|  | 1092 | -28.8184
|  | 1092.5 | -29.175
|  | 1093 | -29.5156
|  | 1093.5 | -29.852
|  | 1094 | -30.2087
|  | 1094.5 | -30.5675
|  | 1095 | -30.9229
|  | 1095.5 | -31.2756
|  | 1096 | -31.6536
|  | 1096.5 | -32.0455
|  | 1097 | -32.4142
|  | 1097.5 | -32.7835
|  | 1098 | -33.1662
|  | 1098.5 | -33.5384
|  | 1099 | -33.8984
|  | 1099.5 | -34.2685
|  | 1100 | -34.6615
|  | 1100.5 | -35.0453
|  | 1101 | -35.4168
|  | 1101.5 | -35.8068
|  | 1102 | -36.2125
|  | 1102.5 | -36.5597
|  | 1103 | -36.9688
|  | 1103.5 | -37.2923
|  | 1104 | -38.0626
|  | 1104.5 | -37.9651
|  | 1105 | -38.3276
|  | 1105.5 | -38.6873
|  | 1106 | -39.0858
|  | 1106.5 | -39.435
|  | 1107 | -39.8112
|  | 1107.5 | -40.1539
|  | 1108 | -40.5231
|  | 1108.5 | -40.8604
|  | 1109 | -41.1747
|  | 1109.5 | -41.4881
|  | 1110 | -41.7847
|  | 1110.5 | -42.0815
|  | 1111 | -42.4071
|  | 1111.5 | -42.7098
|  | 1112 | -42.9734
|  | 1112.5 | -43.3034
|  | 1113 | -43.5735
|  | 1113.5 | -43.8574
|  | 1114 | -44.0667
|  | 1114.5 | -44.3803
|  | 1115 | -44.6155
|  | 1115.5 | -44.8309
|  | 1116 | -45.0557
|  | 1116.5 | -45.2778
|  | 1117 | -45.5779
|  | 1117.5 | -45.7314
|  | 1118 | -45.9474
|  | 1118.5 | -46.1001
|  | 1119 | -46.3826
|  | 1119.5 | -46.5575
|  | 1120 | -46.7052
|  | 1120.5 | -46.9645
|  | 1121 | -47.1202
|  | 1121.5 | -47.2383
|  | 1122 | -47.3847
|  | 1122.5 | -47.621
|  | 1123 | -47.7557
|  | 1123.5 | -47.8794
|  | 1124 | -48.0624
|  | 1124.5 | -48.2135
|  | 1125 | -48.2825
|  | 1125.5 | -48.5685
|  | 1126 | -48.736
|  | 1126.5 | -48.8578
|  | 1127 | -48.9948
|  | 1127.5 | -49.0688
|  | 1128 | -49.2621
|  | 1128.5 | -49.2964
|  | 1129 | -49.5416
|  | 1129.5 | -49.6281
|  | 1130 | -49.8809
|  | 1130.5 | -49.9195
|  | 1131 | -49.9865
|  | 1131.5 | -50.0977
|  | 1132 | -50.3336
|  | 1132.5 | -50.4345
|  | 1133 | -50.4628
|  | 1133.5 | -50.6416
|  | 1134 | -50.7634
|  | 1134.5 | -50.8715
|  | 1135 | -51.0393
|  | 1135.5 | -51.2594
|  | 1136 | -51.3583
|  | 1136.5 | -51.4132
|  | 1137 | -51.4536
|  | 1137.5 | -51.6282
|  | 1138 | -51.6363
|  | 1138.5 | -52.0186
|  | 1139 | -51.8972
|  | 1139.5 | -52.1068
|  | 1140 | -52.136
|  | 1140.5 | -52.4513
|  | 1141 | -52.4917
|  | 1141.5 | -52.712
|  | 1142 | -52.8953
|  | 1142.5 | -52.7617
|  | 1143 | -52.8934
|  | 1143.5 | -52.84
|  | 1144 | -53.1472
|  | 1144.5 | -53.0644
|  | 1145 | -53.4664
|  | 1145.5 | -53.4685
|  | 1146 | -53.702
|  | 1146.5 | -53.8391
|  | 1147 | -53.9572
|  | 1147.5 | -53.9178
|  | 1148 | -54.1661
|  | 1148.5 | -54.1228
|  | 1149 | -54.2745
|  | 1149.5 | -54.3282
|  | 1150 | -54.523
|  | 1150.5 | -54.6746
|  | 1151 | -54.5167
|  | 1151.5 | -54.8165
|  | 1152 | -54.8217
|  | 1152.5 | -54.9329
|  | 1153 | -54.916
|  | 1153.5 | -55.1925
|  | 1154 | -55.2038
|  | 1154.5 | -55.3498
|  | 1155 | -55.3174
|  | 1155.5 | -55.6887
|  | 1156 | -55.7453
|  | 1156.5 | -56.0996
|  | 1157 | -55.9942
|  | 1157.5 | -55.7313
|  | 1158 | -55.7918
|  | 1158.5 | -55.7895
|  | 1159 | -56.0887
|  | 1159.5 | -55.9873
|  | 1160 | -56.4384
|  | 1160.5 | -55.8858
|  | 1161 | -56.3522
|  | 1161.5 | -55.981
|  | 1162 | -56.622
|  | 1162.5 | -55.9199
|  | 1163 | -56.767
|  | 1163.5 | -55.9959
|  | 1164 | -56.1724
|  | 1164.5 | -56.3809
|  | 1165 | -56.4652
|  | 1165.5 | -56.1122
|  | 1166 | -56.5982
|  | 1166.5 | -56.4815
|  | 1167 | -56.5013
|  | 1167.5 | -56.7905
|  | 1168 | -56.2866
|  | 1168.5 | -56.6091
|  | 1169 | -56.0315
|  | 1169.5 | -56.631
|  | 1170 | -56.3562
|  | 1170.5 | -56.4899
|  | 1171 | -56.6141
|  | 1171.5 | -57.1548
|  | 1172 | -56.592
|  | 1172.5 | -56.9687
|  | 1173 | -56.0511
|  | 1173.5 | -56.7994
|  | 1174 | -56.4271
|  | 1174.5 | -56.9187
|  | 1175 | -56.7116

## Gain vs Output Power
S9FC1137P Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | -2.559 | 22.234
|  | -0.979 | 22.182
|  | 0.526 | 22.052
|  | 2.091 | 21.992
Product Raw Data |  | 3.561 | 21.812
1030 - 1070 nm Booster Optical Amplifier, Polarization Maintaining |  | 4.904 | 21.515
|  | 6.184 | 21.164
Item # | S9FC1137P | 7.345 | 20.7
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 8.365 | 20.072
|  | 9.271 | 19.343
|  | 10.09 | 18.523
|  | 10.786 | 17.63
|  | 11.36 | 16.545
|  | 11.943 | 15.506
This data may be used in publications. However, please cite Thorlabs as the source. |  | 12.406 | 14.352
Additional Information:
I = 300 mA, λ = 1054.7 nm