## A014041
SN: | A014041
Item #: | TDQ1315HA
Item Description: | 1x4 Dual-Window Fiber Optic Coupler
Fiber Type: | SMF-28 Ultra
Port Name: | Port 1
Test Wavelength (nm): | 1310 | 1550
Insertion Loss (dB): | 6.14 | 6.37
Coupling Ratio (%): | 25.302 | 24.541
Port Name: | Port 2
Test Wavelength (nm): | 1310 | 1550
Insertion Loss (dB): | 6.17 | 6.34
Coupling Ratio (%): | 25.128 | 24.711
Port Name: | Port 3
Test Wavelength (nm): | 1310 | 1550
Insertion Loss (dB): | 6.28 | 6.21
Coupling Ratio (%): | 24.5 | 25.462
Port Name: | Port 4
Test Wavelength (nm): | 1310 | 1550
Insertion Loss (dB): | 6.18 | 6.24
Coupling Ratio (%): | 25.07 | 25.287