## T149386
SN: | T149386
Item #: | TN1064R1A2A
Item Description: | 2x2 99:1 Narrowband Fiber Optic Coupler
Fiber Type: | HI1060
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -0.09
Coupling Ratio (%): | 99.2
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -21.15
Coupling Ratio (%): | 0.8