## T150235
SN: | T150235
Item #: | TN1310R5A2
Item Description: | 2x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1310
Insertion Loss (dB): | -3.09
Coupling Ratio (%): | 49.7
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1310
Insertion Loss (dB): | -3.03
Coupling Ratio (%): | 50.3