## T149401
SN: | T149401
Item #: | TN808R5A2
Item Description: | 2x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 808
Insertion Loss (dB): | -3.08
Coupling Ratio (%): | 50.2
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 808
Insertion Loss (dB): | -3.12
Coupling Ratio (%): | 49.8