## Transmission
TTL180-A Transmission
|  | Wavelength (nm) | % Transmission
|  | 2000 | 63.4429
|  | 1999 | 63.1051
|  | 1998 | 63.3208
|  | 1997 | 63.2461
Product Raw Data |  | 1996 | 63.6273
Tube Lens, f = 180 mm, ARC: 350 - 700 nm |  | 1995 | 63.4838
|  | 1994 | 63.5868
Item # | TTL180-A | 1993 | 63.3354
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1992 | 63.1748
|  | 1991 | 63.1389
|  | 1990 | 62.7916
|  | 1989 | 63.2949
|  | 1988 | 63.6985
|  | 1987 | 63.3276
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1986 | 63.5332
|  | 1985 | 63.3702
|  | 1984 | 63.2046
Additional Information: |  | 1983 | 63.5856
This plot contains measured data. |  | 1982 | 63.5109
|  | 1981 | 63.3744
|  | 1980 | 63.3108
|  | 1979 | 63.2858
|  | 1978 | 63.2372
|  | 1977 | 63.2564
|  | 1976 | 63.3193
|  | 1975 | 63.0722
|  | 1974 | 63.1968
|  | 1973 | 63.3
|  | 1972 | 63.1151
|  | 1971 | 63.1388
|  | 1970 | 63.1992
|  | 1969 | 63.2708
|  | 1968 | 63.2656
|  | 1967 | 63.1162
|  | 1966 | 63.1526
|  | 1965 | 63.1122
|  | 1964 | 63.3121
|  | 1963 | 63.0283
|  | 1962 | 63.0216
|  | 1961 | 63.0931
|  | 1960 | 63.2507
|  | 1959 | 62.928
|  | 1958 | 63.1527
|  | 1957 | 63.2011
|  | 1956 | 62.8186
|  | 1955 | 62.966
|  | 1954 | 63.0633
|  | 1953 | 63.1542
|  | 1952 | 63.2052
|  | 1951 | 62.6912
|  | 1950 | 63.0397
|  | 1949 | 62.9341
|  | 1948 | 62.9313
|  | 1947 | 63.0901
|  | 1946 | 62.8038
|  | 1945 | 63.0571
|  | 1944 | 62.6501
|  | 1943 | 62.8987
|  | 1942 | 63.3495
|  | 1941 | 62.7916
|  | 1940 | 62.8304
|  | 1939 | 62.5355
|  | 1938 | 62.7605
|  | 1937 | 62.8854
|  | 1936 | 62.825
|  | 1935 | 63.3535
|  | 1934 | 63.1058
|  | 1933 | 62.848
|  | 1932 | 62.8076
|  | 1931 | 63.1034
|  | 1930 | 63.1694
|  | 1929 | 62.4647
|  | 1928 | 62.8009
|  | 1927 | 62.3949
|  | 1926 | 62.8599
|  | 1925 | 62.8634
|  | 1924 | 62.4914
|  | 1923 | 62.5173
|  | 1922 | 63.0766
|  | 1921 | 62.3383
|  | 1920 | 62.7195
|  | 1919 | 62.4092
|  | 1918 | 62.6647
|  | 1917 | 62.378
|  | 1916 | 62.5373
|  | 1915 | 62.7204
|  | 1914 | 62.7187
|  | 1913 | 62.1996
|  | 1912 | 62.4485
|  | 1911 | 62.7229
|  | 1910 | 62.4255
|  | 1909 | 62.4676
|  | 1908 | 62.642
|  | 1907 | 62.8629
|  | 1906 | 62.3003
|  | 1905 | 61.9396
|  | 1904 | 62.6088
|  | 1903 | 62.4285
|  | 1902 | 62.1898
|  | 1901 | 62.1486
|  | 1900 | 62.4972
|  | 1899 | 62.5418
|  | 1898 | 62.7117
|  | 1897 | 62.1227
|  | 1896 | 62.4275
|  | 1895 | 62.2717
|  | 1894 | 62.3619
|  | 1893 | 62.2979
|  | 1892 | 62.4879
|  | 1891 | 62.7579
|  | 1890 | 62.4265
|  | 1889 | 62.3254
|  | 1888 | 62.4495
|  | 1887 | 62.3175
|  | 1886 | 62.2668
|  | 1885 | 62.2028
|  | 1884 | 62.1368
|  | 1883 | 62.0619
|  | 1882 | 62.1995
|  | 1881 | 62.4324
|  | 1880 | 62.3079
|  | 1879 | 62.4548
|  | 1878 | 62.2132
|  | 1877 | 62.3122
|  | 1876 | 62.1825
|  | 1875 | 62.2035
|  | 1874 | 62.355
|  | 1873 | 62.3603
|  | 1872 | 62.0552
|  | 1871 | 62.0166
|  | 1870 | 62.0564
|  | 1869 | 61.9631
|  | 1868 | 62.0426
|  | 1867 | 61.9167
|  | 1866 | 61.8513
|  | 1865 | 61.9418
|  | 1864 | 61.9463
|  | 1863 | 61.9329
|  | 1862 | 62.0502
|  | 1861 | 61.9984
|  | 1860 | 61.9777
|  | 1859 | 61.8297
|  | 1858 | 61.9117
|  | 1857 | 61.8375
|  | 1856 | 61.7291
|  | 1855 | 61.8059
|  | 1854 | 61.9209
|  | 1853 | 62.043
|  | 1852 | 61.8649
|  | 1851 | 61.4811
|  | 1850 | 61.5062
|  | 1849 | 61.5177
|  | 1848 | 61.4751
|  | 1847 | 61.4433
|  | 1846 | 61.5326
|  | 1845 | 61.6814
|  | 1844 | 61.6096
|  | 1843 | 61.5053
|  | 1842 | 61.382
|  | 1841 | 61.6723
|  | 1840 | 61.562
|  | 1839 | 61.5226
|  | 1838 | 61.48
|  | 1837 | 61.3719
|  | 1836 | 61.0928
|  | 1835 | 61.209
|  | 1834 | 61.3765
|  | 1833 | 61.3386
|  | 1832 | 61.1733
|  | 1831 | 61.1207
|  | 1830 | 61.2664
|  | 1829 | 61.1769
|  | 1828 | 61.0908
|  | 1827 | 61.2097
|  | 1826 | 61.1903
|  | 1825 | 61.1818
|  | 1824 | 61.1547
|  | 1823 | 61.1721
|  | 1822 | 61.1724
|  | 1821 | 61.0454
|  | 1820 | 60.9666
|  | 1819 | 61.1065
|  | 1818 | 61.0884
|  | 1817 | 61.0026
|  | 1816 | 61.0158
|  | 1815 | 60.939
|  | 1814 | 60.9785
|  | 1813 | 60.8558
|  | 1812 | 60.7965
|  | 1811 | 61.0357
|  | 1810 | 60.9545
|  | 1809 | 60.7563
|  | 1808 | 60.7821
|  | 1807 | 60.813
|  | 1806 | 60.8308
|  | 1805 | 60.8549
|  | 1804 | 60.8341
|  | 1803 | 60.7862
|  | 1802 | 60.7317
|  | 1801 | 60.6528
|  | 1800 | 60.6362
|  | 1799 | 60.5879
|  | 1798 | 60.4883
|  | 1797 | 60.4525
|  | 1796 | 60.4951
|  | 1795 | 60.5218
|  | 1794 | 60.5395
|  | 1793 | 60.4918
|  | 1792 | 60.4454
|  | 1791 | 60.4115
|  | 1790 | 60.3252
|  | 1789 | 60.4076
|  | 1788 | 60.4375
|  | 1787 | 60.3891
|  | 1786 | 60.2389
|  | 1785 | 60.2635
|  | 1784 | 60.3111
|  | 1783 | 60.2406
|  | 1782 | 60.0179
|  | 1781 | 60.0267
|  | 1780 | 60.0241
|  | 1779 | 60.0014
|  | 1778 | 59.9812
|  | 1777 | 59.9738
|  | 1776 | 59.8192
|  | 1775 | 59.7355
|  | 1774 | 59.5801
|  | 1773 | 59.6031
|  | 1772 | 59.7389
|  | 1771 | 59.6337
|  | 1770 | 59.5297
|  | 1769 | 59.4532
|  | 1768 | 59.3751
|  | 1767 | 59.3544
|  | 1766 | 59.1908
|  | 1765 | 59.2574
|  | 1764 | 59.2846
|  | 1763 | 59.1836
|  | 1762 | 58.9679
|  | 1761 | 58.8127
|  | 1760 | 58.8437
|  | 1759 | 58.912
|  | 1758 | 58.6306
|  | 1757 | 58.5543
|  | 1756 | 58.5936
|  | 1755 | 58.5406
|  | 1754 | 58.4631
|  | 1753 | 58.3717
|  | 1752 | 58.3037
|  | 1751 | 58.3806
|  | 1750 | 58.2869
|  | 1749 | 58.2637
|  | 1748 | 58.1341
|  | 1747 | 58.059
|  | 1746 | 58.1733
|  | 1745 | 58.0997
|  | 1744 | 57.9857
|  | 1743 | 58.0079
|  | 1742 | 57.8165
|  | 1741 | 57.7543
|  | 1740 | 57.7498
|  | 1739 | 57.8776
|  | 1738 | 57.9213
|  | 1737 | 57.7844
|  | 1736 | 57.8208
|  | 1735 | 58.0764
|  | 1734 | 58.0062
|  | 1733 | 58.0715
|  | 1732 | 57.878
|  | 1731 | 57.7965
|  | 1730 | 57.9519
|  | 1729 | 57.9016
|  | 1728 | 57.7157
|  | 1727 | 57.8955
|  | 1726 | 57.7315
|  | 1725 | 57.8066
|  | 1724 | 57.8266
|  | 1723 | 57.889
|  | 1722 | 57.8446
|  | 1721 | 57.839
|  | 1720 | 57.7853
|  | 1719 | 57.9598
|  | 1718 | 57.6303
|  | 1717 | 57.7016
|  | 1716 | 57.795
|  | 1715 | 57.7715
|  | 1714 | 57.7334
|  | 1713 | 57.6685
|  | 1712 | 57.5903
|  | 1711 | 57.7471
|  | 1710 | 57.4565
|  | 1709 | 57.5887
|  | 1708 | 57.7544
|  | 1707 | 57.6584
|  | 1706 | 57.593
|  | 1705 | 57.6926
|  | 1704 | 57.5907
|  | 1703 | 57.6232
|  | 1702 | 57.5236
|  | 1701 | 57.5323
|  | 1700 | 57.5643
|  | 1699 | 57.6113
|  | 1698 | 57.6623
|  | 1697 | 57.5824
|  | 1696 | 57.5272
|  | 1695 | 57.5571
|  | 1694 | 57.3846
|  | 1693 | 57.5552
|  | 1692 | 57.5089
|  | 1691 | 57.5663
|  | 1690 | 57.6729
|  | 1689 | 57.6976
|  | 1688 | 57.7106
|  | 1687 | 57.7594
|  | 1686 | 57.618
|  | 1685 | 57.5866
|  | 1684 | 57.6482
|  | 1683 | 57.616
|  | 1682 | 57.6139
|  | 1681 | 57.7219
|  | 1680 | 57.7465
|  | 1679 | 57.7751
|  | 1678 | 57.678
|  | 1677 | 57.589
|  | 1676 | 57.6957
|  | 1675 | 57.7876
|  | 1674 | 57.7626
|  | 1673 | 57.7184
|  | 1672 | 57.7753
|  | 1671 | 57.7754
|  | 1670 | 57.6377
|  | 1669 | 57.7474
|  | 1668 | 57.8388
|  | 1667 | 57.6019
|  | 1666 | 57.8575
|  | 1665 | 57.8646
|  | 1664 | 57.8987
|  | 1663 | 57.8403
|  | 1662 | 57.7833
|  | 1661 | 57.763
|  | 1660 | 57.9218
|  | 1659 | 57.7776
|  | 1658 | 57.8057
|  | 1657 | 57.8689
|  | 1656 | 57.7954
|  | 1655 | 57.8013
|  | 1654 | 57.678
|  | 1653 | 57.6036
|  | 1652 | 57.6796
|  | 1651 | 57.5436
|  | 1650 | 57.6968
|  | 1649 | 57.571
|  | 1648 | 57.5929
|  | 1647 | 57.6007
|  | 1646 | 57.6472
|  | 1645 | 57.6188
|  | 1644 | 57.3258
|  | 1643 | 57.447
|  | 1642 | 57.4532
|  | 1641 | 57.4921
|  | 1640 | 57.3925
|  | 1639 | 57.2935
|  | 1638 | 57.3116
|  | 1637 | 57.4065
|  | 1636 | 57.185
|  | 1635 | 57.2354
|  | 1634 | 57.1744
|  | 1633 | 57.2779
|  | 1632 | 57.1157
|  | 1631 | 57.1897
|  | 1630 | 57.1807
|  | 1629 | 56.9386
|  | 1628 | 57.0459
|  | 1627 | 57.0881
|  | 1626 | 57.1693
|  | 1625 | 57.1778
|  | 1624 | 57.1049
|  | 1623 | 57.0713
|  | 1622 | 57.3058
|  | 1621 | 56.751
|  | 1620 | 56.8052
|  | 1619 | 57.0074
|  | 1618 | 57.0043
|  | 1617 | 57.021
|  | 1616 | 56.9119
|  | 1615 | 56.8535
|  | 1614 | 56.9617
|  | 1613 | 56.9699
|  | 1612 | 56.8189
|  | 1611 | 56.8732
|  | 1610 | 56.8342
|  | 1609 | 56.7665
|  | 1608 | 56.7711
|  | 1607 | 56.7392
|  | 1606 | 56.6481
|  | 1605 | 56.6867
|  | 1604 | 56.7045
|  | 1603 | 56.6795
|  | 1602 | 56.5994
|  | 1601 | 56.7328
|  | 1600 | 56.6108
|  | 1599 | 56.5671
|  | 1598 | 56.4589
|  | 1597 | 56.4348
|  | 1596 | 56.481
|  | 1595 | 56.4273
|  | 1594 | 56.4722
|  | 1593 | 56.4157
|  | 1592 | 56.3431
|  | 1591 | 56.3291
|  | 1590 | 56.3526
|  | 1589 | 56.2667
|  | 1588 | 56.3468
|  | 1587 | 56.2311
|  | 1586 | 56.2565
|  | 1585 | 56.1983
|  | 1584 | 56.1818
|  | 1583 | 55.9771
|  | 1582 | 56.0239
|  | 1581 | 56.054
|  | 1580 | 56.0776
|  | 1579 | 56.0466
|  | 1578 | 56.0367
|  | 1577 | 56.0258
|  | 1576 | 55.9104
|  | 1575 | 55.8622
|  | 1574 | 55.8884
|  | 1573 | 55.8581
|  | 1572 | 55.8337
|  | 1571 | 55.8257
|  | 1570 | 55.7627
|  | 1569 | 55.7664
|  | 1568 | 55.6794
|  | 1567 | 55.7513
|  | 1566 | 55.6479
|  | 1565 | 55.6636
|  | 1564 | 55.605
|  | 1563 | 55.5735
|  | 1562 | 55.5618
|  | 1561 | 55.5013
|  | 1560 | 55.3543
|  | 1559 | 55.5248
|  | 1558 | 55.4556
|  | 1557 | 55.3853
|  | 1556 | 55.3989
|  | 1555 | 55.407
|  | 1554 | 55.2929
|  | 1553 | 55.2003
|  | 1552 | 55.1564
|  | 1551 | 55.1982
|  | 1550 | 55.2109
|  | 1549 | 55.1859
|  | 1548 | 55.0701
|  | 1547 | 55.0804
|  | 1546 | 55.0225
|  | 1545 | 55.0051
|  | 1544 | 54.9209
|  | 1543 | 54.9384
|  | 1542 | 54.9108
|  | 1541 | 54.8963
|  | 1540 | 54.8689
|  | 1539 | 54.8613
|  | 1538 | 54.845
|  | 1537 | 54.7832
|  | 1536 | 54.7857
|  | 1535 | 54.7848
|  | 1534 | 54.7336
|  | 1533 | 54.7244
|  | 1532 | 54.7291
|  | 1531 | 54.6529
|  | 1530 | 54.5973
|  | 1529 | 54.4674
|  | 1528 | 54.5542
|  | 1527 | 54.5784
|  | 1526 | 54.4721
|  | 1525 | 54.4009
|  | 1524 | 54.4098
|  | 1523 | 54.3983
|  | 1522 | 54.4087
|  | 1521 | 54.3257
|  | 1520 | 54.298
|  | 1519 | 54.2883
|  | 1518 | 54.265
|  | 1517 | 54.185
|  | 1516 | 54.136
|  | 1515 | 54.1422
|  | 1514 | 54.1553
|  | 1513 | 54.0217
|  | 1512 | 54.0359
|  | 1511 | 54.0243
|  | 1510 | 53.9578
|  | 1509 | 53.9565
|  | 1508 | 53.9006
|  | 1507 | 53.9201
|  | 1506 | 53.8955
|  | 1505 | 53.7833
|  | 1504 | 53.7448
|  | 1503 | 53.7107
|  | 1502 | 53.7255
|  | 1501 | 53.6621
|  | 1500 | 53.6334
|  | 1499 | 53.5967
|  | 1498 | 53.5754
|  | 1497 | 53.5442
|  | 1496 | 53.5343
|  | 1495 | 53.4227
|  | 1494 | 53.3883
|  | 1493 | 53.4005
|  | 1492 | 53.3878
|  | 1491 | 53.3687
|  | 1490 | 53.3182
|  | 1489 | 53.2443
|  | 1488 | 53.2743
|  | 1487 | 53.2497
|  | 1486 | 53.1195
|  | 1485 | 53.0838
|  | 1484 | 53.0936
|  | 1483 | 53.0806
|  | 1482 | 53.048
|  | 1481 | 52.9598
|  | 1480 | 52.9319
|  | 1479 | 52.9059
|  | 1478 | 52.8543
|  | 1477 | 52.8296
|  | 1476 | 52.7824
|  | 1475 | 52.7516
|  | 1474 | 52.7397
|  | 1473 | 52.6776
|  | 1472 | 52.5894
|  | 1471 | 52.5755
|  | 1470 | 52.5644
|  | 1469 | 52.5125
|  | 1468 | 52.4745
|  | 1467 | 52.484
|  | 1466 | 52.4492
|  | 1465 | 52.3598
|  | 1464 | 52.3318
|  | 1463 | 52.2848
|  | 1462 | 52.2521
|  | 1461 | 52.2548
|  | 1460 | 52.1707
|  | 1459 | 52.095
|  | 1458 | 52.0909
|  | 1457 | 52.0739
|  | 1456 | 52.0433
|  | 1455 | 51.9577
|  | 1454 | 51.9277
|  | 1453 | 51.8801
|  | 1452 | 51.8345
|  | 1451 | 51.792
|  | 1450 | 51.7472
|  | 1449 | 51.705
|  | 1448 | 51.653
|  | 1447 | 51.6351
|  | 1446 | 51.6355
|  | 1445 | 51.6045
|  | 1444 | 51.5399
|  | 1443 | 51.4949
|  | 1442 | 51.452
|  | 1441 | 51.439
|  | 1440 | 51.413
|  | 1439 | 51.3535
|  | 1438 | 51.3507
|  | 1437 | 51.3064
|  | 1436 | 51.2413
|  | 1435 | 51.2376
|  | 1434 | 51.2343
|  | 1433 | 51.2234
|  | 1432 | 51.1653
|  | 1431 | 51.0958
|  | 1430 | 51.0836
|  | 1429 | 51.0683
|  | 1428 | 51.0281
|  | 1427 | 51.046
|  | 1426 | 50.9999
|  | 1425 | 50.9421
|  | 1424 | 50.9646
|  | 1423 | 50.9644
|  | 1422 | 50.9271
|  | 1421 | 50.9219
|  | 1420 | 50.9309
|  | 1419 | 50.9325
|  | 1418 | 50.9152
|  | 1417 | 50.9223
|  | 1416 | 50.8778
|  | 1415 | 50.8792
|  | 1414 | 50.9055
|  | 1413 | 50.8958
|  | 1412 | 50.876
|  | 1411 | 50.9325
|  | 1410 | 50.9511
|  | 1409 | 50.9518
|  | 1408 | 50.9981
|  | 1407 | 50.9732
|  | 1406 | 50.9955
|  | 1405 | 50.9522
|  | 1404 | 50.9134
|  | 1403 | 50.9432
|  | 1402 | 50.9877
|  | 1401 | 51.0148
|  | 1400 | 50.9883
|  | 1399 | 50.9642
|  | 1398 | 51.009
|  | 1397 | 51.0342
|  | 1396 | 50.9753
|  | 1395 | 51.0164
|  | 1394 | 51.0386
|  | 1393 | 51.0356
|  | 1392 | 50.9837
|  | 1391 | 50.9725
|  | 1390 | 50.9892
|  | 1389 | 50.9882
|  | 1388 | 50.9719
|  | 1387 | 50.956
|  | 1386 | 50.8942
|  | 1385 | 50.9343
|  | 1384 | 50.9516
|  | 1383 | 50.9172
|  | 1382 | 50.9339
|  | 1381 | 50.9164
|  | 1380 | 50.9335
|  | 1379 | 50.8233
|  | 1378 | 50.8278
|  | 1377 | 50.8655
|  | 1376 | 50.8069
|  | 1375 | 50.7899
|  | 1374 | 50.7397
|  | 1373 | 50.8243
|  | 1372 | 50.7687
|  | 1371 | 50.7219
|  | 1370 | 50.7089
|  | 1369 | 50.7012
|  | 1368 | 50.6764
|  | 1367 | 50.6478
|  | 1366 | 50.6979
|  | 1365 | 50.698
|  | 1364 | 50.5725
|  | 1363 | 50.5845
|  | 1362 | 50.6343
|  | 1361 | 50.6493
|  | 1360 | 50.5469
|  | 1359 | 50.5281
|  | 1358 | 50.5415
|  | 1357 | 50.4956
|  | 1356 | 50.4798
|  | 1355 | 50.4915
|  | 1354 | 50.4633
|  | 1353 | 50.3971
|  | 1352 | 50.3635
|  | 1351 | 50.3286
|  | 1350 | 50.3288
|  | 1349 | 50.3727
|  | 1348 | 50.3017
|  | 1347 | 50.294
|  | 1346 | 50.3218
|  | 1345 | 50.2689
|  | 1344 | 50.2785
|  | 1343 | 50.3229
|  | 1342 | 50.2587
|  | 1341 | 50.2304
|  | 1340 | 50.2264
|  | 1339 | 50.2257
|  | 1338 | 50.1858
|  | 1337 | 50.1703
|  | 1336 | 50.1582
|  | 1335 | 50.1041
|  | 1334 | 50.1355
|  | 1333 | 50.1104
|  | 1332 | 50.0728
|  | 1331 | 50.0303
|  | 1330 | 50.0086
|  | 1329 | 50.0252
|  | 1328 | 50.0125
|  | 1327 | 50.0281
|  | 1326 | 50.0337
|  | 1325 | 50.0038
|  | 1324 | 49.9273
|  | 1323 | 49.9091
|  | 1322 | 49.8973
|  | 1321 | 49.8536
|  | 1320 | 49.8759
|  | 1319 | 49.8704
|  | 1318 | 49.8554
|  | 1317 | 49.8374
|  | 1316 | 49.8383
|  | 1315 | 49.8173
|  | 1314 | 49.7758
|  | 1313 | 49.7704
|  | 1312 | 49.7554
|  | 1311 | 49.7162
|  | 1310 | 49.7594
|  | 1309 | 49.7171
|  | 1308 | 49.6565
|  | 1307 | 49.6333
|  | 1306 | 49.669
|  | 1305 | 49.6836
|  | 1304 | 49.6163
|  | 1303 | 49.6309
|  | 1302 | 49.5952
|  | 1301 | 49.5872
|  | 1300 | 49.5332
|  | 1299 | 49.5536
|  | 1298 | 49.5847
|  | 1297 | 49.5469
|  | 1296 | 49.5078
|  | 1295 | 49.4849
|  | 1294 | 49.4671
|  | 1293 | 49.4992
|  | 1292 | 49.4389
|  | 1291 | 49.4616
|  | 1290 | 49.4778
|  | 1289 | 49.4865
|  | 1288 | 49.4406
|  | 1287 | 49.3558
|  | 1286 | 49.4073
|  | 1285 | 49.3313
|  | 1284 | 49.3091
|  | 1283 | 49.3002
|  | 1282 | 49.2936
|  | 1281 | 49.2673
|  | 1280 | 49.3055
|  | 1279 | 49.261
|  | 1278 | 49.2635
|  | 1277 | 49.2804
|  | 1276 | 49.1835
|  | 1275 | 49.279
|  | 1274 | 49.213
|  | 1273 | 49.1479
|  | 1272 | 49.1964
|  | 1271 | 49.1914
|  | 1270 | 49.2008
|  | 1269 | 49.088
|  | 1268 | 49.1443
|  | 1267 | 49.1311
|  | 1266 | 49.0798
|  | 1265 | 49.0797
|  | 1264 | 49.0545
|  | 1263 | 49.1011
|  | 1262 | 49.088
|  | 1261 | 49.0225
|  | 1260 | 49.0237
|  | 1259 | 49.0234
|  | 1258 | 49.0772
|  | 1257 | 49.0172
|  | 1256 | 49.0119
|  | 1255 | 49.0241
|  | 1254 | 48.9921
|  | 1253 | 48.9902
|  | 1252 | 48.977
|  | 1251 | 48.963
|  | 1250 | 49.0076
|  | 1249 | 48.8829
|  | 1248 | 48.9215
|  | 1247 | 48.8986
|  | 1246 | 48.919
|  | 1245 | 48.8813
|  | 1244 | 48.8443
|  | 1243 | 48.8634
|  | 1242 | 48.8973
|  | 1241 | 48.8416
|  | 1240 | 48.8555
|  | 1239 | 48.8676
|  | 1238 | 48.8497
|  | 1237 | 48.818
|  | 1236 | 48.893
|  | 1235 | 48.8477
|  | 1234 | 48.8413
|  | 1233 | 48.8576
|  | 1232 | 48.8033
|  | 1231 | 48.8368
|  | 1230 | 48.8477
|  | 1229 | 48.7306
|  | 1228 | 48.7238
|  | 1227 | 48.7956
|  | 1226 | 48.7569
|  | 1225 | 48.7776
|  | 1224 | 48.76
|  | 1223 | 48.7388
|  | 1222 | 48.7757
|  | 1221 | 48.7251
|  | 1220 | 48.7242
|  | 1219 | 48.7235
|  | 1218 | 48.7405
|  | 1217 | 48.7419
|  | 1216 | 48.6977
|  | 1215 | 48.7104
|  | 1214 | 48.6959
|  | 1213 | 48.6899
|  | 1212 | 48.693
|  | 1211 | 48.708
|  | 1210 | 48.6411
|  | 1209 | 48.632
|  | 1208 | 48.6793
|  | 1207 | 48.6951
|  | 1206 | 48.6429
|  | 1205 | 48.6263
|  | 1204 | 48.6104
|  | 1203 | 48.6176
|  | 1202 | 48.6396
|  | 1201 | 48.6194
|  | 1200 | 48.6234
|  | 1199 | 48.5904
|  | 1198 | 48.5907
|  | 1197 | 48.5538
|  | 1196 | 48.5531
|  | 1195 | 48.5627
|  | 1194 | 48.5744
|  | 1193 | 48.5128
|  | 1192 | 48.5077
|  | 1191 | 48.5496
|  | 1190 | 48.5446
|  | 1189 | 48.5487
|  | 1188 | 48.5584
|  | 1187 | 48.4905
|  | 1186 | 48.5589
|  | 1185 | 48.5582
|  | 1184 | 48.5847
|  | 1183 | 48.5939
|  | 1182 | 48.5708
|  | 1181 | 48.6017
|  | 1180 | 48.5884
|  | 1179 | 48.5366
|  | 1178 | 48.6073
|  | 1177 | 48.5905
|  | 1176 | 48.5959
|  | 1175 | 48.632
|  | 1174 | 48.6091
|  | 1173 | 48.6328
|  | 1172 | 48.6343
|  | 1171 | 48.5884
|  | 1170 | 48.685
|  | 1169 | 48.6875
|  | 1168 | 48.7075
|  | 1167 | 48.7159
|  | 1166 | 48.736
|  | 1165 | 48.7088
|  | 1164 | 48.7509
|  | 1163 | 48.7443
|  | 1162 | 48.7522
|  | 1161 | 48.7786
|  | 1160 | 48.7998
|  | 1159 | 48.8248
|  | 1158 | 48.8342
|  | 1157 | 48.8337
|  | 1156 | 48.8331
|  | 1155 | 48.8302
|  | 1154 | 48.8565
|  | 1153 | 48.8896
|  | 1152 | 48.8954
|  | 1151 | 48.9377
|  | 1150 | 48.9554
|  | 1149 | 48.9222
|  | 1148 | 48.9236
|  | 1147 | 48.906
|  | 1146 | 48.9719
|  | 1145 | 48.9933
|  | 1144 | 48.9885
|  | 1143 | 49.0126
|  | 1142 | 49.0207
|  | 1141 | 49.0292
|  | 1140 | 49.0475
|  | 1139 | 49.099
|  | 1138 | 49.1001
|  | 1137 | 49.0635
|  | 1136 | 49.1039
|  | 1135 | 49.1121
|  | 1134 | 49.1273
|  | 1133 | 49.2373
|  | 1132 | 49.2198
|  | 1131 | 49.1876
|  | 1130 | 49.2401
|  | 1129 | 49.2517
|  | 1128 | 49.2376
|  | 1127 | 49.2561
|  | 1126 | 49.2957
|  | 1125 | 49.331
|  | 1124 | 49.3353
|  | 1123 | 49.3599
|  | 1122 | 49.3637
|  | 1121 | 49.3378
|  | 1120 | 49.3652
|  | 1119 | 49.4101
|  | 1118 | 49.4604
|  | 1117 | 49.4847
|  | 1116 | 49.475
|  | 1115 | 49.5252
|  | 1114 | 49.5632
|  | 1113 | 49.5856
|  | 1112 | 49.5514
|  | 1111 | 49.5794
|  | 1110 | 49.6884
|  | 1109 | 49.6557
|  | 1108 | 49.5966
|  | 1107 | 49.6695
|  | 1106 | 49.6833
|  | 1105 | 49.7303
|  | 1104 | 49.7438
|  | 1103 | 49.7618
|  | 1102 | 49.8049
|  | 1101 | 49.8155
|  | 1100 | 49.8699
|  | 1099 | 49.8746
|  | 1098 | 49.8609
|  | 1097 | 49.8971
|  | 1096 | 49.9376
|  | 1095 | 50.0316
|  | 1094 | 50.0343
|  | 1093 | 50.0164
|  | 1092 | 50.0662
|  | 1091 | 50.1171
|  | 1090 | 50.1352
|  | 1089 | 50.1472
|  | 1088 | 50.1661
|  | 1087 | 50.1885
|  | 1086 | 50.1816
|  | 1085 | 50.2349
|  | 1084 | 50.3041
|  | 1083 | 50.3537
|  | 1082 | 50.3693
|  | 1081 | 50.3632
|  | 1080 | 50.4002
|  | 1079 | 50.4592
|  | 1078 | 50.4858
|  | 1077 | 50.5272
|  | 1076 | 50.5246
|  | 1075 | 50.5392
|  | 1074 | 50.6194
|  | 1073 | 50.6605
|  | 1072 | 50.7074
|  | 1071 | 50.6917
|  | 1070 | 50.7026
|  | 1069 | 50.7781
|  | 1068 | 50.819
|  | 1067 | 50.8454
|  | 1066 | 50.9011
|  | 1065 | 50.911
|  | 1064 | 50.9689
|  | 1063 | 51.0064
|  | 1062 | 51.0118
|  | 1061 | 51.0823
|  | 1060 | 51.1218
|  | 1059 | 51.1483
|  | 1058 | 51.2504
|  | 1057 | 51.2921
|  | 1056 | 51.3169
|  | 1055 | 51.3299
|  | 1054 | 51.3315
|  | 1053 | 51.3966
|  | 1052 | 51.4271
|  | 1051 | 51.4798
|  | 1050 | 51.5278
|  | 1049 | 51.5741
|  | 1048 | 51.6698
|  | 1047 | 51.6905
|  | 1046 | 51.6676
|  | 1045 | 51.7312
|  | 1044 | 51.7529
|  | 1043 | 51.808
|  | 1042 | 51.9053
|  | 1041 | 51.9418
|  | 1040 | 52.011
|  | 1039 | 52.0492
|  | 1038 | 52.0845
|  | 1037 | 52.1416
|  | 1036 | 52.1948
|  | 1035 | 52.2859
|  | 1034 | 52.3253
|  | 1033 | 52.3642
|  | 1032 | 52.3932
|  | 1031 | 52.439
|  | 1030 | 52.4862
|  | 1029 | 52.5258
|  | 1028 | 52.5344
|  | 1027 | 52.6442
|  | 1026 | 52.7514
|  | 1025 | 52.8162
|  | 1024 | 52.8214
|  | 1023 | 52.8769
|  | 1022 | 52.9299
|  | 1021 | 52.9304
|  | 1020 | 53.0365
|  | 1019 | 53.0779
|  | 1018 | 53.1856
|  | 1017 | 53.2393
|  | 1016 | 53.2734
|  | 1015 | 53.2968
|  | 1014 | 53.4007
|  | 1013 | 53.4975
|  | 1012 | 53.4786
|  | 1011 | 53.5055
|  | 1010 | 53.6132
|  | 1009 | 53.6803
|  | 1008 | 53.7251
|  | 1007 | 53.7961
|  | 1006 | 53.82
|  | 1005 | 53.912
|  | 1004 | 54.0381
|  | 1003 | 54.1151
|  | 1002 | 54.1615
|  | 1001 | 54.1377
|  | 1000 | 54.1823
|  | 999 | 54.2936
|  | 998 | 54.363
|  | 997 | 54.4557
|  | 996 | 54.4835
|  | 995 | 54.5759
|  | 994 | 54.7023
|  | 993 | 54.6431
|  | 992 | 54.7489
|  | 991 | 54.8456
|  | 990 | 54.9777
|  | 989 | 55.0305
|  | 988 | 55.1015
|  | 987 | 55.1575
|  | 986 | 55.2633
|  | 985 | 55.316
|  | 984 | 55.4362
|  | 983 | 55.4984
|  | 982 | 55.5076
|  | 981 | 55.5951
|  | 980 | 55.6753
|  | 979 | 55.7095
|  | 978 | 55.8281
|  | 977 | 55.9055
|  | 976 | 55.9477
|  | 975 | 56.0006
|  | 974 | 56.1049
|  | 973 | 56.2889
|  | 972 | 56.3063
|  | 971 | 56.3907
|  | 970 | 56.5481
|  | 969 | 56.6018
|  | 968 | 56.6328
|  | 967 | 56.6928
|  | 966 | 56.8356
|  | 965 | 56.9437
|  | 964 | 57.0431
|  | 963 | 57.0585
|  | 962 | 57.2622
|  | 961 | 57.2379
|  | 960 | 57.3005
|  | 959 | 57.3165
|  | 958 | 57.4481
|  | 957 | 57.5878
|  | 956 | 57.6904
|  | 955 | 57.8448
|  | 954 | 58.0228
|  | 953 | 58.0219
|  | 952 | 58.1834
|  | 951 | 58.2033
|  | 950 | 58.2801
|  | 949 | 58.3655
|  | 948 | 58.4504
|  | 947 | 58.5464
|  | 946 | 58.7841
|  | 945 | 58.7463
|  | 944 | 58.81
|  | 943 | 59.065
|  | 942 | 58.9872
|  | 941 | 59.1941
|  | 940 | 59.3104
|  | 939 | 59.4478
|  | 938 | 59.5146
|  | 937 | 59.6493
|  | 936 | 59.713
|  | 935 | 59.7446
|  | 934 | 59.8625
|  | 933 | 60.0282
|  | 932 | 60.1183
|  | 931 | 60.2658
|  | 930 | 60.3892
|  | 929 | 60.4416
|  | 928 | 60.7452
|  | 927 | 60.6929
|  | 926 | 60.6624
|  | 925 | 60.8416
|  | 924 | 61.01
|  | 923 | 61.1189
|  | 922 | 61.4439
|  | 921 | 61.4308
|  | 920 | 61.5387
|  | 919 | 61.6044
|  | 918 | 61.8087
|  | 917 | 61.8054
|  | 916 | 62.0161
|  | 915 | 62.1543
|  | 914 | 62.3555
|  | 913 | 62.5437
|  | 912 | 62.6269
|  | 911 | 62.4675
|  | 910 | 62.6309
|  | 909 | 62.8848
|  | 908 | 62.883
|  | 907 | 62.8087
|  | 906 | 63.4896
|  | 905 | 63.4073
|  | 904 | 63.54
|  | 903 | 63.5103
|  | 902 | 63.7503
|  | 901 | 63.9564
|  | 900 | 63.8447
|  | 899 | 64.0331
|  | 898 | 64.4586
|  | 897 | 64.3574
|  | 896 | 64.3497
|  | 895 | 64.6609
|  | 894 | 64.6461
|  | 893 | 65.0881
|  | 892 | 65.1957
|  | 891 | 65.1886
|  | 890 | 65.5422
|  | 889 | 65.4391
|  | 888 | 65.6135
|  | 887 | 65.8161
|  | 886 | 65.6712
|  | 885 | 65.7842
|  | 884 | 66.3497
|  | 883 | 66.2244
|  | 882 | 66.5208
|  | 881 | 66.5939
|  | 880 | 66.7431
|  | 879 | 66.5858
|  | 878 | 67.1533
|  | 877 | 67.4695
|  | 876 | 67.3008
|  | 875 | 67.7354
|  | 874 | 68.228
|  | 873 | 67.4936
|  | 872 | 67.7266
|  | 871 | 67.4007
|  | 870 | 67.9551
|  | 869 | 68.5738
|  | 868 | 68.7013
|  | 867 | 68.9423
|  | 866 | 68.3405
|  | 865 | 69.3566
|  | 864 | 68.7365
|  | 863 | 69.6305
|  | 862 | 69.9651
|  | 861 | 69.5065
|  | 860 | 70.8052
|  | 859 | 69.9283
|  | 858 | 70.0722
|  | 857 | 70.3678
|  | 856 | 70.311
|  | 855 | 70.7456
|  | 854 | 70.9512
|  | 853 | 71.1581
|  | 852 | 70.9259
|  | 851 | 71.2171
|  | 850 | 71.4902
|  | 849 | 71.5986
|  | 848 | 71.9054
|  | 847 | 72.0022
|  | 846 | 71.8089
|  | 845 | 72.3726
|  | 844 | 72.5717
|  | 843 | 72.8988
|  | 842 | 72.8592
|  | 841 | 73.0949
|  | 840 | 73.2603
|  | 839 | 73.2869
|  | 838 | 73.4573
|  | 837 | 73.8221
|  | 836 | 73.7609
|  | 835 | 73.7928
|  | 834 | 74.2256
|  | 833 | 74.5528
|  | 832 | 74.7054
|  | 831 | 74.8381
|  | 830 | 74.8173
|  | 829 | 74.9762
|  | 828 | 75.0347
|  | 827 | 75.2935
|  | 826 | 75.6525
|  | 825 | 75.8088
|  | 824 | 75.7063
|  | 823 | 76.1089
|  | 822 | 76.149
|  | 821 | 76.3284
|  | 820 | 76.6549
|  | 819 | 76.8904
|  | 818 | 76.9725
|  | 817 | 77.1098
|  | 816 | 77.3558
|  | 815 | 77.6935
|  | 814 | 77.8889
|  | 813 | 78.0786
|  | 812 | 78.2283
|  | 811 | 78.3283
|  | 810 | 78.6645
|  | 809 | 78.8672
|  | 808 | 79.0746
|  | 807 | 79.1244
|  | 806 | 79.5125
|  | 805 | 79.6565
|  | 804 | 79.7851
|  | 803 | 79.84
|  | 802 | 79.9634
|  | 801 | 80.2499
|  | 800 | 80.4496
|  | 799 | 80.6248
|  | 798 | 80.8873
|  | 797 | 81.0602
|  | 796 | 81.2033
|  | 795 | 81.2613
|  | 794 | 81.4152
|  | 793 | 81.6778
|  | 792 | 81.8516
|  | 791 | 82.0892
|  | 790 | 82.2139
|  | 789 | 82.5023
|  | 788 | 82.7254
|  | 787 | 82.756
|  | 786 | 82.9313
|  | 785 | 83.1403
|  | 784 | 83.3488
|  | 783 | 83.7317
|  | 782 | 83.8417
|  | 781 | 83.9341
|  | 780 | 84.0123
|  | 779 | 84.4124
|  | 778 | 84.424
|  | 777 | 84.6453
|  | 776 | 84.8702
|  | 775 | 85.0359
|  | 774 | 85.2878
|  | 773 | 85.4604
|  | 772 | 85.5103
|  | 771 | 85.7983
|  | 770 | 85.9656
|  | 769 | 86.1432
|  | 768 | 86.3026
|  | 767 | 86.4637
|  | 766 | 86.5173
|  | 765 | 86.7309
|  | 764 | 86.9134
|  | 763 | 87.1549
|  | 762 | 87.3213
|  | 761 | 87.5324
|  | 760 | 87.6368
|  | 759 | 87.8034
|  | 758 | 88.0547
|  | 757 | 88.3162
|  | 756 | 88.5003
|  | 755 | 88.545
|  | 754 | 88.731
|  | 753 | 88.9481
|  | 752 | 89.0714
|  | 751 | 89.1793
|  | 750 | 89.29
|  | 749 | 89.4865
|  | 748 | 89.7346
|  | 747 | 89.8207
|  | 746 | 90.0219
|  | 745 | 90.1985
|  | 744 | 90.2568
|  | 743 | 90.4181
|  | 742 | 90.5985
|  | 741 | 90.7552
|  | 740 | 90.9159
|  | 739 | 91.0404
|  | 738 | 91.2097
|  | 737 | 91.4332
|  | 736 | 91.5186
|  | 735 | 91.5849
|  | 734 | 91.7955
|  | 733 | 91.9785
|  | 732 | 92.1162
|  | 731 | 92.2656
|  | 730 | 92.3836
|  | 729 | 92.4758
|  | 728 | 92.5401
|  | 727 | 92.6812
|  | 726 | 92.8421
|  | 725 | 92.9199
|  | 724 | 93.0739
|  | 723 | 93.2512
|  | 722 | 93.4014
|  | 721 | 93.4204
|  | 720 | 93.5801
|  | 719 | 93.774
|  | 718 | 93.8854
|  | 717 | 94.0265
|  | 716 | 94.1165
|  | 715 | 94.2607
|  | 714 | 94.3964
|  | 713 | 94.4919
|  | 712 | 94.5404
|  | 711 | 94.6807
|  | 710 | 94.8045
|  | 709 | 94.8846
|  | 708 | 94.9669
|  | 707 | 95.0565
|  | 706 | 95.2201
|  | 705 | 95.3164
|  | 704 | 95.3202
|  | 703 | 95.3498
|  | 702 | 95.4441
|  | 701 | 95.585
|  | 700 | 95.639
|  | 699 | 95.691
|  | 698 | 95.783
|  | 697 | 95.9404
|  | 696 | 96.0619
|  | 695 | 96.139
|  | 694 | 96.1945
|  | 693 | 96.2685
|  | 692 | 96.3269
|  | 691 | 96.3954
|  | 690 | 96.4889
|  | 689 | 96.5647
|  | 688 | 96.5238
|  | 687 | 96.5481
|  | 686 | 96.7526
|  | 685 | 96.8595
|  | 684 | 96.8729
|  | 683 | 96.8946
|  | 682 | 96.9263
|  | 681 | 97.0004
|  | 680 | 97.0576
|  | 679 | 97.084
|  | 678 | 97.1687
|  | 677 | 97.216
|  | 676 | 97.2514
|  | 675 | 97.3237
|  | 674 | 97.3264
|  | 673 | 97.3148
|  | 672 | 97.3858
|  | 671 | 97.4491
|  | 670 | 97.4336
|  | 669 | 97.4891
|  | 668 | 97.5005
|  | 667 | 97.4954
|  | 666 | 97.6026
|  | 665 | 97.6673
|  | 664 | 97.5612
|  | 663 | 97.6028
|  | 662 | 97.7595
|  | 661 | 97.8008
|  | 660 | 97.7479
|  | 659 | 97.752
|  | 658 | 97.7629
|  | 657 | 97.7938
|  | 656 | 97.7513
|  | 655 | 97.744
|  | 654 | 97.7522
|  | 653 | 97.7502
|  | 652 | 97.7835
|  | 651 | 97.876
|  | 650 | 97.8629
|  | 649 | 97.8253
|  | 648 | 97.7977
|  | 647 | 97.8205
|  | 646 | 97.8324
|  | 645 | 97.8557
|  | 644 | 97.8784
|  | 643 | 97.9535
|  | 642 | 97.9613
|  | 641 | 97.9075
|  | 640 | 97.8553
|  | 639 | 97.8724
|  | 638 | 97.8603
|  | 637 | 97.8648
|  | 636 | 97.9031
|  | 635 | 97.816
|  | 634 | 97.8204
|  | 633 | 97.7926
|  | 632 | 97.8535
|  | 631 | 97.8303
|  | 630 | 97.7294
|  | 629 | 97.7844
|  | 628 | 97.8503
|  | 627 | 97.8354
|  | 626 | 97.7836
|  | 625 | 97.7971
|  | 624 | 97.8041
|  | 623 | 97.8288
|  | 622 | 97.7293
|  | 621 | 97.7071
|  | 620 | 97.7073
|  | 619 | 97.712
|  | 618 | 97.7399
|  | 617 | 97.768
|  | 616 | 97.6479
|  | 615 | 97.661
|  | 614 | 97.7201
|  | 613 | 97.6719
|  | 612 | 97.566
|  | 611 | 97.6506
|  | 610 | 97.6596
|  | 609 | 97.5014
|  | 608 | 97.5246
|  | 607 | 97.5573
|  | 606 | 97.4994
|  | 605 | 97.501
|  | 604 | 97.5434
|  | 603 | 97.4783
|  | 602 | 97.4449
|  | 601 | 97.4403
|  | 600 | 97.4979
|  | 599 | 97.4558
|  | 598 | 97.4013
|  | 597 | 97.4181
|  | 596 | 97.4356
|  | 595 | 97.379
|  | 594 | 97.3356
|  | 593 | 97.3847
|  | 592 | 97.4056
|  | 591 | 97.3816
|  | 590 | 97.2584
|  | 589 | 97.2586
|  | 588 | 97.2729
|  | 587 | 97.2019
|  | 586 | 97.2309
|  | 585 | 97.2536
|  | 584 | 97.1536
|  | 583 | 97.2315
|  | 582 | 97.1603
|  | 581 | 97.1512
|  | 580 | 97.2005
|  | 579 | 97.1958
|  | 578 | 97.1304
|  | 577 | 97.1467
|  | 576 | 97.0789
|  | 575 | 97.0948
|  | 574 | 97.0467
|  | 573 | 97.1137
|  | 572 | 97.1552
|  | 571 | 97.0394
|  | 570 | 97.0857
|  | 569 | 97.0487
|  | 568 | 97.0056
|  | 567 | 97.079
|  | 566 | 96.9922
|  | 565 | 96.9744
|  | 564 | 96.9497
|  | 563 | 96.9328
|  | 562 | 96.9248
|  | 561 | 96.8737
|  | 560 | 96.8523
|  | 559 | 96.8175
|  | 558 | 96.8444
|  | 557 | 96.8093
|  | 556 | 96.7111
|  | 555 | 96.8316
|  | 554 | 96.7403
|  | 553 | 96.7845
|  | 552 | 96.7959
|  | 551 | 96.811
|  | 550 | 96.6947
|  | 549 | 96.6829
|  | 548 | 96.7076
|  | 547 | 96.7275
|  | 546 | 96.6832
|  | 545 | 96.69
|  | 544 | 96.5504
|  | 543 | 96.5763
|  | 542 | 96.5012
|  | 541 | 96.5357
|  | 540 | 96.5023
|  | 539 | 96.4868
|  | 538 | 96.4969
|  | 537 | 96.512
|  | 536 | 96.4559
|  | 535 | 96.4082
|  | 534 | 96.4292
|  | 533 | 96.3619
|  | 532 | 96.2282
|  | 531 | 96.2948
|  | 530 | 96.4105
|  | 529 | 96.2793
|  | 528 | 96.3208
|  | 527 | 96.2066
|  | 526 | 96.2397
|  | 525 | 96.1165
|  | 524 | 96.1468
|  | 523 | 96.1006
|  | 522 | 96.0335
|  | 521 | 95.9649
|  | 520 | 95.9255
|  | 519 | 95.9271
|  | 518 | 95.9113
|  | 517 | 95.8418
|  | 516 | 95.8319
|  | 515 | 95.74
|  | 514 | 95.7422
|  | 513 | 95.6436
|  | 512 | 95.6311
|  | 511 | 95.6124
|  | 510 | 95.4572
|  | 509 | 95.4307
|  | 508 | 95.4248
|  | 507 | 95.4113
|  | 506 | 95.3758
|  | 505 | 95.4035
|  | 504 | 95.2235
|  | 503 | 95.2051
|  | 502 | 95.1792
|  | 501 | 95.0403
|  | 500 | 95.0827
|  | 499 | 95.0292
|  | 498 | 94.8444
|  | 497 | 94.9096
|  | 496 | 94.849
|  | 495 | 94.731
|  | 494 | 94.6179
|  | 493 | 94.6555
|  | 492 | 94.6299
|  | 491 | 94.5153
|  | 490 | 94.3928
|  | 489 | 94.3263
|  | 488 | 94.3919
|  | 487 | 94.3502
|  | 486 | 94.147
|  | 485 | 94.1951
|  | 484 | 94.072
|  | 483 | 94.021
|  | 482 | 93.9851
|  | 481 | 93.8824
|  | 480 | 93.8076
|  | 479 | 93.7491
|  | 478 | 93.7748
|  | 477 | 93.5311
|  | 476 | 93.6023
|  | 475 | 93.5612
|  | 474 | 93.4042
|  | 473 | 93.4197
|  | 472 | 93.334
|  | 471 | 93.2114
|  | 470 | 93.3276
|  | 469 | 93.1317
|  | 468 | 93.0505
|  | 467 | 93.0816
|  | 466 | 93.0071
|  | 465 | 92.864
|  | 464 | 92.8623
|  | 463 | 92.7904
|  | 462 | 92.6824
|  | 461 | 92.6226
|  | 460 | 92.6108
|  | 459 | 92.4205
|  | 458 | 92.5402
|  | 457 | 92.4559
|  | 456 | 92.4009
|  | 455 | 92.323
|  | 454 | 92.1089
|  | 453 | 92.2286
|  | 452 | 92.0773
|  | 451 | 92.0148
|  | 450 | 92.0241
|  | 449 | 91.8705
|  | 448 | 91.8534
|  | 447 | 91.8157
|  | 446 | 91.6637
|  | 445 | 91.621
|  | 444 | 91.6271
|  | 443 | 91.5611
|  | 442 | 91.4436
|  | 441 | 91.4145
|  | 440 | 91.2442
|  | 439 | 91.3935
|  | 438 | 91.2491
|  | 437 | 91.1059
|  | 436 | 91.1019
|  | 435 | 91.1419
|  | 434 | 90.8739
|  | 433 | 90.7794
|  | 432 | 90.7241
|  | 431 | 90.6628
|  | 430 | 90.4245
|  | 429 | 90.3405
|  | 428 | 90.1915
|  | 427 | 90.2414
|  | 426 | 89.9554
|  | 425 | 90.0216
|  | 424 | 89.8361
|  | 423 | 89.6537
|  | 422 | 89.5386
|  | 421 | 89.4079
|  | 420 | 89.2708
|  | 419 | 89.013
|  | 418 | 88.8628
|  | 417 | 88.6883
|  | 416 | 88.3813
|  | 415 | 88.2972
|  | 414 | 87.9803
|  | 413 | 87.8251
|  | 412 | 87.4661
|  | 411 | 87.276
|  | 410 | 86.929
|  | 409 | 86.6281
|  | 408 | 86.3077
|  | 407 | 86.0087
|  | 406 | 85.6253
|  | 405 | 85.2553
|  | 404 | 84.8392
|  | 403 | 84.3984
|  | 402 | 83.9079
|  | 401 | 83.4695
|  | 400 | 82.9793
|  | 399 | 82.4857
|  | 398 | 81.834
|  | 397 | 81.2827
|  | 396 | 80.5333
|  | 395 | 80.0011
|  | 394 | 79.2674
|  | 393 | 78.5283
|  | 392 | 77.8281
|  | 391 | 77.0219
|  | 390 | 76.0142
|  | 389 | 75.0461
|  | 388 | 74.0421
|  | 387 | 72.9372
|  | 386 | 71.7505
|  | 385 | 70.6345
|  | 384 | 69.3309
|  | 383 | 68.0147
|  | 382 | 66.5246
|  | 381 | 65.0794
|  | 380 | 63.4166
|  | 379 | 61.7266
|  | 378 | 59.9135
|  | 377 | 58.1243
|  | 376 | 56.2424
|  | 375 | 54.2393
|  | 374 | 52.2077
|  | 373 | 50.1122
|  | 372 | 47.8639
|  | 371 | 45.6195
|  | 370 | 43.2119
|  | 369 | 40.7258
|  | 368 | 38.1306
|  | 367 | 35.4908
|  | 366 | 32.7971
|  | 365 | 30.0977
|  | 364 | 27.4181
|  | 363 | 24.7805
|  | 362 | 22.1261
|  | 361 | 19.4309
|  | 360 | 16.8005
|  | 359 | 14.3153
|  | 358 | 11.9679
|  | 357 | 9.8503
|  | 356 | 7.934
|  | 355 | 6.2172
|  | 354 | 4.7581
|  | 353 | 3.5531
|  | 352 | 2.5286
|  | 351 | 1.7474
|  | 350 | 1.1266

## Axial Color
TTL180-A Axial Color
|  | Wavelength (nm) | Axial Focus Shift (mm)
|  | 400 | 0.10384
|  | 402.917 | 0.09859
|  | 405.833 | 0.09334
|  | 408.75 | 0.08811
Product Raw Data |  | 411.667 | 0.08295
Tube Lens, f = 180 mm, ARC: 350 - 700 nm |  | 414.583 | 0.07789
|  | 417.5 | 0.07294
Item # | TTL180-A | 420.417 | 0.06813
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 423.333 | 0.06346
|  | 426.25 | 0.05896
|  | 429.167 | 0.05463
|  | 432.083 | 0.05047
|  | 435 | 0.04649
|  | 437.917 | 0.0427
This data may be used in publications. However, please cite Thorlabs as the source. |  | 440.833 | 0.03909
|  | 443.75 | 0.03567
|  | 446.667 | 0.03243
Additional Information: |  | 449.583 | 0.02937
These are theoretical results. The focal shift is assumed to be zero at 517 nm. |  | 452.5 | 0.02648
|  | 455.417 | 0.02378
|  | 458.333 | 0.02125
|  | 461.25 | 0.01888
|  | 464.167 | 0.01668
|  | 467.083 | 0.01465
|  | 470 | 0.01276
|  | 472.917 | 0.01103
|  | 475.833 | 0.00944
|  | 478.75 | 0.008
|  | 481.667 | 0.00669
|  | 484.583 | 0.00552
|  | 487.5 | 0.00447
|  | 490.417 | 0.00354
|  | 493.333 | 0.00274
|  | 496.25 | 0.00204
|  | 499.167 | 0.00146
|  | 502.083 | 0.00097662
|  | 505 | 0.00059659
|  | 507.917 | 0.00031286
|  | 510.833 | 0.00012144
|  | 513.75 | 1.841e-05
|  | 516.667 | 0
|  | 519.583 | 6.254e-05
|  | 522.5 | 0.00020248
|  | 525.417 | 0.0004164
|  | 528.333 | 0.00070097
|  | 531.25 | 0.00105
|  | 534.167 | 0.00147
|  | 537.083 | 0.00195
|  | 540 | 0.00248
|  | 542.917 | 0.00308
|  | 545.833 | 0.00372
|  | 548.75 | 0.00442
|  | 551.667 | 0.00516
|  | 554.583 | 0.00595
|  | 557.5 | 0.00678
|  | 560.417 | 0.00766
|  | 563.333 | 0.00857
|  | 566.25 | 0.00952
|  | 569.167 | 0.0105
|  | 572.083 | 0.01152
|  | 575 | 0.01257
|  | 577.917 | 0.01365
|  | 580.833 | 0.01476
|  | 583.75 | 0.0159
|  | 586.667 | 0.01706
|  | 589.583 | 0.01824
|  | 592.5 | 0.01945
|  | 595.417 | 0.02067
|  | 598.333 | 0.02192
|  | 601.25 | 0.02318
|  | 604.167 | 0.02446
|  | 607.083 | 0.02576
|  | 610 | 0.02707
|  | 612.917 | 0.0284
|  | 615.833 | 0.02974
|  | 618.75 | 0.03109
|  | 621.667 | 0.03246
|  | 624.583 | 0.03383
|  | 627.5 | 0.03521
|  | 630.417 | 0.0366
|  | 633.333 | 0.038
|  | 636.25 | 0.03941
|  | 639.167 | 0.04082
|  | 642.083 | 0.04224
|  | 645 | 0.04367
|  | 647.917 | 0.0451
|  | 650.833 | 0.04653
|  | 653.75 | 0.04797
|  | 656.667 | 0.04941
|  | 659.583 | 0.05085
|  | 662.5 | 0.0523
|  | 665.417 | 0.05374
|  | 668.333 | 0.05519
|  | 671.25 | 0.05664
|  | 674.167 | 0.05809
|  | 677.083 | 0.05953
|  | 680 | 0.06098
|  | 682.917 | 0.06243
|  | 685.833 | 0.06388
|  | 688.75 | 0.06532
|  | 691.667 | 0.06676
|  | 694.583 | 0.06821
|  | 697.5 | 0.06964
|  | 700.417 | 0.07108
|  | 703.333 | 0.07252
|  | 706.25 | 0.07395
|  | 709.167 | 0.07538
|  | 712.083 | 0.0768
|  | 715 | 0.07822
|  | 717.917 | 0.07964
|  | 720.833 | 0.08105
|  | 723.75 | 0.08246
|  | 726.667 | 0.08387
|  | 729.583 | 0.08527
|  | 732.5 | 0.08667
|  | 735.417 | 0.08806
|  | 738.333 | 0.08945
|  | 741.25 | 0.09083
|  | 744.167 | 0.09221
|  | 747.083 | 0.09358
|  | 750 | 0.09495

## RMS WFE vs Field
TTL180-A RMS Wavefront Error
|  | Field (mm) | RMS Wavefront Error (Waves) at 400 nm | RMS Wavefront Error (Waves) at 539 nm | RMS Wavefront Error (Waves) at 626 nm | RMS Wavefront Error (Waves) at 750 nm
|  | -11 | 0.0526 | 0.0331 | 0.0313 | 0.0485
|  | -10.2667 | 0.0441 | 0.0327 | 0.0297 | 0.0476
|  | -9.5333 | 0.0378 | 0.0325 | 0.0287 | 0.0473
|  | -8.8 | 0.0328 | 0.0322 | 0.028 | 0.0474
Product Raw Data |  | -8.0667 | 0.0286 | 0.0316 | 0.0273 | 0.0477
Tube Lens, f = 180 mm, ARC: 350 - 700 nm |  | -7.3333 | 0.0251 | 0.0307 | 0.0266 | 0.0483
|  | -6.6 | 0.0223 | 0.0293 | 0.0258 | 0.0491
Item # | TTL180-A | -5.8667 | 0.0205 | 0.0276 | 0.0251 | 0.0501
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -5.1333 | 0.0196 | 0.0256 | 0.0244 | 0.0511
|  | -4.4 | 0.0198 | 0.0235 | 0.0239 | 0.0522
|  | -3.6667 | 0.0205 | 0.0213 | 0.0236 | 0.0533
|  | -2.9333 | 0.0216 | 0.0192 | 0.0234 | 0.0544
|  | -2.2 | 0.0228 | 0.0173 | 0.0234 | 0.0552
|  | -1.4667 | 0.0238 | 0.0158 | 0.0234 | 0.0559
This data may be used in publications. However, please cite Thorlabs as the source. |  | -0.73333 | 0.0244 | 0.0148 | 0.0234 | 0.0563
|  | 0 | 0.0246 | 0.0145 | 0.0235 | 0.0565
|  | 0.73333 | 0.0244 | 0.0148 | 0.0234 | 0.0563
Additional Information: |  | 1.4667 | 0.0238 | 0.0158 | 0.0234 | 0.0559
These are theoretical results. The wavelength of best focus was set to 540 nm. Performance will vary slightly while remaining diffraction limited throughout the design wavelength range. |  | 2.2 | 0.0228 | 0.0173 | 0.0234 | 0.0552
|  | 2.9333 | 0.0216 | 0.0192 | 0.0234 | 0.0544
|  | 3.6667 | 0.0205 | 0.0213 | 0.0236 | 0.0533
|  | 4.4 | 0.0198 | 0.0235 | 0.0239 | 0.0522
|  | 5.1333 | 0.0196 | 0.0256 | 0.0244 | 0.0511
|  | 5.8667 | 0.0205 | 0.0276 | 0.0251 | 0.0501
|  | 6.6 | 0.0223 | 0.0293 | 0.0258 | 0.0491
|  | 7.3333 | 0.0251 | 0.0307 | 0.0266 | 0.0483
|  | 8.0667 | 0.0286 | 0.0316 | 0.0273 | 0.0477
|  | 8.8 | 0.0328 | 0.0322 | 0.028 | 0.0474
|  | 9.5333 | 0.0378 | 0.0325 | 0.0287 | 0.0473
|  | 10.2667 | 0.0441 | 0.0327 | 0.0297 | 0.0476
|  | 11 | 0.0526 | 0.0331 | 0.0313 | 0.0485

## Polychromatic MTF
TTL180-A Polychromatic Modulation Transfer Function
|  | Spatial Frequency (lp/mm) | MTF
|  |  | Diffraction Limited (Theoretical) | On Axis | 3.88 mm Off Axis | 8.00 mm Off Axis | 11.00 mm Off Axis
|  | 0 | 1 | 1 | 1 | 1 | 1
|  | 2 | 0.98448 | 0.98422 | 0.98415 | 0.98399 | 0.9839
|  | 4 | 0.96912 | 0.96835 | 0.96817 | 0.9678 | 0.9676
|  | 6 | 0.95399 | 0.95232 | 0.95197 | 0.95124 | 0.95092
Product Raw Data |  | 8 | 0.93897 | 0.93603 | 0.93546 | 0.9343 | 0.93385
Tube Lens, f = 180 mm, ARC: 350 - 700 nm |  | 10 | 0.92389 | 0.91941 | 0.91861 | 0.91698 | 0.91642
|  | 12 | 0.90878 | 0.90251 | 0.90147 | 0.89936 | 0.89872
Item # | TTL180-A | 14 | 0.89368 | 0.88541 | 0.88413 | 0.88154 | 0.88084
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 16 | 0.87859 | 0.86814 | 0.86662 | 0.86358 | 0.86283
|  | 18 | 0.8635 | 0.85073 | 0.849 | 0.84553 | 0.84475
|  | 20 | 0.84841 | 0.83322 | 0.83131 | 0.82744 | 0.82665
|  | 22 | 0.83331 | 0.81566 | 0.81358 | 0.80936 | 0.80858
|  | 24 | 0.81822 | 0.7981 | 0.79588 | 0.79135 | 0.79059
|  | 26 | 0.80314 | 0.78059 | 0.77825 | 0.77346 | 0.77271
This data may be used in publications. However, please cite Thorlabs as the source. |  | 28 | 0.78803 | 0.76313 | 0.76069 | 0.75568 | 0.75496
|  | 30 | 0.77291 | 0.74575 | 0.74324 | 0.73806 | 0.73735
|  | 32 | 0.75787 | 0.72862 | 0.72604 | 0.72071 | 0.72001
Additional Information: |  | 34 | 0.74297 | 0.71181 | 0.70917 | 0.70371 | 0.70302
The modulation transfer function of a lens, shown in this graph for the TTL180-A, is a measure of image quality. The curve represents the contrast of an imaged sinusoidal line pair target with various line spacings. As the contrast diminishes, the distinction between the lines begins to blur. In the graph above, the y-axis represents the contrast and the x-axis is the line spacing in lines/mm. The data provided here is a theoretical calculation for the TTL180-A lens. |  | 36 | 0.72812 | 0.69525 | 0.69256 | 0.68698 | 0.68628
|  | 38 | 0.71324 | 0.67889 | 0.67614 | 0.67046 | 0.66973
|  | 40 | 0.69836 | 0.66277 | 0.65995 | 0.65418 | 0.65341
|  | 42 | 0.68351 | 0.64695 | 0.64406 | 0.63818 | 0.63736
|  | 44 | 0.66878 | 0.63152 | 0.62853 | 0.62254 | 0.62165
|  | 46 | 0.65421 | 0.61652 | 0.61341 | 0.60728 | 0.60633
|  | 48 | 0.63972 | 0.60187 | 0.59862 | 0.59234 | 0.59131
|  | 50 | 0.62526 | 0.58752 | 0.5841 | 0.57764 | 0.57651
|  | 52 | 0.61079 | 0.5734 | 0.56979 | 0.56312 | 0.5619
|  | 54 | 0.59632 | 0.55952 | 0.55569 | 0.54879 | 0.54746
|  | 56 | 0.58193 | 0.54595 | 0.54188 | 0.53473 | 0.5333
|  | 58 | 0.56768 | 0.53272 | 0.52838 | 0.52095 | 0.51946
|  | 60 | 0.55354 | 0.51978 | 0.51515 | 0.50741 | 0.50586
|  | 62 | 0.53947 | 0.50707 | 0.50212 | 0.49405 | 0.49244
|  | 64 | 0.52547 | 0.49456 | 0.48926 | 0.48085 | 0.4792
|  | 66 | 0.51153 | 0.48221 | 0.47656 | 0.46778 | 0.46614
|  | 68 | 0.49769 | 0.47006 | 0.46403 | 0.45488 | 0.45328
|  | 70 | 0.48399 | 0.45809 | 0.45167 | 0.44215 | 0.44063
|  | 72 | 0.47044 | 0.44631 | 0.43947 | 0.42956 | 0.42814
|  | 74 | 0.45701 | 0.43465 | 0.42738 | 0.41705 | 0.41577
|  | 76 | 0.4436 | 0.42299 | 0.41529 | 0.40457 | 0.40345
|  | 78 | 0.43018 | 0.41129 | 0.40317 | 0.39209 | 0.39118
|  | 80 | 0.41689 | 0.39966 | 0.39112 | 0.37969 | 0.37905
|  | 82 | 0.4038 | 0.38815 | 0.37919 | 0.36742 | 0.36709
|  | 84 | 0.39085 | 0.37671 | 0.36732 | 0.35523 | 0.35524
|  | 86 | 0.37805 | 0.36531 | 0.35549 | 0.34309 | 0.34348
|  | 88 | 0.36543 | 0.35398 | 0.34375 | 0.33107 | 0.33187
|  | 90 | 0.35299 | 0.34273 | 0.3321 | 0.31916 | 0.32041
|  | 92 | 0.34071 | 0.3315 | 0.32049 | 0.30733 | 0.30903
|  | 94 | 0.32854 | 0.32028 | 0.3089 | 0.29556 | 0.29771
|  | 96 | 0.31651 | 0.30908 | 0.29736 | 0.28387 | 0.28649
|  | 98 | 0.30463 | 0.29791 | 0.28589 | 0.27231 | 0.27541
|  | 100 | 0.29292 | 0.28682 | 0.27453 | 0.2609 | 0.26446
|  | 102 | 0.28137 | 0.27579 | 0.26328 | 0.24964 | 0.25363
|  | 104 | 0.26993 | 0.26477 | 0.25209 | 0.23852 | 0.2429
|  | 106 | 0.25863 | 0.25383 | 0.24103 | 0.22759 | 0.23233
|  | 108 | 0.24768 | 0.24316 | 0.23029 | 0.21702 | 0.22208
|  | 110 | 0.2371 | 0.23281 | 0.21989 | 0.20685 | 0.2122
|  | 112 | 0.22668 | 0.22257 | 0.20969 | 0.19695 | 0.20251
|  | 114 | 0.21636 | 0.2124 | 0.19963 | 0.18727 | 0.19297
|  | 116 | 0.20622 | 0.20239 | 0.18981 | 0.1779 | 0.18366
|  | 118 | 0.19636 | 0.19263 | 0.18032 | 0.16892 | 0.17467
|  | 120 | 0.18687 | 0.18324 | 0.17124 | 0.1604 | 0.16613
|  | 122 | 0.17778 | 0.17423 | 0.1626 | 0.15236 | 0.15804
|  | 124 | 0.16901 | 0.16555 | 0.15434 | 0.14473 | 0.15028
|  | 126 | 0.16065 | 0.15727 | 0.1465 | 0.13751 | 0.14295
|  | 128 | 0.15288 | 0.1496 | 0.13923 | 0.1308 | 0.13632
|  | 130 | 0.14578 | 0.14258 | 0.13255 | 0.12457 | 0.13036
|  | 132 | 0.13923 | 0.13614 | 0.12631 | 0.11868 | 0.12472
|  | 134 | 0.13309 | 0.13009 | 0.12039 | 0.11303 | 0.11922
|  | 136 | 0.12713 | 0.12424 | 0.11465 | 0.10756 | 0.11386
|  | 138 | 0.12125 | 0.11847 | 0.10904 | 0.10223 | 0.1086
|  | 140 | 0.11545 | 0.11278 | 0.10355 | 0.09705 | 0.10342
|  | 142 | 0.10973 | 0.10718 | 0.09818 | 0.09202 | 0.09832
|  | 144 | 0.10409 | 0.10165 | 0.09293 | 0.08712 | 0.0933
|  | 146 | 0.09855 | 0.09622 | 0.08782 | 0.0824 | 0.08841
|  | 148 | 0.09316 | 0.09095 | 0.08291 | 0.07788 | 0.08368
|  | 150 | 0.08796 | 0.08585 | 0.07821 | 0.07359 | 0.07913
|  | 152 | 0.08292 | 0.08092 | 0.07369 | 0.06948 | 0.07472
|  | 154 | 0.07805 | 0.07616 | 0.06936 | 0.06557 | 0.07043
|  | 156 | 0.07337 | 0.07158 | 0.06523 | 0.06184 | 0.06624
|  | 158 | 0.06887 | 0.06717 | 0.0613 | 0.05829 | 0.06221
|  | 160 | 0.06457 | 0.06296 | 0.05758 | 0.05493 | 0.05851
|  | 162 | 0.0605 | 0.05899 | 0.05408 | 0.05176 | 0.05511
|  | 164 | 0.05674 | 0.05531 | 0.0508 | 0.04877 | 0.05188
|  | 166 | 0.05325 | 0.05189 | 0.04773 | 0.04596 | 0.04877
|  | 168 | 0.04994 | 0.04866 | 0.04483 | 0.04329 | 0.04577
|  | 170 | 0.04679 | 0.04557 | 0.04209 | 0.04077 | 0.04288
|  | 172 | 0.04378 | 0.04263 | 0.0395 | 0.03838 | 0.04009
|  | 174 | 0.04086 | 0.03976 | 0.03701 | 0.03608 | 0.03743
|  | 176 | 0.03792 | 0.03688 | 0.03455 | 0.03381 | 0.0349
|  | 178 | 0.03516 | 0.03417 | 0.03222 | 0.03163 | 0.03257
|  | 180 | 0.03284 | 0.0319 | 0.0302 | 0.02968 | 0.03046
|  | 182 | 0.03084 | 0.02995 | 0.02838 | 0.02791 | 0.02853
|  | 184 | 0.0288 | 0.02795 | 0.02655 | 0.02614 | 0.02665
|  | 186 | 0.02672 | 0.02592 | 0.02474 | 0.0244 | 0.02481
|  | 188 | 0.0248 | 0.02404 | 0.02305 | 0.02275 | 0.02301
|  | 190 | 0.02303 | 0.02232 | 0.02149 | 0.0212 | 0.0213
|  | 192 | 0.02133 | 0.02066 | 0.02 | 0.01974 | 0.0197
|  | 194 | 0.01965 | 0.01902 | 0.01854 | 0.01832 | 0.01817
|  | 196 | 0.01799 | 0.01739 | 0.01711 | 0.0169 | 0.01669
|  | 198 | 0.01645 | 0.0159 | 0.01579 | 0.01558 | 0.01535
|  | 200 | 0.01521 | 0.0147 | 0.01466 | 0.01447 | 0.01426
|  | 202 | 0.01419 | 0.01372 | 0.01368 | 0.01351 | 0.01334
|  | 204 | 0.01324 | 0.01281 | 0.01276 | 0.01258 | 0.01242
|  | 206 | 0.01229 | 0.0119 | 0.01186 | 0.01166 | 0.01148
|  | 208 | 0.01136 | 0.01101 | 0.01096 | 0.01075 | 0.01058
|  | 210 | 0.01044 | 0.01013 | 0.01008 | 0.00987 | 0.0097
|  | 212 | 0.00956 | 0.00929 | 0.00923 | 0.009 | 0.00882
|  | 214 | 0.0087 | 0.00847 | 0.0084 | 0.00816 | 0.00796
|  | 216 | 0.00782 | 0.00763 | 0.00756 | 0.00733 | 0.00713
|  | 218 | 0.00698 | 0.00681 | 0.00675 | 0.00653 | 0.00634
|  | 220 | 0.0062 | 0.00607 | 0.006 | 0.00577 | 0.00556
|  | 222 | 0.00546 | 0.00535 | 0.00528 | 0.00504 | 0.00482
|  | 224 | 0.0047 | 0.00461 | 0.00455 | 0.00433 | 0.00413
|  | 226 | 0.00398 | 0.00391 | 0.00385 | 0.00367 | 0.00349
|  | 228 | 0.00336 | 0.00332 | 0.00326 | 0.00306 | 0.00287
|  | 230 | 0.0028 | 0.00277 | 0.00271 | 0.00251 | 0.0023
|  | 232 | 0.00221 | 0.00219 | 0.00214 | 0.00197 | 0.0018
|  | 234 | 0.00166 | 0.00165 | 0.0016 | 0.00147 | 0.00132
|  | 236 | 0.00122 | 0.00121 | 0.00116 | 0.00101 | 0.000845
|  | 238 | 0.000814 | 0.000812 | 0.000762 | 0.000597 | 0.000432
|  | 240 | 0.000378 | 0.000378 | 0.0003435 | 0.0002455 | 0.00016
|  | 242 | 5.9e-05 | 5.8e-05 | 4.6e-05 | 2.8e-05 | 3.15e-05
|  | 244 | 1e-06 | 0 | 0 | 4e-06 | 1.55e-05
|  | 246 | 6e-05 | 6e-05 | 6e-05 | 5.35e-05 | 3.85e-05
|  | 248 | 5.8e-05 | 5.8e-05 | 5.8e-05 | 4.95e-05 | 3.15e-05
|  | 250 | 0 | 0 | 0 | 0 | 0

## Distortion
TTL180-A Distortion
|  | Field (mm) | Distortion (%)
|  | -11 | 0.19323
|  | -10.89 | 0.18894
|  | -10.78 | 0.1847
|  | -10.67 | 0.18053
Product Raw Data |  | -10.56 | 0.17642
Tube Lens, f = 180 mm, ARC: 350 - 700 nm |  | -10.45 | 0.17236
|  | -10.34 | 0.16837
Item # | TTL180-A | -10.23 | 0.16443
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -10.12 | 0.16055
|  | -10.01 | 0.15673
|  | -9.9 | 0.15297
|  | -9.79 | 0.14926
|  | -9.68 | 0.14561
|  | -9.57 | 0.14201
This data may be used in publications. However, please cite Thorlabs as the source. |  | -9.46 | 0.13847
|  | -9.35 | 0.13499
|  | -9.24 | 0.13155
Additional Information: |  | -9.13 | 0.12817
The f-tan theta distortion of our TTL180-A tube lens. Positive distortion indicates that the point in the image plane is farther than expected from the optical axis, while negative distortion indicates the point in the image plane is closer than expected. Up to 1% distortion is typically considered acceptable. This data represents a theoretical calculation for 543 nm light. |  | -9.02 | 0.12485
|  | -8.91 | 0.12158
|  | -8.8 | 0.11835
|  | -8.69 | 0.11518
|  | -8.58 | 0.11207
|  | -8.47 | 0.109
|  | -8.36 | 0.10598
|  | -8.25 | 0.10302
|  | -8.14 | 0.1001
|  | -8.03 | 0.09723
|  | -7.92 | 0.09441
|  | -7.81 | 0.09164
|  | -7.7 | 0.08892
|  | -7.59 | 0.08624
|  | -7.48 | 0.08362
|  | -7.37 | 0.08104
|  | -7.26 | 0.0785
|  | -7.15 | 0.07601
|  | -7.04 | 0.07357
|  | -6.93 | 0.07117
|  | -6.82 | 0.06882
|  | -6.71 | 0.06651
|  | -6.6 | 0.06425
|  | -6.49 | 0.06203
|  | -6.38 | 0.05985
|  | -6.27 | 0.05772
|  | -6.16 | 0.05563
|  | -6.05 | 0.05359
|  | -5.94 | 0.05158
|  | -5.83 | 0.04962
|  | -5.72 | 0.0477
|  | -5.61 | 0.04582
|  | -5.5 | 0.04398
|  | -5.39 | 0.04219
|  | -5.28 | 0.04043
|  | -5.17 | 0.03872
|  | -5.06 | 0.03704
|  | -4.95 | 0.03541
|  | -4.84 | 0.03381
|  | -4.73 | 0.03225
|  | -4.62 | 0.03074
|  | -4.51 | 0.02926
|  | -4.4 | 0.02782
|  | -4.29 | 0.02642
|  | -4.18 | 0.02505
|  | -4.07 | 0.02373
|  | -3.96 | 0.02244
|  | -3.85 | 0.02119
|  | -3.74 | 0.01998
|  | -3.63 | 0.01881
|  | -3.52 | 0.01767
|  | -3.41 | 0.01657
|  | -3.3 | 0.0155
|  | -3.19 | 0.01448
|  | -3.08 | 0.01348
|  | -2.97 | 0.01253
|  | -2.86 | 0.01161
|  | -2.75 | 0.01073
|  | -2.64 | 0.00988
|  | -2.53 | 0.00907
|  | -2.42 | 0.00829
|  | -2.31 | 0.00755
|  | -2.2 | 0.00684
|  | -2.09 | 0.00617
|  | -1.98 | 0.00554
|  | -1.87 | 0.00494
|  | -1.76 | 0.00437
|  | -1.65 | 0.00384
|  | -1.54 | 0.00334
|  | -1.43 | 0.00288
|  | -1.32 | 0.00246
|  | -1.21 | 0.00206
|  | -1.1 | 0.0017
|  | -0.99 | 0.00138
|  | -0.88 | 0.00109
|  | -0.77 | 0.00083449
|  | -0.66 | 0.00061299
|  | -0.55 | 0.00042562
|  | -0.44 | 0.00027237
|  | -0.33 | 0.00015319
|  | -0.22 | 6.808e-05
|  | -0.11 | 1.702e-05
|  | 0 | 0
|  | 0.11 | 1.702e-05
|  | 0.22 | 6.808e-05
|  | 0.33 | 0.00015319
|  | 0.44 | 0.00027237
|  | 0.55 | 0.00042562
|  | 0.66 | 0.00061299
|  | 0.77 | 0.00083449
|  | 0.88 | 0.00109
|  | 0.99 | 0.00138
|  | 1.1 | 0.0017
|  | 1.21 | 0.00206
|  | 1.32 | 0.00246
|  | 1.43 | 0.00288
|  | 1.54 | 0.00334
|  | 1.65 | 0.00384
|  | 1.76 | 0.00437
|  | 1.87 | 0.00494
|  | 1.98 | 0.00554
|  | 2.09 | 0.00617
|  | 2.2 | 0.00684
|  | 2.31 | 0.00755
|  | 2.42 | 0.00829
|  | 2.53 | 0.00907
|  | 2.64 | 0.00988
|  | 2.75 | 0.01073
|  | 2.86 | 0.01161
|  | 2.97 | 0.01253
|  | 3.08 | 0.01348
|  | 3.19 | 0.01448
|  | 3.3 | 0.0155
|  | 3.41 | 0.01657
|  | 3.52 | 0.01767
|  | 3.63 | 0.01881
|  | 3.74 | 0.01998
|  | 3.85 | 0.02119
|  | 3.96 | 0.02244
|  | 4.07 | 0.02373
|  | 4.18 | 0.02505
|  | 4.29 | 0.02642
|  | 4.4 | 0.02782
|  | 4.51 | 0.02926
|  | 4.62 | 0.03074
|  | 4.73 | 0.03225
|  | 4.84 | 0.03381
|  | 4.95 | 0.03541
|  | 5.06 | 0.03704
|  | 5.17 | 0.03872
|  | 5.28 | 0.04043
|  | 5.39 | 0.04219
|  | 5.5 | 0.04398
|  | 5.61 | 0.04582
|  | 5.72 | 0.0477
|  | 5.83 | 0.04962
|  | 5.94 | 0.05158
|  | 6.05 | 0.05359
|  | 6.16 | 0.05563
|  | 6.27 | 0.05772
|  | 6.38 | 0.05985
|  | 6.49 | 0.06203
|  | 6.6 | 0.06425
|  | 6.71 | 0.06651
|  | 6.82 | 0.06882
|  | 6.93 | 0.07117
|  | 7.04 | 0.07357
|  | 7.15 | 0.07601
|  | 7.26 | 0.0785
|  | 7.37 | 0.08104
|  | 7.48 | 0.08362
|  | 7.59 | 0.08624
|  | 7.7 | 0.08892
|  | 7.81 | 0.09164
|  | 7.92 | 0.09441
|  | 8.03 | 0.09723
|  | 8.14 | 0.1001
|  | 8.25 | 0.10302
|  | 8.36 | 0.10598
|  | 8.47 | 0.109
|  | 8.58 | 0.11207
|  | 8.69 | 0.11518
|  | 8.8 | 0.11835
|  | 8.91 | 0.12158
|  | 9.02 | 0.12485
|  | 9.13 | 0.12817
|  | 9.24 | 0.13155
|  | 9.35 | 0.13499
|  | 9.46 | 0.13847
|  | 9.57 | 0.14201
|  | 9.68 | 0.14561
|  | 9.79 | 0.14926
|  | 9.9 | 0.15297
|  | 10.01 | 0.15673
|  | 10.12 | 0.16055
|  | 10.23 | 0.16443
|  | 10.34 | 0.16837
|  | 10.45 | 0.17236
|  | 10.56 | 0.17642
|  | 10.67 | 0.18053
|  | 10.78 | 0.1847
|  | 10.89 | 0.18894
|  | 11 | 0.19323