## T151042
SN: | T151042
Item #: | TW470R2A2
Item Description: | 2x2 90:10 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 460HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 470
Insertion Loss (dB): | -0.65
Coupling Ratio (%): | 88.32
Uniformity (dB): | 0.09
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 470
Insertion Loss (dB): | -9.43
Coupling Ratio (%): | 11.68
Uniformity (dB): | 0.52
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
420 | -0.612 | 89.788 | -10.053 | 10.212
420.2 | -0.612 | 89.787 | -10.053 | 10.213
420.401 | -0.618 | 89.776 | -10.053 | 10.224
420.601 | -0.622 | 89.769 | -10.054 | 10.231
420.802 | -0.619 | 89.786 | -10.059 | 10.214
421.002 | -0.617 | 89.803 | -10.065 | 10.197
421.202 | -0.622 | 89.822 | -10.079 | 10.178
421.403 | -0.628 | 89.826 | -10.088 | 10.174
421.603 | -0.639 | 89.764 | -10.068 | 10.236
421.804 | -0.647 | 89.707 | -10.05 | 10.293
422.004 | -0.649 | 89.677 | -10.038 | 10.323
422.204 | -0.648 | 89.658 | -10.028 | 10.342
422.405 | -0.639 | 89.675 | -10.027 | 10.325
422.605 | -0.626 | 89.703 | -10.027 | 10.297
422.806 | -0.601 | 89.761 | -10.029 | 10.239
423.006 | -0.582 | 89.789 | -10.024 | 10.211
423.206 | -0.581 | 89.741 | -10 | 10.259
423.407 | -0.589 | 89.689 | -9.984 | 10.311
423.607 | -0.616 | 89.635 | -9.985 | 10.365
423.808 | -0.635 | 89.614 | -9.995 | 10.386
424.008 | -0.638 | 89.658 | -10.018 | 10.342
424.208 | -0.639 | 89.687 | -10.032 | 10.313
424.409 | -0.637 | 89.686 | -10.03 | 10.314
424.609 | -0.635 | 89.666 | -10.019 | 10.334
424.81 | -0.632 | 89.62 | -9.994 | 10.38
425.01 | -0.629 | 89.578 | -9.971 | 10.422
425.21 | -0.627 | 89.546 | -9.954 | 10.454
425.411 | -0.628 | 89.541 | -9.954 | 10.459
425.611 | -0.635 | 89.569 | -9.973 | 10.431
425.812 | -0.638 | 89.583 | -9.983 | 10.417
426.012 | -0.638 | 89.581 | -9.981 | 10.419
426.212 | -0.634 | 89.559 | -9.968 | 10.441
426.413 | -0.627 | 89.52 | -9.943 | 10.48
426.613 | -0.626 | 89.483 | -9.925 | 10.517
426.814 | -0.63 | 89.449 | -9.913 | 10.551
427.014 | -0.639 | 89.407 | -9.902 | 10.593
427.214 | -0.651 | 89.361 | -9.894 | 10.639
427.415 | -0.65 | 89.366 | -9.895 | 10.634
427.615 | -0.64 | 89.406 | -9.903 | 10.594
427.816 | -0.637 | 89.418 | -9.906 | 10.582
428.016 | -0.64 | 89.41 | -9.905 | 10.59
428.216 | -0.639 | 89.387 | -9.894 | 10.613
428.417 | -0.637 | 89.356 | -9.877 | 10.644
428.617 | -0.631 | 89.322 | -9.856 | 10.678
428.818 | -0.626 | 89.288 | -9.835 | 10.712
429.018 | -0.628 | 89.275 | -9.832 | 10.725
429.218 | -0.635 | 89.273 | -9.838 | 10.727
429.419 | -0.643 | 89.263 | -9.841 | 10.737
429.619 | -0.651 | 89.25 | -9.842 | 10.75
429.82 | -0.654 | 89.236 | -9.84 | 10.764
430.02 | -0.656 | 89.222 | -9.835 | 10.778
430.22 | -0.652 | 89.205 | -9.824 | 10.795
430.421 | -0.647 | 89.188 | -9.811 | 10.812
430.621 | -0.648 | 89.181 | -9.809 | 10.819
430.822 | -0.649 | 89.177 | -9.808 | 10.823
431.022 | -0.645 | 89.172 | -9.802 | 10.828
431.222 | -0.638 | 89.169 | -9.794 | 10.831
431.423 | -0.63 | 89.182 | -9.791 | 10.818
431.623 | -0.622 | 89.197 | -9.79 | 10.803
431.824 | -0.619 | 89.197 | -9.787 | 10.803
432.024 | -0.618 | 89.19 | -9.783 | 10.81
432.224 | -0.624 | 89.167 | -9.778 | 10.833
432.425 | -0.63 | 89.142 | -9.774 | 10.858
432.625 | -0.627 | 89.134 | -9.767 | 10.866
432.826 | -0.622 | 89.131 | -9.76 | 10.869
433.026 | -0.615 | 89.131 | -9.753 | 10.869
433.226 | -0.61 | 89.129 | -9.747 | 10.871
433.427 | -0.622 | 89.111 | -9.751 | 10.889
433.627 | -0.634 | 89.087 | -9.752 | 10.913
433.828 | -0.634 | 89.039 | -9.731 | 10.961
434.028 | -0.63 | 89.004 | -9.712 | 10.996
434.228 | -0.619 | 89.049 | -9.721 | 10.951
434.429 | -0.609 | 89.089 | -9.729 | 10.911
434.629 | -0.611 | 89.066 | -9.721 | 10.934
434.83 | -0.615 | 89.037 | -9.711 | 10.963
435.03 | -0.616 | 89.023 | -9.706 | 10.977
435.23 | -0.618 | 89 | -9.698 | 11
435.431 | -0.624 | 88.949 | -9.682 | 11.051
435.631 | -0.629 | 88.914 | -9.671 | 11.086
435.832 | -0.626 | 88.939 | -9.679 | 11.061
436.032 | -0.621 | 88.966 | -9.686 | 11.034
436.232 | -0.613 | 88.972 | -9.68 | 11.028
436.433 | -0.607 | 88.973 | -9.675 | 11.027
436.633 | -0.608 | 88.969 | -9.674 | 11.031
436.834 | -0.607 | 88.971 | -9.674 | 11.029
437.034 | -0.6 | 88.985 | -9.674 | 11.015
437.234 | -0.595 | 88.987 | -9.67 | 11.013
437.435 | -0.597 | 88.962 | -9.66 | 11.038
437.635 | -0.603 | 88.93 | -9.653 | 11.07
437.836 | -0.616 | 88.897 | -9.651 | 11.103
438.036 | -0.626 | 88.872 | -9.65 | 11.128
438.236 | -0.629 | 88.86 | -9.648 | 11.14
438.437 | -0.627 | 88.863 | -9.647 | 11.137
438.637 | -0.62 | 88.878 | -9.646 | 11.122
438.838 | -0.619 | 88.879 | -9.645 | 11.121
439.038 | -0.624 | 88.859 | -9.642 | 11.141
439.238 | -0.629 | 88.839 | -9.638 | 11.161
439.439 | -0.63 | 88.826 | -9.634 | 11.174
439.639 | -0.629 | 88.817 | -9.629 | 11.183
439.84 | -0.626 | 88.812 | -9.623 | 11.188
440.04 | -0.623 | 88.805 | -9.617 | 11.195
440.24 | -0.621 | 88.798 | -9.612 | 11.202
440.441 | -0.619 | 88.808 | -9.614 | 11.192
440.641 | -0.618 | 88.831 | -9.623 | 11.169
440.842 | -0.618 | 88.84 | -9.627 | 11.16
441.042 | -0.619 | 88.833 | -9.625 | 11.167
441.242 | -0.617 | 88.822 | -9.619 | 11.178
441.443 | -0.614 | 88.81 | -9.611 | 11.19
441.643 | -0.616 | 88.798 | -9.607 | 11.202
441.844 | -0.622 | 88.783 | -9.606 | 11.217
442.044 | -0.627 | 88.763 | -9.603 | 11.237
442.244 | -0.632 | 88.742 | -9.598 | 11.258
442.445 | -0.636 | 88.729 | -9.597 | 11.271
442.645 | -0.64 | 88.723 | -9.598 | 11.277
442.846 | -0.64 | 88.714 | -9.595 | 11.286
443.046 | -0.638 | 88.708 | -9.59 | 11.292
443.246 | -0.634 | 88.718 | -9.59 | 11.282
443.447 | -0.63 | 88.734 | -9.593 | 11.266
443.647 | -0.633 | 88.73 | -9.594 | 11.27
443.848 | -0.64 | 88.711 | -9.593 | 11.289
444.048 | -0.648 | 88.676 | -9.586 | 11.324
444.249 | -0.654 | 88.646 | -9.579 | 11.354
444.449 | -0.65 | 88.656 | -9.58 | 11.344
444.649 | -0.643 | 88.684 | -9.585 | 11.316
444.85 | -0.643 | 88.696 | -9.59 | 11.304
445.05 | -0.647 | 88.688 | -9.59 | 11.312
445.25 | -0.651 | 88.642 | -9.574 | 11.358
445.451 | -0.654 | 88.597 | -9.558 | 11.403
445.651 | -0.654 | 88.612 | -9.564 | 11.388
445.852 | -0.653 | 88.653 | -9.581 | 11.347
446.052 | -0.652 | 88.698 | -9.6 | 11.302
446.253 | -0.652 | 88.723 | -9.61 | 11.277
446.453 | -0.654 | 88.68 | -9.593 | 11.32
446.653 | -0.657 | 88.616 | -9.57 | 11.384
446.854 | -0.665 | 88.572 | -9.558 | 11.428
447.054 | -0.67 | 88.547 | -9.553 | 11.453
447.255 | -0.668 | 88.555 | -9.554 | 11.445
447.455 | -0.666 | 88.572 | -9.559 | 11.428
447.655 | -0.669 | 88.581 | -9.566 | 11.419
447.856 | -0.674 | 88.581 | -9.571 | 11.419
448.056 | -0.679 | 88.561 | -9.567 | 11.439
448.257 | -0.682 | 88.543 | -9.563 | 11.457
448.457 | -0.681 | 88.549 | -9.564 | 11.452
448.657 | -0.674 | 88.566 | -9.565 | 11.434
448.858 | -0.659 | 88.591 | -9.561 | 11.409
449.058 | -0.643 | 88.603 | -9.55 | 11.397
449.259 | -0.633 | 88.583 | -9.531 | 11.417
449.459 | -0.63 | 88.55 | -9.514 | 11.45
449.659 | -0.641 | 88.514 | -9.51 | 11.486
449.86 | -0.655 | 88.489 | -9.513 | 11.511
450.06 | -0.664 | 88.489 | -9.522 | 11.511
450.261 | -0.669 | 88.495 | -9.529 | 11.505
450.461 | -0.669 | 88.496 | -9.529 | 11.504
450.661 | -0.666 | 88.496 | -9.527 | 11.504
450.862 | -0.662 | 88.499 | -9.524 | 11.501
451.062 | -0.656 | 88.506 | -9.521 | 11.494
451.263 | -0.651 | 88.514 | -9.519 | 11.486
451.463 | -0.649 | 88.508 | -9.515 | 11.492
451.663 | -0.652 | 88.483 | -9.507 | 11.517
451.864 | -0.659 | 88.459 | -9.504 | 11.541
452.064 | -0.668 | 88.451 | -9.509 | 11.549
452.265 | -0.674 | 88.459 | -9.518 | 11.541
452.465 | -0.673 | 88.48 | -9.527 | 11.52
452.665 | -0.668 | 88.501 | -9.531 | 11.499
452.866 | -0.659 | 88.512 | -9.526 | 11.488
453.066 | -0.65 | 88.511 | -9.517 | 11.489
453.267 | -0.642 | 88.5 | -9.505 | 11.5
453.467 | -0.636 | 88.489 | -9.494 | 11.511
453.667 | -0.63 | 88.485 | -9.486 | 11.515
453.868 | -0.623 | 88.498 | -9.484 | 11.502
454.068 | -0.614 | 88.52 | -9.485 | 11.48
454.269 | -0.605 | 88.528 | -9.48 | 11.472
454.469 | -0.599 | 88.51 | -9.466 | 11.49
454.669 | -0.6 | 88.472 | -9.451 | 11.528
454.87 | -0.609 | 88.429 | -9.442 | 11.571
455.07 | -0.62 | 88.414 | -9.446 | 11.586
455.271 | -0.627 | 88.433 | -9.462 | 11.567
455.471 | -0.627 | 88.473 | -9.478 | 11.527
455.671 | -0.624 | 88.503 | -9.488 | 11.497
455.872 | -0.628 | 88.472 | -9.479 | 11.528
456.072 | -0.639 | 88.392 | -9.456 | 11.608
456.273 | -0.648 | 88.315 | -9.432 | 11.685
456.473 | -0.654 | 88.263 | -9.416 | 11.737
456.673 | -0.657 | 88.251 | -9.414 | 11.749
456.874 | -0.661 | 88.266 | -9.424 | 11.734
457.074 | -0.67 | 88.286 | -9.442 | 11.714
457.275 | -0.681 | 88.297 | -9.457 | 11.703
457.475 | -0.685 | 88.285 | -9.456 | 11.715
457.675 | -0.681 | 88.265 | -9.444 | 11.735
457.876 | -0.671 | 88.26 | -9.432 | 11.74
458.076 | -0.657 | 88.272 | -9.423 | 11.728
458.277 | -0.641 | 88.298 | -9.418 | 11.702
458.477 | -0.628 | 88.328 | -9.417 | 11.672
458.677 | -0.626 | 88.353 | -9.426 | 11.647
458.878 | -0.632 | 88.365 | -9.437 | 11.635
459.078 | -0.638 | 88.357 | -9.439 | 11.643
459.279 | -0.642 | 88.339 | -9.437 | 11.661
459.479 | -0.646 | 88.328 | -9.436 | 11.672
459.679 | -0.644 | 88.337 | -9.438 | 11.663
459.88 | -0.629 | 88.382 | -9.442 | 11.618
460.08 | -0.612 | 88.433 | -9.446 | 11.567
460.281 | -0.608 | 88.457 | -9.452 | 11.543
460.481 | -0.611 | 88.457 | -9.455 | 11.543
460.681 | -0.613 | 88.437 | -9.449 | 11.563
460.882 | -0.617 | 88.41 | -9.441 | 11.59
461.082 | -0.626 | 88.389 | -9.441 | 11.611
461.283 | -0.634 | 88.374 | -9.443 | 11.626
461.483 | -0.637 | 88.363 | -9.441 | 11.637
461.683 | -0.639 | 88.352 | -9.438 | 11.648
461.884 | -0.642 | 88.337 | -9.435 | 11.663
462.084 | -0.646 | 88.328 | -9.435 | 11.672
462.285 | -0.648 | 88.334 | -9.44 | 11.666
462.485 | -0.651 | 88.335 | -9.444 | 11.665
462.685 | -0.655 | 88.316 | -9.439 | 11.684
462.886 | -0.66 | 88.293 | -9.435 | 11.707
463.086 | -0.666 | 88.281 | -9.436 | 11.719
463.287 | -0.673 | 88.265 | -9.436 | 11.735
463.487 | -0.678 | 88.233 | -9.428 | 11.767
463.687 | -0.675 | 88.208 | -9.414 | 11.792
463.888 | -0.659 | 88.21 | -9.399 | 11.79
464.088 | -0.643 | 88.233 | -9.392 | 11.767
464.289 | -0.637 | 88.269 | -9.402 | 11.731
464.489 | -0.644 | 88.289 | -9.417 | 11.711
464.689 | -0.662 | 88.275 | -9.429 | 11.725
464.89 | -0.67 | 88.256 | -9.429 | 11.744
465.09 | -0.655 | 88.253 | -9.413 | 11.747
465.291 | -0.632 | 88.271 | -9.398 | 11.729
465.491 | -0.614 | 88.312 | -9.397 | 11.688
465.691 | -0.6 | 88.363 | -9.405 | 11.637
465.892 | -0.593 | 88.413 | -9.418 | 11.587
466.092 | -0.598 | 88.442 | -9.435 | 11.558
466.293 | -0.615 | 88.437 | -9.45 | 11.563
466.493 | -0.634 | 88.39 | -9.45 | 11.61
466.693 | -0.648 | 88.316 | -9.432 | 11.684
466.894 | -0.656 | 88.266 | -9.42 | 11.734
467.094 | -0.658 | 88.265 | -9.421 | 11.735
467.295 | -0.648 | 88.296 | -9.424 | 11.704
467.495 | -0.63 | 88.338 | -9.424 | 11.662
467.695 | -0.618 | 88.362 | -9.422 | 11.638
467.896 | -0.617 | 88.357 | -9.419 | 11.643
468.096 | -0.626 | 88.332 | -9.417 | 11.668
468.297 | -0.639 | 88.298 | -9.416 | 11.702
468.497 | -0.652 | 88.267 | -9.415 | 11.733
468.697 | -0.659 | 88.247 | -9.414 | 11.753
468.898 | -0.662 | 88.236 | -9.413 | 11.764
469.098 | -0.663 | 88.23 | -9.412 | 11.77
469.299 | -0.664 | 88.219 | -9.408 | 11.781
469.499 | -0.665 | 88.213 | -9.406 | 11.787
469.699 | -0.662 | 88.236 | -9.413 | 11.764
469.9 | -0.653 | 88.289 | -9.427 | 11.711
470.1 | -0.641 | 88.351 | -9.44 | 11.649
470.301 | -0.634 | 88.387 | -9.449 | 11.613
470.501 | -0.645 | 88.361 | -9.448 | 11.639
470.701 | -0.663 | 88.295 | -9.439 | 11.705
470.902 | -0.666 | 88.254 | -9.424 | 11.746
471.102 | -0.654 | 88.252 | -9.412 | 11.748
471.303 | -0.643 | 88.277 | -9.411 | 11.723
471.503 | -0.637 | 88.307 | -9.418 | 11.693
471.703 | -0.635 | 88.32 | -9.422 | 11.68
471.904 | -0.638 | 88.319 | -9.424 | 11.681
472.104 | -0.645 | 88.317 | -9.43 | 11.683
472.305 | -0.655 | 88.307 | -9.435 | 11.693
472.505 | -0.663 | 88.277 | -9.431 | 11.723
472.705 | -0.67 | 88.246 | -9.425 | 11.754
472.906 | -0.674 | 88.24 | -9.427 | 11.76
473.106 | -0.674 | 88.257 | -9.434 | 11.743
473.307 | -0.668 | 88.286 | -9.44 | 11.714
473.507 | -0.659 | 88.308 | -9.44 | 11.692
473.707 | -0.651 | 88.3 | -9.429 | 11.7
473.908 | -0.643 | 88.296 | -9.419 | 11.704
474.108 | -0.638 | 88.335 | -9.43 | 11.665
474.309 | -0.631 | 88.387 | -9.446 | 11.613
474.509 | -0.621 | 88.411 | -9.446 | 11.589
474.709 | -0.616 | 88.41 | -9.44 | 11.59
474.91 | -0.622 | 88.395 | -9.44 | 11.605
475.11 | -0.631 | 88.387 | -9.446 | 11.613
475.311 | -0.634 | 88.411 | -9.458 | 11.589
475.511 | -0.635 | 88.434 | -9.469 | 11.566
475.711 | -0.64 | 88.424 | -9.47 | 11.576
475.912 | -0.645 | 88.406 | -9.468 | 11.594
476.112 | -0.647 | 88.408 | -9.47 | 11.592
476.313 | -0.646 | 88.416 | -9.473 | 11.584
476.513 | -0.644 | 88.415 | -9.47 | 11.585
476.713 | -0.641 | 88.408 | -9.465 | 11.592
476.914 | -0.64 | 88.398 | -9.459 | 11.602
477.114 | -0.643 | 88.388 | -9.458 | 11.612
477.315 | -0.653 | 88.383 | -9.465 | 11.617
477.515 | -0.663 | 88.375 | -9.472 | 11.625
477.715 | -0.67 | 88.356 | -9.471 | 11.644
477.916 | -0.673 | 88.339 | -9.467 | 11.661
478.116 | -0.673 | 88.332 | -9.465 | 11.668
478.317 | -0.668 | 88.335 | -9.461 | 11.665
478.517 | -0.658 | 88.347 | -9.456 | 11.653
478.717 | -0.645 | 88.363 | -9.449 | 11.637
478.918 | -0.633 | 88.378 | -9.443 | 11.622
479.118 | -0.625 | 88.398 | -9.444 | 11.602
479.319 | -0.623 | 88.422 | -9.453 | 11.578
479.519 | -0.628 | 88.435 | -9.463 | 11.565
479.719 | -0.637 | 88.425 | -9.468 | 11.575
479.92 | -0.647 | 88.401 | -9.467 | 11.599
480.12 | -0.653 | 88.37 | -9.46 | 11.63
480.321 | -0.657 | 88.347 | -9.454 | 11.653
480.521 | -0.659 | 88.344 | -9.455 | 11.656
480.721 | -0.657 | 88.367 | -9.463 | 11.633
480.922 | -0.652 | 88.411 | -9.477 | 11.589
481.122 | -0.647 | 88.451 | -9.489 | 11.549
481.323 | -0.646 | 88.467 | -9.494 | 11.533
481.523 | -0.651 | 88.455 | -9.494 | 11.545
481.723 | -0.661 | 88.42 | -9.49 | 11.58
481.924 | -0.671 | 88.393 | -9.488 | 11.607
482.124 | -0.675 | 88.385 | -9.489 | 11.615
482.325 | -0.672 | 88.389 | -9.487 | 11.611
482.525 | -0.665 | 88.395 | -9.483 | 11.605
482.725 | -0.66 | 88.396 | -9.479 | 11.604
482.926 | -0.658 | 88.396 | -9.476 | 11.604
483.126 | -0.655 | 88.404 | -9.477 | 11.596
483.327 | -0.651 | 88.42 | -9.48 | 11.58
483.527 | -0.648 | 88.425 | -9.479 | 11.575
483.727 | -0.646 | 88.418 | -9.474 | 11.582
483.928 | -0.648 | 88.411 | -9.472 | 11.589
484.128 | -0.65 | 88.413 | -9.476 | 11.587
484.329 | -0.65 | 88.436 | -9.485 | 11.564
484.529 | -0.645 | 88.475 | -9.497 | 11.525
484.729 | -0.639 | 88.515 | -9.508 | 11.485
484.93 | -0.633 | 88.546 | -9.515 | 11.454
485.13 | -0.63 | 88.556 | -9.516 | 11.444
485.331 | -0.63 | 88.55 | -9.514 | 11.45
485.531 | -0.633 | 88.542 | -9.513 | 11.458
485.731 | -0.636 | 88.535 | -9.514 | 11.465
485.932 | -0.641 | 88.53 | -9.517 | 11.47
486.132 | -0.646 | 88.525 | -9.52 | 11.475
486.333 | -0.649 | 88.518 | -9.519 | 11.482
486.533 | -0.648 | 88.518 | -9.518 | 11.482
486.733 | -0.643 | 88.537 | -9.521 | 11.463
486.934 | -0.636 | 88.564 | -9.526 | 11.436
487.134 | -0.631 | 88.578 | -9.527 | 11.422
487.335 | -0.63 | 88.579 | -9.526 | 11.421
487.535 | -0.635 | 88.568 | -9.526 | 11.432
487.735 | -0.641 | 88.555 | -9.527 | 11.445
487.936 | -0.647 | 88.549 | -9.53 | 11.451
488.136 | -0.648 | 88.557 | -9.535 | 11.443
488.337 | -0.638 | 88.591 | -9.539 | 11.409
488.537 | -0.625 | 88.63 | -9.543 | 11.37
488.737 | -0.618 | 88.646 | -9.543 | 11.354
488.938 | -0.616 | 88.649 | -9.542 | 11.351
489.138 | -0.618 | 88.643 | -9.542 | 11.357
489.339 | -0.621 | 88.641 | -9.544 | 11.359
489.539 | -0.621 | 88.655 | -9.55 | 11.345
489.739 | -0.622 | 88.667 | -9.556 | 11.333
489.94 | -0.626 | 88.657 | -9.556 | 11.343
490.14 | -0.627 | 88.655 | -9.556 | 11.345
490.341 | -0.617 | 88.691 | -9.561 | 11.309
490.541 | -0.607 | 88.726 | -9.567 | 11.274
490.741 | -0.609 | 88.725 | -9.568 | 11.275
490.942 | -0.615 | 88.714 | -9.57 | 11.286
491.142 | -0.622 | 88.71 | -9.575 | 11.29
491.343 | -0.627 | 88.714 | -9.581 | 11.286
491.543 | -0.626 | 88.729 | -9.587 | 11.271
491.743 | -0.624 | 88.743 | -9.591 | 11.257
491.944 | -0.624 | 88.747 | -9.593 | 11.253
492.144 | -0.627 | 88.742 | -9.594 | 11.258
492.345 | -0.634 | 88.728 | -9.595 | 11.272
492.545 | -0.642 | 88.72 | -9.599 | 11.28
492.745 | -0.645 | 88.728 | -9.606 | 11.272
492.946 | -0.642 | 88.746 | -9.611 | 11.254
493.146 | -0.629 | 88.774 | -9.61 | 11.226
493.347 | -0.62 | 88.796 | -9.61 | 11.204
493.547 | -0.621 | 88.803 | -9.615 | 11.197
493.747 | -0.62 | 88.821 | -9.621 | 11.179
493.948 | -0.61 | 88.86 | -9.629 | 11.14
494.148 | -0.604 | 88.887 | -9.634 | 11.113
494.349 | -0.607 | 88.884 | -9.636 | 11.116
494.549 | -0.61 | 88.878 | -9.636 | 11.122
494.75 | -0.609 | 88.878 | -9.635 | 11.122
494.95 | -0.611 | 88.875 | -9.636 | 11.125
495.15 | -0.618 | 88.868 | -9.64 | 11.132
495.351 | -0.624 | 88.867 | -9.645 | 11.133
495.551 | -0.627 | 88.875 | -9.651 | 11.125
495.751 | -0.628 | 88.876 | -9.653 | 11.124
495.952 | -0.627 | 88.871 | -9.651 | 11.129
496.152 | -0.62 | 88.891 | -9.652 | 11.109
496.353 | -0.606 | 88.936 | -9.658 | 11.064
496.553 | -0.599 | 88.968 | -9.665 | 11.032
496.754 | -0.601 | 88.976 | -9.67 | 11.024
496.954 | -0.601 | 88.972 | -9.669 | 11.028
497.154 | -0.6 | 88.962 | -9.663 | 11.038
497.355 | -0.6 | 88.962 | -9.664 | 11.038
497.555 | -0.601 | 88.976 | -9.67 | 11.024
497.756 | -0.598 | 88.996 | -9.676 | 11.004
497.956 | -0.593 | 89.019 | -9.681 | 10.981
498.156 | -0.591 | 89.034 | -9.686 | 10.966
498.357 | -0.591 | 89.042 | -9.69 | 10.958
498.557 | -0.59 | 89.041 | -9.688 | 10.959
498.758 | -0.589 | 89.036 | -9.685 | 10.964
498.958 | -0.592 | 89.04 | -9.69 | 10.96
499.158 | -0.596 | 89.055 | -9.701 | 10.945
499.359 | -0.592 | 89.087 | -9.711 | 10.913
499.559 | -0.585 | 89.121 | -9.719 | 10.879
499.76 | -0.586 | 89.119 | -9.719 | 10.881
499.96 | -0.59 | 89.102 | -9.715 | 10.898
500.16 | -0.588 | 89.107 | -9.716 | 10.893
500.361 | -0.584 | 89.126 | -9.72 | 10.874
500.561 | -0.587 | 89.136 | -9.727 | 10.864
500.762 | -0.595 | 89.136 | -9.735 | 10.864
500.962 | -0.608 | 89.119 | -9.741 | 10.881
501.162 | -0.62 | 89.099 | -9.744 | 10.901
501.363 | -0.609 | 89.098 | -9.733 | 10.902
501.563 | -0.593 | 89.112 | -9.723 | 10.888
501.764 | -0.589 | 89.159 | -9.74 | 10.841
501.964 | -0.591 | 89.208 | -9.764 | 10.792
502.164 | -0.593 | 89.212 | -9.768 | 10.788
502.365 | -0.596 | 89.199 | -9.765 | 10.801
502.565 | -0.602 | 89.187 | -9.765 | 10.813
502.766 | -0.606 | 89.177 | -9.765 | 10.823
502.966 | -0.601 | 89.178 | -9.761 | 10.822
503.166 | -0.598 | 89.177 | -9.757 | 10.823
503.367 | -0.614 | 89.15 | -9.761 | 10.85
503.567 | -0.631 | 89.127 | -9.767 | 10.873
503.768 | -0.622 | 89.161 | -9.774 | 10.839
503.968 | -0.611 | 89.199 | -9.78 | 10.801
504.168 | -0.612 | 89.199 | -9.781 | 10.801
504.369 | -0.614 | 89.198 | -9.782 | 10.802
504.569 | -0.61 | 89.223 | -9.789 | 10.777
504.77 | -0.606 | 89.249 | -9.797 | 10.751
504.97 | -0.608 | 89.264 | -9.806 | 10.736
505.17 | -0.608 | 89.279 | -9.813 | 10.721
505.371 | -0.599 | 89.3 | -9.813 | 10.7
505.571 | -0.59 | 89.32 | -9.814 | 10.68
505.772 | -0.593 | 89.337 | -9.824 | 10.663
505.972 | -0.594 | 89.355 | -9.833 | 10.645
506.172 | -0.586 | 89.382 | -9.838 | 10.618
506.373 | -0.582 | 89.397 | -9.841 | 10.603
506.573 | -0.592 | 89.379 | -9.843 | 10.621
506.774 | -0.601 | 89.359 | -9.843 | 10.641
506.974 | -0.603 | 89.348 | -9.839 | 10.652
507.174 | -0.603 | 89.348 | -9.84 | 10.652
507.375 | -0.602 | 89.373 | -9.85 | 10.627
507.575 | -0.6 | 89.394 | -9.858 | 10.606
507.776 | -0.598 | 89.4 | -9.858 | 10.6
507.976 | -0.598 | 89.4 | -9.858 | 10.6
508.176 | -0.603 | 89.395 | -9.861 | 10.605
508.377 | -0.606 | 89.391 | -9.863 | 10.609
508.577 | -0.605 | 89.393 | -9.863 | 10.607
508.778 | -0.601 | 89.411 | -9.866 | 10.589
508.978 | -0.593 | 89.449 | -9.875 | 10.551
509.178 | -0.592 | 89.468 | -9.883 | 10.532
509.379 | -0.602 | 89.455 | -9.888 | 10.545
509.579 | -0.607 | 89.457 | -9.894 | 10.543
509.78 | -0.605 | 89.481 | -9.903 | 10.519
509.98 | -0.6 | 89.504 | -9.908 | 10.497
510.18 | -0.593 | 89.522 | -9.909 | 10.478
510.381 | -0.587 | 89.54 | -9.911 | 10.46
510.581 | -0.582 | 89.559 | -9.916 | 10.441
510.782 | -0.579 | 89.575 | -9.92 | 10.425
510.982 | -0.578 | 89.588 | -9.925 | 10.412
511.182 | -0.579 | 89.596 | -9.93 | 10.404
511.383 | -0.583 | 89.599 | -9.936 | 10.401
511.583 | -0.587 | 89.597 | -9.939 | 10.403
511.784 | -0.591 | 89.592 | -9.94 | 10.408
511.984 | -0.595 | 89.593 | -9.944 | 10.407
512.184 | -0.599 | 89.601 | -9.952 | 10.399
512.385 | -0.599 | 89.623 | -9.962 | 10.377
512.585 | -0.597 | 89.652 | -9.974 | 10.348
512.786 | -0.596 | 89.661 | -9.977 | 10.339
512.986 | -0.596 | 89.656 | -9.975 | 10.344
513.186 | -0.6 | 89.652 | -9.977 | 10.348
513.387 | -0.605 | 89.65 | -9.981 | 10.35
513.587 | -0.602 | 89.661 | -9.983 | 10.339
513.788 | -0.595 | 89.681 | -9.985 | 10.319
513.988 | -0.588 | 89.712 | -9.993 | 10.288
514.188 | -0.581 | 89.746 | -10.003 | 10.254
514.389 | -0.584 | 89.751 | -10.008 | 10.249
514.589 | -0.591 | 89.745 | -10.011 | 10.255
514.79 | -0.589 | 89.765 | -10.019 | 10.235
514.99 | -0.584 | 89.794 | -10.027 | 10.206
515.19 | -0.583 | 89.808 | -10.034 | 10.192
515.391 | -0.584 | 89.818 | -10.039 | 10.182
515.591 | -0.586 | 89.819 | -10.042 | 10.181
515.792 | -0.589 | 89.819 | -10.045 | 10.181
515.992 | -0.587 | 89.836 | -10.051 | 10.164
516.192 | -0.583 | 89.857 | -10.057 | 10.143
516.393 | -0.581 | 89.871 | -10.062 | 10.129
516.593 | -0.579 | 89.884 | -10.066 | 10.116
516.794 | -0.577 | 89.887 | -10.065 | 10.113
516.994 | -0.575 | 89.889 | -10.064 | 10.111
517.194 | -0.581 | 89.887 | -10.07 | 10.113
517.395 | -0.588 | 89.886 | -10.076 | 10.114
517.595 | -0.592 | 89.894 | -10.084 | 10.106
517.796 | -0.596 | 89.904 | -10.092 | 10.096
517.996 | -0.588 | 89.927 | -10.095 | 10.073
518.196 | -0.579 | 89.95 | -10.098 | 10.05
518.397 | -0.572 | 89.961 | -10.096 | 10.039
518.597 | -0.565 | 89.972 | -10.094 | 10.028
518.798 | -0.562 | 89.994 | -10.101 | 10.006
518.998 | -0.558 | 90.017 | -10.109 | 9.983
519.198 | -0.558 | 90.05 | -10.125 | 9.95
519.399 | -0.559 | 90.079 | -10.14 | 9.921
519.599 | -0.566 | 90.07 | -10.142 | 9.93
519.8 | -0.572 | 90.065 | -10.146 | 9.935
520 | -0.57 | 90.087 | -10.155 | 9.913