## T149015
SN: | T149015
Item #: | TW670R1A2
Item Description: | 2x2 99:1 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -0.1
Coupling Ratio (%): | 98.99
Uniformity (dB): | 0.08
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -20.02
Coupling Ratio (%): | 1.01
Uniformity (dB): | 1.18
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
585 | -0.076 | 99.257 | -21.333 | 0.743
585.341 | -0.076 | 99.257 | -21.333 | 0.743
585.681 | -0.08 | 99.26 | -21.357 | 0.74
586.022 | -0.086 | 99.264 | -21.383 | 0.736
586.363 | -0.089 | 99.258 | -21.35 | 0.742
586.703 | -0.092 | 99.254 | -21.331 | 0.746
587.044 | -0.091 | 99.255 | -21.338 | 0.745
587.385 | -0.091 | 99.257 | -21.346 | 0.743
587.725 | -0.091 | 99.258 | -21.354 | 0.742
588.066 | -0.09 | 99.256 | -21.341 | 0.744
588.407 | -0.09 | 99.255 | -21.334 | 0.745
588.747 | -0.094 | 99.263 | -21.384 | 0.737
589.088 | -0.098 | 99.261 | -21.379 | 0.739
589.429 | -0.104 | 99.243 | -21.279 | 0.757
589.77 | -0.101 | 99.238 | -21.248 | 0.762
590.11 | -0.095 | 99.241 | -21.26 | 0.759
590.451 | -0.098 | 99.248 | -21.303 | 0.752
590.792 | -0.105 | 99.253 | -21.339 | 0.747
591.132 | -0.114 | 99.247 | -21.311 | 0.753
591.473 | -0.123 | 99.243 | -21.297 | 0.757
591.814 | -0.132 | 99.242 | -21.302 | 0.758
592.154 | -0.14 | 99.239 | -21.294 | 0.761
592.495 | -0.148 | 99.235 | -21.276 | 0.765
592.836 | -0.155 | 99.229 | -21.252 | 0.771
593.176 | -0.161 | 99.224 | -21.227 | 0.776
593.517 | -0.164 | 99.218 | -21.199 | 0.782
593.858 | -0.164 | 99.212 | -21.166 | 0.788
594.198 | -0.16 | 99.207 | -21.131 | 0.793
594.539 | -0.158 | 99.21 | -21.149 | 0.79
594.88 | -0.156 | 99.217 | -21.187 | 0.783
595.22 | -0.157 | 99.211 | -21.154 | 0.789
595.561 | -0.158 | 99.206 | -21.123 | 0.794
595.902 | -0.155 | 99.205 | -21.118 | 0.795
596.242 | -0.155 | 99.209 | -21.139 | 0.791
596.583 | -0.157 | 99.216 | -21.178 | 0.784
596.924 | -0.156 | 99.207 | -21.127 | 0.793
597.265 | -0.155 | 99.192 | -21.045 | 0.808
597.605 | -0.157 | 99.191 | -21.041 | 0.809
597.946 | -0.158 | 99.19 | -21.04 | 0.81
598.287 | -0.153 | 99.19 | -21.034 | 0.81
598.627 | -0.151 | 99.19 | -21.029 | 0.81
598.968 | -0.152 | 99.189 | -21.026 | 0.811
599.309 | -0.152 | 99.189 | -21.026 | 0.811
599.649 | -0.152 | 99.189 | -21.028 | 0.811
599.99 | -0.151 | 99.192 | -21.04 | 0.808
600.331 | -0.15 | 99.193 | -21.044 | 0.807
600.671 | -0.15 | 99.19 | -21.029 | 0.81
601.012 | -0.149 | 99.183 | -20.992 | 0.817
601.353 | -0.146 | 99.174 | -20.941 | 0.826
601.693 | -0.143 | 99.167 | -20.899 | 0.833
602.034 | -0.141 | 99.161 | -20.868 | 0.839
602.375 | -0.147 | 99.161 | -20.871 | 0.839
602.715 | -0.148 | 99.163 | -20.886 | 0.837
603.056 | -0.141 | 99.17 | -20.913 | 0.83
603.397 | -0.132 | 99.173 | -20.923 | 0.827
603.737 | -0.124 | 99.175 | -20.923 | 0.825
604.078 | -0.116 | 99.178 | -20.931 | 0.822
604.419 | -0.11 | 99.178 | -20.923 | 0.822
604.76 | -0.105 | 99.164 | -20.848 | 0.836
605.1 | -0.1 | 99.157 | -20.807 | 0.843
605.441 | -0.097 | 99.161 | -20.821 | 0.839
605.782 | -0.101 | 99.153 | -20.786 | 0.847
606.122 | -0.107 | 99.141 | -20.73 | 0.859
606.463 | -0.105 | 99.15 | -20.775 | 0.85
606.804 | -0.102 | 99.16 | -20.824 | 0.84
607.144 | -0.103 | 99.158 | -20.81 | 0.842
607.485 | -0.103 | 99.155 | -20.798 | 0.845
607.826 | -0.102 | 99.155 | -20.799 | 0.845
608.166 | -0.099 | 99.155 | -20.794 | 0.845
608.507 | -0.096 | 99.154 | -20.786 | 0.846
608.848 | -0.097 | 99.156 | -20.795 | 0.844
609.188 | -0.097 | 99.156 | -20.799 | 0.844
609.529 | -0.097 | 99.154 | -20.784 | 0.846
609.87 | -0.097 | 99.151 | -20.773 | 0.849
610.21 | -0.099 | 99.151 | -20.77 | 0.849
610.551 | -0.1 | 99.148 | -20.76 | 0.852
610.892 | -0.1 | 99.146 | -20.746 | 0.854
611.232 | -0.101 | 99.143 | -20.734 | 0.857
611.573 | -0.101 | 99.141 | -20.724 | 0.859
611.914 | -0.1 | 99.14 | -20.716 | 0.86
612.255 | -0.099 | 99.138 | -20.706 | 0.862
612.595 | -0.099 | 99.136 | -20.694 | 0.864
612.936 | -0.101 | 99.133 | -20.685 | 0.867
613.277 | -0.103 | 99.132 | -20.678 | 0.868
613.617 | -0.102 | 99.132 | -20.677 | 0.868
613.958 | -0.1 | 99.133 | -20.681 | 0.867
614.299 | -0.1 | 99.135 | -20.692 | 0.865
614.639 | -0.1 | 99.134 | -20.689 | 0.866
614.98 | -0.1 | 99.131 | -20.672 | 0.869
615.321 | -0.1 | 99.128 | -20.659 | 0.872
615.661 | -0.099 | 99.126 | -20.647 | 0.874
616.002 | -0.097 | 99.123 | -20.63 | 0.877
616.343 | -0.096 | 99.12 | -20.612 | 0.88
616.683 | -0.096 | 99.116 | -20.594 | 0.884
617.024 | -0.099 | 99.112 | -20.574 | 0.888
617.365 | -0.101 | 99.108 | -20.56 | 0.892
617.705 | -0.099 | 99.114 | -20.585 | 0.886
618.046 | -0.098 | 99.119 | -20.612 | 0.881
618.387 | -0.098 | 99.118 | -20.605 | 0.882
618.727 | -0.1 | 99.115 | -20.594 | 0.885
619.068 | -0.102 | 99.113 | -20.583 | 0.887
619.409 | -0.101 | 99.109 | -20.563 | 0.891
619.75 | -0.099 | 99.105 | -20.539 | 0.895
620.09 | -0.097 | 99.102 | -20.526 | 0.898
620.431 | -0.097 | 99.1 | -20.516 | 0.9
620.772 | -0.1 | 99.097 | -20.505 | 0.903
621.112 | -0.102 | 99.096 | -20.502 | 0.904
621.453 | -0.102 | 99.097 | -20.508 | 0.903
621.794 | -0.099 | 99.099 | -20.512 | 0.901
622.134 | -0.096 | 99.099 | -20.512 | 0.901
622.475 | -0.095 | 99.098 | -20.504 | 0.902
622.816 | -0.095 | 99.096 | -20.495 | 0.904
623.156 | -0.097 | 99.095 | -20.49 | 0.905
623.497 | -0.098 | 99.093 | -20.484 | 0.907
623.838 | -0.099 | 99.092 | -20.477 | 0.908
624.178 | -0.098 | 99.091 | -20.471 | 0.909
624.519 | -0.097 | 99.09 | -20.466 | 0.91
624.86 | -0.098 | 99.088 | -20.46 | 0.912
625.2 | -0.099 | 99.087 | -20.455 | 0.913
625.541 | -0.097 | 99.087 | -20.453 | 0.913
625.882 | -0.094 | 99.087 | -20.45 | 0.913
626.222 | -0.091 | 99.087 | -20.445 | 0.913
626.563 | -0.091 | 99.084 | -20.432 | 0.916
626.904 | -0.093 | 99.081 | -20.419 | 0.919
627.245 | -0.094 | 99.08 | -20.416 | 0.92
627.585 | -0.097 | 99.079 | -20.415 | 0.921
627.926 | -0.1 | 99.078 | -20.411 | 0.922
628.267 | -0.103 | 99.075 | -20.4 | 0.925
628.607 | -0.104 | 99.072 | -20.387 | 0.928
628.948 | -0.103 | 99.071 | -20.383 | 0.929
629.289 | -0.099 | 99.072 | -20.384 | 0.928
629.629 | -0.095 | 99.073 | -20.385 | 0.927
629.97 | -0.091 | 99.074 | -20.382 | 0.926
630.311 | -0.089 | 99.072 | -20.373 | 0.928
630.651 | -0.087 | 99.07 | -20.361 | 0.93
630.992 | -0.087 | 99.068 | -20.352 | 0.932
631.333 | -0.088 | 99.068 | -20.353 | 0.932
631.673 | -0.091 | 99.068 | -20.358 | 0.932
632.014 | -0.094 | 99.068 | -20.36 | 0.932
632.355 | -0.095 | 99.067 | -20.355 | 0.933
632.695 | -0.094 | 99.065 | -20.343 | 0.935
633.036 | -0.093 | 99.063 | -20.334 | 0.937
633.377 | -0.094 | 99.062 | -20.331 | 0.938
633.717 | -0.096 | 99.061 | -20.329 | 0.939
634.058 | -0.097 | 99.06 | -20.325 | 0.94
634.399 | -0.099 | 99.058 | -20.316 | 0.942
634.74 | -0.1 | 99.055 | -20.306 | 0.945
635.08 | -0.1 | 99.054 | -20.299 | 0.946
635.421 | -0.1 | 99.053 | -20.296 | 0.947
635.762 | -0.101 | 99.053 | -20.294 | 0.947
636.102 | -0.103 | 99.052 | -20.292 | 0.948
636.443 | -0.106 | 99.05 | -20.288 | 0.95
636.784 | -0.11 | 99.048 | -20.282 | 0.952
637.124 | -0.114 | 99.046 | -20.274 | 0.954
637.465 | -0.117 | 99.043 | -20.267 | 0.957
637.806 | -0.12 | 99.041 | -20.26 | 0.959
638.146 | -0.122 | 99.04 | -20.255 | 0.96
638.487 | -0.123 | 99.039 | -20.254 | 0.961
638.828 | -0.124 | 99.039 | -20.254 | 0.961
639.168 | -0.123 | 99.038 | -20.249 | 0.962
639.509 | -0.122 | 99.037 | -20.244 | 0.963
639.85 | -0.12 | 99.036 | -20.239 | 0.964
640.19 | -0.121 | 99.034 | -20.231 | 0.966
640.531 | -0.122 | 99.032 | -20.223 | 0.968
640.872 | -0.122 | 99.032 | -20.222 | 0.968
641.212 | -0.121 | 99.032 | -20.221 | 0.968
641.553 | -0.12 | 99.031 | -20.215 | 0.969
641.894 | -0.119 | 99.031 | -20.212 | 0.969
642.234 | -0.118 | 99.031 | -20.214 | 0.969
642.575 | -0.119 | 99.031 | -20.214 | 0.969
642.916 | -0.12 | 99.03 | -20.212 | 0.97
643.257 | -0.122 | 99.029 | -20.207 | 0.971
643.597 | -0.123 | 99.027 | -20.2 | 0.973
643.938 | -0.121 | 99.026 | -20.192 | 0.974
644.279 | -0.12 | 99.025 | -20.188 | 0.975
644.619 | -0.119 | 99.025 | -20.186 | 0.975
644.96 | -0.116 | 99.024 | -20.181 | 0.976
645.301 | -0.115 | 99.023 | -20.174 | 0.977
645.641 | -0.116 | 99.022 | -20.169 | 0.978
645.982 | -0.117 | 99.021 | -20.167 | 0.979
646.323 | -0.118 | 99.021 | -20.166 | 0.979
646.663 | -0.118 | 99.021 | -20.165 | 0.979
647.004 | -0.116 | 99.021 | -20.166 | 0.979
647.345 | -0.113 | 99.023 | -20.169 | 0.977
647.685 | -0.11 | 99.023 | -20.169 | 0.977
648.026 | -0.109 | 99.022 | -20.161 | 0.978
648.367 | -0.108 | 99.019 | -20.151 | 0.981
648.707 | -0.107 | 99.018 | -20.144 | 0.982
649.048 | -0.106 | 99.019 | -20.144 | 0.981
649.389 | -0.104 | 99.019 | -20.146 | 0.981
649.729 | -0.104 | 99.018 | -20.139 | 0.982
650.07 | -0.105 | 99.015 | -20.13 | 0.985
650.411 | -0.106 | 99.014 | -20.125 | 0.986
650.752 | -0.106 | 99.014 | -20.123 | 0.986
651.092 | -0.104 | 99.013 | -20.12 | 0.987
651.433 | -0.101 | 99.013 | -20.117 | 0.987
651.774 | -0.1 | 99.014 | -20.116 | 0.986
652.114 | -0.101 | 99.014 | -20.117 | 0.986
652.455 | -0.102 | 99.013 | -20.117 | 0.987
652.796 | -0.103 | 99.012 | -20.114 | 0.988
653.136 | -0.103 | 99.012 | -20.111 | 0.988
653.477 | -0.103 | 99.011 | -20.11 | 0.989
653.818 | -0.103 | 99.011 | -20.108 | 0.989
654.158 | -0.102 | 99.011 | -20.106 | 0.989
654.499 | -0.101 | 99.01 | -20.101 | 0.99
654.84 | -0.099 | 99.009 | -20.096 | 0.991
655.18 | -0.097 | 99.009 | -20.092 | 0.991
655.521 | -0.097 | 99.008 | -20.091 | 0.991
655.862 | -0.1 | 99.008 | -20.091 | 0.992
656.202 | -0.102 | 99.007 | -20.087 | 0.993
656.543 | -0.102 | 99.006 | -20.083 | 0.995
656.884 | -0.102 | 99.005 | -20.08 | 0.995
657.224 | -0.102 | 99.005 | -20.079 | 0.995
657.565 | -0.102 | 99.005 | -20.079 | 0.995
657.906 | -0.101 | 99.005 | -20.077 | 0.995
658.247 | -0.101 | 99.004 | -20.074 | 0.996
658.587 | -0.103 | 99.002 | -20.07 | 0.998
658.928 | -0.106 | 99.001 | -20.067 | 0.999
659.269 | -0.107 | 99 | -20.064 | 1
659.609 | -0.105 | 99 | -20.063 | 1
659.95 | -0.104 | 99.001 | -20.063 | 0.999
660.291 | -0.104 | 99.001 | -20.062 | 0.999
660.631 | -0.104 | 99 | -20.06 | 1
660.972 | -0.104 | 99 | -20.06 | 1
661.313 | -0.104 | 99 | -20.062 | 1
661.653 | -0.104 | 99 | -20.062 | 1
661.994 | -0.104 | 99 | -20.06 | 1
662.335 | -0.102 | 99 | -20.058 | 1
662.675 | -0.101 | 98.999 | -20.055 | 1.001
663.016 | -0.101 | 98.999 | -20.052 | 1.001
663.357 | -0.101 | 98.998 | -20.05 | 1.002
663.697 | -0.101 | 98.998 | -20.047 | 1.002
664.038 | -0.103 | 98.996 | -20.043 | 1.004
664.379 | -0.104 | 98.995 | -20.04 | 1.005
664.719 | -0.104 | 98.995 | -20.038 | 1.005
665.06 | -0.103 | 98.995 | -20.036 | 1.005
665.401 | -0.104 | 98.994 | -20.034 | 1.006
665.741 | -0.104 | 98.994 | -20.033 | 1.006
666.082 | -0.103 | 98.993 | -20.031 | 1.007
666.423 | -0.102 | 98.993 | -20.028 | 1.007
666.764 | -0.1 | 98.993 | -20.026 | 1.007
667.104 | -0.1 | 98.993 | -20.026 | 1.007
667.445 | -0.101 | 98.993 | -20.026 | 1.007
667.786 | -0.102 | 98.992 | -20.025 | 1.008
668.126 | -0.102 | 98.992 | -20.023 | 1.008
668.467 | -0.102 | 98.991 | -20.02 | 1.009
668.808 | -0.102 | 98.991 | -20.019 | 1.009
669.148 | -0.102 | 98.991 | -20.018 | 1.009
669.489 | -0.102 | 98.991 | -20.017 | 1.009
669.83 | -0.102 | 98.99 | -20.016 | 1.01
670.17 | -0.103 | 98.99 | -20.015 | 1.01
670.511 | -0.103 | 98.99 | -20.014 | 1.01
670.852 | -0.102 | 98.99 | -20.015 | 1.01
671.192 | -0.101 | 98.99 | -20.016 | 1.01
671.533 | -0.101 | 98.991 | -20.017 | 1.009
671.874 | -0.103 | 98.99 | -20.016 | 1.01
672.214 | -0.105 | 98.989 | -20.014 | 1.011
672.555 | -0.106 | 98.988 | -20.011 | 1.012
672.896 | -0.104 | 98.988 | -20.009 | 1.012
673.236 | -0.103 | 98.988 | -20.008 | 1.012
673.577 | -0.103 | 98.988 | -20.008 | 1.012
673.918 | -0.104 | 98.988 | -20.007 | 1.012
674.259 | -0.104 | 98.988 | -20.006 | 1.012
674.599 | -0.104 | 98.987 | -20.005 | 1.013
674.94 | -0.104 | 98.987 | -20.004 | 1.013
675.281 | -0.104 | 98.987 | -20.005 | 1.013
675.621 | -0.105 | 98.987 | -20.007 | 1.013
675.962 | -0.105 | 98.987 | -20.007 | 1.013
676.303 | -0.106 | 98.987 | -20.006 | 1.013
676.643 | -0.106 | 98.987 | -20.005 | 1.013
676.984 | -0.106 | 98.987 | -20.006 | 1.013
677.325 | -0.106 | 98.988 | -20.008 | 1.012
677.665 | -0.107 | 98.988 | -20.009 | 1.012
678.006 | -0.107 | 98.987 | -20.009 | 1.013
678.347 | -0.107 | 98.987 | -20.008 | 1.013
678.687 | -0.107 | 98.987 | -20.006 | 1.013
679.028 | -0.108 | 98.987 | -20.005 | 1.013
679.369 | -0.108 | 98.986 | -20.004 | 1.014
679.709 | -0.109 | 98.986 | -20.003 | 1.014
680.05 | -0.109 | 98.985 | -20.002 | 1.015
680.391 | -0.11 | 98.985 | -20.002 | 1.015
680.731 | -0.111 | 98.985 | -20.003 | 1.015
681.072 | -0.11 | 98.986 | -20.004 | 1.014
681.413 | -0.109 | 98.986 | -20.005 | 1.014
681.753 | -0.108 | 98.986 | -20.005 | 1.014
682.094 | -0.106 | 98.987 | -20.004 | 1.013
682.435 | -0.103 | 98.987 | -20.004 | 1.013
682.776 | -0.101 | 98.988 | -20.005 | 1.012
683.116 | -0.102 | 98.988 | -20.007 | 1.012
683.457 | -0.104 | 98.988 | -20.008 | 1.012
683.798 | -0.106 | 98.988 | -20.008 | 1.012
684.138 | -0.108 | 98.987 | -20.008 | 1.013
684.479 | -0.109 | 98.987 | -20.009 | 1.013
684.82 | -0.111 | 98.987 | -20.011 | 1.013
685.16 | -0.111 | 98.988 | -20.014 | 1.012
685.501 | -0.11 | 98.989 | -20.017 | 1.011
685.842 | -0.109 | 98.989 | -20.018 | 1.011
686.182 | -0.107 | 98.989 | -20.018 | 1.011
686.523 | -0.106 | 98.99 | -20.018 | 1.01
686.864 | -0.106 | 98.99 | -20.018 | 1.01
687.204 | -0.107 | 98.99 | -20.018 | 1.01
687.545 | -0.108 | 98.989 | -20.017 | 1.011
687.886 | -0.108 | 98.989 | -20.018 | 1.011
688.226 | -0.109 | 98.99 | -20.02 | 1.01
688.567 | -0.11 | 98.99 | -20.022 | 1.01
688.908 | -0.11 | 98.99 | -20.022 | 1.01
689.248 | -0.11 | 98.99 | -20.023 | 1.01
689.589 | -0.109 | 98.991 | -20.026 | 1.009
689.93 | -0.111 | 98.991 | -20.028 | 1.009
690.271 | -0.113 | 98.991 | -20.03 | 1.009
690.611 | -0.113 | 98.991 | -20.032 | 1.009
690.952 | -0.112 | 98.992 | -20.034 | 1.008
691.293 | -0.11 | 98.993 | -20.034 | 1.007
691.633 | -0.11 | 98.993 | -20.035 | 1.007
691.974 | -0.111 | 98.993 | -20.037 | 1.007
692.315 | -0.11 | 98.994 | -20.04 | 1.006
692.655 | -0.109 | 98.995 | -20.043 | 1.005
692.996 | -0.111 | 98.995 | -20.046 | 1.005
693.337 | -0.113 | 98.995 | -20.046 | 1.005
693.677 | -0.111 | 98.995 | -20.044 | 1.005
694.018 | -0.109 | 98.995 | -20.042 | 1.005
694.359 | -0.11 | 98.995 | -20.044 | 1.005
694.699 | -0.111 | 98.995 | -20.046 | 1.005
695.04 | -0.111 | 98.996 | -20.048 | 1.004
695.381 | -0.111 | 98.996 | -20.052 | 1.004
695.721 | -0.112 | 98.997 | -20.056 | 1.003
696.062 | -0.113 | 98.998 | -20.059 | 1.002
696.403 | -0.114 | 98.998 | -20.061 | 1.002
696.743 | -0.115 | 98.998 | -20.063 | 1.002
697.084 | -0.114 | 98.999 | -20.065 | 1.001
697.425 | -0.11 | 99 | -20.067 | 1
697.766 | -0.107 | 99.001 | -20.068 | 0.999
698.106 | -0.107 | 99.001 | -20.07 | 0.999
698.447 | -0.112 | 99.001 | -20.073 | 0.999
698.788 | -0.118 | 99 | -20.075 | 1
699.128 | -0.122 | 98.999 | -20.076 | 1.001
699.469 | -0.119 | 99 | -20.077 | 1
699.81 | -0.113 | 99.002 | -20.079 | 0.998
700.15 | -0.107 | 99.004 | -20.082 | 0.996
700.491 | -0.104 | 99.006 | -20.087 | 0.994
700.832 | -0.104 | 99.007 | -20.091 | 0.993
701.172 | -0.108 | 99.006 | -20.092 | 0.994
701.513 | -0.114 | 99.005 | -20.091 | 0.995
701.854 | -0.118 | 99.004 | -20.093 | 0.996
702.194 | -0.118 | 99.005 | -20.097 | 0.995
702.535 | -0.116 | 99.006 | -20.1 | 0.994
702.876 | -0.115 | 99.007 | -20.102 | 0.993
703.216 | -0.119 | 99.006 | -20.104 | 0.994
703.557 | -0.122 | 99.006 | -20.105 | 0.994
703.898 | -0.123 | 99.005 | -20.103 | 0.995
704.238 | -0.129 | 99.004 | -20.102 | 0.996
704.579 | -0.138 | 99.002 | -20.101 | 0.998
704.92 | -0.144 | 99.001 | -20.104 | 0.999
705.26 | -0.152 | 98.999 | -20.106 | 1.001
705.601 | -0.163 | 98.998 | -20.108 | 1.002
705.942 | -0.171 | 98.996 | -20.11 | 1.004
706.283 | -0.175 | 98.996 | -20.112 | 1.004
706.623 | -0.18 | 98.995 | -20.114 | 1.005
706.964 | -0.184 | 98.994 | -20.115 | 1.006
707.305 | -0.182 | 98.996 | -20.119 | 1.004
707.645 | -0.178 | 98.997 | -20.122 | 1.003
707.986 | -0.173 | 98.999 | -20.126 | 1.001
708.327 | -0.165 | 99.002 | -20.13 | 0.998
708.667 | -0.156 | 99.005 | -20.133 | 0.995
709.008 | -0.156 | 99.005 | -20.135 | 0.995
709.349 | -0.16 | 99.005 | -20.138 | 0.995
709.689 | -0.163 | 99.005 | -20.141 | 0.995
710.03 | -0.163 | 99.005 | -20.144 | 0.995
710.371 | -0.159 | 99.007 | -20.145 | 0.993
710.711 | -0.156 | 99.008 | -20.147 | 0.992
711.052 | -0.154 | 99.009 | -20.149 | 0.991
711.393 | -0.157 | 99.009 | -20.151 | 0.991
711.733 | -0.161 | 99.008 | -20.154 | 0.992
712.074 | -0.163 | 99.009 | -20.157 | 0.991
712.415 | -0.164 | 99.009 | -20.16 | 0.991
712.755 | -0.165 | 99.01 | -20.164 | 0.99
713.096 | -0.164 | 99.011 | -20.167 | 0.989
713.437 | -0.162 | 99.012 | -20.17 | 0.988
713.778 | -0.157 | 99.013 | -20.173 | 0.987
714.118 | -0.154 | 99.014 | -20.175 | 0.986
714.459 | -0.155 | 99.014 | -20.175 | 0.986
714.8 | -0.155 | 99.015 | -20.177 | 0.985
715.14 | -0.154 | 99.016 | -20.182 | 0.984
715.481 | -0.153 | 99.017 | -20.185 | 0.983
715.822 | -0.15 | 99.019 | -20.188 | 0.981
716.162 | -0.142 | 99.021 | -20.193 | 0.979
716.503 | -0.134 | 99.024 | -20.198 | 0.976
716.844 | -0.128 | 99.027 | -20.204 | 0.973
717.184 | -0.12 | 99.03 | -20.211 | 0.97
717.525 | -0.111 | 99.033 | -20.216 | 0.967
717.866 | -0.103 | 99.036 | -20.221 | 0.964
718.206 | -0.096 | 99.038 | -20.224 | 0.962
718.547 | -0.094 | 99.039 | -20.226 | 0.961
718.888 | -0.092 | 99.04 | -20.229 | 0.96
719.228 | -0.092 | 99.042 | -20.234 | 0.958
719.569 | -0.095 | 99.042 | -20.239 | 0.958
719.91 | -0.1 | 99.041 | -20.242 | 0.959
720.25 | -0.107 | 99.04 | -20.243 | 0.96
720.591 | -0.114 | 99.039 | -20.245 | 0.961
720.932 | -0.117 | 99.039 | -20.249 | 0.961
721.273 | -0.118 | 99.04 | -20.253 | 0.96
721.613 | -0.115 | 99.042 | -20.257 | 0.958
721.954 | -0.112 | 99.043 | -20.261 | 0.957
722.295 | -0.111 | 99.044 | -20.264 | 0.956
722.635 | -0.109 | 99.045 | -20.268 | 0.955
722.976 | -0.107 | 99.046 | -20.272 | 0.954
723.317 | -0.107 | 99.047 | -20.273 | 0.953
723.657 | -0.108 | 99.047 | -20.274 | 0.953
723.998 | -0.11 | 99.047 | -20.276 | 0.953
724.339 | -0.109 | 99.048 | -20.281 | 0.952
724.679 | -0.107 | 99.05 | -20.287 | 0.95
725.02 | -0.106 | 99.051 | -20.293 | 0.949
725.361 | -0.105 | 99.052 | -20.298 | 0.948
725.701 | -0.106 | 99.053 | -20.301 | 0.947
726.042 | -0.106 | 99.054 | -20.305 | 0.946
726.383 | -0.106 | 99.055 | -20.308 | 0.945
726.723 | -0.106 | 99.055 | -20.311 | 0.945
727.064 | -0.107 | 99.055 | -20.314 | 0.945
727.405 | -0.107 | 99.056 | -20.318 | 0.944
727.745 | -0.107 | 99.057 | -20.322 | 0.943
728.086 | -0.106 | 99.059 | -20.327 | 0.941
728.427 | -0.106 | 99.059 | -20.331 | 0.941
728.768 | -0.107 | 99.06 | -20.333 | 0.94
729.108 | -0.106 | 99.06 | -20.336 | 0.94
729.449 | -0.104 | 99.061 | -20.339 | 0.939
729.79 | -0.106 | 99.062 | -20.343 | 0.938
730.13 | -0.107 | 99.063 | -20.347 | 0.937
730.471 | -0.107 | 99.064 | -20.352 | 0.936
730.812 | -0.106 | 99.065 | -20.356 | 0.935
731.152 | -0.105 | 99.066 | -20.359 | 0.934
731.493 | -0.104 | 99.067 | -20.363 | 0.933
731.834 | -0.105 | 99.068 | -20.368 | 0.932
732.174 | -0.104 | 99.069 | -20.373 | 0.931
732.515 | -0.104 | 99.07 | -20.377 | 0.93
732.856 | -0.105 | 99.07 | -20.379 | 0.93
733.196 | -0.104 | 99.071 | -20.382 | 0.929
733.537 | -0.103 | 99.072 | -20.386 | 0.928
733.878 | -0.102 | 99.073 | -20.39 | 0.927
734.218 | -0.101 | 99.074 | -20.395 | 0.926
734.559 | -0.101 | 99.075 | -20.4 | 0.925
734.9 | -0.101 | 99.076 | -20.404 | 0.924
735.24 | -0.101 | 99.077 | -20.409 | 0.923
735.581 | -0.101 | 99.078 | -20.414 | 0.922
735.922 | -0.102 | 99.079 | -20.419 | 0.921
736.263 | -0.103 | 99.08 | -20.424 | 0.92
736.603 | -0.103 | 99.081 | -20.428 | 0.919
736.944 | -0.102 | 99.082 | -20.433 | 0.918
737.285 | -0.101 | 99.083 | -20.439 | 0.917
737.625 | -0.1 | 99.085 | -20.446 | 0.915
737.966 | -0.099 | 99.086 | -20.45 | 0.914
738.307 | -0.099 | 99.087 | -20.453 | 0.913
738.647 | -0.098 | 99.088 | -20.457 | 0.912
738.988 | -0.098 | 99.089 | -20.461 | 0.911
739.329 | -0.1 | 99.089 | -20.465 | 0.911
739.669 | -0.101 | 99.09 | -20.47 | 0.91
740.01 | -0.099 | 99.092 | -20.478 | 0.908
740.351 | -0.1 | 99.093 | -20.484 | 0.907
740.691 | -0.101 | 99.093 | -20.488 | 0.907
741.032 | -0.102 | 99.094 | -20.493 | 0.906
741.373 | -0.102 | 99.095 | -20.498 | 0.905
741.713 | -0.104 | 99.096 | -20.502 | 0.904
742.054 | -0.102 | 99.097 | -20.507 | 0.903
742.395 | -0.098 | 99.099 | -20.512 | 0.901
742.735 | -0.099 | 99.1 | -20.516 | 0.9
743.076 | -0.103 | 99.099 | -20.519 | 0.901
743.417 | -0.101 | 99.102 | -20.527 | 0.898
743.758 | -0.099 | 99.103 | -20.534 | 0.897
744.098 | -0.099 | 99.104 | -20.54 | 0.896
744.439 | -0.1 | 99.105 | -20.545 | 0.895
744.78 | -0.1 | 99.107 | -20.55 | 0.893
745.12 | -0.102 | 99.107 | -20.556 | 0.893
745.461 | -0.105 | 99.108 | -20.563 | 0.892
745.802 | -0.103 | 99.11 | -20.569 | 0.89
746.142 | -0.102 | 99.111 | -20.575 | 0.889
746.483 | -0.1 | 99.113 | -20.581 | 0.887
746.824 | -0.1 | 99.114 | -20.588 | 0.886
747.164 | -0.101 | 99.115 | -20.595 | 0.885
747.505 | -0.101 | 99.117 | -20.602 | 0.883
747.846 | -0.101 | 99.118 | -20.608 | 0.882
748.186 | -0.103 | 99.119 | -20.612 | 0.881
748.527 | -0.103 | 99.119 | -20.617 | 0.88
748.868 | -0.1 | 99.122 | -20.625 | 0.878
749.208 | -0.099 | 99.123 | -20.631 | 0.877
749.549 | -0.1 | 99.124 | -20.635 | 0.876
749.89 | -0.099 | 99.126 | -20.645 | 0.874
750.23 | -0.097 | 99.128 | -20.656 | 0.872
750.571 | -0.098 | 99.128 | -20.657 | 0.872
750.912 | -0.099 | 99.129 | -20.661 | 0.871
751.253 | -0.099 | 99.131 | -20.67 | 0.869
751.593 | -0.099 | 99.132 | -20.677 | 0.868
751.934 | -0.099 | 99.133 | -20.681 | 0.867
752.275 | -0.096 | 99.135 | -20.688 | 0.865
752.615 | -0.093 | 99.137 | -20.696 | 0.863
752.956 | -0.094 | 99.138 | -20.702 | 0.862
753.297 | -0.094 | 99.139 | -20.708 | 0.861
753.637 | -0.094 | 99.14 | -20.712 | 0.86
753.978 | -0.093 | 99.142 | -20.718 | 0.858
754.319 | -0.092 | 99.143 | -20.727 | 0.857
754.659 | -0.094 | 99.144 | -20.733 | 0.856
755 | -0.097 | 99.145 | -20.74 | 0.855