## T154885
SN: | T154885
Item #: | TW670R3F2
Item Description: | 2x2 75:25 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -1.41
Coupling Ratio (%): | 72.88
Uniformity (dB): | 0.29
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 670
Insertion Loss (dB): | -5.7
Coupling Ratio (%): | 27.12
Uniformity (dB): | 0.95
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
585 | -1.175 | 76.962 | -6.413 | 23.038
585.341 | -1.175 | 76.962 | -6.413 | 23.038
585.681 | -1.177 | 76.908 | -6.402 | 23.092
586.022 | -1.179 | 76.843 | -6.388 | 23.157
586.363 | -1.181 | 76.794 | -6.378 | 23.206
586.703 | -1.183 | 76.748 | -6.369 | 23.252
587.044 | -1.187 | 76.708 | -6.364 | 23.292
587.385 | -1.188 | 76.687 | -6.359 | 23.313
587.725 | -1.187 | 76.679 | -6.356 | 23.321
588.066 | -1.187 | 76.672 | -6.355 | 23.328
588.407 | -1.188 | 76.66 | -6.353 | 23.34
588.747 | -1.193 | 76.607 | -6.345 | 23.393
589.088 | -1.196 | 76.562 | -6.337 | 23.438
589.429 | -1.196 | 76.533 | -6.33 | 23.467
589.77 | -1.199 | 76.488 | -6.322 | 23.512
590.11 | -1.203 | 76.433 | -6.313 | 23.567
590.451 | -1.205 | 76.414 | -6.31 | 23.586
590.792 | -1.206 | 76.398 | -6.307 | 23.602
591.132 | -1.206 | 76.369 | -6.301 | 23.631
591.473 | -1.207 | 76.339 | -6.295 | 23.661
591.814 | -1.209 | 76.31 | -6.289 | 23.69
592.154 | -1.211 | 76.282 | -6.284 | 23.718
592.495 | -1.212 | 76.252 | -6.279 | 23.748
592.836 | -1.215 | 76.193 | -6.267 | 23.807
593.176 | -1.219 | 76.128 | -6.255 | 23.872
593.517 | -1.225 | 76.054 | -6.244 | 23.946
593.858 | -1.227 | 76.024 | -6.239 | 23.976
594.198 | -1.224 | 76.044 | -6.241 | 23.956
594.539 | -1.225 | 76.024 | -6.237 | 23.976
594.88 | -1.227 | 75.986 | -6.23 | 24.014
595.22 | -1.228 | 75.974 | -6.228 | 24.026
595.561 | -1.229 | 75.954 | -6.225 | 24.046
595.902 | -1.233 | 75.909 | -6.217 | 24.091
596.242 | -1.234 | 75.886 | -6.212 | 24.114
596.583 | -1.231 | 75.884 | -6.209 | 24.116
596.924 | -1.233 | 75.841 | -6.201 | 24.159
597.265 | -1.236 | 75.783 | -6.191 | 24.217
597.605 | -1.237 | 75.758 | -6.185 | 24.242
597.946 | -1.239 | 75.73 | -6.181 | 24.27
598.287 | -1.246 | 75.688 | -6.178 | 24.312
598.627 | -1.249 | 75.661 | -6.174 | 24.339
598.968 | -1.248 | 75.648 | -6.17 | 24.352
599.309 | -1.245 | 75.624 | -6.162 | 24.376
599.649 | -1.244 | 75.597 | -6.154 | 24.403
599.99 | -1.249 | 75.567 | -6.153 | 24.433
600.331 | -1.254 | 75.533 | -6.15 | 24.467
600.671 | -1.258 | 75.493 | -6.144 | 24.507
601.012 | -1.261 | 75.445 | -6.136 | 24.555
601.353 | -1.264 | 75.393 | -6.127 | 24.607
601.693 | -1.266 | 75.346 | -6.117 | 24.654
602.034 | -1.267 | 75.298 | -6.107 | 24.702
602.375 | -1.271 | 75.242 | -6.099 | 24.758
602.715 | -1.274 | 75.2 | -6.092 | 24.8
603.056 | -1.275 | 75.183 | -6.089 | 24.817
603.397 | -1.276 | 75.167 | -6.086 | 24.833
603.737 | -1.278 | 75.151 | -6.084 | 24.849
604.078 | -1.278 | 75.138 | -6.082 | 24.862
604.419 | -1.279 | 75.12 | -6.078 | 24.88
604.76 | -1.283 | 75.076 | -6.072 | 24.924
605.1 | -1.286 | 75.032 | -6.064 | 24.968
605.441 | -1.287 | 74.992 | -6.056 | 25.008
605.782 | -1.289 | 74.955 | -6.05 | 25.045
606.122 | -1.293 | 74.923 | -6.046 | 25.077
606.463 | -1.293 | 74.909 | -6.043 | 25.091
606.804 | -1.292 | 74.898 | -6.039 | 25.102
607.144 | -1.291 | 74.885 | -6.036 | 25.115
607.485 | -1.293 | 74.861 | -6.032 | 25.139
607.826 | -1.295 | 74.826 | -6.026 | 25.174
608.166 | -1.297 | 74.797 | -6.022 | 25.203
608.507 | -1.299 | 74.773 | -6.018 | 25.227
608.848 | -1.3 | 74.745 | -6.013 | 25.255
609.188 | -1.302 | 74.718 | -6.008 | 25.282
609.529 | -1.302 | 74.693 | -6.002 | 25.307
609.87 | -1.304 | 74.661 | -5.997 | 25.339
610.21 | -1.308 | 74.625 | -5.993 | 25.375
610.551 | -1.308 | 74.608 | -5.989 | 25.392
610.892 | -1.306 | 74.6 | -5.985 | 25.4
611.232 | -1.307 | 74.581 | -5.982 | 25.419
611.573 | -1.31 | 74.555 | -5.978 | 25.445
611.914 | -1.313 | 74.518 | -5.974 | 25.482
612.255 | -1.316 | 74.484 | -5.968 | 25.516
612.595 | -1.316 | 74.457 | -5.963 | 25.543
612.936 | -1.316 | 74.435 | -5.957 | 25.565
613.277 | -1.316 | 74.414 | -5.953 | 25.586
613.617 | -1.32 | 74.381 | -5.949 | 25.619
613.958 | -1.323 | 74.35 | -5.945 | 25.65
614.299 | -1.325 | 74.325 | -5.941 | 25.675
614.639 | -1.327 | 74.29 | -5.936 | 25.71
614.98 | -1.331 | 74.252 | -5.931 | 25.748
615.321 | -1.332 | 74.238 | -5.928 | 25.762
615.661 | -1.332 | 74.232 | -5.927 | 25.768
616.002 | -1.334 | 74.215 | -5.925 | 25.785
616.343 | -1.336 | 74.19 | -5.922 | 25.81
616.683 | -1.337 | 74.159 | -5.915 | 25.841
617.024 | -1.338 | 74.128 | -5.91 | 25.872
617.365 | -1.34 | 74.099 | -5.905 | 25.901
617.705 | -1.343 | 74.07 | -5.901 | 25.93
618.046 | -1.344 | 74.046 | -5.897 | 25.954
618.387 | -1.343 | 74.036 | -5.894 | 25.964
618.727 | -1.342 | 74.024 | -5.89 | 25.976
619.068 | -1.342 | 74.001 | -5.885 | 25.999
619.409 | -1.342 | 73.974 | -5.879 | 26.026
619.75 | -1.343 | 73.947 | -5.874 | 26.053
620.09 | -1.345 | 73.931 | -5.872 | 26.069
620.431 | -1.347 | 73.916 | -5.871 | 26.084
620.772 | -1.35 | 73.894 | -5.868 | 26.106
621.112 | -1.352 | 73.865 | -5.865 | 26.135
621.453 | -1.355 | 73.832 | -5.86 | 26.168
621.794 | -1.355 | 73.814 | -5.856 | 26.186
622.134 | -1.354 | 73.806 | -5.852 | 26.194
622.475 | -1.353 | 73.796 | -5.85 | 26.204
622.816 | -1.354 | 73.779 | -5.847 | 26.221
623.156 | -1.356 | 73.749 | -5.842 | 26.251
623.497 | -1.359 | 73.718 | -5.838 | 26.282
623.838 | -1.36 | 73.693 | -5.834 | 26.307
624.178 | -1.362 | 73.675 | -5.832 | 26.325
624.519 | -1.364 | 73.659 | -5.83 | 26.341
624.86 | -1.365 | 73.639 | -5.827 | 26.361
625.2 | -1.367 | 73.62 | -5.824 | 26.38
625.541 | -1.367 | 73.605 | -5.821 | 26.395
625.882 | -1.368 | 73.592 | -5.819 | 26.408
626.222 | -1.369 | 73.578 | -5.817 | 26.422
626.563 | -1.371 | 73.559 | -5.814 | 26.441
626.904 | -1.373 | 73.538 | -5.811 | 26.462
627.245 | -1.372 | 73.519 | -5.807 | 26.481
627.585 | -1.372 | 73.5 | -5.802 | 26.5
627.926 | -1.373 | 73.479 | -5.798 | 26.521
628.267 | -1.375 | 73.455 | -5.795 | 26.545
628.607 | -1.378 | 73.429 | -5.792 | 26.571
628.948 | -1.379 | 73.409 | -5.789 | 26.591
629.289 | -1.38 | 73.394 | -5.786 | 26.606
629.629 | -1.381 | 73.38 | -5.784 | 26.62
629.97 | -1.383 | 73.363 | -5.783 | 26.637
630.311 | -1.385 | 73.341 | -5.78 | 26.659
630.651 | -1.386 | 73.323 | -5.777 | 26.677
630.992 | -1.386 | 73.31 | -5.774 | 26.69
631.333 | -1.385 | 73.303 | -5.772 | 26.697
631.673 | -1.385 | 73.294 | -5.769 | 26.706
632.014 | -1.387 | 73.27 | -5.766 | 26.73
632.355 | -1.389 | 73.243 | -5.762 | 26.757
632.695 | -1.391 | 73.217 | -5.759 | 26.783
633.036 | -1.392 | 73.195 | -5.755 | 26.805
633.377 | -1.394 | 73.172 | -5.751 | 26.828
633.717 | -1.396 | 73.143 | -5.747 | 26.857
634.058 | -1.397 | 73.119 | -5.743 | 26.881
634.399 | -1.397 | 73.115 | -5.742 | 26.885
634.74 | -1.398 | 73.109 | -5.741 | 26.891
635.08 | -1.399 | 73.096 | -5.74 | 26.904
635.421 | -1.4 | 73.087 | -5.739 | 26.913
635.762 | -1.4 | 73.086 | -5.738 | 26.914
636.102 | -1.399 | 73.091 | -5.738 | 26.909
636.443 | -1.398 | 73.093 | -5.738 | 26.907
636.784 | -1.399 | 73.085 | -5.737 | 26.915
637.124 | -1.4 | 73.066 | -5.734 | 26.934
637.465 | -1.402 | 73.045 | -5.731 | 26.955
637.806 | -1.401 | 73.045 | -5.73 | 26.955
638.146 | -1.398 | 73.054 | -5.73 | 26.946
638.487 | -1.398 | 73.047 | -5.728 | 26.953
638.828 | -1.399 | 73.033 | -5.726 | 26.967
639.168 | -1.402 | 73.02 | -5.726 | 26.98
639.509 | -1.403 | 73.011 | -5.725 | 26.989
639.85 | -1.403 | 73.007 | -5.724 | 26.993
640.19 | -1.402 | 73.01 | -5.724 | 26.99
640.531 | -1.402 | 73.012 | -5.724 | 26.988
640.872 | -1.404 | 73.002 | -5.724 | 26.998
641.212 | -1.405 | 72.989 | -5.723 | 27.011
641.553 | -1.404 | 72.98 | -5.72 | 27.02
641.894 | -1.403 | 72.973 | -5.717 | 27.027
642.234 | -1.403 | 72.965 | -5.715 | 27.035
642.575 | -1.403 | 72.953 | -5.712 | 27.047
642.916 | -1.403 | 72.943 | -5.71 | 27.057
643.257 | -1.403 | 72.941 | -5.709 | 27.059
643.597 | -1.404 | 72.936 | -5.71 | 27.064
643.938 | -1.407 | 72.926 | -5.71 | 27.074
644.279 | -1.407 | 72.92 | -5.709 | 27.08
644.619 | -1.406 | 72.918 | -5.708 | 27.082
644.96 | -1.406 | 72.91 | -5.705 | 27.09
645.301 | -1.406 | 72.891 | -5.702 | 27.109
645.641 | -1.41 | 72.862 | -5.699 | 27.138
645.982 | -1.412 | 72.841 | -5.697 | 27.159
646.323 | -1.413 | 72.837 | -5.696 | 27.163
646.663 | -1.413 | 72.837 | -5.697 | 27.163
647.004 | -1.415 | 72.835 | -5.698 | 27.165
647.345 | -1.416 | 72.831 | -5.698 | 27.169
647.685 | -1.416 | 72.825 | -5.697 | 27.175
648.026 | -1.415 | 72.822 | -5.695 | 27.178
648.367 | -1.414 | 72.824 | -5.695 | 27.176
648.707 | -1.414 | 72.83 | -5.697 | 27.17
649.048 | -1.414 | 72.83 | -5.697 | 27.17
649.389 | -1.414 | 72.822 | -5.695 | 27.178
649.729 | -1.414 | 72.81 | -5.692 | 27.19
650.07 | -1.413 | 72.81 | -5.691 | 27.19
650.411 | -1.411 | 72.831 | -5.694 | 27.169
650.752 | -1.41 | 72.839 | -5.695 | 27.161
651.092 | -1.412 | 72.821 | -5.692 | 27.179
651.433 | -1.414 | 72.805 | -5.69 | 27.195
651.774 | -1.415 | 72.797 | -5.69 | 27.203
652.114 | -1.416 | 72.788 | -5.689 | 27.212
652.455 | -1.416 | 72.78 | -5.687 | 27.22
652.796 | -1.417 | 72.775 | -5.687 | 27.225
653.136 | -1.417 | 72.772 | -5.687 | 27.228
653.477 | -1.417 | 72.771 | -5.686 | 27.229
653.818 | -1.416 | 72.775 | -5.686 | 27.225
654.158 | -1.415 | 72.781 | -5.687 | 27.219
654.499 | -1.417 | 72.78 | -5.689 | 27.22
654.84 | -1.418 | 72.782 | -5.69 | 27.218
655.18 | -1.417 | 72.79 | -5.69 | 27.21
655.521 | -1.415 | 72.796 | -5.69 | 27.204
655.862 | -1.415 | 72.796 | -5.69 | 27.204
656.202 | -1.415 | 72.792 | -5.689 | 27.208
656.543 | -1.416 | 72.786 | -5.688 | 27.214
656.884 | -1.416 | 72.78 | -5.687 | 27.22
657.224 | -1.416 | 72.782 | -5.687 | 27.218
657.565 | -1.414 | 72.79 | -5.688 | 27.21
657.906 | -1.414 | 72.794 | -5.688 | 27.206
658.247 | -1.415 | 72.79 | -5.689 | 27.21
658.587 | -1.415 | 72.79 | -5.688 | 27.21
658.928 | -1.413 | 72.794 | -5.687 | 27.206
659.269 | -1.412 | 72.799 | -5.688 | 27.201
659.609 | -1.411 | 72.805 | -5.688 | 27.195
659.95 | -1.41 | 72.811 | -5.688 | 27.189
660.291 | -1.41 | 72.813 | -5.688 | 27.187
660.631 | -1.41 | 72.811 | -5.688 | 27.189
660.972 | -1.412 | 72.803 | -5.689 | 27.197
661.313 | -1.415 | 72.794 | -5.689 | 27.206
661.653 | -1.417 | 72.787 | -5.69 | 27.213
661.994 | -1.418 | 72.787 | -5.691 | 27.213
662.335 | -1.416 | 72.795 | -5.69 | 27.205
662.675 | -1.414 | 72.801 | -5.69 | 27.199
663.016 | -1.413 | 72.805 | -5.69 | 27.195
663.357 | -1.413 | 72.815 | -5.692 | 27.185
663.697 | -1.413 | 72.824 | -5.694 | 27.176
664.038 | -1.413 | 72.822 | -5.693 | 27.178
664.379 | -1.414 | 72.814 | -5.692 | 27.186
664.719 | -1.415 | 72.807 | -5.692 | 27.193
665.06 | -1.415 | 72.811 | -5.693 | 27.189
665.401 | -1.414 | 72.823 | -5.694 | 27.177
665.741 | -1.411 | 72.833 | -5.694 | 27.167
666.082 | -1.409 | 72.835 | -5.693 | 27.165
666.423 | -1.409 | 72.829 | -5.69 | 27.171
666.764 | -1.41 | 72.819 | -5.69 | 27.181
667.104 | -1.412 | 72.813 | -5.691 | 27.187
667.445 | -1.413 | 72.817 | -5.693 | 27.183
667.786 | -1.412 | 72.83 | -5.695 | 27.17
668.126 | -1.411 | 72.845 | -5.697 | 27.155
668.467 | -1.411 | 72.854 | -5.698 | 27.146
668.808 | -1.411 | 72.852 | -5.698 | 27.148
669.148 | -1.412 | 72.851 | -5.699 | 27.149
669.489 | -1.412 | 72.858 | -5.7 | 27.142
669.83 | -1.411 | 72.873 | -5.702 | 27.127
670.17 | -1.41 | 72.886 | -5.704 | 27.114
670.511 | -1.409 | 72.888 | -5.704 | 27.112
670.852 | -1.41 | 72.885 | -5.704 | 27.115
671.192 | -1.41 | 72.887 | -5.705 | 27.113
671.533 | -1.41 | 72.897 | -5.707 | 27.103
671.874 | -1.409 | 72.913 | -5.709 | 27.087
672.214 | -1.408 | 72.925 | -5.711 | 27.075
672.555 | -1.408 | 72.931 | -5.712 | 27.069
672.896 | -1.408 | 72.932 | -5.713 | 27.068
673.236 | -1.408 | 72.932 | -5.713 | 27.068
673.577 | -1.408 | 72.933 | -5.712 | 27.067
673.918 | -1.407 | 72.936 | -5.713 | 27.064
674.259 | -1.407 | 72.941 | -5.713 | 27.059
674.599 | -1.407 | 72.948 | -5.715 | 27.052
674.94 | -1.406 | 72.958 | -5.717 | 27.042
675.281 | -1.406 | 72.971 | -5.719 | 27.029
675.621 | -1.405 | 72.984 | -5.721 | 27.016
675.962 | -1.404 | 72.993 | -5.722 | 27.007
676.303 | -1.405 | 72.998 | -5.724 | 27.002
676.643 | -1.406 | 73.003 | -5.727 | 26.997
676.984 | -1.407 | 73.011 | -5.729 | 26.989
677.325 | -1.405 | 73.022 | -5.73 | 26.978
677.665 | -1.403 | 73.035 | -5.731 | 26.965
678.006 | -1.401 | 73.048 | -5.732 | 26.952
678.347 | -1.4 | 73.063 | -5.734 | 26.937
678.687 | -1.399 | 73.08 | -5.737 | 26.92
679.028 | -1.399 | 73.097 | -5.74 | 26.903
679.369 | -1.398 | 73.111 | -5.742 | 26.889
679.709 | -1.399 | 73.117 | -5.744 | 26.883
680.05 | -1.399 | 73.118 | -5.744 | 26.882
680.391 | -1.399 | 73.12 | -5.745 | 26.88
680.731 | -1.397 | 73.129 | -5.745 | 26.871
681.072 | -1.396 | 73.144 | -5.747 | 26.856
681.413 | -1.394 | 73.162 | -5.75 | 26.838
681.753 | -1.393 | 73.181 | -5.752 | 26.819
682.094 | -1.391 | 73.197 | -5.754 | 26.803
682.435 | -1.391 | 73.207 | -5.756 | 26.793
682.776 | -1.391 | 73.214 | -5.758 | 26.786
683.116 | -1.392 | 73.219 | -5.76 | 26.78
683.457 | -1.392 | 73.228 | -5.762 | 26.772
683.798 | -1.391 | 73.243 | -5.764 | 26.757
684.138 | -1.388 | 73.264 | -5.766 | 26.736
684.479 | -1.387 | 73.279 | -5.769 | 26.721
684.82 | -1.389 | 73.281 | -5.77 | 26.719
685.16 | -1.389 | 73.284 | -5.772 | 26.716
685.501 | -1.389 | 73.295 | -5.774 | 26.705
685.842 | -1.387 | 73.317 | -5.777 | 26.683
686.182 | -1.385 | 73.34 | -5.78 | 26.66
686.523 | -1.385 | 73.354 | -5.782 | 26.646
686.864 | -1.385 | 73.363 | -5.785 | 26.637
687.204 | -1.385 | 73.378 | -5.788 | 26.622
687.545 | -1.383 | 73.401 | -5.791 | 26.599
687.886 | -1.379 | 73.428 | -5.793 | 26.572
688.226 | -1.377 | 73.445 | -5.796 | 26.555
688.567 | -1.378 | 73.454 | -5.798 | 26.546
688.908 | -1.378 | 73.465 | -5.801 | 26.535
689.248 | -1.378 | 73.479 | -5.804 | 26.521
689.589 | -1.377 | 73.496 | -5.807 | 26.504
689.93 | -1.375 | 73.523 | -5.811 | 26.477
690.271 | -1.374 | 73.553 | -5.816 | 26.447
690.611 | -1.373 | 73.572 | -5.82 | 26.428
690.952 | -1.373 | 73.584 | -5.822 | 26.416
691.293 | -1.372 | 73.596 | -5.824 | 26.404
691.633 | -1.371 | 73.61 | -5.826 | 26.39
691.974 | -1.371 | 73.629 | -5.83 | 26.371
692.315 | -1.368 | 73.657 | -5.834 | 26.343
692.655 | -1.365 | 73.685 | -5.837 | 26.315
692.996 | -1.365 | 73.694 | -5.839 | 26.306
693.337 | -1.366 | 73.698 | -5.841 | 26.302
693.677 | -1.366 | 73.709 | -5.843 | 26.291
694.018 | -1.364 | 73.722 | -5.844 | 26.278
694.359 | -1.363 | 73.734 | -5.846 | 26.266
694.699 | -1.361 | 73.75 | -5.848 | 26.25
695.04 | -1.36 | 73.769 | -5.851 | 26.231
695.381 | -1.361 | 73.79 | -5.856 | 26.21
695.721 | -1.361 | 73.809 | -5.86 | 26.191
696.062 | -1.359 | 73.826 | -5.863 | 26.174
696.403 | -1.356 | 73.848 | -5.865 | 26.152
696.743 | -1.354 | 73.873 | -5.868 | 26.127
697.084 | -1.353 | 73.894 | -5.871 | 26.106
697.425 | -1.353 | 73.911 | -5.876 | 26.089
697.766 | -1.354 | 73.927 | -5.88 | 26.073
698.106 | -1.353 | 73.948 | -5.884 | 26.052
698.447 | -1.351 | 73.972 | -5.887 | 26.028
698.788 | -1.348 | 73.999 | -5.891 | 26.001
699.128 | -1.347 | 74.024 | -5.895 | 25.976
699.469 | -1.346 | 74.045 | -5.899 | 25.955
699.81 | -1.345 | 74.066 | -5.903 | 25.934
700.15 | -1.344 | 74.092 | -5.908 | 25.908
700.491 | -1.342 | 74.116 | -5.911 | 25.884
700.832 | -1.34 | 74.136 | -5.913 | 25.864
701.172 | -1.337 | 74.161 | -5.916 | 25.839
701.513 | -1.336 | 74.19 | -5.922 | 25.81
701.854 | -1.336 | 74.203 | -5.924 | 25.797
702.194 | -1.335 | 74.21 | -5.925 | 25.79
702.535 | -1.334 | 74.225 | -5.928 | 25.775
702.876 | -1.333 | 74.246 | -5.932 | 25.754
703.216 | -1.333 | 74.27 | -5.937 | 25.73
703.557 | -1.331 | 74.299 | -5.942 | 25.701
703.898 | -1.328 | 74.331 | -5.946 | 25.669
704.238 | -1.325 | 74.366 | -5.951 | 25.634
704.579 | -1.324 | 74.397 | -5.957 | 25.603
704.92 | -1.324 | 74.418 | -5.962 | 25.582
705.26 | -1.323 | 74.437 | -5.965 | 25.563
705.601 | -1.322 | 74.46 | -5.969 | 25.54
705.942 | -1.32 | 74.484 | -5.973 | 25.516
706.283 | -1.319 | 74.508 | -5.977 | 25.492
706.623 | -1.318 | 74.528 | -5.981 | 25.472
706.964 | -1.317 | 74.543 | -5.983 | 25.457
707.305 | -1.316 | 74.554 | -5.985 | 25.446
707.645 | -1.315 | 74.579 | -5.989 | 25.421
707.986 | -1.312 | 74.619 | -5.996 | 25.381
708.327 | -1.312 | 74.648 | -6.002 | 25.352
708.667 | -1.313 | 74.661 | -6.006 | 25.339
709.008 | -1.314 | 74.66 | -6.007 | 25.34
709.349 | -1.315 | 74.662 | -6.008 | 25.338
709.689 | -1.313 | 74.684 | -6.011 | 25.316
710.03 | -1.31 | 74.712 | -6.015 | 25.288
710.371 | -1.307 | 74.743 | -6.019 | 25.257
710.711 | -1.305 | 74.778 | -6.025 | 25.222
711.052 | -1.303 | 74.815 | -6.032 | 25.185
711.393 | -1.301 | 74.851 | -6.038 | 25.149
711.733 | -1.299 | 74.881 | -6.042 | 25.119
712.074 | -1.296 | 74.904 | -6.045 | 25.096
712.415 | -1.293 | 74.931 | -6.048 | 25.069
712.755 | -1.291 | 74.965 | -6.054 | 25.035
713.096 | -1.29 | 75 | -6.061 | 25
713.437 | -1.288 | 75.035 | -6.068 | 24.965
713.778 | -1.286 | 75.072 | -6.074 | 24.928
714.118 | -1.283 | 75.11 | -6.08 | 24.89
714.459 | -1.281 | 75.151 | -6.087 | 24.849
714.8 | -1.278 | 75.194 | -6.095 | 24.806
715.14 | -1.275 | 75.238 | -6.102 | 24.762
715.481 | -1.273 | 75.273 | -6.108 | 24.727
715.822 | -1.272 | 75.299 | -6.112 | 24.701
716.162 | -1.272 | 75.315 | -6.117 | 24.685
716.503 | -1.274 | 75.325 | -6.12 | 24.675
716.844 | -1.275 | 75.33 | -6.123 | 24.67
717.184 | -1.276 | 75.336 | -6.126 | 24.664
717.525 | -1.276 | 75.349 | -6.128 | 24.651
717.866 | -1.273 | 75.374 | -6.132 | 24.626
718.206 | -1.271 | 75.401 | -6.135 | 24.599
718.547 | -1.27 | 75.418 | -6.138 | 24.582
718.888 | -1.269 | 75.437 | -6.142 | 24.563
719.228 | -1.267 | 75.465 | -6.147 | 24.535
719.569 | -1.265 | 75.496 | -6.152 | 24.504
719.91 | -1.263 | 75.528 | -6.157 | 24.472
720.25 | -1.26 | 75.564 | -6.163 | 24.436
720.591 | -1.258 | 75.596 | -6.168 | 24.404
720.932 | -1.258 | 75.615 | -6.173 | 24.385
721.273 | -1.258 | 75.636 | -6.178 | 24.364
721.613 | -1.257 | 75.663 | -6.183 | 24.337
721.954 | -1.254 | 75.7 | -6.189 | 24.3
722.295 | -1.251 | 75.74 | -6.195 | 24.26
722.635 | -1.249 | 75.771 | -6.201 | 24.229
722.976 | -1.248 | 75.799 | -6.206 | 24.201
723.317 | -1.247 | 75.828 | -6.212 | 24.172
723.657 | -1.245 | 75.86 | -6.218 | 24.14
723.998 | -1.244 | 75.898 | -6.226 | 24.102
724.339 | -1.242 | 75.936 | -6.233 | 24.064
724.679 | -1.241 | 75.97 | -6.24 | 24.03
725.02 | -1.239 | 75.994 | -6.244 | 24.006
725.361 | -1.238 | 76.017 | -6.248 | 23.983
725.701 | -1.236 | 76.043 | -6.252 | 23.957
726.042 | -1.234 | 76.073 | -6.258 | 23.927
726.383 | -1.232 | 76.106 | -6.264 | 23.894
726.723 | -1.231 | 76.136 | -6.269 | 23.864
727.064 | -1.229 | 76.165 | -6.275 | 23.835
727.405 | -1.227 | 76.197 | -6.28 | 23.803
727.745 | -1.225 | 76.231 | -6.286 | 23.769
728.086 | -1.223 | 76.267 | -6.293 | 23.733
728.427 | -1.222 | 76.302 | -6.3 | 23.698
728.768 | -1.22 | 76.337 | -6.307 | 23.663
729.108 | -1.219 | 76.366 | -6.312 | 23.634
729.449 | -1.217 | 76.391 | -6.316 | 23.609
729.79 | -1.216 | 76.415 | -6.321 | 23.585
730.13 | -1.215 | 76.443 | -6.327 | 23.557
730.471 | -1.212 | 76.48 | -6.334 | 23.52
730.812 | -1.209 | 76.522 | -6.341 | 23.478
731.152 | -1.206 | 76.564 | -6.347 | 23.436
731.493 | -1.203 | 76.602 | -6.353 | 23.398
731.834 | -1.2 | 76.636 | -6.359 | 23.364
732.174 | -1.199 | 76.669 | -6.366 | 23.331
732.515 | -1.198 | 76.705 | -6.374 | 23.295
732.856 | -1.197 | 76.748 | -6.383 | 23.252
733.196 | -1.194 | 76.789 | -6.391 | 23.211
733.537 | -1.192 | 76.829 | -6.397 | 23.171
733.878 | -1.189 | 76.866 | -6.404 | 23.134
734.218 | -1.187 | 76.904 | -6.411 | 23.096
734.559 | -1.185 | 76.949 | -6.42 | 23.051
734.9 | -1.183 | 76.995 | -6.429 | 23.005
735.24 | -1.18 | 77.038 | -6.437 | 22.962
735.581 | -1.178 | 77.078 | -6.445 | 22.922
735.922 | -1.176 | 77.116 | -6.453 | 22.884
736.263 | -1.173 | 77.16 | -6.46 | 22.84
736.603 | -1.169 | 77.201 | -6.467 | 22.799
736.944 | -1.17 | 77.225 | -6.473 | 22.775
737.285 | -1.17 | 77.251 | -6.479 | 22.749
737.625 | -1.168 | 77.285 | -6.486 | 22.715
737.966 | -1.166 | 77.325 | -6.494 | 22.675
738.307 | -1.164 | 77.367 | -6.502 | 22.633
738.647 | -1.16 | 77.405 | -6.508 | 22.595
738.988 | -1.157 | 77.438 | -6.513 | 22.562
739.329 | -1.157 | 77.459 | -6.518 | 22.541
739.669 | -1.156 | 77.485 | -6.524 | 22.515
740.01 | -1.155 | 77.52 | -6.531 | 22.48
740.351 | -1.152 | 77.56 | -6.538 | 22.44
740.691 | -1.147 | 77.603 | -6.544 | 22.397
741.032 | -1.144 | 77.645 | -6.551 | 22.355
741.373 | -1.141 | 77.683 | -6.558 | 22.317
741.713 | -1.141 | 77.709 | -6.564 | 22.291
742.054 | -1.14 | 77.742 | -6.572 | 22.258
742.395 | -1.139 | 77.784 | -6.581 | 22.216
742.735 | -1.138 | 77.816 | -6.589 | 22.184
743.076 | -1.138 | 77.843 | -6.595 | 22.157
743.417 | -1.137 | 77.872 | -6.601 | 22.128
743.758 | -1.136 | 77.903 | -6.608 | 22.097
744.098 | -1.132 | 77.941 | -6.614 | 22.059
744.439 | -1.129 | 77.984 | -6.622 | 22.016
744.78 | -1.126 | 78.032 | -6.63 | 21.968
745.12 | -1.125 | 78.06 | -6.637 | 21.941
745.461 | -1.126 | 78.08 | -6.643 | 21.92
745.802 | -1.123 | 78.129 | -6.652 | 21.871
746.142 | -1.12 | 78.177 | -6.661 | 21.823
746.483 | -1.117 | 78.214 | -6.668 | 21.786
746.824 | -1.116 | 78.244 | -6.674 | 21.756
747.164 | -1.116 | 78.269 | -6.681 | 21.731
747.505 | -1.114 | 78.314 | -6.69 | 21.686
747.846 | -1.111 | 78.366 | -6.7 | 21.634
748.186 | -1.108 | 78.412 | -6.71 | 21.588
748.527 | -1.106 | 78.453 | -6.718 | 21.547
748.868 | -1.103 | 78.481 | -6.723 | 21.519
749.208 | -1.102 | 78.516 | -6.73 | 21.484
749.549 | -1.101 | 78.556 | -6.74 | 21.444
749.89 | -1.099 | 78.596 | -6.748 | 21.404
750.23 | -1.096 | 78.637 | -6.756 | 21.363
750.571 | -1.093 | 78.69 | -6.766 | 21.31
750.912 | -1.09 | 78.736 | -6.775 | 21.264
751.253 | -1.089 | 78.769 | -6.782 | 21.231
751.593 | -1.086 | 78.811 | -6.791 | 21.189
751.934 | -1.084 | 78.859 | -6.801 | 21.141
752.275 | -1.081 | 78.891 | -6.807 | 21.109
752.615 | -1.079 | 78.921 | -6.813 | 21.079
752.956 | -1.078 | 78.955 | -6.82 | 21.045
753.297 | -1.076 | 78.996 | -6.829 | 21.004
753.637 | -1.071 | 79.05 | -6.839 | 20.95
753.978 | -1.069 | 79.092 | -6.847 | 20.908
754.319 | -1.068 | 79.127 | -6.855 | 20.873
754.659 | -1.068 | 79.156 | -6.863 | 20.844
755 | -1.067 | 79.186 | -6.871 | 20.814