## T148897
SN: | T148897
Item #: | TW850R5A1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -3.22
Coupling Ratio (%): | 48.59
Uniformity (dB): | 0.61
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -2.97
Coupling Ratio (%): | 51.41
Uniformity (dB): | 0.7
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
740 | -2.802 | 53.796 | -3.463 | 46.204
740.441 | -2.802 | 53.795 | -3.463 | 46.205
740.882 | -2.804 | 53.787 | -3.463 | 46.213
741.323 | -2.806 | 53.777 | -3.463 | 46.223
741.764 | -2.815 | 53.677 | -3.455 | 46.323
742.204 | -2.824 | 53.577 | -3.446 | 46.423
742.645 | -2.822 | 53.575 | -3.444 | 46.425
743.086 | -2.82 | 53.574 | -3.442 | 46.426
743.527 | -2.824 | 53.538 | -3.44 | 46.462
743.968 | -2.829 | 53.5 | -3.438 | 46.5
744.409 | -2.836 | 53.405 | -3.428 | 46.595
744.85 | -2.843 | 53.306 | -3.418 | 46.694
745.291 | -2.848 | 53.262 | -3.415 | 46.738
745.731 | -2.852 | 53.224 | -3.413 | 46.776
746.172 | -2.857 | 53.155 | -3.406 | 46.845
746.613 | -2.862 | 53.081 | -3.398 | 46.919
747.054 | -2.864 | 53.021 | -3.389 | 46.979
747.495 | -2.865 | 52.965 | -3.381 | 47.035
747.936 | -2.872 | 52.939 | -3.383 | 47.061
748.377 | -2.88 | 52.919 | -3.387 | 47.081
748.818 | -2.884 | 52.852 | -3.38 | 47.148
749.259 | -2.886 | 52.774 | -3.369 | 47.226
749.699 | -2.891 | 52.731 | -3.366 | 47.269
750.14 | -2.896 | 52.699 | -3.365 | 47.301
750.581 | -2.9 | 52.626 | -3.356 | 47.374
751.022 | -2.903 | 52.54 | -3.345 | 47.46
751.463 | -2.903 | 52.543 | -3.346 | 47.457
751.904 | -2.903 | 52.582 | -3.352 | 47.418
752.345 | -2.909 | 52.522 | -3.348 | 47.478
752.786 | -2.919 | 52.41 | -3.338 | 47.59
753.226 | -2.925 | 52.329 | -3.33 | 47.671
753.667 | -2.928 | 52.269 | -3.323 | 47.731
754.108 | -2.93 | 52.238 | -3.319 | 47.762
754.549 | -2.93 | 52.224 | -3.317 | 47.776
754.99 | -2.933 | 52.186 | -3.313 | 47.814
755.431 | -2.937 | 52.128 | -3.307 | 47.872
755.872 | -2.94 | 52.072 | -3.3 | 47.928
756.313 | -2.942 | 52.018 | -3.293 | 47.982
756.753 | -2.946 | 51.959 | -3.287 | 48.041
757.194 | -2.953 | 51.897 | -3.283 | 48.103
757.635 | -2.958 | 51.85 | -3.279 | 48.15
758.076 | -2.96 | 51.817 | -3.276 | 48.183
758.517 | -2.962 | 51.788 | -3.272 | 48.212
758.958 | -2.963 | 51.76 | -3.269 | 48.24
759.399 | -2.967 | 51.705 | -3.263 | 48.295
759.84 | -2.975 | 51.617 | -3.256 | 48.383
760.281 | -2.979 | 51.569 | -3.252 | 48.431
760.721 | -2.978 | 51.574 | -3.251 | 48.426
761.162 | -2.977 | 51.557 | -3.248 | 48.443
761.603 | -2.98 | 51.5 | -3.24 | 48.5
762.044 | -2.982 | 51.45 | -3.234 | 48.55
762.485 | -2.986 | 51.419 | -3.232 | 48.581
762.926 | -2.988 | 51.394 | -3.23 | 48.606
763.367 | -2.988 | 51.372 | -3.226 | 48.628
763.808 | -2.99 | 51.337 | -3.222 | 48.663
764.248 | -2.996 | 51.277 | -3.218 | 48.723
764.689 | -3.001 | 51.222 | -3.214 | 48.778
765.13 | -3.003 | 51.183 | -3.208 | 48.817
765.571 | -3.004 | 51.153 | -3.204 | 48.847
766.012 | -3.004 | 51.136 | -3.201 | 48.864
766.453 | -3.006 | 51.112 | -3.199 | 48.888
766.894 | -3.015 | 51.061 | -3.199 | 48.939
767.335 | -3.021 | 51.011 | -3.197 | 48.989
767.776 | -3.021 | 50.974 | -3.19 | 49.026
768.216 | -3.021 | 50.931 | -3.183 | 49.069
768.657 | -3.026 | 50.869 | -3.177 | 49.131
769.098 | -3.031 | 50.813 | -3.172 | 49.187
769.539 | -3.032 | 50.792 | -3.169 | 49.208
769.98 | -3.032 | 50.774 | -3.166 | 49.226
770.421 | -3.034 | 50.747 | -3.164 | 49.253
770.862 | -3.036 | 50.721 | -3.162 | 49.279
771.303 | -3.037 | 50.704 | -3.16 | 49.296
771.743 | -3.038 | 50.69 | -3.157 | 49.31
772.184 | -3.036 | 50.678 | -3.154 | 49.322
772.625 | -3.036 | 50.658 | -3.15 | 49.342
773.066 | -3.043 | 50.584 | -3.145 | 49.416
773.507 | -3.051 | 50.511 | -3.14 | 49.489
773.948 | -3.057 | 50.5 | -3.144 | 49.5
774.389 | -3.062 | 50.494 | -3.148 | 49.506
774.83 | -3.06 | 50.443 | -3.136 | 49.557
775.271 | -3.057 | 50.384 | -3.124 | 49.616
775.711 | -3.065 | 50.349 | -3.125 | 49.651
776.152 | -3.073 | 50.32 | -3.128 | 49.68
776.593 | -3.074 | 50.285 | -3.123 | 49.715
777.034 | -3.072 | 50.255 | -3.116 | 49.745
777.475 | -3.072 | 50.257 | -3.116 | 49.743
777.916 | -3.073 | 50.256 | -3.117 | 49.744
778.357 | -3.08 | 50.183 | -3.112 | 49.817
778.798 | -3.088 | 50.099 | -3.106 | 49.901
779.238 | -3.087 | 50.101 | -3.104 | 49.899
779.679 | -3.082 | 50.134 | -3.105 | 49.866
780.12 | -3.082 | 50.121 | -3.103 | 49.879
780.561 | -3.086 | 50.08 | -3.1 | 49.92
781.002 | -3.093 | 50.012 | -3.095 | 49.988
781.443 | -3.101 | 49.941 | -3.091 | 50.059
781.884 | -3.1 | 49.926 | -3.087 | 50.074
782.325 | -3.095 | 49.936 | -3.084 | 50.064
782.766 | -3.098 | 49.913 | -3.083 | 50.087
783.206 | -3.106 | 49.868 | -3.083 | 50.132
783.647 | -3.111 | 49.83 | -3.082 | 50.17
784.088 | -3.115 | 49.799 | -3.08 | 50.201
784.529 | -3.117 | 49.771 | -3.078 | 50.229
784.97 | -3.119 | 49.744 | -3.075 | 50.256
785.411 | -3.122 | 49.708 | -3.071 | 50.292
785.852 | -3.124 | 49.672 | -3.067 | 50.328
786.293 | -3.124 | 49.661 | -3.065 | 50.339
786.733 | -3.123 | 49.669 | -3.066 | 50.331
787.174 | -3.125 | 49.661 | -3.066 | 50.339
787.615 | -3.13 | 49.629 | -3.066 | 50.371
788.056 | -3.136 | 49.568 | -3.061 | 50.432
788.497 | -3.142 | 49.495 | -3.055 | 50.505
788.938 | -3.144 | 49.474 | -3.052 | 50.526
789.379 | -3.14 | 49.507 | -3.055 | 50.493
789.82 | -3.138 | 49.522 | -3.055 | 50.478
790.26 | -3.139 | 49.502 | -3.052 | 50.498
790.701 | -3.141 | 49.474 | -3.05 | 50.526
791.142 | -3.144 | 49.447 | -3.048 | 50.553
791.583 | -3.149 | 49.417 | -3.047 | 50.583
792.024 | -3.154 | 49.383 | -3.046 | 50.617
792.465 | -3.158 | 49.34 | -3.043 | 50.66
792.906 | -3.161 | 49.293 | -3.038 | 50.707
793.347 | -3.162 | 49.272 | -3.035 | 50.728
793.788 | -3.161 | 49.286 | -3.037 | 50.714
794.228 | -3.16 | 49.277 | -3.035 | 50.723
794.669 | -3.163 | 49.222 | -3.028 | 50.778
795.11 | -3.167 | 49.178 | -3.024 | 50.822
795.551 | -3.173 | 49.175 | -3.03 | 50.825
795.992 | -3.176 | 49.183 | -3.034 | 50.817
796.433 | -3.174 | 49.186 | -3.032 | 50.814
796.874 | -3.172 | 49.164 | -3.026 | 50.836
797.315 | -3.173 | 49.099 | -3.017 | 50.901
797.755 | -3.174 | 49.057 | -3.01 | 50.943
798.196 | -3.17 | 49.084 | -3.01 | 50.916
798.637 | -3.169 | 49.103 | -3.013 | 50.897
799.078 | -3.179 | 49.061 | -3.016 | 50.939
799.519 | -3.189 | 49.009 | -3.017 | 50.991
799.96 | -3.191 | 48.976 | -3.013 | 51.024
800.401 | -3.192 | 48.963 | -3.012 | 51.037
800.842 | -3.194 | 48.984 | -3.018 | 51.016
801.283 | -3.195 | 49.003 | -3.022 | 50.997
801.723 | -3.192 | 48.99 | -3.017 | 51.01
802.164 | -3.189 | 48.968 | -3.009 | 51.032
802.605 | -3.188 | 48.945 | -3.004 | 51.055
803.046 | -3.189 | 48.929 | -3.003 | 51.071
803.487 | -3.196 | 48.932 | -3.01 | 51.068
803.928 | -3.203 | 48.932 | -3.018 | 51.068
804.369 | -3.208 | 48.903 | -3.018 | 51.097
804.81 | -3.211 | 48.867 | -3.015 | 51.133
805.25 | -3.21 | 48.841 | -3.009 | 51.159
805.691 | -3.207 | 48.828 | -3.003 | 51.172
806.132 | -3.199 | 48.843 | -2.998 | 51.157
806.573 | -3.193 | 48.861 | -2.995 | 51.139
807.014 | -3.193 | 48.857 | -2.994 | 51.143
807.455 | -3.196 | 48.849 | -2.996 | 51.151
807.896 | -3.197 | 48.861 | -2.999 | 51.139
808.337 | -3.196 | 48.87 | -2.999 | 51.13
808.778 | -3.189 | 48.845 | -2.989 | 51.155
809.218 | -3.183 | 48.801 | -2.975 | 51.199
809.659 | -3.183 | 48.757 | -2.967 | 51.243
810.1 | -3.187 | 48.737 | -2.968 | 51.263
810.541 | -3.192 | 48.785 | -2.981 | 51.215
810.982 | -3.197 | 48.853 | -2.998 | 51.147
811.423 | -3.201 | 48.869 | -3.005 | 51.131
811.864 | -3.207 | 48.847 | -3.007 | 51.153
812.305 | -3.216 | 48.809 | -3.009 | 51.191
812.745 | -3.225 | 48.78 | -3.013 | 51.22
813.186 | -3.225 | 48.791 | -3.015 | 51.209
813.627 | -3.221 | 48.82 | -3.016 | 51.18
814.068 | -3.22 | 48.823 | -3.016 | 51.177
814.509 | -3.223 | 48.801 | -3.014 | 51.199
814.95 | -3.227 | 48.771 | -3.013 | 51.229
815.391 | -3.233 | 48.751 | -3.016 | 51.249
815.832 | -3.241 | 48.763 | -3.026 | 51.237
816.273 | -3.248 | 48.79 | -3.038 | 51.21
816.713 | -3.246 | 48.789 | -3.036 | 51.211
817.154 | -3.238 | 48.75 | -3.021 | 51.25
817.595 | -3.232 | 48.683 | -3.003 | 51.317
818.036 | -3.231 | 48.609 | -2.99 | 51.391
818.477 | -3.231 | 48.573 | -2.983 | 51.427
818.918 | -3.229 | 48.571 | -2.981 | 51.429
819.359 | -3.229 | 48.563 | -2.98 | 51.437
819.8 | -3.231 | 48.541 | -2.977 | 51.459
820.24 | -3.232 | 48.526 | -2.976 | 51.474
820.681 | -3.234 | 48.523 | -2.977 | 51.477
821.122 | -3.235 | 48.518 | -2.977 | 51.482
821.563 | -3.235 | 48.509 | -2.976 | 51.491
822.004 | -3.236 | 48.508 | -2.976 | 51.492
822.445 | -3.235 | 48.519 | -2.978 | 51.481
822.886 | -3.234 | 48.534 | -2.979 | 51.466
823.327 | -3.232 | 48.545 | -2.979 | 51.455
823.768 | -3.231 | 48.541 | -2.977 | 51.459
824.208 | -3.231 | 48.521 | -2.974 | 51.479
824.649 | -3.232 | 48.512 | -2.973 | 51.488
825.09 | -3.234 | 48.524 | -2.977 | 51.476
825.531 | -3.234 | 48.521 | -2.977 | 51.479
825.972 | -3.232 | 48.489 | -2.97 | 51.511
826.413 | -3.232 | 48.459 | -2.964 | 51.541
826.854 | -3.235 | 48.45 | -2.966 | 51.55
827.295 | -3.237 | 48.445 | -2.967 | 51.555
827.735 | -3.235 | 48.435 | -2.963 | 51.565
828.176 | -3.234 | 48.424 | -2.96 | 51.576
828.617 | -3.236 | 48.417 | -2.961 | 51.583
829.058 | -3.237 | 48.419 | -2.962 | 51.581
829.499 | -3.237 | 48.43 | -2.964 | 51.57
829.94 | -3.237 | 48.427 | -2.964 | 51.573
830.381 | -3.241 | 48.392 | -2.961 | 51.608
830.822 | -3.243 | 48.368 | -2.959 | 51.632
831.263 | -3.24 | 48.387 | -2.96 | 51.613
831.703 | -3.237 | 48.41 | -2.96 | 51.59
832.144 | -3.236 | 48.405 | -2.959 | 51.595
832.585 | -3.238 | 48.382 | -2.957 | 51.618
833.026 | -3.241 | 48.351 | -2.955 | 51.649
833.467 | -3.244 | 48.326 | -2.953 | 51.674
833.908 | -3.246 | 48.321 | -2.954 | 51.679
834.349 | -3.246 | 48.332 | -2.956 | 51.668
834.79 | -3.242 | 48.36 | -2.957 | 51.64
835.23 | -3.239 | 48.381 | -2.958 | 51.619
835.671 | -3.239 | 48.373 | -2.956 | 51.627
836.112 | -3.24 | 48.354 | -2.954 | 51.646
836.553 | -3.242 | 48.34 | -2.953 | 51.66
836.994 | -3.242 | 48.34 | -2.954 | 51.66
837.435 | -3.239 | 48.36 | -2.954 | 51.64
837.876 | -3.235 | 48.382 | -2.954 | 51.618
838.317 | -3.236 | 48.38 | -2.954 | 51.62
838.758 | -3.237 | 48.372 | -2.954 | 51.628
839.198 | -3.236 | 48.38 | -2.955 | 51.62
839.639 | -3.234 | 48.39 | -2.954 | 51.61
840.08 | -3.233 | 48.384 | -2.952 | 51.616
840.521 | -3.232 | 48.379 | -2.951 | 51.621
840.962 | -3.232 | 48.403 | -2.954 | 51.597
841.403 | -3.231 | 48.429 | -2.958 | 51.571
841.844 | -3.233 | 48.418 | -2.958 | 51.582
842.285 | -3.235 | 48.389 | -2.955 | 51.611
842.725 | -3.235 | 48.38 | -2.953 | 51.62
843.166 | -3.233 | 48.391 | -2.953 | 51.609
843.607 | -3.233 | 48.416 | -2.957 | 51.584
844.048 | -3.232 | 48.448 | -2.962 | 51.552
844.489 | -3.227 | 48.487 | -2.965 | 51.513
844.93 | -3.222 | 48.517 | -2.964 | 51.483
845.371 | -3.221 | 48.514 | -2.963 | 51.486
845.812 | -3.225 | 48.487 | -2.962 | 51.513
846.253 | -3.227 | 48.465 | -2.96 | 51.535
846.693 | -3.227 | 48.456 | -2.959 | 51.544
847.134 | -3.227 | 48.454 | -2.958 | 51.546
847.575 | -3.226 | 48.465 | -2.959 | 51.535
848.016 | -3.223 | 48.497 | -2.962 | 51.503
848.457 | -3.22 | 48.542 | -2.967 | 51.458
848.898 | -3.217 | 48.579 | -2.97 | 51.421
849.339 | -3.214 | 48.596 | -2.97 | 51.404
849.78 | -3.215 | 48.594 | -2.97 | 51.406
850.22 | -3.217 | 48.581 | -2.971 | 51.419
850.661 | -3.218 | 48.576 | -2.971 | 51.424
851.102 | -3.216 | 48.584 | -2.97 | 51.416
851.543 | -3.215 | 48.604 | -2.972 | 51.396
851.984 | -3.215 | 48.63 | -2.976 | 51.37
852.425 | -3.214 | 48.661 | -2.981 | 51.339
852.866 | -3.212 | 48.694 | -2.985 | 51.306
853.307 | -3.208 | 48.723 | -2.986 | 51.277
853.747 | -3.203 | 48.742 | -2.984 | 51.258
854.188 | -3.201 | 48.739 | -2.982 | 51.261
854.629 | -3.204 | 48.716 | -2.981 | 51.284
855.07 | -3.207 | 48.709 | -2.982 | 51.291
855.511 | -3.205 | 48.733 | -2.985 | 51.267
855.952 | -3.203 | 48.764 | -2.988 | 51.236
856.393 | -3.201 | 48.787 | -2.99 | 51.213
856.834 | -3.199 | 48.813 | -2.992 | 51.187
857.275 | -3.196 | 48.844 | -2.995 | 51.156
857.715 | -3.196 | 48.866 | -2.999 | 51.134
858.156 | -3.198 | 48.872 | -3.002 | 51.128
858.597 | -3.198 | 48.875 | -3.003 | 51.125
859.038 | -3.194 | 48.884 | -3.001 | 51.116
859.479 | -3.191 | 48.897 | -2.999 | 51.103
859.92 | -3.191 | 48.911 | -3.002 | 51.089
860.361 | -3.192 | 48.927 | -3.005 | 51.073
860.802 | -3.189 | 48.945 | -3.006 | 51.055
861.242 | -3.186 | 48.964 | -3.006 | 51.036
861.683 | -3.184 | 48.982 | -3.007 | 51.018
862.124 | -3.181 | 49.006 | -3.009 | 50.994
862.565 | -3.177 | 49.04 | -3.01 | 50.96
863.006 | -3.173 | 49.073 | -3.012 | 50.927
863.447 | -3.173 | 49.093 | -3.015 | 50.907
863.888 | -3.172 | 49.117 | -3.019 | 50.883
864.329 | -3.17 | 49.159 | -3.024 | 50.841
864.77 | -3.168 | 49.189 | -3.027 | 50.811
865.21 | -3.168 | 49.18 | -3.025 | 50.82
865.651 | -3.168 | 49.164 | -3.023 | 50.836
866.092 | -3.164 | 49.177 | -3.021 | 50.823
866.533 | -3.16 | 49.205 | -3.022 | 50.795
866.974 | -3.159 | 49.234 | -3.026 | 50.766
867.415 | -3.159 | 49.258 | -3.03 | 50.742
867.856 | -3.158 | 49.266 | -3.031 | 50.734
868.297 | -3.158 | 49.268 | -3.031 | 50.732
868.737 | -3.158 | 49.275 | -3.032 | 50.725
869.178 | -3.157 | 49.29 | -3.034 | 50.71
869.619 | -3.157 | 49.316 | -3.038 | 50.684
870.06 | -3.156 | 49.35 | -3.043 | 50.65
870.501 | -3.151 | 49.387 | -3.045 | 50.613
870.942 | -3.145 | 49.416 | -3.044 | 50.584
871.383 | -3.143 | 49.425 | -3.043 | 50.575
871.824 | -3.144 | 49.427 | -3.044 | 50.573
872.265 | -3.145 | 49.445 | -3.048 | 50.555
872.705 | -3.145 | 49.474 | -3.054 | 50.526
873.146 | -3.144 | 49.505 | -3.058 | 50.495
873.587 | -3.14 | 49.534 | -3.06 | 50.466
874.028 | -3.136 | 49.559 | -3.059 | 50.441
874.469 | -3.132 | 49.576 | -3.058 | 50.424
874.91 | -3.131 | 49.58 | -3.058 | 50.42
875.351 | -3.132 | 49.585 | -3.06 | 50.415
875.792 | -3.131 | 49.613 | -3.064 | 50.387
876.232 | -3.129 | 49.656 | -3.069 | 50.344
876.673 | -3.126 | 49.685 | -3.071 | 50.315
877.114 | -3.124 | 49.7 | -3.072 | 50.3
877.555 | -3.122 | 49.717 | -3.073 | 50.283
877.996 | -3.12 | 49.738 | -3.075 | 50.262
878.437 | -3.119 | 49.758 | -3.077 | 50.242
878.878 | -3.119 | 49.773 | -3.079 | 50.227
879.319 | -3.119 | 49.776 | -3.08 | 50.224
879.76 | -3.117 | 49.78 | -3.079 | 50.22
880.2 | -3.112 | 49.82 | -3.081 | 50.18
880.641 | -3.106 | 49.888 | -3.086 | 50.112
881.082 | -3.103 | 49.928 | -3.091 | 50.072
881.523 | -3.106 | 49.932 | -3.094 | 50.068
881.964 | -3.105 | 49.945 | -3.096 | 50.055
882.405 | -3.1 | 49.982 | -3.097 | 50.018
882.846 | -3.093 | 50.03 | -3.099 | 49.97
883.287 | -3.089 | 50.078 | -3.102 | 49.922
883.727 | -3.088 | 50.101 | -3.106 | 49.899
884.168 | -3.091 | 50.096 | -3.108 | 49.904
884.609 | -3.092 | 50.103 | -3.11 | 49.897
885.05 | -3.089 | 50.138 | -3.113 | 49.862
885.491 | -3.086 | 50.178 | -3.117 | 49.822
885.932 | -3.083 | 50.213 | -3.12 | 49.787
886.373 | -3.08 | 50.256 | -3.124 | 49.744
886.814 | -3.075 | 50.308 | -3.128 | 49.692
887.255 | -3.072 | 50.35 | -3.133 | 49.65
887.695 | -3.072 | 50.372 | -3.137 | 49.628
888.136 | -3.072 | 50.396 | -3.141 | 49.604
888.577 | -3.069 | 50.435 | -3.144 | 49.565
889.018 | -3.065 | 50.469 | -3.147 | 49.531
889.459 | -3.063 | 50.488 | -3.148 | 49.512
889.9 | -3.06 | 50.51 | -3.148 | 49.49
890.341 | -3.056 | 50.545 | -3.151 | 49.455
890.782 | -3.053 | 50.577 | -3.153 | 49.423
891.222 | -3.052 | 50.597 | -3.156 | 49.403
891.663 | -3.051 | 50.619 | -3.159 | 49.381
892.104 | -3.048 | 50.656 | -3.162 | 49.344
892.545 | -3.045 | 50.695 | -3.166 | 49.305
892.986 | -3.043 | 50.727 | -3.169 | 49.273
893.427 | -3.041 | 50.76 | -3.173 | 49.24
893.868 | -3.039 | 50.805 | -3.179 | 49.195
894.309 | -3.037 | 50.841 | -3.183 | 49.159
894.75 | -3.037 | 50.843 | -3.183 | 49.157
895.19 | -3.035 | 50.852 | -3.183 | 49.148
895.631 | -3.028 | 50.91 | -3.186 | 49.09
896.072 | -3.021 | 50.979 | -3.191 | 49.021
896.513 | -3.018 | 51.028 | -3.196 | 48.972
896.954 | -3.016 | 51.068 | -3.202 | 48.932
897.395 | -3.013 | 51.099 | -3.204 | 48.901
897.836 | -3.011 | 51.126 | -3.207 | 48.874
898.277 | -3.01 | 51.147 | -3.209 | 48.853
898.717 | -3.009 | 51.166 | -3.212 | 48.834
899.158 | -3.009 | 51.182 | -3.214 | 48.818
899.599 | -3.007 | 51.2 | -3.215 | 48.8
900.04 | -3.003 | 51.23 | -3.216 | 48.77
900.481 | -2.998 | 51.269 | -3.218 | 48.731
900.922 | -2.994 | 51.327 | -3.225 | 48.673
901.363 | -2.992 | 51.383 | -3.233 | 48.617
901.804 | -2.99 | 51.41 | -3.235 | 48.59
902.245 | -2.987 | 51.428 | -3.236 | 48.572
902.685 | -2.984 | 51.471 | -3.24 | 48.529
903.126 | -2.98 | 51.526 | -3.245 | 48.474
903.567 | -2.976 | 51.571 | -3.249 | 48.429
904.008 | -2.972 | 51.616 | -3.252 | 48.384
904.449 | -2.967 | 51.678 | -3.258 | 48.322
904.89 | -2.962 | 51.743 | -3.265 | 48.257
905.331 | -2.96 | 51.773 | -3.269 | 48.227
905.772 | -2.961 | 51.785 | -3.271 | 48.215
906.212 | -2.96 | 51.809 | -3.274 | 48.191
906.653 | -2.957 | 51.845 | -3.277 | 48.155
907.094 | -2.952 | 51.883 | -3.279 | 48.117
907.535 | -2.946 | 51.922 | -3.28 | 48.078
907.976 | -2.942 | 51.965 | -3.283 | 48.035
908.417 | -2.939 | 52.008 | -3.288 | 47.992
908.858 | -2.937 | 52.042 | -3.292 | 47.958
909.299 | -2.935 | 52.068 | -3.294 | 47.932
909.74 | -2.932 | 52.098 | -3.296 | 47.902
910.18 | -2.928 | 52.136 | -3.299 | 47.864
910.621 | -2.925 | 52.184 | -3.304 | 47.816
911.062 | -2.922 | 52.239 | -3.311 | 47.761
911.503 | -2.92 | 52.28 | -3.316 | 47.72
911.944 | -2.917 | 52.308 | -3.318 | 47.692
912.385 | -2.913 | 52.337 | -3.32 | 47.663
912.826 | -2.91 | 52.371 | -3.322 | 47.629
913.267 | -2.906 | 52.411 | -3.325 | 47.589
913.707 | -2.903 | 52.455 | -3.33 | 47.545
914.148 | -2.899 | 52.502 | -3.334 | 47.498
914.589 | -2.896 | 52.547 | -3.339 | 47.453
915.03 | -2.894 | 52.58 | -3.343 | 47.42
915.471 | -2.894 | 52.594 | -3.345 | 47.406
915.912 | -2.894 | 52.599 | -3.345 | 47.401
916.353 | -2.893 | 52.6 | -3.345 | 47.4
916.794 | -2.89 | 52.625 | -3.347 | 47.375
917.234 | -2.883 | 52.692 | -3.351 | 47.308
917.675 | -2.877 | 52.763 | -3.357 | 47.237
918.116 | -2.875 | 52.821 | -3.366 | 47.179
918.557 | -2.875 | 52.858 | -3.372 | 47.142
918.998 | -2.876 | 52.861 | -3.373 | 47.139
919.439 | -2.874 | 52.873 | -3.373 | 47.127
919.88 | -2.865 | 52.921 | -3.373 | 47.079
920.321 | -2.858 | 52.97 | -3.374 | 47.03
920.762 | -2.857 | 53.003 | -3.379 | 46.997
921.202 | -2.856 | 53.035 | -3.384 | 46.965
921.643 | -2.854 | 53.071 | -3.388 | 46.929
922.084 | -2.851 | 53.114 | -3.392 | 46.886
922.525 | -2.847 | 53.175 | -3.399 | 46.825
922.966 | -2.843 | 53.233 | -3.405 | 46.767
923.407 | -2.839 | 53.271 | -3.408 | 46.729
923.848 | -2.834 | 53.307 | -3.409 | 46.693
924.289 | -2.829 | 53.351 | -3.412 | 46.649
924.729 | -2.824 | 53.396 | -3.415 | 46.604
925.17 | -2.82 | 53.447 | -3.42 | 46.553
925.611 | -2.817 | 53.498 | -3.426 | 46.502
926.052 | -2.815 | 53.549 | -3.432 | 46.451
926.493 | -2.812 | 53.6 | -3.439 | 46.4
926.934 | -2.808 | 53.645 | -3.442 | 46.355
927.375 | -2.804 | 53.684 | -3.445 | 46.316
927.816 | -2.805 | 53.697 | -3.448 | 46.303
928.257 | -2.805 | 53.706 | -3.45 | 46.294
928.697 | -2.805 | 53.725 | -3.453 | 46.275
929.138 | -2.803 | 53.746 | -3.455 | 46.254
929.579 | -2.801 | 53.767 | -3.457 | 46.233
930.02 | -2.798 | 53.797 | -3.459 | 46.203
930.461 | -2.792 | 53.888 | -3.469 | 46.112
930.902 | -2.785 | 53.987 | -3.479 | 46.013
931.343 | -2.781 | 54.025 | -3.482 | 45.975
931.784 | -2.779 | 54.04 | -3.482 | 45.96
932.224 | -2.777 | 54.037 | -3.48 | 45.963
932.665 | -2.776 | 54.034 | -3.479 | 45.966
933.106 | -2.775 | 54.084 | -3.486 | 45.916
933.547 | -2.773 | 54.153 | -3.496 | 45.847
933.988 | -2.77 | 54.21 | -3.504 | 45.79
934.429 | -2.767 | 54.263 | -3.51 | 45.737
934.87 | -2.761 | 54.323 | -3.514 | 45.677
935.311 | -2.755 | 54.384 | -3.518 | 45.616
935.752 | -2.752 | 54.414 | -3.52 | 45.586
936.192 | -2.75 | 54.428 | -3.521 | 45.572
936.633 | -2.748 | 54.451 | -3.523 | 45.549
937.074 | -2.745 | 54.481 | -3.525 | 45.519
937.515 | -2.742 | 54.527 | -3.53 | 45.473
937.956 | -2.739 | 54.582 | -3.537 | 45.418
938.397 | -2.736 | 54.627 | -3.543 | 45.373
938.838 | -2.735 | 54.664 | -3.547 | 45.336
939.279 | -2.732 | 54.685 | -3.548 | 45.315
939.719 | -2.728 | 54.698 | -3.547 | 45.302
940.16 | -2.722 | 54.75 | -3.55 | 45.25
940.601 | -2.715 | 54.834 | -3.557 | 45.166
941.042 | -2.708 | 54.904 | -3.563 | 45.096
941.483 | -2.704 | 54.956 | -3.567 | 45.044
941.924 | -2.704 | 54.976 | -3.571 | 45.024
942.365 | -2.709 | 54.966 | -3.575 | 45.034
942.806 | -2.709 | 54.989 | -3.578 | 45.011
943.247 | -2.702 | 55.05 | -3.583 | 44.95
943.687 | -2.697 | 55.104 | -3.586 | 44.896
944.128 | -2.693 | 55.145 | -3.59 | 44.855
944.569 | -2.69 | 55.195 | -3.595 | 44.805
945.01 | -2.686 | 55.256 | -3.602 | 44.744
945.451 | -2.683 | 55.307 | -3.608 | 44.693
945.892 | -2.682 | 55.34 | -3.613 | 44.66
946.333 | -2.68 | 55.373 | -3.617 | 44.627
946.774 | -2.675 | 55.407 | -3.618 | 44.593
947.214 | -2.67 | 55.452 | -3.621 | 44.548
947.655 | -2.667 | 55.514 | -3.629 | 44.486
948.096 | -2.662 | 55.579 | -3.635 | 44.421
948.537 | -2.653 | 55.644 | -3.638 | 44.356
948.978 | -2.647 | 55.698 | -3.641 | 44.302
949.419 | -2.645 | 55.726 | -3.644 | 44.274
949.86 | -2.641 | 55.772 | -3.648 | 44.228
950.301 | -2.629 | 55.875 | -3.655 | 44.125
950.741 | -2.62 | 55.959 | -3.66 | 44.041
951.182 | -2.623 | 55.967 | -3.665 | 44.033
951.623 | -2.625 | 55.978 | -3.669 | 44.022
952.064 | -2.624 | 56.007 | -3.673 | 43.993
952.505 | -2.622 | 56.037 | -3.676 | 43.963
952.946 | -2.619 | 56.07 | -3.679 | 43.93
953.387 | -2.616 | 56.103 | -3.682 | 43.897
953.828 | -2.612 | 56.136 | -3.684 | 43.864
954.269 | -2.609 | 56.173 | -3.686 | 43.827
954.709 | -2.604 | 56.237 | -3.693 | 43.763
955.15 | -2.6 | 56.303 | -3.7 | 43.697
955.591 | -2.59 | 56.378 | -3.704 | 43.622
956.032 | -2.581 | 56.453 | -3.708 | 43.547
956.473 | -2.578 | 56.507 | -3.715 | 43.493
956.914 | -2.575 | 56.56 | -3.721 | 43.44
957.355 | -2.572 | 56.607 | -3.727 | 43.393
957.796 | -2.569 | 56.654 | -3.732 | 43.346
958.236 | -2.564 | 56.715 | -3.738 | 43.285
958.677 | -2.558 | 56.776 | -3.743 | 43.224
959.118 | -2.556 | 56.822 | -3.748 | 43.178
959.559 | -2.553 | 56.867 | -3.753 | 43.133
960 | -2.548 | 56.938 | -3.761 | 43.062