## A001266
SN: | A001266
Item #: | TWQ1064BHA
Item Description: | 1x4 Wideband Fiber Optic Coupler
Fiber Type: | HI1060 FLEX
Port Name: | Port 1
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -6.38
Coupling Ratio (%): | 23.7
Uniformity (dB): | 0.82
Port Name: | Port 2
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -6.09
Coupling Ratio (%): | 25.3
Uniformity (dB): | 0.29
Port Name: | Port 3
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -6.3
Coupling Ratio (%): | 24.2
Uniformity (dB): | 0.16
Port Name: | Port 4
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -5.85
Coupling Ratio (%): | 26.8
Uniformity (dB): | 0.84
Spectral Response
Wavelength (nm) | Insertion Loss - Port 1 (dB) | Coupling Ratio - Port 1 (%) | Insertion Loss - Port 2 (dB) | Coupling Ratio - Port 2 (%) | Insertion Loss - Port 3 (dB) | Coupling Ratio - Port 3 (%) | Insertion Loss - Port 4 (dB) | Coupling Ratio - Port 4 (%)
954 | -5.767 | 26.747 | -5.874 | 26.099 | -6.3 | 23.659 | -6.33 | 23.496
954.441 | -5.775 | 26.715 | -5.877 | 26.098 | -6.302 | 23.665 | -6.328 | 23.521
954.882 | -5.785 | 26.67 | -5.88 | 26.096 | -6.304 | 23.666 | -6.323 | 23.568
955.323 | -5.79 | 26.636 | -5.88 | 26.093 | -6.306 | 23.652 | -6.312 | 23.619
955.764 | -5.793 | 26.604 | -5.877 | 26.094 | -6.304 | 23.653 | -6.304 | 23.649
956.204 | -5.798 | 26.579 | -5.872 | 26.129 | -6.308 | 23.634 | -6.303 | 23.658
956.645 | -5.8 | 26.56 | -5.87 | 26.135 | -6.31 | 23.617 | -6.297 | 23.689
957.086 | -5.8 | 26.547 | -5.869 | 26.128 | -6.309 | 23.611 | -6.29 | 23.714
957.527 | -5.8 | 26.536 | -5.867 | 26.135 | -6.306 | 23.619 | -6.289 | 23.71
957.968 | -5.803 | 26.506 | -5.863 | 26.138 | -6.301 | 23.634 | -6.285 | 23.721
958.409 | -5.81 | 26.468 | -5.868 | 26.117 | -6.302 | 23.632 | -6.274 | 23.783
958.85 | -5.816 | 26.438 | -5.869 | 26.122 | -6.306 | 23.617 | -6.269 | 23.823
959.291 | -5.82 | 26.419 | -5.866 | 26.141 | -6.311 | 23.595 | -6.265 | 23.845
959.731 | -5.821 | 26.408 | -5.864 | 26.148 | -6.313 | 23.575 | -6.26 | 23.868
960.172 | -5.825 | 26.405 | -5.869 | 26.134 | -6.319 | 23.562 | -6.258 | 23.898
960.613 | -5.837 | 26.345 | -5.872 | 26.137 | -6.32 | 23.574 | -6.252 | 23.944
961.054 | -5.847 | 26.299 | -5.875 | 26.131 | -6.319 | 23.593 | -6.249 | 23.976
961.495 | -5.855 | 26.256 | -5.875 | 26.132 | -6.315 | 23.614 | -6.245 | 23.998
961.936 | -5.86 | 26.211 | -5.87 | 26.146 | -6.31 | 23.629 | -6.24 | 24.014
962.377 | -5.86 | 26.209 | -5.872 | 26.137 | -6.31 | 23.629 | -6.238 | 24.024
962.818 | -5.861 | 26.204 | -5.878 | 26.106 | -6.311 | 23.625 | -6.231 | 24.066
963.259 | -5.867 | 26.18 | -5.881 | 26.097 | -6.316 | 23.609 | -6.224 | 24.114
963.699 | -5.875 | 26.151 | -5.884 | 26.093 | -6.32 | 23.604 | -6.22 | 24.152
964.14 | -5.883 | 26.124 | -5.89 | 26.082 | -6.32 | 23.621 | -6.22 | 24.174
964.581 | -5.891 | 26.089 | -5.89 | 26.093 | -6.322 | 23.625 | -6.218 | 24.193
965.022 | -5.898 | 26.059 | -5.89 | 26.104 | -6.328 | 23.602 | -6.212 | 24.236
965.463 | -5.9 | 26.047 | -5.89 | 26.106 | -6.33 | 23.591 | -6.209 | 24.256
965.904 | -5.9 | 26.039 | -5.89 | 26.101 | -6.33 | 23.586 | -6.205 | 24.274
966.345 | -5.903 | 26.018 | -5.89 | 26.093 | -6.33 | 23.58 | -6.198 | 24.309
966.786 | -5.91 | 25.976 | -5.891 | 26.091 | -6.33 | 23.583 | -6.191 | 24.351
967.226 | -5.918 | 25.948 | -5.897 | 26.073 | -6.33 | 23.601 | -6.189 | 24.379
967.667 | -5.926 | 25.909 | -5.9 | 26.066 | -6.33 | 23.608 | -6.184 | 24.417
968.108 | -5.934 | 25.865 | -5.9 | 26.066 | -6.33 | 23.608 | -6.176 | 24.461
968.549 | -5.94 | 25.837 | -5.902 | 26.06 | -6.332 | 23.604 | -6.17 | 24.5
968.99 | -5.941 | 25.852 | -5.91 | 26.037 | -6.339 | 23.587 | -6.17 | 24.524
969.431 | -5.947 | 25.836 | -5.917 | 26.016 | -6.34 | 23.603 | -6.17 | 24.545
969.872 | -5.95 | 25.829 | -5.92 | 26.006 | -6.34 | 23.611 | -6.17 | 24.554
970.313 | -5.95 | 25.823 | -5.924 | 25.98 | -6.336 | 23.626 | -6.166 | 24.571
970.753 | -5.952 | 25.801 | -5.93 | 25.935 | -6.33 | 23.648 | -6.156 | 24.616
971.194 | -5.96 | 25.747 | -5.93 | 25.923 | -6.33 | 23.642 | -6.142 | 24.688
971.635 | -5.968 | 25.707 | -5.93 | 25.932 | -6.33 | 23.652 | -6.14 | 24.709
972.076 | -5.981 | 25.637 | -5.93 | 25.937 | -6.325 | 23.684 | -6.135 | 24.743
972.517 | -5.989 | 25.587 | -5.93 | 25.938 | -6.32 | 23.707 | -6.13 | 24.768
972.958 | -5.992 | 25.57 | -5.93 | 25.938 | -6.32 | 23.71 | -6.128 | 24.782
973.399 | -5.999 | 25.533 | -5.93 | 25.939 | -6.321 | 23.708 | -6.121 | 24.82
973.84 | -6 | 25.532 | -5.93 | 25.948 | -6.327 | 23.682 | -6.12 | 24.839
974.281 | -6.005 | 25.505 | -5.93 | 25.952 | -6.329 | 23.672 | -6.115 | 24.872
974.721 | -6.013 | 25.458 | -5.93 | 25.948 | -6.327 | 23.684 | -6.107 | 24.91
975.162 | -6.019 | 25.425 | -5.932 | 25.937 | -6.323 | 23.703 | -6.103 | 24.934
975.603 | -6.021 | 25.44 | -5.938 | 25.926 | -6.328 | 23.699 | -6.108 | 24.934
976.044 | -6.027 | 25.409 | -5.94 | 25.924 | -6.33 | 23.698 | -6.103 | 24.969
976.485 | -6.034 | 25.366 | -5.94 | 25.923 | -6.33 | 23.698 | -6.095 | 25.012
976.926 | -6.039 | 25.33 | -5.94 | 25.914 | -6.326 | 23.707 | -6.088 | 25.049
977.367 | -6.042 | 25.299 | -5.94 | 25.9 | -6.322 | 23.721 | -6.08 | 25.081
977.808 | -6.048 | 25.257 | -5.94 | 25.896 | -6.32 | 23.725 | -6.072 | 25.122
978.248 | -6.056 | 25.213 | -5.94 | 25.894 | -6.32 | 23.727 | -6.064 | 25.166
978.689 | -6.064 | 25.181 | -5.945 | 25.881 | -6.32 | 23.739 | -6.061 | 25.198
979.13 | -6.069 | 25.165 | -5.949 | 25.87 | -6.32 | 23.75 | -6.06 | 25.215
979.571 | -6.072 | 25.153 | -5.95 | 25.869 | -6.32 | 23.756 | -6.06 | 25.222
980.012 | -6.077 | 25.127 | -5.949 | 25.879 | -6.32 | 23.762 | -6.059 | 25.232
980.453 | -6.079 | 25.103 | -5.944 | 25.898 | -6.32 | 23.75 | -6.054 | 25.25
980.894 | -6.08 | 25.09 | -5.941 | 25.908 | -6.32 | 23.743 | -6.051 | 25.26
981.335 | -6.083 | 25.074 | -5.94 | 25.915 | -6.32 | 23.744 | -6.05 | 25.267
981.776 | -6.088 | 25.055 | -5.94 | 25.922 | -6.32 | 23.75 | -6.05 | 25.273
982.216 | -6.09 | 25.042 | -5.94 | 25.925 | -6.32 | 23.753 | -6.049 | 25.28
982.657 | -6.096 | 25.01 | -5.94 | 25.923 | -6.32 | 23.754 | -6.044 | 25.313
983.098 | -6.103 | 24.976 | -5.944 | 25.906 | -6.32 | 23.759 | -6.037 | 25.359
983.539 | -6.108 | 24.953 | -5.948 | 25.889 | -6.32 | 23.765 | -6.032 | 25.394
983.98 | -6.112 | 24.937 | -5.95 | 25.884 | -6.32 | 23.769 | -6.03 | 25.41
984.421 | -6.117 | 24.911 | -5.95 | 25.89 | -6.32 | 23.776 | -6.029 | 25.422
984.862 | -6.125 | 24.874 | -5.95 | 25.894 | -6.32 | 23.779 | -6.025 | 25.453
985.303 | -6.129 | 24.852 | -5.95 | 25.894 | -6.32 | 23.78 | -6.021 | 25.474
985.743 | -6.133 | 24.839 | -5.953 | 25.891 | -6.323 | 23.776 | -6.02 | 25.494
986.184 | -6.139 | 24.825 | -5.957 | 25.887 | -6.327 | 23.773 | -6.02 | 25.515
986.625 | -6.147 | 24.799 | -5.96 | 25.891 | -6.33 | 23.776 | -6.02 | 25.534
987.066 | -6.155 | 24.766 | -5.961 | 25.899 | -6.33 | 23.786 | -6.019 | 25.549
987.507 | -6.163 | 24.733 | -5.964 | 25.89 | -6.33 | 23.796 | -6.016 | 25.581
987.948 | -6.17 | 24.702 | -5.968 | 25.883 | -6.333 | 23.796 | -6.012 | 25.618
988.389 | -6.178 | 24.674 | -5.97 | 25.888 | -6.337 | 23.79 | -6.01 | 25.648
988.83 | -6.186 | 24.648 | -5.971 | 25.898 | -6.34 | 23.789 | -6.01 | 25.665
989.271 | -6.189 | 24.638 | -5.975 | 25.887 | -6.34 | 23.796 | -6.01 | 25.678
989.711 | -6.194 | 24.63 | -5.978 | 25.882 | -6.344 | 23.794 | -6.01 | 25.694
990.152 | -6.198 | 24.621 | -5.98 | 25.886 | -6.347 | 23.786 | -6.01 | 25.707
990.593 | -6.201 | 24.61 | -5.982 | 25.887 | -6.35 | 23.784 | -6.01 | 25.719
991.034 | -6.206 | 24.596 | -5.986 | 25.879 | -6.351 | 23.792 | -6.01 | 25.734
991.475 | -6.214 | 24.575 | -5.989 | 25.878 | -6.354 | 23.792 | -6.01 | 25.756
991.916 | -6.222 | 24.551 | -5.993 | 25.877 | -6.358 | 23.793 | -6.01 | 25.778
992.357 | -6.23 | 24.526 | -5.997 | 25.874 | -6.36 | 23.802 | -6.01 | 25.798
992.798 | -6.236 | 24.503 | -6 | 25.873 | -6.36 | 23.813 | -6.01 | 25.811
993.238 | -6.24 | 24.485 | -6 | 25.878 | -6.36 | 23.819 | -6.01 | 25.818
993.679 | -6.244 | 24.469 | -6 | 25.881 | -6.36 | 23.822 | -6.01 | 25.827
994.12 | -6.248 | 24.457 | -6.003 | 25.874 | -6.363 | 23.816 | -6.007 | 25.854
994.561 | -6.25 | 24.454 | -6.007 | 25.86 | -6.367 | 23.803 | -6.003 | 25.883
995.002 | -6.252 | 24.452 | -6.01 | 25.853 | -6.37 | 23.796 | -6.002 | 25.898
995.443 | -6.255 | 24.444 | -6.01 | 25.863 | -6.371 | 23.801 | -6.005 | 25.892
995.884 | -6.259 | 24.436 | -6.01 | 25.879 | -6.374 | 23.798 | -6.009 | 25.887
996.325 | -6.263 | 24.427 | -6.01 | 25.89 | -6.378 | 23.789 | -6.01 | 25.894
996.766 | -6.267 | 24.412 | -6.012 | 25.887 | -6.38 | 23.787 | -6.008 | 25.914
997.206 | -6.271 | 24.396 | -6.016 | 25.872 | -6.38 | 23.791 | -6.004 | 25.941
997.647 | -6.275 | 24.38 | -6.019 | 25.857 | -6.38 | 23.796 | -6.001 | 25.968
998.088 | -6.279 | 24.362 | -6.02 | 25.857 | -6.38 | 23.802 | -6 | 25.979
998.529 | -6.283 | 24.35 | -6.023 | 25.851 | -6.38 | 23.81 | -6 | 25.989
998.97 | -6.287 | 24.336 | -6.027 | 25.837 | -6.38 | 23.818 | -5.998 | 26.009
999.411 | -6.289 | 24.323 | -6.029 | 25.824 | -6.38 | 23.821 | -5.994 | 26.033
999.852 | -6.29 | 24.318 | -6.03 | 25.818 | -6.381 | 23.815 | -5.991 | 26.049
1000.293 | -6.29 | 24.323 | -6.03 | 25.824 | -6.383 | 23.808 | -5.993 | 26.045
1000.733 | -6.293 | 24.328 | -6.033 | 25.829 | -6.387 | 23.803 | -5.997 | 26.041
1001.174 | -6.296 | 24.321 | -6.036 | 25.822 | -6.39 | 23.805 | -5.998 | 26.053
1001.615 | -6.299 | 24.309 | -6.039 | 25.808 | -6.39 | 23.807 | -5.995 | 26.076
1002.056 | -6.3 | 24.301 | -6.04 | 25.8 | -6.389 | 23.806 | -5.991 | 26.094
1002.497 | -6.3 | 24.296 | -6.04 | 25.795 | -6.387 | 23.815 | -5.99 | 26.094
1002.938 | -6.3 | 24.29 | -6.04 | 25.79 | -6.383 | 23.832 | -5.99 | 26.088
1003.379 | -6.302 | 24.282 | -6.04 | 25.791 | -6.382 | 23.837 | -5.99 | 26.089
1003.82 | -6.305 | 24.272 | -6.04 | 25.8 | -6.385 | 23.829 | -5.99 | 26.099
1004.26 | -6.309 | 24.26 | -6.04 | 25.811 | -6.389 | 23.817 | -5.989 | 26.113
1004.701 | -6.31 | 24.255 | -6.04 | 25.809 | -6.39 | 23.811 | -5.987 | 26.125
1005.142 | -6.308 | 24.256 | -6.04 | 25.799 | -6.39 | 23.802 | -5.983 | 26.142
1005.583 | -6.304 | 24.267 | -6.04 | 25.788 | -6.39 | 23.792 | -5.979 | 26.154
1006.024 | -6.301 | 24.274 | -6.04 | 25.776 | -6.389 | 23.785 | -5.975 | 26.164
1006.465 | -6.3 | 24.268 | -6.04 | 25.765 | -6.386 | 23.79 | -5.971 | 26.178
1006.906 | -6.3 | 24.259 | -6.04 | 25.756 | -6.382 | 23.808 | -5.97 | 26.176
1007.347 | -6.3 | 24.252 | -6.04 | 25.749 | -6.378 | 23.82 | -5.968 | 26.179
1007.788 | -6.3 | 24.241 | -6.04 | 25.737 | -6.374 | 23.831 | -5.964 | 26.191
1008.228 | -6.301 | 24.227 | -6.04 | 25.727 | -6.371 | 23.84 | -5.96 | 26.205
1008.669 | -6.303 | 24.21 | -6.04 | 25.724 | -6.37 | 23.842 | -5.957 | 26.223
1009.11 | -6.308 | 24.184 | -6.04 | 25.724 | -6.37 | 23.842 | -5.952 | 26.251
1009.551 | -6.31 | 24.174 | -6.04 | 25.723 | -6.37 | 23.841 | -5.95 | 26.262
1009.992 | -6.31 | 24.171 | -6.04 | 25.721 | -6.37 | 23.84 | -5.949 | 26.267
1010.433 | -6.309 | 24.168 | -6.04 | 25.715 | -6.369 | 23.837 | -5.945 | 26.28
1010.874 | -6.307 | 24.169 | -6.04 | 25.701 | -6.367 | 23.838 | -5.941 | 26.292
1011.315 | -6.302 | 24.181 | -6.04 | 25.685 | -6.362 | 23.85 | -5.94 | 26.284
1011.755 | -6.3 | 24.185 | -6.04 | 25.677 | -6.36 | 23.853 | -5.938 | 26.285
1012.196 | -6.299 | 24.182 | -6.04 | 25.668 | -6.359 | 23.85 | -5.934 | 26.299
1012.637 | -6.296 | 24.187 | -6.04 | 25.653 | -6.356 | 23.855 | -5.931 | 26.306
1013.078 | -6.291 | 24.197 | -6.04 | 25.639 | -6.351 | 23.866 | -5.93 | 26.297
1013.519 | -6.292 | 24.194 | -6.04 | 25.638 | -6.35 | 23.872 | -5.93 | 26.296
1013.96 | -6.297 | 24.174 | -6.04 | 25.645 | -6.35 | 23.878 | -5.93 | 26.303
1014.401 | -6.299 | 24.16 | -6.04 | 25.648 | -6.35 | 23.881 | -5.929 | 26.311
1014.842 | -6.3 | 24.153 | -6.04 | 25.643 | -6.35 | 23.877 | -5.926 | 26.326
1015.283 | -6.3 | 24.147 | -6.04 | 25.636 | -6.35 | 23.87 | -5.921 | 26.347
1015.723 | -6.298 | 24.149 | -6.04 | 25.63 | -6.35 | 23.864 | -5.918 | 26.357
1016.164 | -6.294 | 24.161 | -6.04 | 25.614 | -6.349 | 23.855 | -5.914 | 26.37
1016.605 | -6.291 | 24.164 | -6.04 | 25.599 | -6.345 | 23.864 | -5.911 | 26.373
1017.046 | -6.29 | 24.159 | -6.04 | 25.592 | -6.341 | 23.878 | -5.91 | 26.371
1017.487 | -6.293 | 24.144 | -6.04 | 25.59 | -6.34 | 23.882 | -5.907 | 26.384
1017.928 | -6.298 | 24.118 | -6.041 | 25.583 | -6.34 | 23.884 | -5.902 | 26.416
1018.369 | -6.301 | 24.108 | -6.046 | 25.564 | -6.34 | 23.891 | -5.9 | 26.437
1018.81 | -6.305 | 24.094 | -6.049 | 25.556 | -6.34 | 23.901 | -5.9 | 26.449
1019.25 | -6.309 | 24.079 | -6.05 | 25.558 | -6.34 | 23.907 | -5.9 | 26.456
1019.691 | -6.31 | 24.075 | -6.05 | 25.559 | -6.34 | 23.908 | -5.9 | 26.458
1020.132 | -6.31 | 24.076 | -6.051 | 25.553 | -6.34 | 23.911 | -5.9 | 26.46
1020.573 | -6.311 | 24.077 | -6.056 | 25.533 | -6.339 | 23.923 | -5.9 | 26.467
1021.014 | -6.315 | 24.061 | -6.059 | 25.521 | -6.336 | 23.945 | -5.9 | 26.473
1021.455 | -6.319 | 24.046 | -6.06 | 25.521 | -6.335 | 23.954 | -5.9 | 26.479
1021.896 | -6.32 | 24.044 | -6.06 | 25.527 | -6.338 | 23.944 | -5.9 | 26.485
1022.337 | -6.32 | 24.046 | -6.06 | 25.53 | -6.34 | 23.937 | -5.9 | 26.488
1022.778 | -6.321 | 24.039 | -6.06 | 25.528 | -6.339 | 23.94 | -5.899 | 26.492
1023.218 | -6.325 | 24.013 | -6.06 | 25.522 | -6.335 | 23.954 | -5.895 | 26.512
1023.659 | -6.328 | 23.983 | -6.06 | 25.51 | -6.331 | 23.966 | -5.888 | 26.541
1024.1 | -6.33 | 23.967 | -6.062 | 25.488 | -6.328 | 23.978 | -5.883 | 26.567
1024.541 | -6.33 | 23.963 | -6.067 | 25.46 | -6.323 | 24.001 | -5.88 | 26.577
1024.982 | -6.331 | 23.96 | -6.069 | 25.448 | -6.322 | 24.011 | -5.88 | 26.581
1025.423 | -6.334 | 23.948 | -6.07 | 25.452 | -6.324 | 24.006 | -5.879 | 26.594
1025.864 | -6.338 | 23.929 | -6.07 | 25.454 | -6.325 | 24.004 | -5.877 | 26.613
1026.305 | -6.342 | 23.904 | -6.07 | 25.45 | -6.322 | 24.013 | -5.873 | 26.633
1026.745 | -6.347 | 23.879 | -6.07 | 25.45 | -6.32 | 24.024 | -5.87 | 26.647
1027.186 | -6.349 | 23.868 | -6.07 | 25.452 | -6.32 | 24.028 | -5.87 | 26.652
1027.627 | -6.35 | 23.864 | -6.07 | 25.452 | -6.319 | 24.032 | -5.87 | 26.652
1028.068 | -6.35 | 23.859 | -6.07 | 25.448 | -6.317 | 24.043 | -5.87 | 26.649
1028.509 | -6.35 | 23.851 | -6.07 | 25.44 | -6.313 | 24.057 | -5.868 | 26.653
1028.95 | -6.351 | 23.837 | -6.07 | 25.432 | -6.31 | 24.062 | -5.864 | 26.669
1029.391 | -6.355 | 23.818 | -6.07 | 25.434 | -6.311 | 24.061 | -5.861 | 26.688
1029.832 | -6.359 | 23.804 | -6.07 | 25.442 | -6.314 | 24.051 | -5.86 | 26.702
1030.273 | -6.363 | 23.793 | -6.07 | 25.451 | -6.317 | 24.043 | -5.86 | 26.714
1030.713 | -6.367 | 23.778 | -6.072 | 25.448 | -6.317 | 24.051 | -5.86 | 26.722
1031.154 | -6.369 | 23.769 | -6.076 | 25.43 | -6.314 | 24.074 | -5.86 | 26.727
1031.595 | -6.371 | 23.763 | -6.079 | 25.416 | -6.311 | 24.092 | -5.86 | 26.729
1032.036 | -6.374 | 23.75 | -6.08 | 25.414 | -6.31 | 24.102 | -5.86 | 26.734
1032.477 | -6.377 | 23.736 | -6.08 | 25.417 | -6.31 | 24.108 | -5.86 | 26.74
1032.918 | -6.38 | 23.73 | -6.082 | 25.412 | -6.31 | 24.113 | -5.86 | 26.745
1033.359 | -6.381 | 23.728 | -6.086 | 25.398 | -6.31 | 24.12 | -5.86 | 26.754
1033.8 | -6.385 | 23.719 | -6.09 | 25.386 | -6.31 | 24.13 | -5.86 | 26.765
1034.24 | -6.389 | 23.708 | -6.094 | 25.375 | -6.31 | 24.141 | -5.86 | 26.777
1034.681 | -6.393 | 23.697 | -6.097 | 25.364 | -6.31 | 24.151 | -5.86 | 26.788
1035.122 | -6.397 | 23.683 | -6.099 | 25.36 | -6.31 | 24.16 | -5.86 | 26.797
1035.563 | -6.399 | 23.671 | -6.1 | 25.36 | -6.31 | 24.162 | -5.859 | 26.807
1036.004 | -6.4 | 23.663 | -6.1 | 25.355 | -6.31 | 24.158 | -5.856 | 26.823
1036.445 | -6.401 | 23.656 | -6.1 | 25.351 | -6.31 | 24.154 | -5.852 | 26.84
1036.886 | -6.403 | 23.644 | -6.1 | 25.351 | -6.31 | 24.154 | -5.85 | 26.851
1037.327 | -6.406 | 23.629 | -6.1 | 25.355 | -6.31 | 24.158 | -5.85 | 26.858
1037.768 | -6.409 | 23.617 | -6.1 | 25.359 | -6.31 | 24.162 | -5.85 | 26.862
1038.208 | -6.41 | 23.612 | -6.1 | 25.359 | -6.31 | 24.162 | -5.849 | 26.866
1038.649 | -6.41 | 23.608 | -6.1 | 25.355 | -6.31 | 24.158 | -5.847 | 26.878
1039.09 | -6.41 | 23.603 | -6.1 | 25.35 | -6.31 | 24.153 | -5.843 | 26.894
1039.531 | -6.41 | 23.6 | -6.1 | 25.346 | -6.31 | 24.149 | -5.841 | 26.905
1039.972 | -6.411 | 23.595 | -6.1 | 25.346 | -6.31 | 24.15 | -5.84 | 26.91
1040.413 | -6.414 | 23.582 | -6.1 | 25.35 | -6.31 | 24.154 | -5.84 | 26.914
1040.854 | -6.418 | 23.567 | -6.1 | 25.355 | -6.31 | 24.158 | -5.84 | 26.919
1041.295 | -6.42 | 23.558 | -6.1 | 25.358 | -6.31 | 24.161 | -5.84 | 26.923
1041.735 | -6.422 | 23.55 | -6.1 | 25.361 | -6.31 | 24.164 | -5.84 | 26.925
1042.176 | -6.424 | 23.541 | -6.101 | 25.358 | -6.31 | 24.166 | -5.839 | 26.934
1042.617 | -6.424 | 23.538 | -6.104 | 25.342 | -6.31 | 24.167 | -5.836 | 26.953
1043.058 | -6.422 | 23.546 | -6.107 | 25.32 | -6.31 | 24.163 | -5.833 | 26.971
1043.499 | -6.421 | 23.551 | -6.107 | 25.313 | -6.31 | 24.158 | -5.831 | 26.978
1043.94 | -6.42 | 23.548 | -6.104 | 25.324 | -6.31 | 24.153 | -5.83 | 26.975
1044.381 | -6.42 | 23.544 | -6.102 | 25.333 | -6.309 | 24.153 | -5.83 | 26.97
1044.822 | -6.421 | 23.539 | -6.104 | 25.322 | -6.306 | 24.166 | -5.829 | 26.972
1045.263 | -6.423 | 23.528 | -6.107 | 25.301 | -6.303 | 24.185 | -5.827 | 26.986
1045.703 | -6.426 | 23.51 | -6.109 | 25.29 | -6.303 | 24.19 | -5.824 | 27.01
1046.144 | -6.429 | 23.499 | -6.11 | 25.291 | -6.305 | 24.178 | -5.821 | 27.032
1046.585 | -6.43 | 23.499 | -6.11 | 25.295 | -6.309 | 24.164 | -5.82 | 27.042
1047.026 | -6.43 | 23.5 | -6.11 | 25.297 | -6.31 | 24.159 | -5.82 | 27.044
1047.467 | -6.43 | 23.5 | -6.11 | 25.297 | -6.31 | 24.159 | -5.82 | 27.044
1047.908 | -6.43 | 23.5 | -6.11 | 25.297 | -6.31 | 24.159 | -5.82 | 27.044
1048.349 | -6.43 | 23.5 | -6.11 | 25.297 | -6.31 | 24.159 | -5.82 | 27.044
1048.79 | -6.43 | 23.499 | -6.109 | 25.3 | -6.31 | 24.158 | -5.82 | 27.043
1049.23 | -6.43 | 23.499 | -6.107 | 25.312 | -6.31 | 24.152 | -5.82 | 27.037
1049.671 | -6.428 | 23.507 | -6.103 | 25.331 | -6.312 | 24.139 | -5.822 | 27.022
1050.112 | -6.424 | 23.529 | -6.101 | 25.348 | -6.316 | 24.121 | -5.826 | 27.002
1050.553 | -6.421 | 23.549 | -6.1 | 25.355 | -6.319 | 24.108 | -5.829 | 26.988
1050.994 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1051.435 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1051.876 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1052.317 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1052.758 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1053.198 | -6.42 | 23.556 | -6.1 | 25.357 | -6.32 | 24.104 | -5.83 | 26.983
1053.639 | -6.42 | 23.557 | -6.1 | 25.356 | -6.32 | 24.104 | -5.83 | 26.983
1054.08 | -6.418 | 23.564 | -6.1 | 25.355 | -6.32 | 24.101 | -5.83 | 26.98
1054.521 | -6.414 | 23.577 | -6.099 | 25.355 | -6.32 | 24.095 | -5.83 | 26.973
1054.962 | -6.411 | 23.586 | -6.095 | 25.365 | -6.32 | 24.086 | -5.83 | 26.963
1055.403 | -6.41 | 23.585 | -6.092 | 25.38 | -6.32 | 24.079 | -5.83 | 26.955
1055.844 | -6.41 | 23.585 | -6.09 | 25.387 | -6.32 | 24.077 | -5.83 | 26.952
1056.285 | -6.408 | 23.593 | -6.09 | 25.387 | -6.32 | 24.077 | -5.832 | 26.942
1056.725 | -6.405 | 23.614 | -6.09 | 25.388 | -6.32 | 24.078 | -5.835 | 26.92
1057.166 | -6.401 | 23.633 | -6.09 | 25.388 | -6.32 | 24.079 | -5.839 | 26.9
1057.607 | -6.4 | 23.639 | -6.09 | 25.388 | -6.32 | 24.08 | -5.84 | 26.893
1058.048 | -6.4 | 23.637 | -6.09 | 25.385 | -6.318 | 24.088 | -5.84 | 26.89
1058.489 | -6.4 | 23.631 | -6.09 | 25.38 | -6.314 | 24.105 | -5.84 | 26.884
1058.93 | -6.4 | 23.627 | -6.09 | 25.375 | -6.311 | 24.118 | -5.84 | 26.879
1059.371 | -6.4 | 23.626 | -6.09 | 25.374 | -6.31 | 24.121 | -5.84 | 26.878
1059.812 | -6.4 | 23.627 | -6.09 | 25.374 | -6.31 | 24.121 | -5.84 | 26.878
1060.253 | -6.398 | 23.635 | -6.09 | 25.372 | -6.31 | 24.118 | -5.84 | 26.875
1060.693 | -6.392 | 23.66 | -6.09 | 25.366 | -6.31 | 24.113 | -5.841 | 26.86
1061.134 | -6.386 | 23.695 | -6.09 | 25.364 | -6.31 | 24.111 | -5.846 | 26.83
1061.575 | -6.381 | 23.723 | -6.09 | 25.37 | -6.31 | 24.115 | -5.853 | 26.792
1062.016 | -6.38 | 23.732 | -6.087 | 25.388 | -6.31 | 24.118 | -5.858 | 26.762
1062.457 | -6.38 | 23.731 | -6.084 | 25.403 | -6.31 | 24.117 | -5.86 | 26.75
1062.898 | -6.38 | 23.73 | -6.086 | 25.391 | -6.309 | 24.123 | -5.859 | 26.756
1063.339 | -6.38 | 23.724 | -6.089 | 25.367 | -6.305 | 24.137 | -5.855 | 26.772
1063.78 | -6.38 | 23.715 | -6.09 | 25.353 | -6.301 | 24.149 | -5.852 | 26.783
1064.22 | -6.38 | 23.715 | -6.09 | 25.353 | -6.3 | 24.156 | -5.853 | 26.776
1064.661 | -6.38 | 23.726 | -6.09 | 25.364 | -6.302 | 24.158 | -5.859 | 26.752
1065.102 | -6.38 | 23.743 | -6.091 | 25.375 | -6.306 | 24.152 | -5.865 | 26.73
1065.543 | -6.38 | 23.757 | -6.095 | 25.37 | -6.309 | 24.149 | -5.869 | 26.724
1065.984 | -6.38 | 23.765 | -6.098 | 25.357 | -6.31 | 24.152 | -5.87 | 26.727
1066.425 | -6.38 | 23.767 | -6.1 | 25.351 | -6.31 | 24.153 | -5.87 | 26.729
1066.866 | -6.378 | 23.772 | -6.098 | 25.355 | -6.308 | 24.158 | -5.872 | 26.714
1067.307 | -6.374 | 23.784 | -6.094 | 25.368 | -6.304 | 24.17 | -5.876 | 26.678
1067.747 | -6.371 | 23.793 | -6.091 | 25.378 | -6.301 | 24.18 | -5.879 | 26.649
1068.188 | -6.37 | 23.796 | -6.09 | 25.381 | -6.3 | 24.183 | -5.88 | 26.64
1068.629 | -6.37 | 23.797 | -6.09 | 25.381 | -6.3 | 24.183 | -5.88 | 26.639
1069.07 | -6.368 | 23.807 | -6.092 | 25.375 | -6.3 | 24.186 | -5.882 | 26.632
1069.511 | -6.366 | 23.831 | -6.095 | 25.362 | -6.3 | 24.195 | -5.886 | 26.612
1069.952 | -6.366 | 23.845 | -6.099 | 25.358 | -6.3 | 24.209 | -5.893 | 26.587
1070.393 | -6.368 | 23.844 | -6.1 | 25.364 | -6.3 | 24.221 | -5.898 | 26.571
1070.834 | -6.37 | 23.84 | -6.1 | 25.368 | -6.3 | 24.226 | -5.9 | 26.565
1071.275 | -6.37 | 23.842 | -6.1 | 25.371 | -6.3 | 24.229 | -5.901 | 26.558
1071.715 | -6.37 | 23.849 | -6.101 | 25.372 | -6.3 | 24.236 | -5.905 | 26.543
1072.156 | -6.369 | 23.861 | -6.104 | 25.363 | -6.3 | 24.245 | -5.909 | 26.532
1072.597 | -6.367 | 23.879 | -6.108 | 25.346 | -6.3 | 24.247 | -5.91 | 26.528
1073.038 | -6.363 | 23.901 | -6.11 | 25.336 | -6.302 | 24.236 | -5.91 | 26.528
1073.479 | -6.361 | 23.916 | -6.11 | 25.337 | -6.305 | 24.225 | -5.911 | 26.522
1073.92 | -6.36 | 23.923 | -6.11 | 25.34 | -6.304 | 24.233 | -5.915 | 26.504
1074.361 | -6.359 | 23.925 | -6.109 | 25.343 | -6.301 | 24.25 | -5.918 | 26.482
1074.802 | -6.357 | 23.929 | -6.107 | 25.347 | -6.297 | 24.261 | -5.92 | 26.463
1075.242 | -6.353 | 23.935 | -6.103 | 25.353 | -6.293 | 24.268 | -5.92 | 26.444
1075.683 | -6.351 | 23.938 | -6.101 | 25.357 | -6.291 | 24.271 | -5.92 | 26.434
1076.124 | -6.349 | 23.943 | -6.1 | 25.356 | -6.29 | 24.271 | -5.92 | 26.43
1076.565 | -6.346 | 23.955 | -6.1 | 25.351 | -6.289 | 24.27 | -5.92 | 26.424
1077.006 | -6.342 | 23.967 | -6.1 | 25.342 | -6.287 | 24.274 | -5.92 | 26.416
1077.447 | -6.338 | 23.976 | -6.1 | 25.329 | -6.283 | 24.282 | -5.918 | 26.413
1077.888 | -6.334 | 23.984 | -6.1 | 25.314 | -6.281 | 24.282 | -5.914 | 26.42
1078.329 | -6.331 | 23.993 | -6.1 | 25.305 | -6.28 | 24.278 | -5.912 | 26.424
1078.77 | -6.33 | 24.002 | -6.1 | 25.306 | -6.28 | 24.278 | -5.914 | 26.413
1079.21 | -6.327 | 24.018 | -6.1 | 25.307 | -6.28 | 24.28 | -5.917 | 26.395
1079.651 | -6.324 | 24.036 | -6.1 | 25.306 | -6.28 | 24.278 | -5.919 | 26.38
1080.092 | -6.32 | 24.053 | -6.099 | 25.308 | -6.28 | 24.274 | -5.921 | 26.365
1080.533 | -6.316 | 24.072 | -6.096 | 25.318 | -6.28 | 24.27 | -5.924 | 26.341
1080.974 | -6.312 | 24.092 | -6.096 | 25.32 | -6.28 | 24.268 | -5.927 | 26.321
1081.415 | -6.308 | 24.11 | -6.097 | 25.306 | -6.28 | 24.265 | -5.927 | 26.319
1081.856 | -6.304 | 24.122 | -6.099 | 25.284 | -6.278 | 24.265 | -5.924 | 26.328
1082.297 | -6.301 | 24.126 | -6.1 | 25.269 | -6.275 | 24.272 | -5.921 | 26.333
1082.737 | -6.3 | 24.124 | -6.099 | 25.265 | -6.272 | 24.282 | -5.92 | 26.329
1083.178 | -6.3 | 24.121 | -6.097 | 25.274 | -6.27 | 24.284 | -5.92 | 26.321
1083.619 | -6.297 | 24.127 | -6.093 | 25.29 | -6.27 | 24.28 | -5.923 | 26.303
1084.06 | -6.294 | 24.144 | -6.091 | 25.301 | -6.27 | 24.277 | -5.926 | 26.278
1084.501 | -6.291 | 24.161 | -6.091 | 25.3 | -6.27 | 24.278 | -5.929 | 26.261
1084.942 | -6.29 | 24.171 | -6.094 | 25.287 | -6.27 | 24.282 | -5.93 | 26.26
1085.383 | -6.29 | 24.179 | -6.098 | 25.272 | -6.27 | 24.286 | -5.93 | 26.263
1085.824 | -6.288 | 24.195 | -6.1 | 25.266 | -6.272 | 24.281 | -5.932 | 26.258
1086.265 | -6.284 | 24.221 | -6.1 | 25.27 | -6.276 | 24.267 | -5.936 | 26.243
1086.705 | -6.281 | 24.243 | -6.1 | 25.274 | -6.279 | 24.254 | -5.939 | 26.229
1087.146 | -6.28 | 24.25 | -6.1 | 25.276 | -6.28 | 24.25 | -5.94 | 26.225
1087.587 | -6.28 | 24.249 | -6.1 | 25.278 | -6.28 | 24.249 | -5.94 | 26.224
1088.028 | -6.28 | 24.248 | -6.098 | 25.286 | -6.28 | 24.247 | -5.94 | 26.22
1088.469 | -6.279 | 24.25 | -6.094 | 25.301 | -6.28 | 24.242 | -5.941 | 26.207
1088.91 | -6.275 | 24.264 | -6.092 | 25.312 | -6.28 | 24.239 | -5.945 | 26.185
1089.351 | -6.272 | 24.287 | -6.094 | 25.305 | -6.28 | 24.242 | -5.948 | 26.167
1089.792 | -6.27 | 24.302 | -6.097 | 25.29 | -6.28 | 24.246 | -5.95 | 26.162
1090.232 | -6.268 | 24.312 | -6.097 | 25.285 | -6.28 | 24.244 | -5.95 | 26.158
1090.673 | -6.265 | 24.322 | -6.095 | 25.293 | -6.28 | 24.236 | -5.95 | 26.149
1091.114 | -6.261 | 24.332 | -6.091 | 25.303 | -6.28 | 24.226 | -5.95 | 26.139
1091.555 | -6.259 | 24.337 | -6.09 | 25.306 | -6.28 | 24.222 | -5.95 | 26.135
1091.996 | -6.257 | 24.347 | -6.09 | 25.302 | -6.28 | 24.221 | -5.95 | 26.131
1092.437 | -6.252 | 24.366 | -6.09 | 25.292 | -6.278 | 24.22 | -5.95 | 26.121
1092.878 | -6.246 | 24.389 | -6.09 | 25.279 | -6.275 | 24.226 | -5.95 | 26.107
1093.319 | -6.241 | 24.405 | -6.09 | 25.266 | -6.271 | 24.234 | -5.95 | 26.094
1093.76 | -6.237 | 24.42 | -6.09 | 25.26 | -6.27 | 24.232 | -5.95 | 26.088
1094.2 | -6.233 | 24.439 | -6.09 | 25.257 | -6.272 | 24.219 | -5.95 | 26.085
1094.641 | -6.231 | 24.454 | -6.09 | 25.259 | -6.276 | 24.201 | -5.95 | 26.086
1095.082 | -6.23 | 24.46 | -6.09 | 25.261 | -6.278 | 24.191 | -5.95 | 26.089
1095.523 | -6.229 | 24.459 | -6.089 | 25.26 | -6.276 | 24.197 | -5.95 | 26.084
1095.964 | -6.227 | 24.462 | -6.087 | 25.261 | -6.272 | 24.207 | -5.95 | 26.071
1096.405 | -6.221 | 24.478 | -6.083 | 25.267 | -6.27 | 24.203 | -5.95 | 26.052
1096.846 | -6.215 | 24.5 | -6.081 | 25.269 | -6.268 | 24.199 | -5.952 | 26.031
1097.287 | -6.211 | 24.516 | -6.08 | 25.267 | -6.265 | 24.212 | -5.955 | 26.005
1097.727 | -6.21 | 24.523 | -6.08 | 25.265 | -6.261 | 24.232 | -5.959 | 25.981
1098.168 | -6.207 | 24.533 | -6.08 | 25.262 | -6.26 | 24.237 | -5.96 | 25.968
1098.609 | -6.203 | 24.552 | -6.08 | 25.26 | -6.26 | 24.234 | -5.962 | 25.954
1099.05 | -6.199 | 24.571 | -6.079 | 25.263 | -6.259 | 24.237 | -5.966 | 25.929
1099.491 | -6.195 | 24.587 | -6.075 | 25.271 | -6.255 | 24.245 | -5.969 | 25.898
1099.932 | -6.188 | 24.605 | -6.071 | 25.275 | -6.251 | 24.249 | -5.97 | 25.872
1100.373 | -6.182 | 24.625 | -6.07 | 25.271 | -6.25 | 24.245 | -5.97 | 25.858
1100.814 | -6.18 | 24.637 | -6.07 | 25.27 | -6.25 | 24.244 | -5.972 | 25.848
1101.255 | -6.18 | 24.644 | -6.07 | 25.275 | -6.25 | 24.249 | -5.975 | 25.832
1101.695 | -6.179 | 24.651 | -6.07 | 25.28 | -6.25 | 24.254 | -5.979 | 25.815
1102.136 | -6.177 | 24.663 | -6.07 | 25.278 | -6.25 | 24.252 | -5.98 | 25.806
1102.577 | -6.172 | 24.685 | -6.07 | 25.275 | -6.25 | 24.249 | -5.982 | 25.791
1103.018 | -6.17 | 24.702 | -6.07 | 25.278 | -6.25 | 24.252 | -5.986 | 25.769
1103.459 | -6.169 | 24.712 | -6.07 | 25.282 | -6.25 | 24.256 | -5.99 | 25.75
1103.9 | -6.166 | 24.731 | -6.07 | 25.283 | -6.25 | 24.257 | -5.994 | 25.729
1104.341 | -6.161 | 24.757 | -6.07 | 25.284 | -6.25 | 24.257 | -5.999 | 25.702
1104.782 | -6.16 | 24.768 | -6.07 | 25.287 | -6.25 | 24.26 | -6.002 | 25.686
1105.222 | -6.16 | 24.776 | -6.07 | 25.295 | -6.25 | 24.268 | -6.008 | 25.661
1105.663 | -6.159 | 24.788 | -6.07 | 25.303 | -6.249 | 24.28 | -6.014 | 25.629
1106.104 | -6.156 | 24.804 | -6.07 | 25.301 | -6.246 | 24.295 | -6.019 | 25.6
1106.545 | -6.151 | 24.819 | -6.07 | 25.289 | -6.241 | 24.31 | -6.02 | 25.582
1106.986 | -6.148 | 24.83 | -6.07 | 25.283 | -6.24 | 24.312 | -6.02 | 25.575
1107.427 | -6.144 | 24.851 | -6.07 | 25.278 | -6.24 | 24.307 | -6.021 | 25.564
1107.868 | -6.141 | 24.872 | -6.071 | 25.277 | -6.24 | 24.31 | -6.026 | 25.541
1108.309 | -6.14 | 24.891 | -6.074 | 25.273 | -6.24 | 24.323 | -6.033 | 25.513
1108.75 | -6.138 | 24.912 | -6.076 | 25.267 | -6.24 | 24.332 | -6.038 | 25.488
1109.19 | -6.133 | 24.933 | -6.073 | 25.28 | -6.24 | 24.325 | -6.041 | 25.463
1109.631 | -6.13 | 24.946 | -6.07 | 25.293 | -6.24 | 24.324 | -6.046 | 25.436
1110.072 | -6.129 | 24.955 | -6.071 | 25.295 | -6.239 | 24.33 | -6.049 | 25.42
1110.513 | -6.126 | 24.969 | -6.074 | 25.275 | -6.236 | 24.344 | -6.05 | 25.412
1110.954 | -6.122 | 24.989 | -6.078 | 25.241 | -6.232 | 24.364 | -6.05 | 25.406
1111.395 | -6.12 | 24.998 | -6.08 | 25.231 | -6.23 | 24.373 | -6.051 | 25.398
1111.836 | -6.119 | 25.01 | -6.08 | 25.237 | -6.23 | 24.38 | -6.057 | 25.373
1112.277 | -6.115 | 25.036 | -6.08 | 25.242 | -6.23 | 24.385 | -6.064 | 25.337
1112.717 | -6.111 | 25.061 | -6.08 | 25.243 | -6.23 | 24.386 | -6.069 | 25.31
1113.158 | -6.108 | 25.081 | -6.08 | 25.243 | -6.23 | 24.386 | -6.072 | 25.29
1113.599 | -6.103 | 25.109 | -6.08 | 25.243 | -6.23 | 24.386 | -6.077 | 25.261
1114.04 | -6.1 | 25.126 | -6.08 | 25.241 | -6.229 | 24.389 | -6.079 | 25.244
1114.481 | -6.095 | 25.143 | -6.08 | 25.231 | -6.226 | 24.397 | -6.08 | 25.229
1114.922 | -6.088 | 25.175 | -6.08 | 25.224 | -6.225 | 24.396 | -6.083 | 25.204
1115.363 | -6.082 | 25.214 | -6.08 | 25.229 | -6.228 | 24.384 | -6.09 | 25.173
1115.804 | -6.079 | 25.241 | -6.08 | 25.236 | -6.229 | 24.388 | -6.097 | 25.135
1116.245 | -6.075 | 25.267 | -6.081 | 25.231 | -6.225 | 24.409 | -6.105 | 25.093
1116.685 | -6.071 | 25.287 | -6.084 | 25.214 | -6.221 | 24.428 | -6.109 | 25.071
1117.126 | -6.07 | 25.294 | -6.085 | 25.207 | -6.22 | 24.436 | -6.11 | 25.062
1117.567 | -6.068 | 25.299 | -6.082 | 25.216 | -6.218 | 24.44 | -6.112 | 25.045
1118.008 | -6.063 | 25.321 | -6.08 | 25.216 | -6.214 | 24.455 | -6.116 | 25.008
1118.449 | -6.055 | 25.354 | -6.08 | 25.208 | -6.211 | 24.46 | -6.12 | 24.978
1118.89 | -6.048 | 25.391 | -6.08 | 25.202 | -6.21 | 24.458 | -6.124 | 24.949
1119.331 | -6.042 | 25.42 | -6.08 | 25.2 | -6.21 | 24.457 | -6.128 | 24.923
1119.771 | -6.038 | 25.434 | -6.078 | 25.202 | -6.208 | 24.459 | -6.13 | 24.905
1120.212 | -6.033 | 25.449 | -6.075 | 25.204 | -6.204 | 24.466 | -6.131 | 24.88
1120.653 | -6.025 | 25.485 | -6.076 | 25.19 | -6.201 | 24.475 | -6.135 | 24.85
1121.094 | -6.018 | 25.524 | -6.078 | 25.171 | -6.2 | 24.478 | -6.138 | 24.827
1121.535 | -6.013 | 25.548 | -6.08 | 25.156 | -6.197 | 24.485 | -6.14 | 24.81
1121.976 | -6.01 | 25.555 | -6.08 | 25.149 | -6.193 | 24.502 | -6.142 | 24.794
1122.417 | -6.009 | 25.563 | -6.08 | 25.149 | -6.191 | 24.517 | -6.146 | 24.771
1122.858 | -6.005 | 25.584 | -6.08 | 25.148 | -6.19 | 24.519 | -6.149 | 24.749
1123.299 | -6.001 | 25.608 | -6.08 | 25.149 | -6.19 | 24.52 | -6.154 | 24.724
1123.74 | -5.997 | 25.634 | -6.08 | 25.152 | -6.19 | 24.523 | -6.16 | 24.691
1124.18 | -5.992 | 25.671 | -6.08 | 25.154 | -6.19 | 24.525 | -6.168 | 24.65
1124.621 | -5.985 | 25.711 | -6.08 | 25.154 | -6.19 | 24.525 | -6.175 | 24.61
1125.062 | -5.981 | 25.735 | -6.08 | 25.153 | -6.19 | 24.524 | -6.179 | 24.588
1125.503 | -5.977 | 25.755 | -6.08 | 25.149 | -6.19 | 24.52 | -6.18 | 24.576
1125.944 | -5.973 | 25.775 | -6.08 | 25.146 | -6.19 | 24.518 | -6.183 | 24.56
1126.385 | -5.97 | 25.794 | -6.082 | 25.142 | -6.19 | 24.522 | -6.186 | 24.542
1126.826 | -5.969 | 25.81 | -6.085 | 25.129 | -6.19 | 24.531 | -6.19 | 24.531
1127.266 | -5.966 | 25.837 | -6.089 | 25.116 | -6.19 | 24.537 | -6.195 | 24.51
1127.707 | -5.962 | 25.866 | -6.09 | 25.113 | -6.19 | 24.542 | -6.201 | 24.479
1128.148 | -5.958 | 25.895 | -6.092 | 25.106 | -6.19 | 24.547 | -6.207 | 24.452
1128.589 | -5.954 | 25.925 | -6.096 | 25.089 | -6.19 | 24.552 | -6.211 | 24.434
1129.03 | -5.951 | 25.95 | -6.099 | 25.077 | -6.19 | 24.559 | -6.216 | 24.414
1129.471 | -5.95 | 25.967 | -6.1 | 25.083 | -6.19 | 24.568 | -6.223 | 24.382
1129.912 | -5.947 | 25.99 | -6.1 | 25.089 | -6.19 | 24.575 | -6.231 | 24.346
1130.353 | -5.943 | 26.015 | -6.1 | 25.092 | -6.19 | 24.578 | -6.236 | 24.315
1130.794 | -5.939 | 26.035 | -6.1 | 25.088 | -6.189 | 24.581 | -6.24 | 24.295
1131.234 | -5.935 | 26.052 | -6.1 | 25.079 | -6.186 | 24.588 | -6.241 | 24.28
1131.675 | -5.928 | 26.088 | -6.1 | 25.072 | -6.185 | 24.586 | -6.244 | 24.255
1132.116 | -5.923 | 26.127 | -6.103 | 25.065 | -6.187 | 24.581 | -6.25 | 24.228
1132.557 | -5.92 | 26.152 | -6.107 | 25.054 | -6.188 | 24.59 | -6.256 | 24.204
1132.998 | -5.919 | 26.164 | -6.109 | 25.04 | -6.184 | 24.612 | -6.261 | 24.183
1133.439 | -5.915 | 26.184 | -6.11 | 25.034 | -6.181 | 24.626 | -6.265 | 24.156
1133.88 | -5.908 | 26.23 | -6.11 | 25.035 | -6.184 | 24.616 | -6.272 | 24.119
1134.321 | -5.9 | 26.284 | -6.112 | 25.03 | -6.187 | 24.603 | -6.28 | 24.083
1134.761 | -5.894 | 26.325 | -6.114 | 25.021 | -6.188 | 24.602 | -6.286 | 24.052
1135.202 | -5.889 | 26.346 | -6.114 | 25.018 | -6.186 | 24.609 | -6.289 | 24.028
1135.643 | -5.885 | 26.359 | -6.111 | 25.026 | -6.185 | 24.603 | -6.29 | 24.012
1136.084 | -5.879 | 26.399 | -6.11 | 25.027 | -6.188 | 24.582 | -6.294 | 23.993
1136.525 | -5.873 | 26.438 | -6.112 | 25.02 | -6.19 | 24.578 | -6.3 | 23.963
1136.966 | -5.87 | 26.468 | -6.116 | 25.011 | -6.19 | 24.589 | -6.308 | 23.933
1137.407 | -5.869 | 26.488 | -6.119 | 25.004 | -6.19 | 24.601 | -6.315 | 23.906
1137.848 | -5.866 | 26.509 | -6.12 | 25.004 | -6.19 | 24.604 | -6.319 | 23.883
1138.289 | -5.859 | 26.531 | -6.117 | 24.998 | -6.187 | 24.599 | -6.317 | 23.872
1138.729 | -5.851 | 26.55 | -6.113 | 24.996 | -6.183 | 24.596 | -6.315 | 23.858
1139.17 | -5.844 | 26.576 | -6.11 | 24.996 | -6.18 | 24.597 | -6.318 | 23.831
1139.611 | -5.84 | 26.606 | -6.111 | 24.996 | -6.18 | 24.601 | -6.324 | 23.797
1140.052 | -5.837 | 26.632 | -6.113 | 24.986 | -6.18 | 24.608 | -6.33 | 23.774
1140.493 | -5.832 | 26.662 | -6.118 | 24.962 | -6.178 | 24.621 | -6.333 | 23.756
1140.934 | -5.828 | 26.682 | -6.118 | 24.961 | -6.175 | 24.634 | -6.339 | 23.722
1141.375 | -5.824 | 26.706 | -6.114 | 24.98 | -6.176 | 24.628 | -6.345 | 23.686
1141.816 | -5.82 | 26.733 | -6.111 | 24.998 | -6.179 | 24.609 | -6.35 | 23.66
1142.256 | -5.817 | 26.756 | -6.113 | 24.99 | -6.18 | 24.608 | -6.353 | 23.646
1142.697 | -5.81 | 26.805 | -6.118 | 24.968 | -6.18 | 24.614 | -6.361 | 23.612
1143.138 | -5.803 | 26.848 | -6.12 | 24.961 | -6.18 | 24.618 | -6.368 | 23.573
1143.579 | -5.799 | 26.878 | -6.12 | 24.963 | -6.18 | 24.621 | -6.375 | 23.538
1144.02 | -5.795 | 26.903 | -6.121 | 24.961 | -6.18 | 24.622 | -6.38 | 23.513
1144.461 | -5.788 | 26.944 | -6.122 | 24.945 | -6.18 | 24.617 | -6.383 | 23.493
1144.902 | -5.78 | 26.995 | -6.126 | 24.928 | -6.18 | 24.62 | -6.39 | 23.457
1145.343 | -5.773 | 27.032 | -6.125 | 24.933 | -6.18 | 24.616 | -6.397 | 23.419
1145.784 | -5.77 | 27.055 | -6.126 | 24.93 | -6.181 | 24.614 | -6.401 | 23.4
1146.224 | -5.77 | 27.075 | -6.129 | 24.921 | -6.184 | 24.611 | -6.404 | 23.393
1146.665 | -5.767 | 27.105 | -6.13 | 24.933 | -6.189 | 24.596 | -6.412 | 23.367
1147.106 | -5.76 | 27.152 | -6.132 | 24.927 | -6.19 | 24.594 | -6.42 | 23.327
1147.547 | -5.754 | 27.205 | -6.137 | 24.909 | -6.191 | 24.598 | -6.429 | 23.288
1147.988 | -5.75 | 27.247 | -6.14 | 24.911 | -6.195 | 24.595 | -6.44 | 23.247
1148.429 | -5.75 | 27.272 | -6.14 | 24.928 | -6.2 | 24.587 | -6.449 | 23.214
1148.87 | -5.748 | 27.287 | -6.14 | 24.932 | -6.202 | 24.578 | -6.452 | 23.203
1149.311 | -5.742 | 27.334 | -6.14 | 24.94 | -6.208 | 24.553 | -6.459 | 23.173
1149.751 | -5.739 | 27.364 | -6.141 | 24.946 | -6.211 | 24.549 | -6.467 | 23.141
1150.192 | -5.735 | 27.408 | -6.145 | 24.939 | -6.214 | 24.543 | -6.476 | 23.11
1150.633 | -5.73 | 27.454 | -6.15 | 24.929 | -6.216 | 24.549 | -6.486 | 23.069
1151.074 | -5.73 | 27.466 | -6.15 | 24.934 | -6.211 | 24.589 | -6.499 | 23.011
1151.515 | -5.73 | 27.467 | -6.15 | 24.935 | -6.21 | 24.593 | -6.5 | 23.004
1151.956 | -5.729 | 27.475 | -6.15 | 24.935 | -6.211 | 24.589 | -6.501 | 23.001
1152.397 | -5.721 | 27.526 | -6.15 | 24.933 | -6.215 | 24.566 | -6.505 | 22.975
1152.838 | -5.711 | 27.598 | -6.153 | 24.926 | -6.22 | 24.547 | -6.516 | 22.929
1153.279 | -5.71 | 27.635 | -6.159 | 24.919 | -6.221 | 24.566 | -6.53 | 22.88
1153.719 | -5.709 | 27.662 | -6.16 | 24.936 | -6.228 | 24.548 | -6.539 | 22.854
1154.16 | -5.704 | 27.7 | -6.16 | 24.938 | -6.23 | 24.542 | -6.546 | 22.819
1154.601 | -5.7 | 27.711 | -6.16 | 24.925 | -6.225 | 24.554 | -6.545 | 22.81
1155.042 | -5.697 | 27.718 | -6.163 | 24.9 | -6.221 | 24.571 | -6.543 | 22.811
1155.483 | -5.692 | 27.762 | -6.169 | 24.872 | -6.22 | 24.583 | -6.55 | 22.783
1155.924 | -5.698 | 27.749 | -6.17 | 24.887 | -6.22 | 24.602 | -6.558 | 22.762
1156.365 | -5.699 | 27.771 | -6.176 | 24.885 | -6.226 | 24.598 | -6.566 | 22.746
1156.806 | -5.691 | 27.824 | -6.175 | 24.89 | -6.23 | 24.58 | -6.574 | 22.706
1157.246 | -5.679 | 27.886 | -6.171 | 24.9 | -6.23 | 24.563 | -6.582 | 22.651
1157.687 | -5.671 | 27.927 | -6.169 | 24.903 | -6.229 | 24.561 | -6.589 | 22.609
1158.128 | -5.67 | 27.914 | -6.163 | 24.92 | -6.222 | 24.58 | -6.59 | 22.586
1158.569 | -5.67 | 27.919 | -6.166 | 24.903 | -6.221 | 24.592 | -6.59 | 22.586
1159.01 | -5.666 | 27.954 | -6.169 | 24.893 | -6.224 | 24.581 | -6.594 | 22.572
1159.451 | -5.658 | 28.01 | -6.17 | 24.898 | -6.229 | 24.562 | -6.604 | 22.529
1159.892 | -5.651 | 28.069 | -6.169 | 24.91 | -6.231 | 24.558 | -6.618 | 22.463
1160.333 | -5.643 | 28.118 | -6.163 | 24.944 | -6.237 | 24.522 | -6.627 | 22.416
1160.774 | -5.635 | 28.149 | -6.161 | 24.939 | -6.234 | 24.524 | -6.629 | 22.388
1161.214 | -5.631 | 28.164 | -6.164 | 24.909 | -6.227 | 24.552 | -6.63 | 22.375
1161.655 | -5.625 | 28.189 | -6.169 | 24.873 | -6.221 | 24.572 | -6.63 | 22.366
1162.096 | -5.614 | 28.242 | -6.169 | 24.852 | -6.22 | 24.562 | -6.631 | 22.344
1162.537 | -5.611 | 28.256 | -6.163 | 24.879 | -6.22 | 24.557 | -6.637 | 22.308
1162.978 | -5.61 | 28.275 | -6.166 | 24.877 | -6.22 | 24.569 | -6.645 | 22.28
1163.419 | -5.61 | 28.298 | -6.169 | 24.879 | -6.224 | 24.566 | -6.653 | 22.257
1163.86 | -5.608 | 28.336 | -6.172 | 24.881 | -6.231 | 24.548 | -6.661 | 22.234
1164.301 | -5.6 | 28.4 | -6.177 | 24.87 | -6.238 | 24.524 | -6.669 | 22.207
1164.741 | -5.587 | 28.472 | -6.173 | 24.877 | -6.239 | 24.499 | -6.677 | 22.153
1165.182 | -5.576 | 28.52 | -6.171 | 24.873 | -6.235 | 24.508 | -6.684 | 22.099
1165.623 | -5.571 | 28.544 | -6.17 | 24.868 | -6.231 | 24.52 | -6.689 | 22.069
1166.064 | -5.565 | 28.567 | -6.17 | 24.855 | -6.228 | 24.527 | -6.69 | 22.051
1166.505 | -5.554 | 28.612 | -6.169 | 24.834 | -6.222 | 24.531 | -6.691 | 22.023
1166.946 | -5.544 | 28.654 | -6.164 | 24.846 | -6.22 | 24.523 | -6.697 | 21.977
1167.387 | -5.541 | 28.685 | -6.161 | 24.868 | -6.225 | 24.504 | -6.704 | 21.944
1167.828 | -5.533 | 28.737 | -6.16 | 24.874 | -6.229 | 24.484 | -6.712 | 21.905
1168.269 | -5.524 | 28.789 | -6.16 | 24.869 | -6.23 | 24.471 | -6.718 | 21.871
1168.709 | -5.52 | 28.814 | -6.16 | 24.867 | -6.231 | 24.465 | -6.721 | 21.855
1169.15 | -5.52 | 28.832 | -6.16 | 24.88 | -6.236 | 24.448 | -6.726 | 21.839
1169.591 | -5.511 | 28.869 | -6.155 | 24.886 | -6.234 | 24.438 | -6.729 | 21.807
1170.032 | -5.5 | 28.894 | -6.148 | 24.887 | -6.225 | 24.451 | -6.73 | 21.768
1170.473 | -5.493 | 28.913 | -6.145 | 24.882 | -6.217 | 24.471 | -6.732 | 21.734
1170.914 | -5.49 | 28.941 | -6.148 | 24.875 | -6.218 | 24.473 | -6.738 | 21.711
1171.355 | -5.49 | 28.994 | -6.155 | 24.875 | -6.231 | 24.445 | -6.751 | 21.686
1171.796 | -5.481 | 29.046 | -6.15 | 24.9 | -6.233 | 24.427 | -6.762 | 21.627
1172.236 | -5.471 | 29.097 | -6.147 | 24.901 | -6.232 | 24.419 | -6.768 | 21.583
1172.677 | -5.463 | 29.141 | -6.147 | 24.891 | -6.232 | 24.411 | -6.772 | 21.557
1173.118 | -5.459 | 29.178 | -6.15 | 24.884 | -6.236 | 24.397 | -6.776 | 21.541
1173.559 | -5.449 | 29.224 | -6.15 | 24.87 | -6.234 | 24.392 | -6.78 | 21.514
1174 | -5.438 | 29.271 | -6.146 | 24.87 | -6.227 | 24.409 | -6.788 | 21.451