## A017632
SN: | A017632
Item #: | TWQ850HA
Item Description: | 1x4 Wideband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | Port 1
Test Wavelength (nm): | 850
Insertion Loss (dB): | -6.85
Coupling Ratio (%): | 20.8
Uniformity (dB): | 1.68
Port Name: | Port 2
Test Wavelength (nm): | 850
Insertion Loss (dB): | -6.16
Coupling Ratio (%): | 24.4
Uniformity (dB): | 0.1
Port Name: | Port 3
Test Wavelength (nm): | 850
Insertion Loss (dB): | -5.96
Coupling Ratio (%): | 25.5
Uniformity (dB): | 0.45
Port Name: | Port 4
Test Wavelength (nm): | 850
Insertion Loss (dB): | -5.37
Coupling Ratio (%): | 29.3
Uniformity (dB): | 1.48
Spectral Response
Wavelength (nm) | Insertion Loss - Port 1 (dB) | Coupling Ratio - Port 1 (%) | Insertion Loss - Port 2 (dB) | Coupling Ratio - Port 2 (%) | Insertion Loss - Port 3 (dB) | Coupling Ratio - Port 3 (%) | Insertion Loss - Port 4 (dB) | Coupling Ratio - Port 4 (%)
740 | -5 | 31.767 | -6.137 | 24.449 | -6.203 | 24.078 | -7.073 | 19.707
740.441 | -5 | 31.766 | -6.137 | 24.449 | -6.203 | 24.078 | -7.073 | 19.707
740.882 | -5.018 | 31.682 | -6.145 | 24.442 | -6.204 | 24.115 | -7.068 | 19.762
741.323 | -5.04 | 31.591 | -6.171 | 24.348 | -6.202 | 24.175 | -7.05 | 19.887
741.764 | -5.057 | 31.538 | -6.214 | 24.16 | -6.201 | 24.235 | -7.02 | 20.067
742.204 | -5.054 | 31.596 | -6.235 | 24.071 | -6.214 | 24.189 | -7.008 | 20.145
742.645 | -5.062 | 31.559 | -6.238 | 24.071 | -6.211 | 24.221 | -7.011 | 20.148
743.086 | -5.077 | 31.459 | -6.231 | 24.115 | -6.204 | 24.267 | -7.009 | 20.159
743.527 | -5.094 | 31.319 | -6.216 | 24.187 | -6.196 | 24.297 | -6.999 | 20.197
743.968 | -5.105 | 31.193 | -6.191 | 24.296 | -6.189 | 24.305 | -6.991 | 20.206
744.409 | -5.124 | 31.042 | -6.182 | 24.329 | -6.186 | 24.306 | -6.963 | 20.323
744.85 | -5.14 | 30.937 | -6.188 | 24.304 | -6.193 | 24.274 | -6.93 | 20.485
745.291 | -5.15 | 30.901 | -6.2 | 24.265 | -6.212 | 24.199 | -6.904 | 20.635
745.731 | -5.152 | 30.904 | -6.182 | 24.38 | -6.233 | 24.094 | -6.909 | 20.622
746.172 | -5.156 | 30.854 | -6.172 | 24.416 | -6.226 | 24.111 | -6.906 | 20.619
746.613 | -5.157 | 30.783 | -6.166 | 24.403 | -6.205 | 24.183 | -6.895 | 20.631
747.054 | -5.16 | 30.703 | -6.163 | 24.371 | -6.182 | 24.266 | -6.881 | 20.66
747.495 | -5.183 | 30.613 | -6.169 | 24.396 | -6.188 | 24.287 | -6.881 | 20.704
747.936 | -5.208 | 30.529 | -6.168 | 24.477 | -6.213 | 24.224 | -6.881 | 20.769
748.377 | -5.222 | 30.435 | -6.157 | 24.541 | -6.223 | 24.174 | -6.865 | 20.85
748.818 | -5.222 | 30.348 | -6.137 | 24.58 | -6.212 | 24.158 | -6.838 | 20.914
749.259 | -5.205 | 30.346 | -6.11 | 24.637 | -6.196 | 24.154 | -6.832 | 20.863
749.699 | -5.211 | 30.359 | -6.126 | 24.59 | -6.203 | 24.16 | -6.834 | 20.891
750.14 | -5.23 | 30.302 | -6.157 | 24.478 | -6.202 | 24.222 | -6.823 | 20.998
750.581 | -5.255 | 30.155 | -6.183 | 24.354 | -6.187 | 24.334 | -6.794 | 21.157
751.022 | -5.275 | 29.928 | -6.173 | 24.34 | -6.155 | 24.439 | -6.754 | 21.292
751.463 | -5.314 | 29.679 | -6.172 | 24.36 | -6.144 | 24.521 | -6.727 | 21.44
751.904 | -5.356 | 29.453 | -6.183 | 24.349 | -6.142 | 24.581 | -6.7 | 21.618
752.345 | -5.388 | 29.31 | -6.195 | 24.344 | -6.15 | 24.595 | -6.684 | 21.751
752.786 | -5.39 | 29.374 | -6.184 | 24.464 | -6.177 | 24.506 | -6.714 | 21.656
753.226 | -5.389 | 29.423 | -6.192 | 24.454 | -6.191 | 24.458 | -6.718 | 21.665
753.667 | -5.38 | 29.435 | -6.19 | 24.429 | -6.187 | 24.446 | -6.706 | 21.69
754.108 | -5.362 | 29.441 | -6.171 | 24.434 | -6.173 | 24.423 | -6.687 | 21.701
754.549 | -5.338 | 29.502 | -6.144 | 24.506 | -6.18 | 24.3 | -6.673 | 21.692
754.99 | -5.357 | 29.408 | -6.127 | 24.631 | -6.193 | 24.257 | -6.676 | 21.703
755.431 | -5.374 | 29.318 | -6.116 | 24.713 | -6.2 | 24.241 | -6.675 | 21.728
755.872 | -5.386 | 29.242 | -6.11 | 24.749 | -6.202 | 24.232 | -6.666 | 21.776
756.313 | -5.407 | 29.132 | -6.111 | 24.771 | -6.208 | 24.227 | -6.652 | 21.871
756.753 | -5.423 | 29.052 | -6.128 | 24.697 | -6.197 | 24.312 | -6.643 | 21.939
757.194 | -5.438 | 28.938 | -6.127 | 24.695 | -6.186 | 24.359 | -6.627 | 22.008
757.635 | -5.451 | 28.822 | -6.12 | 24.706 | -6.178 | 24.377 | -6.605 | 22.095
758.076 | -5.457 | 28.781 | -6.143 | 24.576 | -6.17 | 24.428 | -6.582 | 22.214
758.517 | -5.448 | 28.734 | -6.142 | 24.491 | -6.145 | 24.474 | -6.549 | 22.301
758.958 | -5.454 | 28.629 | -6.128 | 24.519 | -6.132 | 24.494 | -6.528 | 22.358
759.399 | -5.478 | 28.469 | -6.11 | 24.613 | -6.128 | 24.514 | -6.519 | 22.404
759.84 | -5.513 | 28.271 | -6.103 | 24.682 | -6.121 | 24.576 | -6.51 | 22.47
760.281 | -5.543 | 28.101 | -6.107 | 24.677 | -6.115 | 24.633 | -6.491 | 22.589
760.721 | -5.557 | 28.028 | -6.118 | 24.631 | -6.119 | 24.625 | -6.47 | 22.716
761.162 | -5.56 | 28.031 | -6.134 | 24.557 | -6.128 | 24.595 | -6.454 | 22.817
761.603 | -5.56 | 28.06 | -6.153 | 24.476 | -6.13 | 24.61 | -6.451 | 22.853
762.044 | -5.561 | 28.068 | -6.151 | 24.499 | -6.13 | 24.62 | -6.461 | 22.813
762.485 | -5.568 | 28.004 | -6.134 | 24.582 | -6.13 | 24.607 | -6.46 | 22.807
762.926 | -5.579 | 27.899 | -6.114 | 24.67 | -6.128 | 24.59 | -6.448 | 22.841
763.367 | -5.588 | 27.813 | -6.104 | 24.695 | -6.122 | 24.595 | -6.432 | 22.896
763.808 | -5.59 | 27.77 | -6.112 | 24.624 | -6.115 | 24.604 | -6.408 | 23.002
764.248 | -5.594 | 27.744 | -6.118 | 24.594 | -6.119 | 24.586 | -6.394 | 23.077
764.689 | -5.603 | 27.707 | -6.118 | 24.61 | -6.127 | 24.559 | -6.388 | 23.124
765.13 | -5.616 | 27.635 | -6.112 | 24.654 | -6.13 | 24.55 | -6.383 | 23.161
765.571 | -5.632 | 27.565 | -6.105 | 24.717 | -6.135 | 24.547 | -6.386 | 23.171
766.012 | -5.654 | 27.462 | -6.106 | 24.747 | -6.135 | 24.583 | -6.384 | 23.208
766.453 | -5.677 | 27.342 | -6.113 | 24.73 | -6.127 | 24.647 | -6.375 | 23.281
766.894 | -5.694 | 27.231 | -6.123 | 24.671 | -6.114 | 24.717 | -6.356 | 23.38
767.335 | -5.698 | 27.131 | -6.111 | 24.671 | -6.1 | 24.735 | -6.329 | 23.463
767.776 | -5.696 | 27.053 | -6.093 | 24.694 | -6.085 | 24.734 | -6.304 | 23.519
768.216 | -5.694 | 26.999 | -6.077 | 24.723 | -6.077 | 24.723 | -6.287 | 23.555
768.657 | -5.699 | 26.961 | -6.072 | 24.743 | -6.078 | 24.708 | -6.279 | 23.589
769.098 | -5.716 | 26.892 | -6.081 | 24.726 | -6.084 | 24.704 | -6.269 | 23.678
769.539 | -5.733 | 26.809 | -6.087 | 24.713 | -6.088 | 24.705 | -6.255 | 23.773
769.98 | -5.749 | 26.721 | -6.09 | 24.707 | -6.088 | 24.719 | -6.243 | 23.852
770.421 | -5.764 | 26.635 | -6.091 | 24.707 | -6.083 | 24.749 | -6.233 | 23.91
770.862 | -5.779 | 26.563 | -6.095 | 24.697 | -6.081 | 24.776 | -6.226 | 23.965
771.303 | -5.79 | 26.514 | -6.098 | 24.699 | -6.084 | 24.78 | -6.222 | 24.007
771.743 | -5.799 | 26.485 | -6.1 | 24.715 | -6.092 | 24.76 | -6.22 | 24.039
772.184 | -5.807 | 26.466 | -6.099 | 24.744 | -6.103 | 24.724 | -6.22 | 24.066
772.625 | -5.814 | 26.431 | -6.095 | 24.779 | -6.107 | 24.709 | -6.219 | 24.081
773.066 | -5.822 | 26.362 | -6.088 | 24.793 | -6.099 | 24.732 | -6.209 | 24.113
773.507 | -5.829 | 26.279 | -6.083 | 24.788 | -6.086 | 24.77 | -6.194 | 24.163
773.948 | -5.836 | 26.204 | -6.081 | 24.765 | -6.074 | 24.806 | -6.177 | 24.225
774.389 | -5.839 | 26.161 | -6.085 | 24.724 | -6.067 | 24.827 | -6.162 | 24.287
774.83 | -5.844 | 26.129 | -6.088 | 24.698 | -6.066 | 24.827 | -6.151 | 24.347
775.271 | -5.851 | 26.092 | -6.092 | 24.686 | -6.069 | 24.815 | -6.141 | 24.408
775.711 | -5.865 | 26.036 | -6.098 | 24.677 | -6.074 | 24.813 | -6.134 | 24.474
776.152 | -5.887 | 25.939 | -6.109 | 24.649 | -6.07 | 24.87 | -6.127 | 24.542
776.593 | -5.908 | 25.855 | -6.119 | 24.631 | -6.065 | 24.941 | -6.129 | 24.572
777.034 | -5.925 | 25.812 | -6.126 | 24.642 | -6.067 | 24.983 | -6.14 | 24.563
777.475 | -5.937 | 25.802 | -6.129 | 24.69 | -6.079 | 24.975 | -6.156 | 24.533
777.916 | -5.953 | 25.765 | -6.126 | 24.76 | -6.095 | 24.936 | -6.165 | 24.538
778.357 | -5.973 | 25.682 | -6.126 | 24.796 | -6.105 | 24.916 | -6.159 | 24.607
778.798 | -5.991 | 25.574 | -6.129 | 24.776 | -6.103 | 24.923 | -6.138 | 24.727
779.238 | -6.004 | 25.465 | -6.137 | 24.699 | -6.091 | 24.961 | -6.106 | 24.876
779.679 | -6.01 | 25.383 | -6.148 | 24.589 | -6.071 | 25.026 | -6.075 | 25.002
780.12 | -6.016 | 25.327 | -6.158 | 24.515 | -6.058 | 25.089 | -6.061 | 25.069
780.561 | -6.027 | 25.28 | -6.164 | 24.496 | -6.053 | 25.131 | -6.059 | 25.093
781.002 | -6.04 | 25.232 | -6.162 | 24.529 | -6.055 | 25.142 | -6.063 | 25.097
781.443 | -6.047 | 25.186 | -6.153 | 24.579 | -6.058 | 25.121 | -6.059 | 25.114
781.884 | -6.047 | 25.15 | -6.142 | 24.603 | -6.057 | 25.091 | -6.046 | 25.157
782.325 | -6.044 | 25.123 | -6.136 | 24.595 | -6.054 | 25.066 | -6.028 | 25.216
782.766 | -6.041 | 25.103 | -6.135 | 24.569 | -6.051 | 25.046 | -6.011 | 25.282
783.206 | -6.045 | 25.073 | -6.134 | 24.564 | -6.054 | 25.02 | -5.999 | 25.343
783.647 | -6.056 | 25.011 | -6.127 | 24.606 | -6.06 | 24.987 | -5.99 | 25.396
784.088 | -6.07 | 24.931 | -6.118 | 24.659 | -6.066 | 24.956 | -5.98 | 25.453
784.529 | -6.084 | 24.856 | -6.114 | 24.686 | -6.07 | 24.935 | -5.969 | 25.523
784.97 | -6.093 | 24.816 | -6.122 | 24.65 | -6.074 | 24.922 | -5.955 | 25.612
785.411 | -6.1 | 24.801 | -6.137 | 24.589 | -6.08 | 24.912 | -5.946 | 25.698
785.852 | -6.106 | 24.798 | -6.149 | 24.55 | -6.089 | 24.893 | -5.941 | 25.759
786.293 | -6.109 | 24.798 | -6.153 | 24.55 | -6.099 | 24.858 | -5.938 | 25.794
786.733 | -6.11 | 24.786 | -6.148 | 24.575 | -6.106 | 24.813 | -5.932 | 25.826
787.174 | -6.113 | 24.735 | -6.14 | 24.581 | -6.099 | 24.812 | -5.917 | 25.872
787.615 | -6.118 | 24.652 | -6.131 | 24.575 | -6.083 | 24.851 | -5.9 | 25.921
788.056 | -6.125 | 24.559 | -6.122 | 24.577 | -6.065 | 24.903 | -5.884 | 25.961
788.497 | -6.135 | 24.497 | -6.117 | 24.599 | -6.06 | 24.926 | -5.88 | 25.979
788.938 | -6.147 | 24.48 | -6.125 | 24.607 | -6.067 | 24.936 | -5.889 | 25.978
789.379 | -6.16 | 24.472 | -6.139 | 24.59 | -6.075 | 24.954 | -5.899 | 25.984
789.82 | -6.174 | 24.438 | -6.152 | 24.564 | -6.079 | 24.981 | -5.902 | 26.017
790.26 | -6.192 | 24.35 | -6.155 | 24.557 | -6.077 | 25.003 | -5.892 | 26.091
790.701 | -6.206 | 24.256 | -6.15 | 24.569 | -6.073 | 25.009 | -5.877 | 26.167
791.142 | -6.215 | 24.186 | -6.142 | 24.597 | -6.072 | 24.996 | -5.864 | 26.22
791.583 | -6.219 | 24.145 | -6.131 | 24.642 | -6.074 | 24.964 | -5.856 | 26.249
792.024 | -6.22 | 24.121 | -6.118 | 24.698 | -6.078 | 24.922 | -5.851 | 26.26
792.465 | -6.222 | 24.096 | -6.109 | 24.734 | -6.08 | 24.901 | -5.847 | 26.268
792.906 | -6.227 | 24.062 | -6.109 | 24.723 | -6.077 | 24.905 | -5.839 | 26.31
793.347 | -6.234 | 24.011 | -6.118 | 24.66 | -6.07 | 24.932 | -5.822 | 26.398
793.788 | -6.241 | 23.943 | -6.129 | 24.569 | -6.058 | 24.975 | -5.798 | 26.514
794.228 | -6.249 | 23.88 | -6.135 | 24.516 | -6.049 | 25.004 | -5.78 | 26.601
794.669 | -6.255 | 23.842 | -6.133 | 24.522 | -6.05 | 24.994 | -5.773 | 26.643
795.11 | -6.26 | 23.835 | -6.128 | 24.57 | -6.062 | 24.943 | -5.775 | 26.652
795.551 | -6.263 | 23.855 | -6.127 | 24.612 | -6.08 | 24.879 | -5.781 | 26.654
795.992 | -6.271 | 23.867 | -6.137 | 24.611 | -6.095 | 24.852 | -5.788 | 26.669
796.433 | -6.283 | 23.855 | -6.15 | 24.595 | -6.103 | 24.86 | -5.795 | 26.69
796.874 | -6.298 | 23.811 | -6.16 | 24.581 | -6.104 | 24.895 | -5.798 | 26.713
797.315 | -6.317 | 23.728 | -6.167 | 24.557 | -6.097 | 24.959 | -5.795 | 26.756
797.755 | -6.34 | 23.618 | -6.182 | 24.493 | -6.085 | 25.044 | -5.783 | 26.845
798.196 | -6.358 | 23.526 | -6.193 | 24.436 | -6.075 | 25.108 | -5.77 | 26.931
798.637 | -6.365 | 23.476 | -6.195 | 24.414 | -6.068 | 25.136 | -5.762 | 26.974
799.078 | -6.364 | 23.46 | -6.187 | 24.436 | -6.066 | 25.127 | -5.758 | 26.977
799.519 | -6.371 | 23.42 | -6.177 | 24.494 | -6.075 | 25.075 | -5.752 | 27.011
799.96 | -6.387 | 23.351 | -6.171 | 24.545 | -6.086 | 25.032 | -5.745 | 27.072
800.401 | -6.407 | 23.274 | -6.169 | 24.585 | -6.096 | 25.006 | -5.741 | 27.136
800.842 | -6.421 | 23.22 | -6.166 | 24.622 | -6.102 | 24.986 | -5.738 | 27.172
801.283 | -6.413 | 23.218 | -6.156 | 24.633 | -6.093 | 24.992 | -5.732 | 27.157
801.723 | -6.396 | 23.243 | -6.147 | 24.611 | -6.076 | 25.02 | -5.725 | 27.126
802.164 | -6.383 | 23.268 | -6.148 | 24.562 | -6.063 | 25.048 | -5.717 | 27.123
802.605 | -6.382 | 23.272 | -6.157 | 24.511 | -6.06 | 25.062 | -5.712 | 27.155
803.046 | -6.386 | 23.25 | -6.158 | 24.508 | -6.061 | 25.058 | -5.708 | 27.183
803.487 | -6.39 | 23.217 | -6.149 | 24.539 | -6.065 | 25.021 | -5.699 | 27.222
803.928 | -6.393 | 23.174 | -6.139 | 24.575 | -6.069 | 24.972 | -5.685 | 27.279
804.369 | -6.4 | 23.127 | -6.133 | 24.591 | -6.072 | 24.943 | -5.673 | 27.338
804.81 | -6.407 | 23.106 | -6.138 | 24.582 | -6.076 | 24.936 | -5.671 | 27.375
805.25 | -6.415 | 23.096 | -6.149 | 24.556 | -6.079 | 24.956 | -5.674 | 27.392
805.691 | -6.426 | 23.064 | -6.158 | 24.531 | -6.077 | 24.993 | -5.675 | 27.412
806.132 | -6.439 | 22.988 | -6.157 | 24.533 | -6.07 | 25.027 | -5.669 | 27.451
806.573 | -6.454 | 22.886 | -6.147 | 24.565 | -6.063 | 25.043 | -5.656 | 27.505
807.014 | -6.468 | 22.789 | -6.137 | 24.595 | -6.056 | 25.057 | -5.642 | 27.56
807.455 | -6.477 | 22.729 | -6.131 | 24.613 | -6.051 | 25.071 | -5.636 | 27.587
807.896 | -6.48 | 22.728 | -6.132 | 24.626 | -6.053 | 25.075 | -5.641 | 27.57
808.337 | -6.48 | 22.762 | -6.136 | 24.638 | -6.063 | 25.056 | -5.652 | 27.544
808.778 | -6.481 | 22.78 | -6.139 | 24.649 | -6.072 | 25.03 | -5.657 | 27.541
809.218 | -6.49 | 22.745 | -6.14 | 24.653 | -6.075 | 25.025 | -5.653 | 27.577
809.659 | -6.506 | 22.656 | -6.142 | 24.641 | -6.069 | 25.055 | -5.641 | 27.648
810.1 | -6.521 | 22.572 | -6.147 | 24.601 | -6.058 | 25.108 | -5.629 | 27.719
810.541 | -6.528 | 22.533 | -6.153 | 24.564 | -6.052 | 25.14 | -5.622 | 27.763
810.982 | -6.53 | 22.522 | -6.155 | 24.553 | -6.053 | 25.134 | -5.617 | 27.791
811.423 | -6.535 | 22.501 | -6.154 | 24.563 | -6.058 | 25.113 | -5.612 | 27.823
811.864 | -6.547 | 22.452 | -6.158 | 24.557 | -6.059 | 25.127 | -5.609 | 27.864
812.305 | -6.556 | 22.417 | -6.167 | 24.52 | -6.055 | 25.159 | -5.605 | 27.905
812.745 | -6.556 | 22.402 | -6.17 | 24.489 | -6.049 | 25.18 | -5.599 | 27.929
813.186 | -6.553 | 22.391 | -6.162 | 24.5 | -6.045 | 25.17 | -5.591 | 27.939
813.627 | -6.552 | 22.371 | -6.149 | 24.544 | -6.046 | 25.131 | -5.584 | 27.954
814.068 | -6.555 | 22.336 | -6.139 | 24.582 | -6.048 | 25.1 | -5.576 | 27.981
814.509 | -6.561 | 22.295 | -6.136 | 24.591 | -6.047 | 25.098 | -5.569 | 28.016
814.95 | -6.567 | 22.263 | -6.139 | 24.568 | -6.043 | 25.118 | -5.563 | 28.051
815.391 | -6.569 | 22.254 | -6.145 | 24.539 | -6.041 | 25.135 | -5.561 | 28.072
815.832 | -6.57 | 22.253 | -6.149 | 24.52 | -6.04 | 25.146 | -5.56 | 28.081
816.273 | -6.573 | 22.243 | -6.153 | 24.503 | -6.037 | 25.166 | -5.56 | 28.088
816.713 | -6.579 | 22.217 | -6.157 | 24.482 | -6.033 | 25.191 | -5.557 | 28.11
817.154 | -6.586 | 22.173 | -6.157 | 24.471 | -6.031 | 25.195 | -5.547 | 28.161
817.595 | -6.592 | 22.117 | -6.151 | 24.483 | -6.03 | 25.178 | -5.534 | 28.223
818.036 | -6.598 | 22.061 | -6.142 | 24.502 | -6.027 | 25.158 | -5.519 | 28.279
818.477 | -6.601 | 22.015 | -6.136 | 24.506 | -6.023 | 25.148 | -5.506 | 28.331
818.918 | -6.607 | 21.978 | -6.137 | 24.491 | -6.021 | 25.154 | -5.497 | 28.377
819.359 | -6.617 | 21.943 | -6.142 | 24.475 | -6.02 | 25.177 | -5.496 | 28.404
819.8 | -6.628 | 21.906 | -6.147 | 24.469 | -6.017 | 25.211 | -5.498 | 28.414
820.24 | -6.636 | 21.875 | -6.148 | 24.474 | -6.015 | 25.235 | -5.5 | 28.415
820.681 | -6.639 | 21.862 | -6.145 | 24.497 | -6.017 | 25.229 | -5.501 | 28.412
821.122 | -6.64 | 21.866 | -6.142 | 24.523 | -6.023 | 25.207 | -5.504 | 28.403
821.563 | -6.643 | 21.875 | -6.143 | 24.542 | -6.03 | 25.19 | -5.51 | 28.393
822.004 | -6.648 | 21.878 | -6.148 | 24.548 | -6.037 | 25.18 | -5.516 | 28.394
822.445 | -6.655 | 21.868 | -6.154 | 24.541 | -6.042 | 25.181 | -5.518 | 28.411
822.886 | -6.662 | 21.837 | -6.158 | 24.528 | -6.04 | 25.2 | -5.516 | 28.435
823.327 | -6.67 | 21.79 | -6.157 | 24.519 | -6.032 | 25.233 | -5.51 | 28.459
823.768 | -6.677 | 21.737 | -6.155 | 24.511 | -6.023 | 25.267 | -5.503 | 28.485
824.208 | -6.685 | 21.69 | -6.158 | 24.492 | -6.017 | 25.297 | -5.496 | 28.521
824.649 | -6.695 | 21.654 | -6.165 | 24.463 | -6.016 | 25.318 | -5.492 | 28.565
825.09 | -6.704 | 21.632 | -6.174 | 24.44 | -6.02 | 25.321 | -5.49 | 28.607
825.531 | -6.71 | 21.618 | -6.179 | 24.432 | -6.025 | 25.31 | -5.489 | 28.64
825.972 | -6.715 | 21.596 | -6.179 | 24.43 | -6.027 | 25.3 | -5.484 | 28.673
826.413 | -6.719 | 21.556 | -6.176 | 24.423 | -6.022 | 25.308 | -5.474 | 28.713
826.854 | -6.725 | 21.496 | -6.173 | 24.406 | -6.011 | 25.332 | -5.459 | 28.767
827.295 | -6.732 | 21.43 | -6.171 | 24.385 | -6.001 | 25.356 | -5.444 | 28.828
827.735 | -6.737 | 21.394 | -6.169 | 24.38 | -5.999 | 25.357 | -5.435 | 28.869
828.176 | -6.735 | 21.406 | -6.167 | 24.401 | -6.005 | 25.328 | -5.437 | 28.864
828.617 | -6.728 | 21.448 | -6.163 | 24.43 | -6.013 | 25.289 | -5.443 | 28.833
829.058 | -6.719 | 21.49 | -6.159 | 24.447 | -6.017 | 25.26 | -5.447 | 28.803
829.499 | -6.713 | 21.503 | -6.155 | 24.454 | -6.016 | 25.251 | -5.446 | 28.792
829.94 | -6.714 | 21.486 | -6.15 | 24.465 | -6.012 | 25.253 | -5.442 | 28.795
830.381 | -6.719 | 21.458 | -6.148 | 24.472 | -6.01 | 25.263 | -5.44 | 28.806
830.822 | -6.727 | 21.428 | -6.153 | 24.457 | -6.009 | 25.285 | -5.439 | 28.831
831.263 | -6.738 | 21.389 | -6.161 | 24.428 | -6.006 | 25.312 | -5.435 | 28.871
831.703 | -6.748 | 21.344 | -6.164 | 24.416 | -6.006 | 25.322 | -5.429 | 28.918
832.144 | -6.756 | 21.311 | -6.163 | 24.425 | -6.009 | 25.306 | -5.424 | 28.958
832.585 | -6.759 | 21.303 | -6.163 | 24.435 | -6.016 | 25.279 | -5.422 | 28.983
833.026 | -6.761 | 21.311 | -6.168 | 24.429 | -6.022 | 25.266 | -5.424 | 28.995
833.467 | -6.766 | 21.308 | -6.175 | 24.414 | -6.024 | 25.277 | -5.427 | 29.001
833.908 | -6.773 | 21.281 | -6.179 | 24.401 | -6.021 | 25.306 | -5.427 | 29.012
834.349 | -6.779 | 21.243 | -6.18 | 24.387 | -6.013 | 25.342 | -5.424 | 29.027
834.79 | -6.783 | 21.209 | -6.18 | 24.37 | -6.004 | 25.379 | -5.418 | 29.042
835.23 | -6.785 | 21.189 | -6.18 | 24.358 | -5.996 | 25.409 | -5.416 | 29.043
835.671 | -6.785 | 21.186 | -6.178 | 24.366 | -5.995 | 25.415 | -5.417 | 29.033
836.112 | -6.787 | 21.185 | -6.175 | 24.393 | -6 | 25.393 | -5.419 | 29.029
836.553 | -6.793 | 21.164 | -6.172 | 24.419 | -6.006 | 25.372 | -5.419 | 29.044
836.994 | -6.803 | 21.121 | -6.173 | 24.417 | -6.004 | 25.385 | -5.414 | 29.077
837.435 | -6.812 | 21.067 | -6.176 | 24.388 | -5.996 | 25.423 | -5.406 | 29.122
837.876 | -6.818 | 21.022 | -6.179 | 24.354 | -5.986 | 25.463 | -5.397 | 29.161
838.317 | -6.819 | 21.002 | -6.179 | 24.337 | -5.979 | 25.486 | -5.392 | 29.175
838.758 | -6.817 | 21.008 | -6.177 | 24.344 | -5.978 | 25.485 | -5.393 | 29.163
839.198 | -6.814 | 21.032 | -6.174 | 24.371 | -5.985 | 25.458 | -5.398 | 29.14
839.639 | -6.812 | 21.059 | -6.172 | 24.402 | -5.994 | 25.423 | -5.405 | 29.116
840.08 | -6.813 | 21.073 | -6.173 | 24.422 | -6.002 | 25.403 | -5.411 | 29.103
840.521 | -6.817 | 21.072 | -6.175 | 24.431 | -6.007 | 25.394 | -5.415 | 29.104
840.962 | -6.82 | 21.06 | -6.174 | 24.438 | -6.008 | 25.389 | -5.413 | 29.113
841.403 | -6.821 | 21.044 | -6.171 | 24.44 | -6.004 | 25.396 | -5.41 | 29.12
841.844 | -6.823 | 21.021 | -6.17 | 24.431 | -5.998 | 25.418 | -5.406 | 29.13
842.285 | -6.827 | 20.995 | -6.172 | 24.41 | -5.993 | 25.439 | -5.401 | 29.156
842.725 | -6.828 | 20.983 | -6.176 | 24.383 | -5.991 | 25.446 | -5.395 | 29.188
843.166 | -6.825 | 20.989 | -6.178 | 24.362 | -5.99 | 25.441 | -5.39 | 29.208
843.607 | -6.822 | 20.996 | -6.177 | 24.358 | -5.99 | 25.429 | -5.387 | 29.217
844.048 | -6.82 | 20.986 | -6.171 | 24.368 | -5.988 | 25.417 | -5.381 | 29.228
844.489 | -6.819 | 20.971 | -6.165 | 24.379 | -5.984 | 25.415 | -5.376 | 29.234
844.93 | -6.816 | 20.972 | -6.162 | 24.383 | -5.98 | 25.422 | -5.376 | 29.222
845.371 | -6.815 | 20.977 | -6.163 | 24.375 | -5.977 | 25.443 | -5.378 | 29.205
845.812 | -6.821 | 20.953 | -6.169 | 24.349 | -5.971 | 25.484 | -5.378 | 29.214
846.253 | -6.832 | 20.903 | -6.175 | 24.317 | -5.964 | 25.53 | -5.373 | 29.249
846.693 | -6.842 | 20.851 | -6.178 | 24.292 | -5.956 | 25.568 | -5.366 | 29.289
847.134 | -6.846 | 20.816 | -6.177 | 24.28 | -5.949 | 25.59 | -5.359 | 29.315
847.575 | -6.843 | 20.801 | -6.171 | 24.282 | -5.943 | 25.59 | -5.352 | 29.326
848.016 | -6.841 | 20.793 | -6.164 | 24.299 | -5.942 | 25.575 | -5.346 | 29.333
848.457 | -6.84 | 20.79 | -6.157 | 24.332 | -5.945 | 25.551 | -5.346 | 29.327
848.898 | -6.842 | 20.796 | -6.154 | 24.367 | -5.951 | 25.535 | -5.353 | 29.302
849.339 | -6.847 | 20.804 | -6.157 | 24.386 | -5.957 | 25.536 | -5.363 | 29.274
849.78 | -6.848 | 20.811 | -6.159 | 24.39 | -5.959 | 25.539 | -5.369 | 29.26
850.22 | -6.846 | 20.823 | -6.16 | 24.387 | -5.96 | 25.536 | -5.37 | 29.254
850.661 | -6.844 | 20.827 | -6.16 | 24.381 | -5.96 | 25.53 | -5.367 | 29.262
851.102 | -6.848 | 20.806 | -6.162 | 24.37 | -5.96 | 25.528 | -5.362 | 29.297
851.543 | -6.856 | 20.775 | -6.166 | 24.349 | -5.96 | 25.533 | -5.356 | 29.342
851.984 | -6.863 | 20.755 | -6.173 | 24.328 | -5.96 | 25.55 | -5.356 | 29.367
852.425 | -6.868 | 20.756 | -6.181 | 24.318 | -5.962 | 25.571 | -5.363 | 29.356
852.866 | -6.87 | 20.782 | -6.187 | 24.323 | -5.969 | 25.571 | -5.375 | 29.324
853.307 | -6.871 | 20.806 | -6.19 | 24.339 | -5.979 | 25.551 | -5.384 | 29.303
853.747 | -6.878 | 20.798 | -6.194 | 24.345 | -5.984 | 25.553 | -5.389 | 29.304
854.188 | -6.888 | 20.759 | -6.198 | 24.336 | -5.98 | 25.591 | -5.39 | 29.313
854.629 | -6.896 | 20.722 | -6.2 | 24.327 | -5.972 | 25.636 | -5.39 | 29.314
855.07 | -6.899 | 20.706 | -6.199 | 24.324 | -5.966 | 25.669 | -5.391 | 29.302
855.511 | -6.896 | 20.711 | -6.196 | 24.332 | -5.961 | 25.686 | -5.394 | 29.271
855.952 | -6.892 | 20.726 | -6.194 | 24.339 | -5.958 | 25.699 | -5.398 | 29.236
856.393 | -6.889 | 20.737 | -6.195 | 24.328 | -5.952 | 25.727 | -5.401 | 29.209
856.834 | -6.886 | 20.745 | -6.194 | 24.326 | -5.946 | 25.759 | -5.406 | 29.17
857.275 | -6.885 | 20.748 | -6.192 | 24.342 | -5.942 | 25.784 | -5.412 | 29.126
857.715 | -6.89 | 20.739 | -6.192 | 24.354 | -5.942 | 25.797 | -5.418 | 29.109
858.156 | -6.896 | 20.732 | -6.198 | 24.35 | -5.948 | 25.793 | -5.42 | 29.125
858.597 | -6.899 | 20.735 | -6.205 | 24.33 | -5.953 | 25.78 | -5.419 | 29.154
859.038 | -6.9 | 20.739 | -6.212 | 24.298 | -5.955 | 25.78 | -5.416 | 29.183
859.479 | -6.896 | 20.744 | -6.215 | 24.262 | -5.95 | 25.79 | -5.41 | 29.204
859.92 | -6.887 | 20.763 | -6.212 | 24.25 | -5.946 | 25.786 | -5.406 | 29.201
860.361 | -6.877 | 20.797 | -6.205 | 24.272 | -5.947 | 25.76 | -5.407 | 29.17
860.802 | -6.869 | 20.842 | -6.198 | 24.321 | -5.956 | 25.717 | -5.416 | 29.121
861.242 | -6.865 | 20.879 | -6.191 | 24.385 | -5.967 | 25.675 | -5.429 | 29.061
861.683 | -6.866 | 20.896 | -6.184 | 24.449 | -5.976 | 25.65 | -5.442 | 29.005
862.124 | -6.87 | 20.902 | -6.182 | 24.489 | -5.983 | 25.637 | -5.452 | 28.972
862.565 | -6.873 | 20.896 | -6.184 | 24.49 | -5.984 | 25.642 | -5.454 | 28.972
863.006 | -6.877 | 20.879 | -6.191 | 24.452 | -5.98 | 25.669 | -5.45 | 29.001
863.447 | -6.879 | 20.866 | -6.201 | 24.393 | -5.975 | 25.699 | -5.444 | 29.042
863.888 | -6.88 | 20.857 | -6.207 | 24.354 | -5.971 | 25.711 | -5.437 | 29.078
864.329 | -6.88 | 20.849 | -6.206 | 24.348 | -5.97 | 25.706 | -5.432 | 29.098
864.77 | -6.878 | 20.844 | -6.201 | 24.361 | -5.97 | 25.691 | -5.428 | 29.104
865.21 | -6.874 | 20.844 | -6.195 | 24.374 | -5.969 | 25.676 | -5.424 | 29.106
865.651 | -6.871 | 20.841 | -6.191 | 24.376 | -5.965 | 25.677 | -5.421 | 29.106
866.092 | -6.87 | 20.827 | -6.187 | 24.377 | -5.959 | 25.691 | -5.417 | 29.104
866.533 | -6.87 | 20.807 | -6.181 | 24.384 | -5.951 | 25.708 | -5.413 | 29.101
866.974 | -6.869 | 20.789 | -6.175 | 24.39 | -5.943 | 25.73 | -5.41 | 29.091
867.415 | -6.865 | 20.78 | -6.171 | 24.382 | -5.932 | 25.759 | -5.406 | 29.079
867.856 | -6.859 | 20.781 | -6.167 | 24.37 | -5.922 | 25.787 | -5.403 | 29.062
868.297 | -6.852 | 20.795 | -6.163 | 24.367 | -5.914 | 25.806 | -5.402 | 29.033
868.737 | -6.844 | 20.822 | -6.162 | 24.364 | -5.911 | 25.814 | -5.405 | 29
869.178 | -6.837 | 20.853 | -6.164 | 24.349 | -5.91 | 25.817 | -5.408 | 28.982
869.619 | -6.833 | 20.873 | -6.168 | 24.326 | -5.91 | 25.814 | -5.406 | 28.986
870.06 | -6.83 | 20.874 | -6.17 | 24.305 | -5.908 | 25.813 | -5.402 | 29.007
870.501 | -6.83 | 20.864 | -6.171 | 24.283 | -5.904 | 25.824 | -5.396 | 29.029
870.942 | -6.83 | 20.856 | -6.174 | 24.257 | -5.898 | 25.847 | -5.392 | 29.04
871.383 | -6.83 | 20.859 | -6.178 | 24.239 | -5.896 | 25.865 | -5.393 | 29.037
871.824 | -6.83 | 20.871 | -6.181 | 24.234 | -5.897 | 25.873 | -5.398 | 29.022
872.265 | -6.83 | 20.886 | -6.186 | 24.224 | -5.899 | 25.88 | -5.403 | 29.009
872.705 | -6.83 | 20.895 | -6.192 | 24.203 | -5.899 | 25.888 | -5.404 | 29.014
873.146 | -6.83 | 20.892 | -6.194 | 24.187 | -5.897 | 25.898 | -5.402 | 29.023
873.587 | -6.83 | 20.882 | -6.191 | 24.19 | -5.894 | 25.906 | -5.401 | 29.021
874.028 | -6.829 | 20.875 | -6.185 | 24.212 | -5.891 | 25.909 | -5.401 | 29.004
874.469 | -6.826 | 20.884 | -6.178 | 24.242 | -5.89 | 25.904 | -5.404 | 28.97
874.91 | -6.82 | 20.907 | -6.173 | 24.266 | -5.89 | 25.9 | -5.41 | 28.926
875.351 | -6.814 | 20.936 | -6.171 | 24.281 | -5.89 | 25.902 | -5.417 | 28.88
875.792 | -6.81 | 20.959 | -6.169 | 24.292 | -5.889 | 25.91 | -5.424 | 28.84
876.232 | -6.806 | 20.974 | -6.166 | 24.302 | -5.886 | 25.923 | -5.429 | 28.802
876.673 | -6.8 | 20.99 | -6.163 | 24.307 | -5.88 | 25.943 | -5.432 | 28.76
877.114 | -6.795 | 21.011 | -6.162 | 24.304 | -5.875 | 25.968 | -5.438 | 28.717
877.555 | -6.791 | 21.032 | -6.166 | 24.29 | -5.871 | 25.995 | -5.444 | 28.683
877.996 | -6.791 | 21.046 | -6.171 | 24.271 | -5.87 | 26.015 | -5.448 | 28.668
878.437 | -6.792 | 21.05 | -6.177 | 24.257 | -5.87 | 26.032 | -5.452 | 28.661
878.878 | -6.796 | 21.046 | -6.179 | 24.256 | -5.87 | 26.046 | -5.456 | 28.652
879.319 | -6.798 | 21.042 | -6.179 | 24.265 | -5.87 | 26.056 | -5.46 | 28.638
879.76 | -6.797 | 21.051 | -6.177 | 24.281 | -5.87 | 26.054 | -5.463 | 28.615
880.2 | -6.793 | 21.068 | -6.173 | 24.299 | -5.872 | 26.043 | -5.467 | 28.59
880.641 | -6.791 | 21.085 | -6.172 | 24.312 | -5.876 | 26.029 | -5.471 | 28.573
881.082 | -6.791 | 21.096 | -6.174 | 24.313 | -5.879 | 26.025 | -5.474 | 28.565
881.523 | -6.793 | 21.097 | -6.178 | 24.306 | -5.88 | 26.037 | -5.478 | 28.56
881.964 | -6.797 | 21.089 | -6.182 | 24.295 | -5.878 | 26.059 | -5.48 | 28.558
882.405 | -6.798 | 21.084 | -6.186 | 24.277 | -5.873 | 26.088 | -5.481 | 28.551
882.846 | -6.795 | 21.095 | -6.189 | 24.255 | -5.867 | 26.121 | -5.484 | 28.528
883.287 | -6.789 | 21.118 | -6.19 | 24.243 | -5.862 | 26.143 | -5.488 | 28.496
883.727 | -6.784 | 21.142 | -6.19 | 24.24 | -5.86 | 26.152 | -5.492 | 28.467
884.168 | -6.782 | 21.155 | -6.19 | 24.245 | -5.86 | 26.159 | -5.497 | 28.441
884.609 | -6.784 | 21.157 | -6.19 | 24.258 | -5.861 | 26.169 | -5.503 | 28.416
885.05 | -6.788 | 21.153 | -6.19 | 24.272 | -5.863 | 26.173 | -5.508 | 28.402
885.491 | -6.789 | 21.159 | -6.192 | 24.278 | -5.866 | 26.168 | -5.512 | 28.396
885.932 | -6.788 | 21.177 | -6.195 | 24.272 | -5.869 | 26.165 | -5.515 | 28.386
886.373 | -6.782 | 21.209 | -6.199 | 24.256 | -5.869 | 26.167 | -5.519 | 28.367
886.814 | -6.772 | 21.247 | -6.2 | 24.239 | -5.867 | 26.169 | -5.52 | 28.345
887.255 | -6.763 | 21.274 | -6.198 | 24.228 | -5.862 | 26.178 | -5.52 | 28.32
887.695 | -6.757 | 21.285 | -6.194 | 24.231 | -5.856 | 26.193 | -5.521 | 28.29
888.136 | -6.755 | 21.284 | -6.187 | 24.254 | -5.851 | 26.207 | -5.524 | 28.256
888.577 | -6.757 | 21.275 | -6.183 | 24.285 | -5.85 | 26.218 | -5.53 | 28.222
889.018 | -6.758 | 21.279 | -6.18 | 24.304 | -5.85 | 26.225 | -5.536 | 28.191
889.459 | -6.754 | 21.299 | -6.18 | 24.308 | -5.85 | 26.227 | -5.54 | 28.166
889.9 | -6.748 | 21.327 | -6.18 | 24.306 | -5.85 | 26.225 | -5.543 | 28.143
890.341 | -6.742 | 21.355 | -6.18 | 24.305 | -5.85 | 26.224 | -5.548 | 28.116
890.782 | -6.739 | 21.377 | -6.182 | 24.302 | -5.852 | 26.222 | -5.551 | 28.099
891.222 | -6.735 | 21.407 | -6.186 | 24.293 | -5.855 | 26.216 | -5.556 | 28.085
891.663 | -6.731 | 21.442 | -6.192 | 24.276 | -5.858 | 26.215 | -5.562 | 28.066
892.104 | -6.73 | 21.46 | -6.197 | 24.259 | -5.857 | 26.236 | -5.568 | 28.045
892.545 | -6.728 | 21.465 | -6.2 | 24.244 | -5.851 | 26.271 | -5.571 | 28.019
892.986 | -6.724 | 21.473 | -6.2 | 24.229 | -5.841 | 26.316 | -5.575 | 27.981
893.427 | -6.718 | 21.495 | -6.2 | 24.217 | -5.832 | 26.354 | -5.579 | 27.935
893.868 | -6.708 | 21.532 | -6.198 | 24.218 | -5.83 | 26.358 | -5.584 | 27.893
894.309 | -6.698 | 21.581 | -6.194 | 24.238 | -5.831 | 26.349 | -5.594 | 27.832
894.75 | -6.692 | 21.623 | -6.191 | 24.266 | -5.835 | 26.336 | -5.604 | 27.774
895.19 | -6.69 | 21.651 | -6.19 | 24.293 | -5.842 | 26.321 | -5.615 | 27.734
895.631 | -6.69 | 21.673 | -6.19 | 24.317 | -5.847 | 26.314 | -5.625 | 27.696
896.072 | -6.689 | 21.685 | -6.189 | 24.331 | -5.848 | 26.315 | -5.63 | 27.669
896.513 | -6.685 | 21.697 | -6.186 | 24.341 | -5.845 | 26.326 | -5.634 | 27.637
896.954 | -6.678 | 21.713 | -6.181 | 24.343 | -5.838 | 26.343 | -5.636 | 27.601
897.395 | -6.669 | 21.735 | -6.182 | 24.318 | -5.833 | 26.353 | -5.633 | 27.594
897.836 | -6.659 | 21.777 | -6.186 | 24.282 | -5.83 | 26.353 | -5.631 | 27.588
898.277 | -6.652 | 21.814 | -6.189 | 24.265 | -5.83 | 26.355 | -5.635 | 27.566
898.717 | -6.65 | 21.837 | -6.19 | 24.276 | -5.833 | 26.359 | -5.644 | 27.528
899.158 | -6.65 | 21.86 | -6.19 | 24.302 | -5.837 | 26.358 | -5.656 | 27.48
899.599 | -6.649 | 21.876 | -6.189 | 24.32 | -5.839 | 26.364 | -5.665 | 27.439
900.04 | -6.645 | 21.888 | -6.186 | 24.332 | -5.835 | 26.376 | -5.669 | 27.405
900.481 | -6.639 | 21.901 | -6.181 | 24.334 | -5.829 | 26.391 | -5.67 | 27.374
900.922 | -6.633 | 21.919 | -6.181 | 24.319 | -5.823 | 26.413 | -5.671 | 27.349
901.363 | -6.63 | 21.938 | -6.186 | 24.299 | -5.82 | 26.436 | -5.676 | 27.327
901.804 | -6.626 | 21.958 | -6.189 | 24.279 | -5.816 | 26.458 | -5.679 | 27.305
902.245 | -6.619 | 21.98 | -6.19 | 24.262 | -5.811 | 26.473 | -5.68 | 27.285
902.685 | -6.612 | 22.008 | -6.189 | 24.258 | -5.81 | 26.469 | -5.681 | 27.266
903.126 | -6.604 | 22.04 | -6.184 | 24.276 | -5.81 | 26.462 | -5.687 | 27.223
903.567 | -6.597 | 22.08 | -6.181 | 24.298 | -5.81 | 26.463 | -5.697 | 27.159
904.008 | -6.587 | 22.138 | -6.18 | 24.314 | -5.812 | 26.463 | -5.711 | 27.085
904.449 | -6.576 | 22.206 | -6.18 | 24.325 | -5.816 | 26.451 | -5.724 | 27.018
904.89 | -6.57 | 22.234 | -6.181 | 24.321 | -5.814 | 26.463 | -5.73 | 26.982
905.331 | -6.566 | 22.256 | -6.184 | 24.304 | -5.811 | 26.482 | -5.734 | 26.957
905.772 | -6.559 | 22.291 | -6.186 | 24.291 | -5.81 | 26.489 | -5.738 | 26.929
906.212 | -6.552 | 22.319 | -6.183 | 24.3 | -5.81 | 26.478 | -5.741 | 26.903
906.653 | -6.545 | 22.349 | -6.181 | 24.304 | -5.809 | 26.476 | -5.745 | 26.87
907.094 | -6.541 | 22.371 | -6.184 | 24.289 | -5.806 | 26.495 | -5.749 | 26.845
907.535 | -6.538 | 22.389 | -6.188 | 24.267 | -5.802 | 26.525 | -5.754 | 26.818
907.976 | -6.533 | 22.423 | -6.19 | 24.268 | -5.8 | 26.545 | -5.765 | 26.763
908.417 | -6.53 | 22.449 | -6.19 | 24.277 | -5.8 | 26.558 | -5.774 | 26.716
908.858 | -6.526 | 22.475 | -6.19 | 24.287 | -5.8 | 26.566 | -5.783 | 26.673
909.299 | -6.522 | 22.5 | -6.186 | 24.311 | -5.8 | 26.57 | -5.792 | 26.618
909.74 | -6.519 | 22.515 | -6.176 | 24.365 | -5.8 | 26.57 | -5.803 | 26.55
910.18 | -6.514 | 22.538 | -6.172 | 24.387 | -5.801 | 26.565 | -5.81 | 26.51
910.621 | -6.508 | 22.582 | -6.174 | 24.386 | -5.803 | 26.558 | -5.817 | 26.475
911.062 | -6.5 | 22.634 | -6.18 | 24.368 | -5.806 | 26.56 | -5.826 | 26.438
911.503 | -6.494 | 22.669 | -6.186 | 24.332 | -5.802 | 26.582 | -5.829 | 26.417
911.944 | -6.49 | 22.678 | -6.189 | 24.307 | -5.795 | 26.613 | -5.83 | 26.402
912.385 | -6.486 | 22.685 | -6.19 | 24.288 | -5.788 | 26.641 | -5.83 | 26.386
912.826 | -6.48 | 22.707 | -6.19 | 24.277 | -5.785 | 26.653 | -5.832 | 26.363
913.267 | -6.473 | 22.747 | -6.189 | 24.284 | -5.787 | 26.641 | -5.838 | 26.328
913.707 | -6.466 | 22.79 | -6.185 | 24.311 | -5.789 | 26.633 | -5.849 | 26.266
914.148 | -6.458 | 22.832 | -6.182 | 24.333 | -5.79 | 26.632 | -5.86 | 26.203
914.589 | -6.451 | 22.87 | -6.18 | 24.34 | -5.788 | 26.641 | -5.869 | 26.149
915.03 | -6.443 | 22.906 | -6.181 | 24.333 | -5.784 | 26.663 | -5.877 | 26.099
915.471 | -6.436 | 22.947 | -6.185 | 24.314 | -5.781 | 26.682 | -5.884 | 26.057
915.912 | -6.428 | 22.991 | -6.188 | 24.3 | -5.78 | 26.692 | -5.892 | 26.017
916.353 | -6.421 | 23.034 | -6.188 | 24.304 | -5.782 | 26.686 | -5.899 | 25.976
916.794 | -6.414 | 23.073 | -6.185 | 24.326 | -5.786 | 26.664 | -5.906 | 25.936
917.234 | -6.411 | 23.101 | -6.186 | 24.332 | -5.788 | 26.663 | -5.914 | 25.904
917.675 | -6.41 | 23.118 | -6.188 | 24.328 | -5.787 | 26.685 | -5.921 | 25.869
918.116 | -6.406 | 23.141 | -6.19 | 24.325 | -5.783 | 26.714 | -5.931 | 25.82
918.557 | -6.397 | 23.193 | -6.19 | 24.324 | -5.781 | 26.729 | -5.942 | 25.753
918.998 | -6.383 | 23.261 | -6.19 | 24.32 | -5.78 | 26.728 | -5.952 | 25.691
919.439 | -6.371 | 23.318 | -6.19 | 24.313 | -5.78 | 26.721 | -5.958 | 25.648
919.88 | -6.362 | 23.358 | -6.188 | 24.311 | -5.778 | 26.718 | -5.962 | 25.613
920.321 | -6.354 | 23.386 | -6.184 | 24.319 | -5.774 | 26.726 | -5.966 | 25.569
920.762 | -6.347 | 23.418 | -6.181 | 24.327 | -5.771 | 26.735 | -5.973 | 25.52
921.202 | -6.339 | 23.456 | -6.18 | 24.33 | -5.77 | 26.74 | -5.981 | 25.474
921.643 | -6.332 | 23.499 | -6.182 | 24.325 | -5.77 | 26.744 | -5.988 | 25.433
922.084 | -6.324 | 23.546 | -6.186 | 24.31 | -5.77 | 26.751 | -5.996 | 25.393
922.525 | -6.317 | 23.597 | -6.189 | 24.302 | -5.77 | 26.761 | -6.007 | 25.339
922.966 | -6.307 | 23.655 | -6.19 | 24.3 | -5.77 | 26.766 | -6.018 | 25.28
923.407 | -6.296 | 23.714 | -6.19 | 24.298 | -5.77 | 26.765 | -6.028 | 25.223
923.848 | -6.286 | 23.766 | -6.19 | 24.296 | -5.77 | 26.762 | -6.035 | 25.176
924.289 | -6.281 | 23.795 | -6.19 | 24.299 | -5.77 | 26.769 | -6.043 | 25.137
924.729 | -6.277 | 23.818 | -6.19 | 24.301 | -5.767 | 26.786 | -6.05 | 25.096
925.17 | -6.272 | 23.845 | -6.19 | 24.299 | -5.764 | 26.806 | -6.058 | 25.051
925.611 | -6.265 | 23.881 | -6.19 | 24.297 | -5.761 | 26.819 | -6.066 | 25.003
926.052 | -6.257 | 23.932 | -6.19 | 24.306 | -5.764 | 26.812 | -6.076 | 24.95
926.493 | -6.25 | 23.984 | -6.19 | 24.317 | -5.767 | 26.802 | -6.087 | 24.898
926.934 | -6.241 | 24.037 | -6.19 | 24.322 | -5.77 | 26.793 | -6.097 | 24.848
927.375 | -6.23 | 24.094 | -6.19 | 24.318 | -5.77 | 26.788 | -6.105 | 24.8
927.816 | -6.22 | 24.149 | -6.19 | 24.314 | -5.77 | 26.785 | -6.112 | 24.753
928.257 | -6.213 | 24.183 | -6.19 | 24.311 | -5.767 | 26.796 | -6.12 | 24.709
928.697 | -6.21 | 24.202 | -6.191 | 24.307 | -5.764 | 26.822 | -6.127 | 24.669
929.138 | -6.21 | 24.216 | -6.195 | 24.296 | -5.76 | 26.854 | -6.135 | 24.635
929.579 | -6.206 | 24.253 | -6.202 | 24.278 | -5.76 | 26.876 | -6.145 | 24.593
930.02 | -6.198 | 24.306 | -6.205 | 24.269 | -5.76 | 26.885 | -6.157 | 24.539
930.461 | -6.187 | 24.365 | -6.204 | 24.272 | -5.76 | 26.883 | -6.167 | 24.48
930.902 | -6.176 | 24.418 | -6.2 | 24.281 | -5.76 | 26.873 | -6.174 | 24.428
931.343 | -6.168 | 24.462 | -6.2 | 24.283 | -5.76 | 26.872 | -6.182 | 24.383
931.784 | -6.159 | 24.516 | -6.2 | 24.283 | -5.76 | 26.871 | -6.192 | 24.33
932.224 | -6.148 | 24.581 | -6.2 | 24.286 | -5.761 | 26.868 | -6.204 | 24.266
932.665 | -6.137 | 24.652 | -6.2 | 24.294 | -5.764 | 26.86 | -6.218 | 24.194
933.106 | -6.131 | 24.705 | -6.203 | 24.3 | -5.768 | 26.861 | -6.233 | 24.135
933.547 | -6.128 | 24.742 | -6.209 | 24.285 | -5.768 | 26.882 | -6.244 | 24.091
933.988 | -6.123 | 24.775 | -6.215 | 24.256 | -5.764 | 26.909 | -6.251 | 24.059
934.429 | -6.116 | 24.811 | -6.22 | 24.228 | -5.76 | 26.929 | -6.255 | 24.032
934.87 | -6.109 | 24.856 | -6.22 | 24.228 | -5.76 | 26.934 | -6.264 | 23.982
935.311 | -6.103 | 24.902 | -6.22 | 24.241 | -5.762 | 26.937 | -6.278 | 23.921
935.752 | -6.099 | 24.943 | -6.22 | 24.258 | -5.765 | 26.935 | -6.291 | 23.863
936.192 | -6.096 | 24.981 | -6.22 | 24.276 | -5.77 | 26.929 | -6.304 | 23.814
936.633 | -6.086 | 25.036 | -6.22 | 24.277 | -5.77 | 26.928 | -6.314 | 23.759
937.074 | -6.075 | 25.102 | -6.22 | 24.276 | -5.77 | 26.927 | -6.325 | 23.695
937.515 | -6.064 | 25.163 | -6.221 | 24.271 | -5.77 | 26.927 | -6.336 | 23.639
937.956 | -6.057 | 25.21 | -6.223 | 24.26 | -5.77 | 26.93 | -6.343 | 23.6
938.397 | -6.049 | 25.26 | -6.228 | 24.239 | -5.77 | 26.937 | -6.351 | 23.564
938.838 | -6.042 | 25.307 | -6.23 | 24.233 | -5.77 | 26.941 | -6.36 | 23.519
939.279 | -6.034 | 25.355 | -6.231 | 24.233 | -5.77 | 26.946 | -6.371 | 23.465
939.719 | -6.027 | 25.407 | -6.233 | 24.229 | -5.77 | 26.956 | -6.383 | 23.408
940.16 | -6.022 | 25.451 | -6.238 | 24.212 | -5.77 | 26.969 | -6.393 | 23.367
940.601 | -6.019 | 25.483 | -6.24 | 24.217 | -5.77 | 26.984 | -6.405 | 23.316
941.042 | -6.014 | 25.52 | -6.24 | 24.223 | -5.77 | 26.992 | -6.415 | 23.265
941.483 | -6.004 | 25.572 | -6.24 | 24.22 | -5.77 | 26.988 | -6.423 | 23.22
941.924 | -5.991 | 25.64 | -6.24 | 24.213 | -5.77 | 26.981 | -6.432 | 23.166
942.365 | -5.982 | 25.698 | -6.241 | 24.211 | -5.77 | 26.986 | -6.444 | 23.105
942.806 | -5.975 | 25.752 | -6.245 | 24.2 | -5.77 | 26.995 | -6.456 | 23.053
943.247 | -5.967 | 25.806 | -6.25 | 24.182 | -5.77 | 27.004 | -6.466 | 23.008
943.687 | -5.96 | 25.861 | -6.25 | 24.19 | -5.772 | 27.007 | -6.48 | 22.941
944.128 | -5.952 | 25.922 | -6.25 | 24.206 | -5.777 | 26.994 | -6.495 | 22.878
944.569 | -5.944 | 25.984 | -6.249 | 24.219 | -5.78 | 26.985 | -6.509 | 22.813
945.01 | -5.933 | 26.049 | -6.247 | 24.227 | -5.78 | 26.98 | -6.522 | 22.743
945.451 | -5.913 | 26.137 | -6.242 | 24.234 | -5.78 | 26.951 | -6.53 | 22.678
945.892 | -5.903 | 26.19 | -6.24 | 24.233 | -5.779 | 26.946 | -6.537 | 22.631
946.333 | -5.895 | 26.23 | -6.24 | 24.224 | -5.775 | 26.963 | -6.545 | 22.583
946.774 | -5.886 | 26.275 | -6.242 | 24.204 | -5.768 | 26.996 | -6.554 | 22.525
947.214 | -5.873 | 26.349 | -6.249 | 24.166 | -5.761 | 27.034 | -6.568 | 22.451
947.655 | -5.869 | 26.38 | -6.25 | 24.164 | -5.76 | 27.049 | -6.578 | 22.408
948.096 | -5.861 | 26.43 | -6.25 | 24.165 | -5.76 | 27.052 | -6.589 | 22.353
948.537 | -5.848 | 26.501 | -6.25 | 24.161 | -5.76 | 27.046 | -6.6 | 22.292
948.978 | -5.84 | 26.54 | -6.249 | 24.153 | -5.76 | 27.034 | -6.601 | 22.273
949.419 | -5.827 | 26.608 | -6.244 | 24.173 | -5.76 | 27.02 | -6.614 | 22.199
949.86 | -5.816 | 26.672 | -6.24 | 24.189 | -5.76 | 27.018 | -6.628 | 22.121
950.301 | -5.808 | 26.729 | -6.242 | 24.189 | -5.76 | 27.028 | -6.643 | 22.054
950.741 | -5.801 | 26.793 | -6.249 | 24.167 | -5.76 | 27.045 | -6.658 | 21.995
951.182 | -5.787 | 26.869 | -6.25 | 24.152 | -5.76 | 27.036 | -6.666 | 21.943
951.623 | -5.772 | 26.946 | -6.25 | 24.139 | -5.76 | 27.022 | -6.674 | 21.894
952.064 | -5.759 | 27.014 | -6.25 | 24.125 | -5.758 | 27.017 | -6.681 | 21.844
952.505 | -5.751 | 27.047 | -6.25 | 24.112 | -5.751 | 27.046 | -6.689 | 21.795
952.946 | -5.744 | 27.089 | -6.25 | 24.108 | -5.75 | 27.049 | -6.696 | 21.753
953.387 | -5.732 | 27.161 | -6.25 | 24.109 | -5.75 | 27.051 | -6.712 | 21.678
953.828 | -5.718 | 27.253 | -6.25 | 24.109 | -5.75 | 27.051 | -6.73 | 21.586
954.269 | -5.703 | 27.332 | -6.25 | 24.097 | -5.75 | 27.038 | -6.739 | 21.533
954.709 | -5.694 | 27.39 | -6.25 | 24.1 | -5.75 | 27.041 | -6.752 | 21.469
955.15 | -5.687 | 27.44 | -6.25 | 24.101 | -5.75 | 27.042 | -6.763 | 21.417
955.591 | -5.679 | 27.485 | -6.252 | 24.09 | -5.748 | 27.05 | -6.771 | 21.375
956.032 | -5.672 | 27.528 | -6.258 | 24.05 | -5.742 | 27.087 | -6.778 | 21.335
956.473 | -5.658 | 27.59 | -6.254 | 24.055 | -5.74 | 27.073 | -6.786 | 21.281
956.914 | -5.644 | 27.678 | -6.251 | 24.068 | -5.744 | 27.048 | -6.801 | 21.205
957.355 | -5.629 | 27.773 | -6.248 | 24.081 | -5.747 | 27.026 | -6.818 | 21.119
957.796 | -5.614 | 27.836 | -6.242 | 24.088 | -5.742 | 27.028 | -6.828 | 21.048
958.236 | -5.605 | 27.911 | -6.246 | 24.078 | -5.746 | 27.016 | -6.841 | 20.995
958.677 | -5.597 | 27.977 | -6.253 | 24.055 | -5.749 | 27.013 | -6.852 | 20.955
959.118 | -5.59 | 28.034 | -6.259 | 24.032 | -5.75 | 27.018 | -6.862 | 20.915
959.559 | -5.582 | 28.089 | -6.26 | 24.031 | -5.75 | 27.025 | -6.876 | 20.855
960 | -5.569 | 28.144 | -6.254 | 24.036 | -5.744 | 27.031 | -6.885 | 20.788