## T155962
SN: | T155962
Item #: | W980S330A1B
Item Description: | 1x2 980 nm / 1310 nm Wavelength Division Multiplexer
Fiber Type: | HI1060 FLEX
Port Name: | Channel 1 - White
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.11
Isolation (dB): | -24.51
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1310
Insertion Loss (dB): | -0.09
Isolation (dB): | -27.73
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
955 | -0.115 | -21.67
955.762 | -0.115 | -21.67
956.523 | -0.11 | -21.873
957.285 | -0.102 | -22.221
958.046 | -0.103 | -22.567
958.808 | -0.103 | -22.919
959.569 | -0.1 | -23.279
960.331 | -0.102 | -23.603
961.092 | -0.103 | -23.925
961.854 | -0.099 | -24.257
962.615 | -0.097 | -24.632
963.377 | -0.097 | -25.019
964.138 | -0.096 | -25.388
964.9 | -0.096 | -25.738
965.661 | -0.097 | -26.068
966.423 | -0.094 | -26.331
967.184 | -0.096 | -26.577
967.946 | -0.102 | -26.808
968.707 | -0.099 | -27.043
969.469 | -0.096 | -27.205
970.23 | -0.096 | -27.244
970.992 | -0.097 | -27.302
971.753 | -0.1 | -27.334
972.515 | -0.108 | -27.256
973.277 | -0.108 | -27.118
974.038 | -0.103 | -26.944
974.8 | -0.098 | -26.734
975.561 | -0.101 | -26.485
976.323 | -0.11 | -26.196
977.084 | -0.107 | -25.854
977.846 | -0.103 | -25.502
978.607 | -0.099 | -25.148
979.369 | -0.103 | -24.801
980.13 | -0.108 | -24.445
980.892 | -0.109 | -24.069
981.653 | -0.113 | -23.724
982.415 | -0.12 | -23.393
983.176 | -0.123 | -23.044
983.938 | -0.125 | -22.699
984.699 | -0.129 | -22.355
985.461 | -0.13 | -21.982
986.222 | -0.129 | -21.64
986.984 | -0.13 | -21.344
987.745 | -0.136 | -21.052
988.507 | -0.144 | -20.756
989.269 | -0.149 | -20.459
990.03 | -0.146 | -20.175
990.792 | -0.144 | -19.902
991.553 | -0.153 | -19.637
992.315 | -0.164 | -19.367
993.076 | -0.174 | -19.095
993.838 | -0.175 | -18.842
994.599 | -0.176 | -18.595
995.361 | -0.178 | -18.352
996.122 | -0.177 | -18.115
996.884 | -0.176 | -17.882
997.645 | -0.177 | -17.656
998.407 | -0.185 | -17.445
999.168 | -0.195 | -17.239
999.93 | -0.201 | -17.028
1000.691 | -0.207 | -16.82
1001.453 | -0.215 | -16.619
1002.214 | -0.218 | -16.425
1002.976 | -0.216 | -16.232
1003.737 | -0.215 | -16.039
1004.499 | -0.227 | -15.86
1005.26 | -0.236 | -15.679
1006.022 | -0.238 | -15.492
1006.784 | -0.25 | -15.319
1007.545 | -0.263 | -15.155
1008.307 | -0.264 | -14.996
1009.068 | -0.264 | -14.84
1009.83 | -0.268 | -14.68
1010.591 | -0.276 | -14.508
1011.353 | -0.283 | -14.347
1012.114 | -0.288 | -14.197
1012.876 | -0.292 | -14.043
1013.637 | -0.297 | -13.893
1014.399 | -0.306 | -13.75
1015.16 | -0.311 | -13.609
1015.922 | -0.318 | -13.464
1016.683 | -0.329 | -13.317
1017.445 | -0.341 | -13.183
1018.206 | -0.349 | -13.055
1018.968 | -0.352 | -12.923
1019.729 | -0.356 | -12.791
1020.491 | -0.365 | -12.665
1021.253 | -0.381 | -12.547
1022.014 | -0.393 | -12.43
1022.776 | -0.398 | -12.308
1023.537 | -0.405 | -12.181
1024.299 | -0.412 | -12.053
1025.06 | -0.417 | -11.931
1025.822 | -0.423 | -11.818
1026.583 | -0.432 | -11.71
1027.345 | -0.444 | -11.599
1028.106 | -0.452 | -11.487
1028.868 | -0.459 | -11.377
1029.629 | -0.473 | -11.267
1030.391 | -0.486 | -11.16
1031.152 | -0.496 | -11.056
1031.914 | -0.508 | -10.953
1032.675 | -0.52 | -10.85
1033.437 | -0.528 | -10.75
1034.198 | -0.534 | -10.652
1034.96 | -0.54 | -10.554
1035.721 | -0.549 | -10.458
1036.483 | -0.56 | -10.364
1037.245 | -0.57 | -10.27
1038.006 | -0.577 | -10.174
1038.768 | -0.588 | -10.074
1039.529 | -0.604 | -9.978
1040.291 | -0.621 | -9.892
1041.052 | -0.635 | -9.81
1041.814 | -0.643 | -9.724
1042.575 | -0.646 | -9.634
1043.337 | -0.65 | -9.543
1044.098 | -0.66 | -9.455
1044.86 | -0.673 | -9.37
1045.621 | -0.686 | -9.287
1046.383 | -0.699 | -9.202
1047.144 | -0.71 | -9.119
1047.906 | -0.72 | -9.039
1048.667 | -0.735 | -8.96
1049.429 | -0.753 | -8.883
1050.19 | -0.769 | -8.806
1050.952 | -0.782 | -8.728
1051.713 | -0.793 | -8.65
1052.475 | -0.807 | -8.573
1053.236 | -0.822 | -8.498
1053.998 | -0.834 | -8.422
1054.76 | -0.843 | -8.344
1055.521 | -0.853 | -8.27
1056.283 | -0.865 | -8.199
1057.044 | -0.879 | -8.126
1057.806 | -0.893 | -8.051
1058.567 | -0.909 | -7.977
1059.329 | -0.925 | -7.906
1060.09 | -0.939 | -7.835
1060.852 | -0.953 | -7.767
1061.613 | -0.968 | -7.705
1062.375 | -0.984 | -7.642
1063.136 | -0.998 | -7.575
1063.898 | -1.011 | -7.508
1064.659 | -1.024 | -7.445
1065.421 | -1.039 | -7.384
1066.182 | -1.053 | -7.32
1066.944 | -1.069 | -7.254
1067.705 | -1.085 | -7.188
1068.467 | -1.104 | -7.121
1069.229 | -1.121 | -7.054
1069.99 | -1.135 | -6.991
1070.751 | -1.146 | -6.93
1071.513 | -1.159 | -6.87
1072.275 | -1.176 | -6.809
1073.036 | -1.195 | -6.75
1073.798 | -1.216 | -6.693
1074.559 | -1.233 | -6.636
1075.321 | -1.246 | -6.578
1076.082 | -1.26 | -6.52
1076.844 | -1.275 | -6.463
1077.605 | -1.294 | -6.407
1078.367 | -1.312 | -6.353
1079.128 | -1.329 | -6.301
1079.89 | -1.346 | -6.247
1080.651 | -1.365 | -6.191
1081.413 | -1.384 | -6.133
1082.174 | -1.4 | -6.078
1082.936 | -1.419 | -6.027
1083.697 | -1.439 | -5.976
1084.459 | -1.457 | -5.924
1085.22 | -1.473 | -5.87
1085.982 | -1.493 | -5.817
1086.744 | -1.515 | -5.763
1087.505 | -1.535 | -5.713
1088.266 | -1.553 | -5.667
1089.028 | -1.574 | -5.62
1089.79 | -1.594 | -5.569
1090.551 | -1.607 | -5.514
1091.313 | -1.616 | -5.456
1092.074 | -1.626 | -5.403
1092.836 | -1.642 | -5.359
1093.597 | -1.668 | -5.32
1094.359 | -1.7 | -5.28
1095.12 | -1.726 | -5.236
1095.882 | -1.75 | -5.188
1096.643 | -1.774 | -5.139
1097.405 | -1.797 | -5.093
1098.166 | -1.82 | -5.048
1098.928 | -1.842 | -5.002
1099.689 | -1.863 | -4.958
1100.451 | -1.882 | -4.916
1101.212 | -1.903 | -4.871
1101.974 | -1.926 | -4.823
1102.735 | -1.951 | -4.778
1103.497 | -1.977 | -4.737
1104.259 | -2.001 | -4.696
1105.02 | -2.021 | -4.651
1105.782 | -2.034 | -4.608
1106.543 | -2.045 | -4.569
1107.305 | -2.062 | -4.532
1108.066 | -2.088 | -4.492
1108.828 | -2.119 | -4.448
1109.589 | -2.147 | -4.404
1110.351 | -2.172 | -4.363
1111.112 | -2.194 | -4.326
1111.874 | -2.212 | -4.293
1112.635 | -2.235 | -4.258
1113.397 | -2.264 | -4.217
1114.158 | -2.296 | -4.172
1114.92 | -2.325 | -4.129
1115.681 | -2.349 | -4.088
1116.443 | -2.37 | -4.047
1117.204 | -2.393 | -4.009
1117.966 | -2.418 | -3.974
1118.727 | -2.438 | -3.943
1119.489 | -2.457 | -3.909
1120.25 | -2.485 | -3.873
1121.012 | -2.519 | -3.834
1121.774 | -2.552 | -3.796
1122.535 | -2.579 | -3.762
1123.297 | -2.598 | -3.732
1124.058 | -2.617 | -3.701
1124.82 | -2.644 | -3.663
1125.581 | -2.675 | -3.623
1126.343 | -2.704 | -3.587
1127.104 | -2.728 | -3.554
1127.866 | -2.754 | -3.52
1128.627 | -2.784 | -3.483
1129.389 | -2.814 | -3.444
1130.15 | -2.841 | -3.407
1130.912 | -2.865 | -3.376
1131.673 | -2.891 | -3.349
1132.435 | -2.919 | -3.322
1133.196 | -2.95 | -3.292
1133.958 | -2.983 | -3.258
1134.719 | -3.019 | -3.222
1135.481 | -3.053 | -3.187
1136.242 | -3.081 | -3.153
1137.004 | -3.107 | -3.122
1137.766 | -3.134 | -3.096
1138.527 | -3.161 | -3.069
1139.289 | -3.188 | -3.039
1140.05 | -3.217 | -3.007
1140.812 | -3.251 | -2.978
1141.573 | -3.285 | -2.948
1142.335 | -3.316 | -2.916
1143.096 | -3.347 | -2.884
1143.858 | -3.38 | -2.852
1144.619 | -3.412 | -2.821
1145.381 | -3.441 | -2.794
1146.142 | -3.467 | -2.769
1146.904 | -3.495 | -2.744
1147.665 | -3.528 | -2.718
1148.427 | -3.564 | -2.692
1149.188 | -3.599 | -2.663
1149.95 | -3.633 | -2.633
1150.711 | -3.666 | -2.603
1151.473 | -3.699 | -2.576
1152.234 | -3.733 | -2.549
1152.996 | -3.769 | -2.522
1153.758 | -3.805 | -2.494
1154.519 | -3.84 | -2.464
1155.281 | -3.873 | -2.436
1156.042 | -3.907 | -2.413
1156.804 | -3.941 | -2.393
1157.565 | -3.975 | -2.37
1158.327 | -4.012 | -2.344
1159.088 | -4.052 | -2.316
1159.85 | -4.092 | -2.29
1160.611 | -4.13 | -2.266
1161.373 | -4.165 | -2.241
1162.134 | -4.197 | -2.214
1162.896 | -4.229 | -2.188
1163.657 | -4.265 | -2.162
1164.419 | -4.305 | -2.135
1165.18 | -4.345 | -2.113
1165.942 | -4.385 | -2.094
1166.703 | -4.424 | -2.073
1167.465 | -4.463 | -2.049
1168.226 | -4.503 | -2.024
1168.988 | -4.542 | -2.001
1169.75 | -4.579 | -1.98
1170.511 | -4.616 | -1.959
1171.273 | -4.655 | -1.935
1172.034 | -4.696 | -1.911
1172.796 | -4.739 | -1.886
1173.557 | -4.782 | -1.862
1174.319 | -4.822 | -1.84
1175.08 | -4.86 | -1.821
1175.842 | -4.899 | -1.8
1176.603 | -4.941 | -1.775
1177.365 | -4.984 | -1.751
1178.126 | -5.026 | -1.731
1178.888 | -5.066 | -1.713
1179.649 | -5.107 | -1.695
1180.411 | -5.151 | -1.677
1181.172 | -5.197 | -1.659
1181.934 | -5.241 | -1.638
1182.695 | -5.282 | -1.614
1183.457 | -5.321 | -1.594
1184.218 | -5.364 | -1.578
1184.98 | -5.413 | -1.561
1185.741 | -5.462 | -1.542
1186.503 | -5.505 | -1.523
1187.265 | -5.543 | -1.502
1188.026 | -5.586 | -1.48
1188.788 | -5.64 | -1.457
1189.549 | -5.698 | -1.438
1190.311 | -5.752 | -1.425
1191.072 | -5.799 | -1.41
1191.834 | -5.844 | -1.39
1192.595 | -5.888 | -1.367
1193.357 | -5.934 | -1.347
1194.118 | -5.981 | -1.327
1194.88 | -6.028 | -1.312
1195.641 | -6.076 | -1.301
1196.403 | -6.123 | -1.29
1197.164 | -6.172 | -1.272
1197.926 | -6.22 | -1.248
1198.687 | -6.267 | -1.222
1199.449 | -6.316 | -1.202
1200.21 | -6.37 | -1.19
1200.972 | -6.426 | -1.176
1201.734 | -6.481 | -1.157
1202.495 | -6.536 | -1.139
1203.256 | -6.592 | -1.127
1204.018 | -6.645 | -1.12
1204.78 | -6.698 | -1.107
1205.541 | -6.752 | -1.09
1206.303 | -6.809 | -1.072
1207.064 | -6.865 | -1.057
1207.826 | -6.921 | -1.043
1208.587 | -6.977 | -1.031
1209.349 | -7.032 | -1.02
1210.11 | -7.087 | -1.005
1210.872 | -7.143 | -0.986
1211.633 | -7.2 | -0.968
1212.395 | -7.26 | -0.954
1213.156 | -7.325 | -0.938
1213.918 | -7.393 | -0.924
1214.679 | -7.455 | -0.912
1215.441 | -7.509 | -0.898
1216.202 | -7.565 | -0.883
1216.964 | -7.627 | -0.873
1217.725 | -7.691 | -0.859
1218.487 | -7.751 | -0.839
1219.249 | -7.808 | -0.819
1220.01 | -7.87 | -0.804
1220.771 | -7.939 | -0.795
1221.533 | -8.012 | -0.785
1222.295 | -8.081 | -0.775
1223.056 | -8.144 | -0.767
1223.818 | -8.21 | -0.758
1224.579 | -8.278 | -0.745
1225.341 | -8.342 | -0.73
1226.102 | -8.408 | -0.72
1226.864 | -8.479 | -0.713
1227.625 | -8.55 | -0.702
1228.387 | -8.622 | -0.691
1229.148 | -8.697 | -0.681
1229.91 | -8.775 | -0.671
1230.671 | -8.849 | -0.658
1231.433 | -8.918 | -0.647
1232.194 | -8.99 | -0.638
1232.956 | -9.068 | -0.63
1233.717 | -9.149 | -0.62
1234.479 | -9.23 | -0.607
1235.24 | -9.31 | -0.59
1236.002 | -9.389 | -0.574
1236.764 | -9.468 | -0.566
1237.525 | -9.547 | -0.566
1238.287 | -9.625 | -0.562
1239.048 | -9.708 | -0.55
1239.81 | -9.796 | -0.536
1240.571 | -9.878 | -0.525
1241.333 | -9.957 | -0.52
1242.094 | -10.037 | -0.516
1242.856 | -10.118 | -0.506
1243.617 | -10.203 | -0.493
1244.379 | -10.293 | -0.483
1245.14 | -10.387 | -0.479
1245.902 | -10.48 | -0.473
1246.663 | -10.568 | -0.457
1247.425 | -10.655 | -0.439
1248.186 | -10.745 | -0.428
1248.948 | -10.832 | -0.424
1249.709 | -10.922 | -0.42
1250.471 | -11.019 | -0.411
1251.232 | -11.119 | -0.401
1251.994 | -11.218 | -0.393
1252.755 | -11.319 | -0.387
1253.517 | -11.423 | -0.376
1254.279 | -11.528 | -0.365
1255.04 | -11.626 | -0.36
1255.802 | -11.724 | -0.353
1256.563 | -11.826 | -0.341
1257.325 | -11.93 | -0.334
1258.086 | -12.039 | -0.328
1258.848 | -12.152 | -0.32
1259.609 | -12.259 | -0.313
1260.371 | -12.361 | -0.305
1261.132 | -12.469 | -0.294
1261.894 | -12.578 | -0.285
1262.655 | -12.692 | -0.281
1263.417 | -12.813 | -0.282
1264.178 | -12.937 | -0.28
1264.94 | -13.06 | -0.271
1265.701 | -13.188 | -0.261
1266.463 | -13.317 | -0.253
1267.224 | -13.444 | -0.247
1267.986 | -13.571 | -0.242
1268.747 | -13.701 | -0.236
1269.509 | -13.835 | -0.232
1270.271 | -13.964 | -0.23
1271.032 | -14.091 | -0.228
1271.794 | -14.23 | -0.22
1272.555 | -14.373 | -0.215
1273.317 | -14.518 | -0.213
1274.078 | -14.664 | -0.207
1274.84 | -14.81 | -0.198
1275.601 | -14.959 | -0.19
1276.363 | -15.115 | -0.187
1277.124 | -15.274 | -0.187
1277.886 | -15.433 | -0.185
1278.647 | -15.596 | -0.178
1279.409 | -15.763 | -0.168
1280.17 | -15.933 | -0.159
1280.932 | -16.101 | -0.155
1281.693 | -16.271 | -0.155
1282.455 | -16.454 | -0.156
1283.216 | -16.637 | -0.158
1283.978 | -16.818 | -0.159
1284.74 | -17.006 | -0.15
1285.501 | -17.2 | -0.141
1286.263 | -17.398 | -0.14
1287.024 | -17.602 | -0.14
1287.786 | -17.813 | -0.139
1288.547 | -18.033 | -0.136
1289.309 | -18.25 | -0.129
1290.07 | -18.469 | -0.12
1290.832 | -18.712 | -0.111
1291.593 | -18.955 | -0.107
1292.355 | -19.193 | -0.11
1293.116 | -19.442 | -0.112
1293.878 | -19.696 | -0.111
1294.639 | -19.954 | -0.105
1295.401 | -20.224 | -0.099
1296.162 | -20.504 | -0.098
1296.924 | -20.799 | -0.109
1297.685 | -21.108 | -0.112
1298.447 | -21.425 | -0.107
1299.208 | -21.747 | -0.103
1299.97 | -22.077 | -0.097
1300.731 | -22.421 | -0.09
1301.493 | -22.778 | -0.088
1302.255 | -23.137 | -0.085
1303.016 | -23.498 | -0.08
1303.778 | -23.885 | -0.082
1304.539 | -24.287 | -0.09
1305.301 | -24.707 | -0.1
1306.062 | -25.151 | -0.098
1306.824 | -25.614 | -0.091
1307.585 | -26.102 | -0.097
1308.347 | -26.6 | -0.099
1309.108 | -27.106 | -0.096
1309.87 | -27.639 | -0.092
1310.631 | -28.175 | -0.092
1311.393 | -28.714 | -0.097
1312.154 | -29.273 | -0.09
1312.916 | -29.83 | -0.084
1313.677 | -30.361 | -0.092
1314.439 | -30.872 | -0.097
1315.2 | -31.341 | -0.098
1315.962 | -31.663 | -0.093
1316.723 | -31.908 | -0.097
1317.485 | -32.074 | -0.108
1318.246 | -31.957 | -0.111
1319.008 | -31.731 | -0.113
1319.77 | -31.398 | -0.116
1320.531 | -31.049 | -0.111
1321.293 | -30.643 | -0.109
1322.054 | -30.115 | -0.117
1322.816 | -29.597 | -0.122
1323.577 | -29.072 | -0.124
1324.339 | -28.482 | -0.124
1325.1 | -27.919 | -0.133
1325.862 | -27.385 | -0.15
1326.623 | -26.913 | -0.15
1327.385 | -26.423 | -0.151
1328.146 | -25.909 | -0.154
1328.908 | -25.426 | -0.154
1329.669 | -24.964 | -0.156
1330.431 | -24.535 | -0.166
1331.192 | -24.128 | -0.161
1331.954 | -23.737 | -0.157
1332.715 | -23.38 | -0.175
1333.477 | -23.006 | -0.183
1334.239 | -22.624 | -0.185
1335 | -22.28 | -0.188