## T151578
SN: | T151578
Item #: | WD1520AB
Item Description: | 1x2 1550 nm / 2000 nm Wavelength Division Multiplexer
Fiber Type: | SMF-28e+
Port Name: | Channel 1 - White
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.04
Isolation (dB): | -28.81
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 2000
Insertion Loss (dB): | -0.1
Isolation (dB): | -25.68
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
1500 | -0.202 | -15.168
1501.102 | -0.202 | -15.169
1502.204 | -0.199 | -15.318
1503.307 | -0.197 | -15.498
1504.409 | -0.196 | -15.679
1505.511 | -0.192 | -15.87
1506.613 | -0.182 | -16.074
1507.715 | -0.169 | -16.287
1508.818 | -0.182 | -16.502
1509.92 | -0.19 | -16.703
1511.022 | -0.187 | -16.897
1512.124 | -0.163 | -17.095
1513.226 | -0.143 | -17.305
1514.329 | -0.135 | -17.525
1515.431 | -0.143 | -17.757
1516.533 | -0.15 | -17.974
1517.635 | -0.148 | -18.212
1518.737 | -0.135 | -18.472
1519.84 | -0.11 | -18.729
1520.942 | -0.106 | -18.987
1522.044 | -0.116 | -19.248
1523.146 | -0.128 | -19.517
1524.249 | -0.139 | -19.8
1525.351 | -0.144 | -20.1
1526.453 | -0.137 | -20.427
1527.555 | -0.114 | -20.755
1528.657 | -0.105 | -21.078
1529.76 | -0.111 | -21.397
1530.862 | -0.087 | -21.745
1531.964 | -0.079 | -22.106
1533.066 | -0.084 | -22.478
1534.168 | -0.084 | -22.863
1535.271 | -0.077 | -23.243
1536.373 | -0.068 | -23.634
1537.475 | -0.063 | -24.052
1538.577 | -0.084 | -24.489
1539.679 | -0.09 | -24.926
1540.782 | -0.07 | -25.363
1541.884 | -0.063 | -25.837
1542.986 | -0.055 | -26.298
1544.088 | -0.032 | -26.748
1545.19 | 0.024 | -27.229
1546.293 | 0.002 | -27.737
1547.395 | -0.047 | -28.171
1548.497 | -0.048 | -28.42
1549.599 | -0.044 | -28.702
1550.701 | -0.045 | -28.968
1551.804 | -0.05 | -29.152
1552.906 | -0.055 | -29.199
1554.008 | -0.174 | -29.147
1555.11 | -0.325 | -29.01
1556.212 | -0.187 | -28.802
1557.315 | -0.074 | -28.548
1558.417 | -0.032 | -28.24
1559.519 | -0.029 | -27.853
1560.621 | -0.048 | -27.426
1561.723 | -0.063 | -26.969
1562.826 | -0.063 | -26.488
1563.928 | -0.073 | -26.029
1565.03 | -0.07 | -25.585
1566.132 | -0.055 | -25.151
1567.234 | -0.057 | -24.716
1568.337 | -0.06 | -24.286
1569.439 | -0.063 | -23.862
1570.541 | -0.07 | -23.442
1571.643 | -0.079 | -23.021
1572.745 | -0.085 | -22.617
1573.848 | -0.086 | -22.246
1574.95 | -0.092 | -21.884
1576.052 | -0.105 | -21.534
1577.154 | -0.117 | -21.199
1578.256 | -0.112 | -20.877
1579.359 | -0.108 | -20.56
1580.461 | -0.109 | -20.248
1581.563 | -0.109 | -19.949
1582.665 | -0.11 | -19.664
1583.768 | -0.111 | -19.393
1584.87 | -0.109 | -19.126
1585.972 | -0.108 | -18.843
1587.074 | -0.106 | -18.556
1588.176 | -0.104 | -18.283
1589.279 | -0.115 | -18.038
1590.381 | -0.131 | -17.801
1591.483 | -0.145 | -17.568
1592.585 | -0.149 | -17.343
1593.687 | -0.146 | -17.122
1594.79 | -0.143 | -16.902
1595.892 | -0.144 | -16.681
1596.994 | -0.15 | -16.467
1598.096 | -0.158 | -16.262
1599.198 | -0.163 | -16.069
1600.301 | -0.163 | -15.881
1601.403 | -0.166 | -15.69
1602.505 | -0.177 | -15.492
1603.607 | -0.194 | -15.299
1604.709 | -0.205 | -15.119
1605.812 | -0.206 | -14.948
1606.914 | -0.202 | -14.782
1608.016 | -0.202 | -14.62
1609.118 | -0.206 | -14.462
1610.22 | -0.214 | -14.307
1611.323 | -0.223 | -14.147
1612.425 | -0.237 | -13.982
1613.527 | -0.253 | -13.822
1614.629 | -0.264 | -13.676
1615.731 | -0.267 | -13.537
1616.834 | -0.268 | -13.398
1617.936 | -0.274 | -13.254
1619.038 | -0.282 | -13.109
1620.14 | -0.289 | -12.965
1621.242 | -0.296 | -12.823
1622.345 | -0.303 | -12.685
1623.447 | -0.31 | -12.548
1624.549 | -0.319 | -12.415
1625.651 | -0.329 | -12.289
1626.754 | -0.339 | -12.167
1627.856 | -0.348 | -12.047
1628.958 | -0.357 | -11.926
1630.06 | -0.359 | -11.803
1631.162 | -0.36 | -11.678
1632.265 | -0.366 | -11.556
1633.367 | -0.375 | -11.442
1634.469 | -0.382 | -11.331
1635.571 | -0.388 | -11.223
1636.673 | -0.395 | -11.118
1637.776 | -0.406 | -11.009
1638.878 | -0.425 | -10.894
1639.98 | -0.45 | -10.777
1641.082 | -0.467 | -10.662
1642.184 | -0.472 | -10.553
1643.287 | -0.477 | -10.449
1644.389 | -0.492 | -10.346
1645.491 | -0.514 | -10.246
1646.593 | -0.53 | -10.152
1647.695 | -0.538 | -10.057
1648.798 | -0.545 | -9.961
1649.9 | -0.554 | -9.864
1651.002 | -0.557 | -9.768
1652.104 | -0.558 | -9.673
1653.206 | -0.564 | -9.581
1654.309 | -0.578 | -9.493
1655.411 | -0.595 | -9.402
1656.513 | -0.607 | -9.31
1657.615 | -0.608 | -9.219
1658.717 | -0.604 | -9.125
1659.82 | -0.612 | -9.036
1660.922 | -0.635 | -8.956
1662.024 | -0.661 | -8.881
1663.126 | -0.681 | -8.806
1664.229 | -0.698 | -8.73
1665.331 | -0.711 | -8.651
1666.433 | -0.714 | -8.558
1667.535 | -0.716 | -8.459
1668.637 | -0.731 | -8.372
1669.74 | -0.753 | -8.304
1670.842 | -0.769 | -8.242
1671.944 | -0.779 | -8.174
1673.046 | -0.793 | -8.095
1674.148 | -0.814 | -8.014
1675.25 | -0.833 | -7.938
1676.353 | -0.842 | -7.864
1677.455 | -0.844 | -7.789
1678.557 | -0.848 | -7.715
1679.659 | -0.858 | -7.643
1680.761 | -0.875 | -7.574
1681.864 | -0.895 | -7.509
1682.966 | -0.915 | -7.447
1684.068 | -0.936 | -7.385
1685.17 | -0.96 | -7.318
1686.273 | -0.984 | -7.249
1687.375 | -0.998 | -7.182
1688.477 | -0.999 | -7.114
1689.579 | -1.003 | -7.045
1690.681 | -1.025 | -6.973
1691.784 | -1.051 | -6.901
1692.886 | -1.075 | -6.83
1693.988 | -1.098 | -6.764
1695.09 | -1.118 | -6.703
1696.192 | -1.135 | -6.645
1697.295 | -1.156 | -6.587
1698.397 | -1.18 | -6.53
1699.499 | -1.203 | -6.474
1700.601 | -1.215 | -6.418
1701.703 | -1.221 | -6.364
1702.806 | -1.229 | -6.311
1703.908 | -1.246 | -6.255
1705.01 | -1.271 | -6.196
1706.112 | -1.296 | -6.138
1707.214 | -1.314 | -6.086
1708.317 | -1.326 | -6.036
1709.419 | -1.34 | -5.983
1710.521 | -1.356 | -5.922
1711.623 | -1.374 | -5.857
1712.725 | -1.397 | -5.792
1713.828 | -1.424 | -5.734
1714.93 | -1.446 | -5.683
1716.032 | -1.463 | -5.635
1717.134 | -1.482 | -5.588
1718.236 | -1.506 | -5.54
1719.339 | -1.532 | -5.494
1720.441 | -1.561 | -5.449
1721.543 | -1.585 | -5.405
1722.645 | -1.602 | -5.357
1723.747 | -1.618 | -5.303
1724.85 | -1.641 | -5.25
1725.952 | -1.668 | -5.202
1727.054 | -1.694 | -5.16
1728.156 | -1.716 | -5.12
1729.259 | -1.737 | -5.081
1730.361 | -1.758 | -5.039
1731.463 | -1.778 | -4.989
1732.565 | -1.798 | -4.931
1733.667 | -1.818 | -4.873
1734.77 | -1.838 | -4.824
1735.872 | -1.861 | -4.784
1736.974 | -1.888 | -4.746
1738.076 | -1.917 | -4.705
1739.178 | -1.945 | -4.667
1740.281 | -1.97 | -4.634
1741.383 | -1.995 | -4.6
1742.485 | -2.021 | -4.558
1743.587 | -2.051 | -4.507
1744.689 | -2.08 | -4.453
1745.792 | -2.103 | -4.4
1746.894 | -2.119 | -4.349
1747.996 | -2.135 | -4.298
1749.098 | -2.156 | -4.252
1750.2 | -2.184 | -4.211
1751.303 | -2.214 | -4.175
1752.405 | -2.243 | -4.141
1753.507 | -2.27 | -4.107
1754.609 | -2.295 | -4.071
1755.711 | -2.321 | -4.034
1756.814 | -2.349 | -3.997
1757.916 | -2.378 | -3.962
1759.018 | -2.405 | -3.924
1760.12 | -2.43 | -3.883
1761.222 | -2.455 | -3.839
1762.325 | -2.48 | -3.796
1763.427 | -2.502 | -3.758
1764.529 | -2.522 | -3.724
1765.631 | -2.546 | -3.687
1766.734 | -2.584 | -3.651
1767.836 | -2.629 | -3.618
1768.938 | -2.665 | -3.589
1770.04 | -2.69 | -3.559
1771.142 | -2.714 | -3.528
1772.245 | -2.743 | -3.498
1773.347 | -2.779 | -3.461
1774.449 | -2.814 | -3.417
1775.551 | -2.844 | -3.379
1776.653 | -2.873 | -3.352
1777.755 | -2.905 | -3.324
1778.858 | -2.941 | -3.287
1779.96 | -2.974 | -3.242
1781.062 | -3.006 | -3.2
1782.164 | -3.044 | -3.165
1783.266 | -3.086 | -3.137
1784.369 | -3.119 | -3.107
1785.471 | -3.139 | -3.072
1786.573 | -3.157 | -3.034
1787.675 | -3.186 | -3.004
1788.778 | -3.229 | -2.986
1789.88 | -3.276 | -2.969
1790.982 | -3.311 | -2.936
1792.084 | -3.334 | -2.89
1793.186 | -3.366 | -2.847
1794.289 | -3.412 | -2.812
1795.391 | -3.461 | -2.781
1796.493 | -3.501 | -2.747
1797.595 | -3.531 | -2.71
1798.697 | -3.555 | -2.674
1799.8 | -3.586 | -2.647
1800.902 | -3.634 | -2.633
1802.004 | -3.689 | -2.619
1803.106 | -3.731 | -2.589
1804.208 | -3.755 | -2.543
1805.311 | -3.773 | -2.5
1806.413 | -3.805 | -2.471
1807.515 | -3.855 | -2.449
1808.617 | -3.907 | -2.43
1809.719 | -3.943 | -2.412
1810.822 | -3.971 | -2.39
1811.924 | -4.008 | -2.363
1813.026 | -4.055 | -2.335
1814.128 | -4.101 | -2.308
1815.23 | -4.141 | -2.282
1816.333 | -4.169 | -2.257
1817.435 | -4.191 | -2.225
1818.537 | -4.226 | -2.187
1819.639 | -4.277 | -2.158
1820.741 | -4.333 | -2.141
1821.844 | -4.377 | -2.124
1822.946 | -4.404 | -2.099
1824.048 | -4.427 | -2.07
1825.15 | -4.468 | -2.048
1826.253 | -4.528 | -2.037
1827.355 | -4.583 | -2.02
1828.457 | -4.616 | -1.985
1829.559 | -4.649 | -1.947
1830.661 | -4.707 | -1.924
1831.764 | -4.778 | -1.912
1832.866 | -4.828 | -1.897
1833.968 | -4.86 | -1.873
1835.07 | -4.89 | -1.842
1836.172 | -4.925 | -1.81
1837.275 | -4.967 | -1.785
1838.377 | -5.017 | -1.771
1839.479 | -5.071 | -1.761
1840.581 | -5.127 | -1.738
1841.683 | -5.187 | -1.71
1842.786 | -5.242 | -1.682
1843.888 | -5.286 | -1.654
1844.99 | -5.337 | -1.639
1846.092 | -5.412 | -1.649
1847.194 | -5.496 | -1.664
1848.297 | -5.554 | -1.651
1849.399 | -5.579 | -1.607
1850.501 | -5.59 | -1.553
1851.603 | -5.605 | -1.501
1852.705 | -5.639 | -1.465
1853.808 | -5.703 | -1.454
1854.91 | -5.786 | -1.454
1856.012 | -5.863 | -1.437
1857.114 | -5.911 | -1.396
1858.216 | -5.941 | -1.352
1859.319 | -5.986 | -1.322
1860.421 | -6.056 | -1.303
1861.523 | -6.136 | -1.289
1862.625 | -6.212 | -1.283
1863.727 | -6.286 | -1.291
1864.83 | -6.35 | -1.298
1865.932 | -6.39 | -1.28
1867.034 | -6.422 | -1.244
1868.136 | -6.475 | -1.217
1869.239 | -6.557 | -1.215
1870.341 | -6.644 | -1.224
1871.443 | -6.725 | -1.23
1872.545 | -6.798 | -1.229
1873.647 | -6.858 | -1.211
1874.75 | -6.902 | -1.174
1875.852 | -6.944 | -1.131
1876.954 | -6.997 | -1.099
1878.056 | -7.059 | -1.08
1879.158 | -7.124 | -1.066
1880.26 | -7.199 | -1.058
1881.363 | -7.281 | -1.055
1882.465 | -7.362 | -1.053
1883.567 | -7.436 | -1.046
1884.669 | -7.497 | -1.024
1885.771 | -7.544 | -0.986
1886.874 | -7.586 | -0.943
1887.976 | -7.644 | -0.915
1889.078 | -7.726 | -0.909
1890.18 | -7.824 | -0.918
1891.283 | -7.92 | -0.925
1892.385 | -8 | -0.914
1893.487 | -8.069 | -0.89
1894.589 | -8.132 | -0.867
1895.691 | -8.182 | -0.842
1896.794 | -8.231 | -0.812
1897.896 | -8.29 | -0.777
1898.998 | -8.364 | -0.748
1900.1 | -8.463 | -0.742
1901.202 | -8.581 | -0.75
1902.305 | -8.69 | -0.746
1903.407 | -8.785 | -0.737
1904.509 | -8.866 | -0.72
1905.611 | -8.936 | -0.69
1906.713 | -9.012 | -0.672
1907.816 | -9.083 | -0.663
1908.918 | -9.136 | -0.645
1910.02 | -9.191 | -0.625
1911.122 | -9.276 | -0.61
1912.224 | -9.391 | -0.605
1913.327 | -9.508 | -0.616
1914.429 | -9.614 | -0.623
1915.531 | -9.712 | -0.619
1916.633 | -9.813 | -0.609
1917.735 | -9.903 | -0.584
1918.838 | -9.967 | -0.542
1919.94 | -10.022 | -0.506
1921.042 | -10.124 | -0.497
1922.144 | -10.246 | -0.495
1923.246 | -10.346 | -0.479
1924.349 | -10.432 | -0.461
1925.451 | -10.53 | -0.447
1926.553 | -10.646 | -0.434
1927.655 | -10.771 | -0.433
1928.758 | -10.901 | -0.448
1929.86 | -11.024 | -0.457
1930.962 | -11.131 | -0.437
1932.064 | -11.236 | -0.423
1933.166 | -11.346 | -0.421
1934.269 | -11.46 | -0.426
1935.371 | -11.567 | -0.431
1936.473 | -11.668 | -0.407
1937.575 | -11.77 | -0.368
1938.677 | -11.884 | -0.374
1939.78 | -11.996 | -0.376
1940.882 | -12.118 | -0.364
1941.984 | -12.276 | -0.371
1943.086 | -12.442 | -0.385
1944.188 | -12.591 | -0.383
1945.291 | -12.724 | -0.359
1946.393 | -12.866 | -0.347
1947.495 | -13.003 | -0.34
1948.597 | -13.111 | -0.324
1949.699 | -13.198 | -0.295
1950.802 | -13.309 | -0.264
1951.904 | -13.455 | -0.245
1953.006 | -13.618 | -0.254
1954.108 | -13.789 | -0.27
1955.21 | -13.963 | -0.276
1956.313 | -14.127 | -0.261
1957.415 | -14.272 | -0.23
1958.517 | -14.425 | -0.206
1959.619 | -14.602 | -0.202
1960.721 | -14.783 | -0.209
1961.824 | -14.978 | -0.222
1962.926 | -15.183 | -0.24
1964.028 | -15.373 | -0.256
1965.13 | -15.558 | -0.258
1966.232 | -15.746 | -0.255
1967.335 | -15.94 | -0.253
1968.437 | -16.138 | -0.227
1969.539 | -16.328 | -0.186
1970.641 | -16.509 | -0.15
1971.744 | -16.707 | -0.133
1972.846 | -16.924 | -0.131
1973.948 | -17.158 | -0.143
1975.05 | -17.4 | -0.164
1976.152 | -17.648 | -0.181
1977.255 | -17.893 | -0.181
1978.357 | -18.121 | -0.15
1979.459 | -18.372 | -0.115
1980.561 | -18.649 | -0.096
1981.663 | -18.943 | -0.106
1982.766 | -19.246 | -0.126
1983.868 | -19.555 | -0.147
1984.97 | -19.87 | -0.159
1986.072 | -20.198 | -0.146
1987.174 | -20.533 | -0.127
1988.277 | -20.878 | -0.115
1989.379 | -21.238 | -0.127
1990.481 | -21.614 | -0.15
1991.583 | -22.007 | -0.171
1992.685 | -22.422 | -0.175
1993.788 | -22.854 | -0.176
1994.89 | -23.298 | -0.169
1995.992 | -23.757 | -0.149
1997.094 | -24.256 | -0.116
1998.196 | -24.781 | -0.095
1999.299 | -25.327 | -0.092
2000.401 | -25.898 | -0.099
2001.503 | -26.533 | -0.099
2002.605 | -27.24 | -0.089
2003.707 | -28.031 | -0.068
2004.81 | -28.868 | -0.053
2005.912 | -29.778 | -0.042
2007.014 | -30.818 | -0.033
2008.116 | -32.023 | -0.022
2009.218 | -33.342 | -0.014
2010.321 | -34.793 | -0.012
2011.423 | -36.621 | -0.009
2012.525 | -39.204 | -0.01
2013.627 | -42.339 | -0.011
2014.729 | -45.188 | -0.007
2015.832 | -45.328 | 0.002
2016.934 | -43.467 | 0.007
2018.036 | -40.252 | 0.001
2019.138 | -37.916 | -0.023
2020.24 | -36.034 | -0.051
2021.343 | -34.391 | -0.077
2022.445 | -32.946 | -0.08
2023.547 | -31.679 | -0.072
2024.649 | -30.561 | -0.056
2025.751 | -29.51 | -0.042
2026.854 | -28.568 | -0.038
2027.956 | -27.733 | -0.044
2029.058 | -27.038 | -0.066
2030.16 | -26.402 | -0.079
2031.263 | -25.786 | -0.087
2032.365 | -25.182 | -0.093
2033.467 | -24.614 | -0.105
2034.569 | -24.082 | -0.11
2035.671 | -23.584 | -0.106
2036.774 | -23.095 | -0.078
2037.876 | -22.659 | -0.057
2038.978 | -22.257 | -0.049
2040.08 | -21.861 | -0.082
2041.182 | -21.486 | -0.136
2042.285 | -21.139 | -0.171
2043.387 | -20.835 | -0.152
2044.489 | -20.507 | -0.162
2045.591 | -20.185 | -0.185
2046.693 | -19.876 | -0.216
2047.796 | -19.58 | -0.173
2048.898 | -19.313 | -0.157
2050 | -19.065 | -0.166