## T150722
SN: | T150722
Item #: | WD9850FA
Item Description: | 1x2 980 nm / 1550 nm Wavelength Division Multiplexer
Fiber Type: | HI1060
Port Name: | Channel 1 - White
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.13
Isolation (dB): | -23.52
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.06
Isolation (dB): | -22.18
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
960 | -0.145 | -25.947
961.222 | -0.143 | -25.9
962.445 | -0.133 | -25.688
963.667 | -0.118 | -25.512
964.89 | -0.124 | -25.371
966.112 | -0.136 | -25.224
967.335 | -0.142 | -25.094
968.557 | -0.14 | -24.967
969.78 | -0.135 | -24.825
971.002 | -0.13 | -24.66
972.224 | -0.122 | -24.486
973.447 | -0.117 | -24.326
974.669 | -0.127 | -24.172
975.892 | -0.141 | -24.01
977.114 | -0.149 | -23.852
978.337 | -0.14 | -23.702
979.559 | -0.132 | -23.567
980.782 | -0.137 | -23.438
982.004 | -0.145 | -23.309
983.226 | -0.143 | -23.195
984.449 | -0.14 | -23.069
985.671 | -0.137 | -22.959
986.894 | -0.13 | -22.841
988.116 | -0.131 | -22.718
989.339 | -0.131 | -22.589
990.561 | -0.131 | -22.459
991.784 | -0.135 | -22.334
993.006 | -0.132 | -22.213
994.228 | -0.125 | -22.101
995.451 | -0.121 | -21.976
996.673 | -0.131 | -21.854
997.896 | -0.14 | -21.75
999.118 | -0.14 | -21.647
1000.341 | -0.137 | -21.538
1001.563 | -0.139 | -21.428
1002.786 | -0.145 | -21.321
1004.008 | -0.15 | -21.219
1005.23 | -0.139 | -21.12
1006.453 | -0.137 | -21.011
1007.675 | -0.145 | -20.913
1008.898 | -0.145 | -20.813
1010.12 | -0.142 | -20.706
1011.343 | -0.146 | -20.598
1012.565 | -0.155 | -20.491
1013.788 | -0.158 | -20.386
1015.01 | -0.153 | -20.289
1016.232 | -0.161 | -20.181
1017.455 | -0.164 | -20.075
1018.677 | -0.169 | -19.993
1019.9 | -0.165 | -19.91
1021.122 | -0.165 | -19.801
1022.345 | -0.17 | -19.693
1023.567 | -0.167 | -19.602
1024.79 | -0.161 | -19.508
1026.012 | -0.171 | -19.431
1027.234 | -0.181 | -19.34
1028.457 | -0.18 | -19.232
1029.679 | -0.182 | -19.132
1030.902 | -0.188 | -19.028
1032.124 | -0.193 | -18.927
1033.347 | -0.194 | -18.839
1034.569 | -0.191 | -18.744
1035.792 | -0.195 | -18.631
1037.014 | -0.206 | -18.531
1038.236 | -0.21 | -18.447
1039.459 | -0.21 | -18.368
1040.681 | -0.214 | -18.283
1041.904 | -0.22 | -18.187
1043.126 | -0.228 | -18.086
1044.349 | -0.234 | -17.99
1045.571 | -0.231 | -17.897
1046.794 | -0.234 | -17.804
1048.016 | -0.236 | -17.72
1049.239 | -0.246 | -17.634
1050.461 | -0.25 | -17.549
1051.683 | -0.251 | -17.457
1052.906 | -0.256 | -17.359
1054.128 | -0.264 | -17.262
1055.351 | -0.269 | -17.174
1056.573 | -0.271 | -17.094
1057.796 | -0.275 | -17
1059.018 | -0.277 | -16.898
1060.24 | -0.279 | -16.81
1061.463 | -0.282 | -16.732
1062.685 | -0.287 | -16.649
1063.908 | -0.292 | -16.557
1065.13 | -0.295 | -16.46
1066.353 | -0.295 | -16.36
1067.575 | -0.296 | -16.26
1068.798 | -0.294 | -16.167
1070.02 | -0.295 | -16.077
1071.242 | -0.3 | -15.986
1072.465 | -0.307 | -15.892
1073.687 | -0.311 | -15.797
1074.91 | -0.315 | -15.709
1076.132 | -0.319 | -15.63
1077.355 | -0.324 | -15.553
1078.577 | -0.326 | -15.474
1079.8 | -0.329 | -15.387
1081.022 | -0.333 | -15.298
1082.245 | -0.337 | -15.21
1083.467 | -0.343 | -15.115
1084.689 | -0.349 | -15.017
1085.912 | -0.351 | -14.926
1087.134 | -0.352 | -14.84
1088.357 | -0.354 | -14.749
1089.579 | -0.358 | -14.656
1090.802 | -0.362 | -14.573
1092.024 | -0.364 | -14.488
1093.246 | -0.362 | -14.4
1094.469 | -0.361 | -14.312
1095.691 | -0.366 | -14.225
1096.914 | -0.374 | -14.141
1098.136 | -0.379 | -14.061
1099.359 | -0.382 | -13.981
1100.581 | -0.385 | -13.896
1101.804 | -0.387 | -13.8
1103.026 | -0.388 | -13.705
1104.249 | -0.388 | -13.617
1105.471 | -0.394 | -13.536
1106.693 | -0.403 | -13.453
1107.916 | -0.412 | -13.366
1109.138 | -0.417 | -13.282
1110.361 | -0.421 | -13.201
1111.583 | -0.423 | -13.12
1112.806 | -0.425 | -13.038
1114.028 | -0.431 | -12.957
1115.25 | -0.438 | -12.875
1116.473 | -0.444 | -12.793
1117.695 | -0.445 | -12.715
1118.918 | -0.447 | -12.641
1120.14 | -0.453 | -12.569
1121.363 | -0.461 | -12.491
1122.585 | -0.465 | -12.412
1123.808 | -0.469 | -12.336
1125.03 | -0.473 | -12.259
1126.253 | -0.475 | -12.176
1127.475 | -0.479 | -12.094
1128.697 | -0.486 | -12.018
1129.92 | -0.491 | -11.939
1131.142 | -0.492 | -11.855
1132.365 | -0.495 | -11.777
1133.587 | -0.501 | -11.701
1134.81 | -0.51 | -11.624
1136.032 | -0.519 | -11.547
1137.255 | -0.526 | -11.48
1138.477 | -0.53 | -11.424
1139.699 | -0.535 | -11.366
1140.922 | -0.543 | -11.3
1142.144 | -0.553 | -11.227
1143.367 | -0.559 | -11.15
1144.589 | -0.565 | -11.072
1145.812 | -0.571 | -10.998
1147.034 | -0.577 | -10.93
1148.256 | -0.586 | -10.864
1149.479 | -0.593 | -10.798
1150.701 | -0.596 | -10.728
1151.924 | -0.596 | -10.649
1153.146 | -0.601 | -10.566
1154.369 | -0.61 | -10.495
1155.591 | -0.619 | -10.434
1156.814 | -0.627 | -10.374
1158.036 | -0.635 | -10.315
1159.259 | -0.642 | -10.255
1160.481 | -0.648 | -10.188
1161.703 | -0.657 | -10.119
1162.926 | -0.67 | -10.051
1164.148 | -0.686 | -9.987
1165.371 | -0.7 | -9.92
1166.593 | -0.709 | -9.852
1167.816 | -0.716 | -9.784
1169.038 | -0.722 | -9.72
1170.26 | -0.726 | -9.662
1171.483 | -0.732 | -9.603
1172.705 | -0.739 | -9.537
1173.928 | -0.743 | -9.469
1175.15 | -0.743 | -9.409
1176.373 | -0.746 | -9.353
1177.595 | -0.757 | -9.295
1178.818 | -0.772 | -9.233
1180.04 | -0.786 | -9.169
1181.263 | -0.793 | -9.106
1182.485 | -0.797 | -9.047
1183.707 | -0.802 | -8.993
1184.93 | -0.81 | -8.943
1186.152 | -0.82 | -8.889
1187.375 | -0.831 | -8.828
1188.597 | -0.84 | -8.764
1189.82 | -0.849 | -8.703
1191.042 | -0.86 | -8.644
1192.265 | -0.873 | -8.584
1193.487 | -0.886 | -8.524
1194.709 | -0.895 | -8.468
1195.932 | -0.903 | -8.417
1197.154 | -0.908 | -8.367
1198.377 | -0.911 | -8.317
1199.599 | -0.917 | -8.264
1200.822 | -0.927 | -8.203
1202.044 | -0.938 | -8.136
1203.266 | -0.949 | -8.071
1204.489 | -0.961 | -8.015
1205.711 | -0.972 | -7.967
1206.934 | -0.984 | -7.918
1208.156 | -0.997 | -7.866
1209.379 | -1.011 | -7.813
1210.601 | -1.021 | -7.762
1211.824 | -1.031 | -7.711
1213.046 | -1.043 | -7.658
1214.269 | -1.057 | -7.602
1215.491 | -1.069 | -7.546
1216.713 | -1.078 | -7.488
1217.936 | -1.089 | -7.431
1219.158 | -1.104 | -7.379
1220.381 | -1.12 | -7.329
1221.603 | -1.135 | -7.277
1222.826 | -1.146 | -7.225
1224.048 | -1.153 | -7.177
1225.271 | -1.16 | -7.128
1226.493 | -1.171 | -7.075
1227.715 | -1.189 | -7.024
1228.938 | -1.207 | -6.981
1230.16 | -1.22 | -6.941
1231.383 | -1.23 | -6.9
1232.605 | -1.241 | -6.853
1233.828 | -1.256 | -6.799
1235.05 | -1.275 | -6.744
1236.273 | -1.294 | -6.698
1237.495 | -1.312 | -6.656
1238.717 | -1.331 | -6.608
1239.94 | -1.35 | -6.554
1241.162 | -1.368 | -6.499
1242.385 | -1.382 | -6.447
1243.607 | -1.395 | -6.397
1244.83 | -1.41 | -6.344
1246.052 | -1.425 | -6.292
1247.275 | -1.438 | -6.246
1248.497 | -1.452 | -6.206
1249.719 | -1.467 | -6.159
1250.942 | -1.481 | -6.107
1252.164 | -1.496 | -6.056
1253.387 | -1.509 | -6.007
1254.609 | -1.523 | -5.962
1255.832 | -1.536 | -5.921
1257.054 | -1.548 | -5.877
1258.277 | -1.56 | -5.824
1259.499 | -1.575 | -5.767
1260.721 | -1.591 | -5.715
1261.944 | -1.609 | -5.67
1263.166 | -1.628 | -5.627
1264.389 | -1.646 | -5.583
1265.611 | -1.661 | -5.536
1266.834 | -1.676 | -5.485
1268.056 | -1.697 | -5.436
1269.279 | -1.72 | -5.397
1270.501 | -1.741 | -5.362
1271.723 | -1.76 | -5.319
1272.946 | -1.78 | -5.27
1274.168 | -1.801 | -5.221
1275.391 | -1.821 | -5.173
1276.613 | -1.842 | -5.126
1277.836 | -1.86 | -5.081
1279.058 | -1.876 | -5.036
1280.281 | -1.89 | -4.99
1281.503 | -1.906 | -4.943
1282.725 | -1.926 | -4.897
1283.948 | -1.947 | -4.847
1285.17 | -1.967 | -4.799
1286.393 | -1.984 | -4.757
1287.615 | -2.002 | -4.72
1288.838 | -2.024 | -4.681
1290.06 | -2.051 | -4.638
1291.283 | -2.079 | -4.595
1292.505 | -2.103 | -4.557
1293.727 | -2.123 | -4.519
1294.95 | -2.142 | -4.481
1296.172 | -2.164 | -4.439
1297.395 | -2.187 | -4.395
1298.617 | -2.212 | -4.354
1299.84 | -2.237 | -4.32
1301.062 | -2.258 | -4.296
1302.285 | -2.278 | -4.271
1303.507 | -2.302 | -4.236
1304.729 | -2.326 | -4.192
1305.952 | -2.346 | -4.144
1307.174 | -2.363 | -4.094
1308.397 | -2.385 | -4.047
1309.619 | -2.414 | -4.006
1310.842 | -2.445 | -3.969
1312.064 | -2.474 | -3.93
1313.287 | -2.504 | -3.887
1314.509 | -2.536 | -3.843
1315.731 | -2.567 | -3.801
1316.954 | -2.599 | -3.764
1318.176 | -2.63 | -3.733
1319.399 | -2.656 | -3.703
1320.621 | -2.676 | -3.667
1321.844 | -2.698 | -3.629
1323.066 | -2.726 | -3.595
1324.289 | -2.76 | -3.563
1325.511 | -2.796 | -3.526
1326.734 | -2.833 | -3.486
1327.956 | -2.868 | -3.452
1329.178 | -2.896 | -3.426
1330.401 | -2.92 | -3.4
1331.623 | -2.944 | -3.363
1332.846 | -2.971 | -3.325
1334.068 | -3.006 | -3.298
1335.291 | -3.042 | -3.276
1336.513 | -3.073 | -3.254
1337.735 | -3.104 | -3.23
1338.958 | -3.142 | -3.2
1340.18 | -3.179 | -3.163
1341.403 | -3.211 | -3.127
1342.625 | -3.246 | -3.097
1343.848 | -3.287 | -3.068
1345.07 | -3.324 | -3.042
1346.293 | -3.36 | -3.019
1347.515 | -3.403 | -2.993
1348.737 | -3.449 | -2.969
1349.96 | -3.493 | -2.944
1351.182 | -3.528 | -2.91
1352.405 | -3.561 | -2.872
1353.627 | -3.601 | -2.842
1354.85 | -3.644 | -2.824
1356.072 | -3.674 | -2.812
1357.295 | -3.698 | -2.799
1358.517 | -3.735 | -2.775
1359.74 | -3.787 | -2.741
1360.962 | -3.838 | -2.716
1362.184 | -3.887 | -2.708
1363.407 | -3.941 | -2.693
1364.629 | -3.991 | -2.666
1365.852 | -4.032 | -2.643
1367.074 | -4.077 | -2.631
1368.297 | -4.132 | -2.619
1369.519 | -4.194 | -2.601
1370.741 | -4.259 | -2.59
1371.964 | -4.328 | -2.595
1373.186 | -4.4 | -2.607
1374.409 | -4.489 | -2.631
1375.631 | -4.591 | -2.665
1376.854 | -4.686 | -2.69
1378.076 | -4.757 | -2.705
1379.299 | -4.785 | -2.719
1380.521 | -4.779 | -2.727
1381.744 | -4.818 | -2.719
1382.966 | -4.941 | -2.707
1384.188 | -5.025 | -2.701
1385.411 | -5.017 | -2.689
1386.633 | -5.017 | -2.653
1387.856 | -5.062 | -2.598
1389.078 | -5.119 | -2.543
1390.301 | -5.18 | -2.486
1391.523 | -5.244 | -2.423
1392.745 | -5.299 | -2.358
1393.968 | -5.32 | -2.295
1395.19 | -5.296 | -2.239
1396.413 | -5.323 | -2.198
1397.635 | -5.396 | -2.149
1398.858 | -5.452 | -2.09
1400.08 | -5.487 | -2.04
1401.303 | -5.522 | -2.001
1402.525 | -5.557 | -1.966
1403.747 | -5.563 | -1.936
1404.97 | -5.56 | -1.902
1406.192 | -5.623 | -1.863
1407.415 | -5.716 | -1.827
1408.637 | -5.788 | -1.789
1409.86 | -5.841 | -1.745
1411.082 | -5.892 | -1.694
1412.305 | -5.943 | -1.647
1413.527 | -5.988 | -1.612
1414.75 | -6.033 | -1.582
1415.972 | -6.086 | -1.55
1417.194 | -6.138 | -1.518
1418.417 | -6.186 | -1.481
1419.639 | -6.236 | -1.443
1420.862 | -6.292 | -1.404
1422.084 | -6.353 | -1.361
1423.307 | -6.418 | -1.321
1424.529 | -6.481 | -1.292
1425.751 | -6.536 | -1.267
1426.974 | -6.591 | -1.232
1428.196 | -6.658 | -1.194
1429.419 | -6.723 | -1.163
1430.641 | -6.768 | -1.134
1431.864 | -6.81 | -1.105
1433.086 | -6.878 | -1.081
1434.309 | -6.969 | -1.06
1435.531 | -7.058 | -1.035
1436.754 | -7.137 | -1.007
1437.976 | -7.208 | -0.984
1439.198 | -7.272 | -0.965
1440.421 | -7.343 | -0.945
1441.643 | -7.424 | -0.927
1442.866 | -7.504 | -0.914
1444.088 | -7.581 | -0.905
1445.311 | -7.66 | -0.895
1446.533 | -7.748 | -0.886
1447.755 | -7.841 | -0.876
1448.978 | -7.929 | -0.859
1450.2 | -8.013 | -0.844
1451.423 | -8.099 | -0.833
1452.645 | -8.18 | -0.829
1453.868 | -8.257 | -0.821
1455.09 | -8.339 | -0.808
1456.313 | -8.43 | -0.799
1457.535 | -8.521 | -0.785
1458.758 | -8.617 | -0.779
1459.98 | -8.711 | -0.775
1461.202 | -8.804 | -0.743
1462.425 | -8.896 | -0.71
1463.647 | -8.985 | -0.689
1464.87 | -9.08 | -0.678
1466.092 | -9.183 | -0.704
1467.315 | -9.277 | -0.746
1468.537 | -9.359 | -0.693
1469.76 | -9.473 | -0.589
1470.982 | -9.569 | -0.572
1472.204 | -9.668 | -0.581
1473.427 | -9.769 | -0.572
1474.649 | -9.879 | -0.589
1475.872 | -9.984 | -0.635
1477.094 | -10.066 | -0.633
1478.317 | -10.193 | -0.579
1479.539 | -10.313 | -0.513
1480.761 | -10.41 | -0.506
1481.984 | -10.502 | -0.534
1483.206 | -10.608 | -0.501
1484.429 | -10.737 | -0.419
1485.651 | -10.869 | -0.513
1486.874 | -10.976 | -0.737
1488.096 | -11.085 | -0.654
1489.319 | -11.28 | -0.597
1490.541 | -11.517 | -0.533
1491.764 | -11.66 | -0.542
1492.986 | -11.711 | -0.575
1494.208 | -11.791 | -0.491
1495.431 | -11.906 | -0.345
1496.653 | -11.997 | -0.304
1497.876 | -12.091 | -0.397
1499.098 | -12.257 | -0.494
1500.321 | -12.411 | -0.486
1501.543 | -12.483 | -0.437
1502.766 | -12.658 | -0.406
1503.988 | -12.822 | -0.381
1505.21 | -12.977 | -0.388
1506.433 | -13.138 | -0.41
1507.655 | -13.269 | -0.396
1508.878 | -13.401 | -0.364
1510.1 | -13.609 | -0.377
1511.323 | -13.797 | -0.375
1512.545 | -13.97 | -0.365
1513.768 | -14.146 | -0.338
1514.99 | -14.334 | -0.331
1516.212 | -14.522 | -0.337
1517.435 | -14.73 | -0.348
1518.657 | -14.954 | -0.373
1519.88 | -15.08 | -0.373
1521.102 | -15.162 | -0.316
1522.325 | -15.341 | -0.308
1523.547 | -15.539 | -0.329
1524.77 | -15.748 | -0.356
1525.992 | -16.009 | -0.356
1527.214 | -16.305 | -0.342
1528.437 | -16.576 | -0.327
1529.659 | -16.797 | -0.283
1530.882 | -17.003 | -0.252
1532.104 | -17.246 | -0.294
1533.327 | -17.538 | -0.275
1534.549 | -17.808 | -0.231
1535.771 | -18.055 | -0.229
1536.994 | -18.33 | -0.249
1538.216 | -18.67 | -0.248
1539.439 | -19.037 | -0.225
1540.661 | -19.362 | -0.213
1541.884 | -19.765 | -0.265
1543.106 | -20.119 | -0.258
1544.329 | -20.42 | -0.199
1545.551 | -20.798 | -0.201
1546.774 | -21.22 | -0.246
1547.996 | -21.63 | -0.247
1549.218 | -21.976 | -0.149
1550.441 | -22.305 | -0.011
1551.663 | -22.883 | -0.01
1552.886 | -23.493 | -0.127
1554.108 | -24.108 | -0.21
1555.331 | -24.849 | -0.239
1556.553 | -25.542 | -0.214
1557.776 | -26.36 | -0.203
1558.998 | -27.177 | -0.222
1560.22 | -27.9 | -0.24
1561.443 | -28.914 | -0.258
1562.665 | -29.709 | -0.255
1563.888 | -30.196 | -0.151
1565.11 | -31.895 | -0.172
1566.333 | -33.37 | -0.221
1567.555 | -34.135 | -0.275
1568.778 | -32.622 | -0.3
1570 | -30.422 | -0.32